U.S. DEPARTMENT OF THE INTERIOR

U.S. GEOLOGICAL SURVEY

Analytical results and other information for 415 water samples

collected from wells, springs, and streams

1976-1987

Pima, Pinal, and Maricopa Counties, Arizona

By

Gary A. Nowlan (1)

Open-File Report 95-546

This report is preliminary and has not been reviewed for conformity

with U.S. Geological Survey editorial standards and stratigraphic

nomenclature.  Any use of trade or product names is for descriptive

purposes only and does not imply endorsement by the U.S.

Government.  Although these programs have been used by the U.S.

Geological Survey, no warranty, expressed or implied, is made by

the USGS as to accuracy and functioning of the programs and related

program material, nor shall the fact of distribution constitute any

such warranty, and no responsibility is assumed by the USGS in

connection therewith.

(1) U.S. Geological Survey, DFC, Box 25046, MS 973, Denver, CO  80225

1995

Page i

CONTENTS

Page

Abstract.......................................................1

Introduction...................................................1

Sampling techniques............................................2

Explanation of data tables.....................................2

Computer requirements..........................................5

Extracting data files..........................................5

References cited...............................................6

TABLES

1.  Listing of job numbers for filtered/acidified samples

and equivalent jobs for samples that were neither

filtered nor acidified....................................8

2.  Analytical methods.........................................9

3.  Explanation of column headings in digital data files......12

4.  Explanation of codes for columns SampSrc, Filter, Acid,

SampMeth, and MetCntmn...................................15

5.  Comparison of iron and manganese concentrations in

equivalent samples filtered through 0.45 �m or 0.10 �m

membrane filters.........................................16

Page 1

ABSTRACT

Analytical data, collection data, and other information for

415 water samples collected from 350 sites in southern Arizona are

presented in digital format.  The samples are almost all from

shallow wells, deep irrigation wells, springs, and small streams.

Data are presented for Ag, Al, As, Ba, Bi, Ca, Cd, Co, Cr, Cs, Cu,

Fe, K, Li, Mg, Mn, Mo, Na, Ni, Pb, Rb, Sr, U, Zn, sulfate,

chloride, fluoride, nitrate, dissolved silica, nitrite, ammonium,

phosphate, bromide, alkalinity, pH, temperature, and specific

conductance.  Most of the data were released previously as hard-

copy open-file reports, but this report is the first release for

some of the data.  The digital data are in dBASE III format and are

compressed in self-extracting files.

INTRODUCTION

This report compiles geochemical and other data for 415 water

samples collected from 350 sites in southern Arizona by the U.S.

Geological Survey (USGS) from 1976 to 1987.  Most of the data were

previously released as hard-copy open-file reports (Ficklin and

others, 1978, 1980, 1981; McHugh and Nowlan, 1987; McHugh and

others, 1989).  This report makes those released data available in

digital format and includes some previously unreleased data.

The digital data are in two tabular files.  One file, the

detailed data file (DDB.DBF), gives considerable detail in addition

to the analytical data.  The detail is in the form of notes and

codes that accompany individual samples and analytical methods.

This detail allows a determination of the nature of each sample,

the environment and conditions of collection, and the analytical

method.

The second digital file, the abbreviated data file (ADB.DBF),

omits the notes and most of the codes.  Usually, a filtered/

acidified (F/A) portion for determination of cations and an

untreated (UF/UA) portion for determination of anions were

collected at the same time.  ADB.DBF combines the data for the F/A

and UF/UA portions of each sample into a single row of data; this

combining of data makes ADB.DBF the most useful file for data

manipulation and interpretation.

Most of the samples were collected as part of two projects.

One project was a mineral-resource assessment of lands of the

Tohono O'Odham Nation (formerly Papago Indian Reservation) in

southern Arizona.  The hydrogeochemistry of those lands and

adjacent areas, based on data from shallow wells, streams, and

springs, was discussed by Nowlan and others (1979).

The other project involved a study of the hydrogeochemistry of

groundwater around a deeply buried porphyry copper deposit near

Casa Grande, Arizona, based on samples obtained from deep

irrigation wells (Nowlan and others, 1981); the study was later

extended for almost 30 miles from the copper deposit in the up-

groundwater direction.  The data from samples collected in the

extended study are listed in this digital open-file report and in

one of the hard-copy reports mentioned above (McHugh and Nowlan,

1987).

Page 2

SAMPLING TECHNIQUES

Samples from shallow dug wells were usually obtained with a

plastic bottle suspended on a cord and lowered into the well.  When

a bottle could not be lowered into the well, an adjacent storage

tank or else the stream of water from a pumping well was sampled.

Samples from deep irrigation wells were usually collected from

the spout of the flowing well.  Sometimes the water flowed through

a pipe for distances as much as one mile before the water

discharged.  Because of the high flow rate of the water and the

fact that the pipes carrying the water were usually buried and thus

protected from heat, the physical and chemical properties of the

water were probably the same as at the well head.  In most cases

the pumps had been running for at least a few days.

Two portions of water were usually collected at each site.

One portion was filtered through a 0.45 �m membrane filter and

acidified with concentrated nitric acid to a pH of less than 2.  The

other sample was neither filtered nor acidified.  A third portion

was collected at some wells, filtered through a 0.10 �m membrane

filter, and acidified with nitric acid to a pH of less than 2.  This

third portion was analyzed for iron and manganese and compared

with the results from portions filtered through 0.45 �m pore-size

filters as a way of determining the possible presence of colloidal

particles.

A deep well and a drill hole were sampled in situ at various

depths by a plastic thief sampler.  These samples were neither

filtered nor acidified.  Also, a few samples were collected at

various depths by stainless-steel barrels designed to keep the

samples at the pressure of the sampling depth.  These samples

remained in the barrels for several months and then were filtered

through 0.45 �m membrane filters; after filtration a portion was

acidified and another portion was not acidified.

Generally, cations were determined in the filtered/acidified

portion.  Anions, alkalinity, specific conductance, and usually

silica were determined in the untreated portion.  Digital data

table DDB.DBF lists the sample treatment and analytical methods

used for each sample.

EXPLANATION OF DATA TABLES

The geochemical data on the diskette are part of the RASS

(Rock Analysis Storage System) database of the USGS.  RASS features

geochemical data for rocks, stream sediment, soils, water, plants

and other sample media and includes some coded information about

the samples.  The RASS database was described by VanTrump and

Miesch (1977).  RASS is now a more-or-less static database because

new data are generally not incorporated into it.  Although RASS

contains the geochemical data and some coded information that are

included in this open-file report, it does not contain notes and

other information presented here.  Presently, new data go into the

PLUTO (a name, not an acronym) database, which is the active

Geologic Division system for submitting geochemical samples and

storing data.

Page 3

This report includes information that, in the past, has not

generally been a part of releases of data from the RASS and PLUTO

databases as open-file reports.  This additional information, such

as laboratory identification and job number, is included in case

present plans materialize that will make the RASS and PLUTO

databases more accessible and "user friendly".  The additional

information will allow precise identification of samples in this

open-file report with samples in the RASS database.

When samples were submitted to USGS laboratories under RASS

they were assigned RASS job numbers and RASS laboratory

identifications.  RASS can potentially contain more than one sample

with the same Field ID inasmuch as they are assigned by sample

submitters, but the laboratory identification for each sample (Lab

ID in this report) is a unique identification assigned by RASS.

The Lab ID for a sample enables the digital retrieval of data from

RASS for that sample.  The job number is less useful than the Lab

ID for digital retrieving of sample data but is useful when it is

desirable to examine the original submittal forms or original

analytical reports.  Table 1 lists RASS job numbers for the F/A

portion and for the equivalent UF/UA portion of samples listed in

this report.

The latitudes and longitudes for some samples listed in the

original hard-copy open-file reports are slightly different from

those listed in this report.  Usually the difference is only a few

seconds.  The coordinates listed here are the definitive ones.

Also, some of the individual values in the geochemical data listed

in the older reports may be rounded differently from this present

report.  Generally, the geochemical data should be regarded as

significant to two places.  More than two significant figures are

reported here in some cases to conform with values listed in RASS.

These samples were collected over a period of about 12 years

and some of the analytical methods changed during that period.  The

detailed digital data table (DDB.DBF) in this report includes a

code that denotes a method for each analysis except pH,

temperature, and specific conductance.  Table 2 lists the method

codes and references to the methods.  The pH was measured with a pH

meter (Skougstad and others, 1979, p. 543-544), usually at the time

of collection of the sample, and was reported to the nearest 0.01,

0.05, or 0.1 pH unit.  The rounding off of pH values was usually

the same for all samples in a given RASS job.  Temperature was

measured with a mercury thermometer at the time of sample

collection.  Specific conductance was measured with a conductivity

bridge (Skougstad and others, 1979, p. 545-547), sometimes at the

time of collection and sometimes later; differences were not

observed that could be attributed to whether or not the specific

conductance was measured at the time of sample collection or as

much as several weeks later.

The Field ID in DDB.DBF follows a given format.  Each ID has

a 4-digit number which is the site number.  The prefix "W" in each

Field ID stands for "water".  Individual samples from a given site

are denoted by the letters that are a suffix for the site number.

At the time of collection, generally one portion of the sample was

filtered and then acidified (the F/A portion) and another portion

Page 4

was neither filtered nor acidified (the UF/UA portion); there were

exceptions to this rule and the coding specifies treatment of each

sample.  The first F/A sample from a site was assigned the suffix

"A" and the UF/UA portion collected at the same time was assigned

the suffix "B".  If additional samples were collected from the same

site at the same time or later, suffixes "C", "D", and so forth

were assigned to individual samples.

Some of the older hard-copy open-file reports (Ficklin and

others, 1978, 1980) list samples only by site number; the

collection date listed in those older reports and in this present

report allows cross identification of the samples.  At some

sites, samples were collected over a period of time and so the

collection date is useful for identifying samples and for tracking

variations in element concentrations with time.

The newer hard-copy open-file reports (Ficklin and others,

1981; McHugh and Nowlan, 1987; McHugh and others, 1989) include the

suffix in the Field ID but only for the F/A portion.  In those

newer reports, the UF/UA portion was assigned the next letter

alphabetically.  For example, the F/A sample was assigned an "A" and

the UF/UA portion a "B".

Digital data file DDB.DBF lists considerable information about

the samples and analyses; comments about some of that information

follow.  The references to analytical methods come from the hard-

copy open-file reports mentioned earlier.  In some cases, methods

for a given constituent are the same even though the references to

the method are different.

DDB.DBF includes the RASS job number.  Except in very rare

instances, the same analytical method is used for a given

constituent for all samples in a RASS job.  DDB.DBF includes the

numbers of the hard-copy open-file reports where the data for given

samples were originally released.  In some cases, data for samples

that were part of the same RASS job were released in different

open-file reports.  If references to analytical methods differ in

different open-file reports for samples from the same RASS job, the

predominate reference is listed for all samples from the job.

Analytical data, sample identifications, and so forth in DDB.DBF

generally conform with RASS.  One exception is for samples from

jobs 33605 and 38749, which are at the end of DDB.DBF.  The F/A and

UF/UA samples were both submitted under these jobs and the F/A

Field ID was used.  Therefore, a given Lab ID applies to both the

F/A and UF/UA portion.  In all other cases the F/A and UF/UA

portions were submitted as separate RASS jobs and, therefore,

received different Lab ID's.  In DDB.DBF, the Lab ID's for RASS

jobs 33605 and 38749 are listed twice, once with the F/A samples

and once with the UF/UA samples.  The reason for this exception of

not conforming with RASS is so that the details of sample-treatment

and so forth can be differentiated for the two sample portions.  An

additional reason is so that the sample data can be clearly tied to

information in archived field notebooks; in the field notebooks,

the F/A and UF/UA portions have different Field ID's, according to

the conventions described earlier.

Page 5

The samples in DDB.DBF are ordered according to Lab ID, except

that the Lab ID's for jobs 33605 and 38749 are listed twice, as

described in the preceding paragraph.  Sorting the samples in

DDB.DBF by Field ID will put all samples in sequence for each site.

Each Field ID in ADB.DBF includes the suffix letters for both F/A

and UF/UA portions, if both exist.  Samples in ADB.DBF are ordered

by Field ID.

Table 3 explains the column headings listed in DDB.DBF and

ADB.DBF.  Table 4 explains the codes in the SampSrc, Filter, Acid,

SampMeth, and MetCntmn columns.  Most place names in DDB.DBF are

from USGS 1:62,500-scale topographic maps and may not be the same

on the more recent 1:24,000-scale maps.

As mentioned previously, cations were usually determined in

the F/A sample and anions in the UF/UA sample.  DDB.DBF shows when

this was not the case.  For job 32293, in particular, the UF/UA

sample was used for calcium, potassium, magnesium, and sodium

determinations.  Job 31397, which consisted primarily of F/A

portions, contains seven samples (Lab ID's EDD724 to EDD730) that

were neither filtered nor acidified; these seven samples were also

analyzed as part of job 31398 where they were assigned different Lab

ID's (EDD749-EDD755).

Iron and manganese were analyzed by both flame and flameless

atomic absorption methods.  The original analytical reports did not

always specify which method was used.  Generally, values of 100

�g/L and greater were obtained by flame atomic absorption

spectrophotometry, but evidence such as the degree of rounding was

considered when method codes in DDB.DBF were assigned.

Table 5 lists comparative data for samples filtered through

0.45 �m or 0.10 �m membrane filters and then analyzed for iron and

manganese.  These results are also in DDB.DBF.

The notes in DDB.DBF commonly use the term "developed spring".

This term means that there was evidence of human alteration of the

environment at the spring, such as construction of a tank or the

digging of a hole, so that the spring was not completely "natural".

This information is included to aid anyone who might want to visit

the site.

The term, .0000B, in the digital data files means there is no

value.  A value followed by an "L" indicates that the concentration

was less than the lower limit of determination of the analytical

method.  For example, a value of .0200L �g/L Ag means that the

concentration of Ag was lower than 0.02 �g/L, the lower limit of

determination.

COMPUTER REQUIREMENTS

The computer must be IBM PC compatible, with software/

hardware capabilities required by dBASE III or by programs that

import dBASE III.  The computer must accept 3.5-inch diskettes.

EXTRACTING DATA FILES

Data files DDB.DBF and ADB.DBF are in files that are

compressed by the progam LHA written by Haruyasu Yoshizaki.  LHA is

a copyright-reserved free program.  The compressed files are

DDB.EXE and ADB.EXE.  The data files are extracted by simply

entering DDB or ADB at the DOS prompt.  When extracted, DDB.DBF

requires about 1.1 megabytes of space and ADB.DBF requires about

0.3 megabytes.

Page 6

REFERENCES CITED

Aruscavage, Philip, 1977, Determination of arsenic, antimony, and

selenium in coal by atomic absorption spectrometry with a

graphite tube atomizer:  U.S. Geological Survey Journal of

Research, v. 5, no. 4, p. 405-408.

Brown, Eugene, Skougstad, M.W., and Fishman, M.J., 1970, Methods

for collection and analysis of water samples for dissolved

minerals and gases:  Techniques of Water-Resources

Investigations of the United States Geological Survey, book 5,

chapter A1, 160 p.

Ficklin, W.H., Ashton, Wheeler, Preston, D.J., and Nowlan, G.A.,

1978, Analytical results for 89 water samples from the Papago

Indian Reservation, Arizona:  U.S. Geological Survey Open-File

Report 78-1092, 29 p.

Ficklin, W.H., Preston, D.J., Stanley, A.R., and Nowlan, G.A.,

1980, Analytical results for 127 water samples from the Papago

Indian Reservation and vicinity, Arizona:  U.S. Geological

Survey Open-File Report 80-310, 22 p.

Ficklin, W.H., Preston, D.J., Welsch, E.P., and Nowlan, G.A., 1981,

Analytical results for 78 ground-water samples from the Casa

Grande vicinity, Arizona:  U.S. Geological Survey Open-File

Report 81-960, 16 p.

Fishman, M.J., and Downs, S.C., 1966, Methods for analysis of

selected metals in water by atomic absorption:  U.S.

Geological Survey Water Supply Paper 1540-C, 45 p.

Fishman, M.J., and Pyen, Grace, 1979, Determination of selected

anions in water by ion chromatography:  U.S. Geological Survey

Water Resources Investigations 79-101, 30 p.

McHugh, J.B., Ficklin, W.H., and Nowlan, G.A., 1989, Analytical

results and sample locality map for 10 water samples from

springs, domestic wells, and streams near the Baboquivari

Peak, Ragged Top, and Table Top Mountain Wilderness Study

Areas, Pima and Pinal counties, Arizona:  U.S. Geological

Survey Open-File Report 89-117, 10 p., 1 map, scale 1:250,000.

McHugh, J.B., and Nowlan, G.A., 1987, Analytical results and

locality map for 82 well-water samples from the lower Santa

Cruz basin, Pinal County, Arizona:  U.S. Geological Survey

Open-File Report 87-66, 12 p., 1 map, scale 1:125,000.

Miller, W.R., and Ficklin, W.H., 1976, Molybdenum mineralization in

the White River National Forest, Colorado:  U.S. Geological

Survey Open-File Report 76-711, 29 p.

Page 7

Nowlan, G.A., Ficklin, W.H., and Preston, D.J., 1981, Geochemistry

of waters from deep irrigation wells in the vicinity of a

deeply buried porphyry copper deposit near Casa Grande,

Arizona:  Society of Mining Engineers of AIME Preprint Number

81-392, 21 p.

Nowlan, G.A., Ficklin, W.H., Preston, D.J., and Stanley, A.R.,

1979, Hydrogeochemical studies in the Sonoran Desert of

southern Arizona [abs.]:  Exploration Geochemistry in the

Basin and Range Province, Tucson, April 9-10, 1979,

Association of Exploration Geochemists Program and Abstracts,

p. 26.

Orion Research, Inc., 1975, Analytical methods guide, 7th edition:

Cambridge, Massachusetts, 33 p.

Orion Research, Inc., 1978, Analytical methods guide, 9th edition:

Cambridge, Massachusetts, 48 p.

Perkin-Elmer Corporation, 1976, Analytical methods for atomic-

absorption spectrophotometry:  Norwalk, Connecticut, Perkin-

Elmer Corporation.

Perkin-Elmer Corporation, 1977, Analytical methods for atomic-

absorption spectrophotometry, using the HGA graphite furnace:

Norwalk, Connecticut, Perkin-Elmer Corporation.

Scintrex Corporation, 1979, UA-3 Uranium analyzer: Toronto, Canada,

Scintrex Corporation, 45 p.

Skougstad, M.W., Fishman, M.J., Fruedmann, L.C., Erdmann, D.E., and

Duncan, S.S., eds., 1979, Methods for determination of

inorganic substances in water and fluvial sediments:

Techniques of Water-Resources Investigations of the United

States Geological Survey, book 5, chapter A1, 626 p.

Smee, B.W., and Hall, G.E.M., 1978, Analysis of fluoride, chloride,

nitrate and sulphate in natural waters using ion

chromatography:  Journal of Geochemical Exploration, v. 10,

no. 3, p. 245-258.

Tabatabai, M.A., 1974, A rapid method for determination of sulfate

in water samples:  Environmental Letters, v. 7, no. 3, p. 237-

243.

VanTrump, George, Jr., and Miesch, A.T., 1977, The U.S. Geological

Survey RASS-STATPAC system for management and statistical

reduction of geochemical data:  Computers and Geosciences, v.

3, p. 475-488.

Ward, F.N., and Bondar, W.F., 1977, Analytical methodology in the

search for metallic ores, in Program and Abstracts,

Exploration 77 Symposium [abs.]:  Ottawa, Canada, Canadian

Geoscience Council, October 16-20, 1977, p. 37.

Page 8

Table 1.--Listing of job numbers for filtered/acidified (F/A) samples and

equivalent jobs for samples that were neither filtered nor acidified

(UF/UA), southern Arizona water samples

[Seven samples in job 31397 were not filtered or acidified.  Samples

in job 31449 were filtered through a 0.45 �m filter, but were not

acidified.  Samples in job 33596 were filtered through a 0.1 �m filter,

acidified, and analyzed only for iron and manganese]

________________________________________________________________________________

F/A                   UF/UA                Fe and Mn

________________________________________________________________________________

31397                  31398

31448                  31447

31450                  31449

31758                  32116

31811                  31812

32133                  32134

32286                  32287

32288                  32289

32290                  32291

32292                  32293

32569                  32570                  33596

33605                  33605

38749                  38749

________________________________________________________________________________

Page 9

Table 2.--Analytical methods used for southern Arizona water samples

[DDB.DBF refers to the detailed digital data file]

_______________________________________________________________________________

Code in   Constituent           Method                   Reference

DDB.DBF

_______________________________________________________________________________

0      All           Not analyzed

1      Alkalinity    Gran's plot titration        Orion Research, Inc., 1975

with sulfuric acid

2      Alkalinity    Gran's plot titration        Orion Research, Inc., 1978

with sulfuric acid

3      Sulfate       Barium sulfate-              Tabatabai, 1974

turbidimetric

4      Chloride      Gran's plot titration        Orion Research, Inc., 1975

with silver nitrate

5      Fluoride      Gran's plot addition         Orion Research, Inc., 1975

6      Chloride,     Ion chromatography           Smee and Hall, 1978

fluoride,

nitrate,

sulfate

7      Chloride,     Ion chromatography           Fishman and Pyen, 1979

fluoride,

nitrate,

sulfate,

ammonium,

bromide,

nitrite,

phosphate

8      Silica        Molybdate blue               Brown and others, 1970,

p. 139-140

9      Calcium,      Flame atomic-absorption      Perkin-Elmer Corp., 1976

magnesium,      spectrophotometry

potassium,

sodium,

iron,

lithium,

manganese,

silica,

strontium,

zinc

Page 10

Table 2.--Analytical methods used for southern Arizona water samples--continued

_______________________________________________________________________________

Code in   Constituent           Method                   Reference

DDB.DBF

_______________________________________________________________________________

10      Calcium,      Flame atomic-absorption       Fishman and Downs, 1966

magnesium,      spectrophotometry

potassium,

sodium

11      Manganese     Flameless atomic-absorption   Perkin-Elmer Corp., 1976

spectrophotometry

12      Arsenic,      Flameless atomic-absorption   Miller and Ficklin, 1976

cobalt,        spectrophotometry

copper,

molybdenum,

nickel,

zinc

13      Arsenic       Flameless atomic-absorption    Aruscavage, 1977

iron,          spectrophotometry

14      Iron          Flame atomic-absorption        Aruscavage, 1977

spectrophotometry

15      Aluminum,     Flameless atomic-absorption    Perkin-Elmer Corp., 1977

arsenic,       spectrophotometry

barium,

bismuth,

cadmium,

chromium,

cobalt,

copper,

iron,

lead,

manganese,

molybdenum,

nickel,

rubidium,

silver,

zinc

Page 11

Table 2.--Analytical methods used for southern Arizona water samples--continued

_______________________________________________________________________________

Code in   Constituent           Method                   Reference

DDB.DBF

_______________________________________________________________________________

16      Bismuth,      Flameless atomic-absorption    No reference.  Methods

cesium,        spectrophotometry              similar to preceding

cobalt,                                       entry

lithium,

molybdenum,

rubidium,

silver,

strontium

17      Specific      Conductivity bridge            Skougstad and others,

conductance                                  1979, p. 545

18      Uranium       Laser-excited                  Scintrex Corp., 1979

fluorescence

19      Uranium       Fluorometric                   Ward and Bondar, 1977

________________________________________________________________________________

Page 12

Table 3.--Explanation of column headings, digital data files DDB.DBF and ADB.DBF

[In DDB.DBF and ADB.DBF:  .0000B, no value; value followed by "L",

concentration less than lower limit of determination]

________________________________________________________________________________

Heading                  Explanation of column heading

________________________________________________________________________________

Field ID    Sample identification assigned by sample collector

Lab ID      Laboratory identification assigned by laboratory (DDB.DBF, only)

LabID1      Laboratory identification assigned by laboratory, filtered/acidified

sample (ADB.DBF, only)

LabID2      Laboratory identification assigned by laboratory, unfiltered/

unacidified sample (ADB.DBF, only)

LatDMS      North latitude in degrees, minutes, and seconds as an integer

LonDMS      West longitude in degrees, minutes, and seconds as an integer

LatDeg      Degrees north latitude

LatMin      Minutes north latitude

LatSec      Seconds north latitude

LonDeg      Degrees west longitude

LonMin      Minutes west longitude

LonSec      Seconds west longitude

UtmxZn12    Meters in the x direction of UTM zone 12

UtmyZn12    Meters in the y direction of UTM zone 12

Latitude    North latitude in decimal degrees

Longitude   West longitude in decimal degrees

JobNo       Rock Analysis Storage System (RASS) job number

OFRNo       U.S. Geological Survey open-file report where analytical data for

sample were originally released

CollDate    Date sample was collected

SampSrc     Sample source.  Codes explained in table 4

Filter      Filter pore size.  Codes explained in table 4

Acid        Acidification.  Codes explained in table 4

SampMeth    Details of well or drill-hole sampling.  Codes explained in table 4

MetCntmn    Metallic contamination.  Codes explained in table 4

WelDepth    Depth of well

SamDepth    Depth from ground surface to where sample was collected

Depth2Wa    Depth from ground surface to water surface

Ag �g/L     Concentration of silver in micrograms per liter

AgMeth      Analytical method for silver.  Codes explained in table 2

Al �g/L     Concentration of aluminum in micrograms per liter

AlMeth      Analytical method for aluminum.  Codes explained in table 2

As �g/L     Concentration of arsenic in micrograms per liter

AsMeth      Analytical method for arsenic.  Codes explained in table 2

Ba �g/L     Concentration of barium in micrograms per liter

BaMeth      Analytical method for barium.  Codes explained in table 2

Bi �g/L     Concentration of bismuth in micrograms per liter

BiMeth      Analytical method for bismuth.  Codes explained in table 2

Ca mg/L     Concentration of calcium in milligrams per liter

CaMeth      Analytical method for calcium.  Codes explained in table 2

Cd �g/L     Concentration of cadmium in micrograms per liter

CdMeth      Analytical method for cadmium.  Codes explained in table 2

Co �g/L     Concentration of cobalt in micrograms per liter

CoMeth      Analytical method for cobalt.  Codes explained in table 2

Cr �g/L     Concentration of chromium in micrograms per liter

CrMeth      Analytical method for chromium.  Codes explained in table 2

Page 13

Table 3.--Explanation of column headings, digital data files DDB.DBF and

ADB.DBF--continued

________________________________________________________________________________

Heading                  Explanation of column heading

________________________________________________________________________________

Cs �g/L     Concentration of cesium in micrograms per liter

CsMeth      Analytical method for cesium.  Codes explained in table 2

Cu �g/L     Concentration of copper in micrograms per liter

CuMeth      Analytical method for copper.  Codes explained in table 2

Fe �g/L     Concentration of iron in micrograms per liter

FeMeth      Analytical method for iron.  Codes explained in table 2

K mg/L      Concentration of potassium in milligrams per liter

KMeth       Analytical method for potassium.  Codes explained in table 2

Li �g/L     Concentration of lithium in micrograms per liter

LiMeth      Analytical method for lithium.  Codes explained in table 2

Mg mg/L     Concentration of magnesium in milligrams per liter

MgMeth      Analytical method for magnesium.  Codes explained in table 2

Mn �g/L     Concentration of manganese in micrograms per liter

MnMeth      Analytical method for manganese.  Codes explained in table 2

Mo �g/L     Concentration of molybdenum in micrograms per liter

MoMeth      Analytical method for molybdenum.  Codes explained in table 2

Na mg/L     Concentration of sodium in milligrams per liter

NaMeth      Analytical method for sodium.  Codes explained in table 2

Ni �g/L     Concentration of nickel in micrograms per liter

NiMeth      Analytical method for nickel.  Codes explained in table 2

Pb �g/L     Concentration of lead in micrograms per liter

PbMeth      Analytical method for lead.  Codes explained in table 2

Rb �g/L     Concentration of rubidium in micrograms per liter

RbMeth      Analytical method for rubidium.  Codes explained in table 2

Sr mg/L     Concentration of strontium in milligrams per liter

SrMeth      Analytical method for strontium.  Codes explained in table 2

U �g/L      Concentration of uranium in micrograms per liter

UMeth       Analytical method for uranium.  Codes explained in table 2

Zn �g/L     Concentration of zinc in micrograms per liter

ZnMeth      Analytical method for zinc.  Codes explained in table 2

SO4 mg/L    Concentration of sulfate in milligrams per liter

SO4Meth     Analytical method for sulfate.  Codes explained in table 2

Cl mg/L     Concentration of chloride in milligrams per liter

ClMeth      Analytical method for chloride.  Codes explained in table 2

F mg/L      Concentration of fluoride in milligrams per liter

FMeth       Analytical method for fluoride.  Codes explained in table 2

NO3 mg/L    Concentration of nitrate in milligrams per liter

NO3Meth     Analytical method for nitrate.  Codes explained in table 2

SiO2mg/L    Concentration of silica in milligrams per liter

SiO2Meth    Analytical method for silica.  Codes explained in table 2

NO2 mg/L    Concentration of nitrite in milligrams per liter

NO2Meth     Analytical method for nitrite.  Codes explained in table 2

NH4 mg/L    Concentration of ammonium in milligrams per liter

NH4Meth     Analytical method for ammonium.  Codes explained in table 2

PO4 mg/L    Concentration of phosphate in milligrams per liter

PO4Meth     Analytical method for phosphate.  Codes explained in table 2

Page 14

Table 3.--Explanation of column headings, digital data files DDB.DBF and

ADB.DBF--continued

________________________________________________________________________________

Heading                  Explanation of column heading

________________________________________________________________________________

Br mg/L     Concentration of bromide in milligrams per liter

BrMeth      Analytical method for bromide.  Codes explained in table 2

Alk mg/L    Alkalinity in milligrams per liter

AlkMeth     Analytical method for alkalinity.  Codes explained in table 2

pH          pH units

Temp �C     Temperature in degrees Celsius

Cond �S     Specific conductance in microsiemens

Notes       Field comments (only in DDB.DBF)

________________________________________________________________________________

Page 15

Table 4.--Explanation of codes under column headings SampSrc, Filter, Acid,

SampMeth, and MetCntmn in DDB.DBF and ADB.DBF

[Column headings are defined in table 3]

________________________________________________________________________________

Column    Code                         Explanation

________________________________________________________________________________

SampSrc     1    Stream

2    Spring

3    Lake

4    Well

7    Mine

8    Drill hole

Filter      1    0.45 �m

3    0.10 �m

4    Not filtered

Acid        1    Acidified to pH <2 with nitric acid

2    Not acidified

SampMeth    0    Not applicable

1    Sampled with plastic bottle suspended on cord

2    Sampled spout of flowing well

3    Sampled tank or reservoir at well

4    Sampled by plastic thief sampler

5    Sampled using stainless-steel barrels.  Samples stored in the

barrels for several months before filtration and acidification

MetCntmn    1    None apparent

2    Metal pipe or other metal in contact with water in well.

Sample did not pass through pipe

3    Water passed through metal pipe at some time before sampling.

Sample taken from metal tank

4    As 3, only non-metallic tank

5    Sample taken from flowing metal pipe that comes from well

6    Sampled in metal-cased hole by means of plastic thief sampler

7    Sampled with stainless-steel barrel and stored in the barrel

for several months

________________________________________________________________________________

Page 16

Table 5.--Comparison of iron and manganese concentrations in equivalent samples

filtered through 0.45 �m or 0.10 �m membrane filters

________________________________________________________________________________

0.45 �m                                    0.10 �m

________________________________________________________________________________

Field ID  Lab ID   Fe �g/L   Mn �g/L       Fe �g/L   Mn �g/L    Field ID  Lab ID

____________________________________       _____________________________________

W2010E   EFZ289     26        2.1           22        2.0      W2010G   EFZ395

W2012C   EFZ290      9.3      2.1            9.1      1.6      W2012E   EFZ396

W2021E   EFZ291     18        1.7           11        1.5      W2021G   EFZ397

W2023C   EFZ292      6.3      1.5            5.7       .8      W2023E   EFZ398

W2024C   EFZ293      7.2      1.4            4.8       1.6     W2024E   EFZ399

W2025C   EFZ294     13        1.7           12         1.2     W2025E   EFZ400

W2027C   EFZ295      5.3       .8            2.6        .7     W2027E   EFZ401

W2028G   EFZ296      4.5       .5            3.8        .4     W2028I   EFZ402

W2029G   EFZ297      7.7      1.6            6.5       1.3     W2029I   EFZ403

W2050B   EFZ300      8.2      2.8            3.5       2.6     W2050D   EFZ404

W2229C   EFZ301     18        5.8            3.1       5.9     W2229E   EFZ405

W2230C   EFZ302     19        3.4            3.8       3.5     W2230E   EFZ406

W2231A   EFZ303      9.7      1.1            5.7        .9     W2231C   EFZ407

W2232A   EFZ304     11        4.3            3.8       4.2     W2232C   EFZ408

W2233A   EFZ305      8.7      2.0            5.2       1.9     W2233C   EFZ409

W2234A   EFZ306      4.7     16              2.9      17       W2234C   EFZ410

W2234D   EFZ307      8.0      6.2            4.1       6.9     W2234F   EFZ411

W2235A   EFZ308      2.5      1.4            1.9       1.5     W2235C   EFZ412

W2236A   EFZ309      4.6       .5            4.1        .5     W2236C   EFZ413

W2237A   EFZ310      2.6      1.2            5.3       1.1     W2237C   EFZ414

W2238A   EFZ311      8.0       .8            6.9        .8     W2238C   EFZ415

W2239A   EFZ312     15        2.0            5.2       2.2     W2239C   EFZ416

W2240A   EFZ313      7.7       .7            2.4        .5     W2240C   EFZ417

W2241A   EFZ314      3.8       .5            2.6        .5     W2241C   EFZ418

W2242A   EFZ315     11        1.5            4.1       1.6     W2242C   EFZ419

W2243A   EFZ316     18        1.2            3.0       1.2     W2243C   EFZ420

W2244A   EFZ317      9.0      1.2            6.0       1.1     W2244C   EFZ421

W2245A   EFZ318      5.3       .7            2.7        .5     W2245C   EFZ422

W2246A   EFZ319      4.3       .6            7.2        .7     W2246C   EFZ423

W2247A   EFZ320     11        1.1            8.7       1.2     W2247C   EFZ424

W2250A   EFZ323     14         .5           23         1.9     W2250C   EFZ425

W2253A   EFZ326     27        3.7           15         4.3     W2253C   EFZ426

W2254A   EFZ327     13        9.8            5.0      11       W2254C   EFZ427

W2260A   EFZ333      8.4      1.4            7.0       1.2     W2260C   EFZ428

W2262A   EFZ335     69      110             65       140       W2262C   EFZ429

W2267A   EFZ340     45        2.8           51         3.7     W2267C   EFZ430

________________________________________________________________________________