## 1-1
Table 1–1. Holding times and preservation used for sediment samples collected from the Androscoggin River, Coos County, New Hampshire, August 23–27, 2010.
[Parameters are defined in table 2 of this report. Authority for maximum holding times was established by the U.S. Environmental Protection Agency (USEPA) where indicated. Where no USEPA guidance exists, holding times are listed as established by the U.S. Geological Survey (USGS) laboratory. °C, degrees Celsius]
Parameter | Authority | Preservation prior | Maximum prescribed holding time | Actual holding time
THg | USEPA | Frozen, -80 °C | 1 year | 150–154 days
MeHg | USGS | Frozen, -80 °C | 180 days a | 82–86 days
Hg(II)R | USGS | Frozen, -80 °C | 1 year b | 139–145 days
Fe(II)AE | USGS | Frozen, -80 °C | 1 yearb | 116–120 days
Fe(III)a | USGS | Frozen, -80 °C | 1 year b | 116–120 days
Fe(III)c | USGS | Frozen, -80 °C | 1 yearb | 117–121 days
TRS | USGS | Frozen, -80 °C | 180 days | 132–135 days
Eh | USGS | Refrigerated | Less than 24 hours | Less than 24 hours
pH | USGS | Refrigerated | Less than 24 hours | Less than 24 hours
Dry weight | USGS | Refrigerated | Undetermined | 63–67 days
Percent LOI | USGS | Refrigerated | Undetermined | 63–67 days
Bulk density | USGS | Refrigerated | Undetermined | 63–67 days
Porosity | USGS | Refrigerated | Undetermined | 63–67 days
Percent fines | USGS | Refrigerated | Indefinite | 63–67 days
pw.DOC | USEPA | Acidified/refrigerated | 28 days | 4–8 days
pw.Fe(II) | USEPA | Acidified/refrigerated | 6 months | 4–8 days
pw.SO4/Cl | USGS | Frozen | 180 days d | 102–105 days
pw.MeHg | USGS | Acidified/refrigerated | 180 days e | 138–142 days
pw.THg | USGS | Acidified/refrigerated | 180 days e | 102–105 days
aThe USEPA has no recommended holding time for methylmercury (MeHg) in sediment stored frozen. However, studies published in the literature indicate no significant change in MeHg concentrations for samples stored frozen for periods exceeding 8 months (Horvat and others, 1993).
bWhereas there has not been extensive testing of holding time on these operationally defined metal fractions, a study by the USEPA showed no significant change in acid-extractable metal concentrations for arsenic, copper, lead, or zinc after 1 year when samples were held frozen at -80 °C (Ainsworth and others, 2005).
cA holding time for this parameter has not been explicitly determined, but on the basis of many years of experience, samples held refrigerated in tightly sealed containers are stable for this parameter for at least 90 days.
dThe USEPA recommended holding time for dissolved anions in samples stored refrigerated is 28 days. However, there is no USEPA recommendation for samples stored frozen. In our experience, aqueous anion samples stored frozen at -80 °C are stable for at least 180 days, but likely for years.
eWhereas the USEPA prescribed holding time for acidified aqueous mercury samples, stored refrigerated, is 28 days, a rigorous examination of preservation techniques and holding times published in Parker and Bloom (2005) demonstrates that total mercury and MeHg samples preserved in this manner are stable for at least 300 days.

## 1-2
Table 1–2. Method blanks and method detection limits used for the study of the Androscoggin River, Coos County, New Hampshire.
[Parameters are defined in table 2 of this report. µmol/L, micromoles per liter; µmol/mL, micromole per millimeter; mg/L, milligrams per liter; mg/mL, milligrams per milliliter; n, number of samples; ng, nanograms; ng/L, nanograms per liter; pg, picograms; ppm, parts per million]
Parameter | Method detection limit | Method blank
THg | 0.5 ng/L at the level of the Tekran 2600 autoanalyzer | Less than 0.5 ng/L
MeHg | 0.5 pg (absolute mass as mercury) at the level of the MERX autoanalyzer | Less than 0.5 pg
Hg(II)R | 0.05 ng (absolute mass as mercury) at the level of the fluorescence detector | Less than 0.05 ng
Fe(II)AE | 0.01 mg/mL at the level of the spectrophotometric analysis | Less than 0.01 mg/mL
Fe(III)a | 0.01 mg/mL at the level of the spectrophotometric analysis | Less than 0.01 mg/mL
Fe(III)c | 0.01 mg/mL at the level of the spectrophotometric analysis | Less than 0.01 mg/mL
TRS | 0.2 µmol/mL at the level of the spectrophotometric analysis | Less than 0.2 µmol/mL
pw.DOC | 0.20 mg/L at the level of the DOC analyzer | 1.7±0.7 mg/L (n=2)
pw.Fe(ll) | 0.01 mg/mL at the level of the spectrophotometric analysis | Less than 0.01 mg/mL
pw.THg | 0.5 ng/L at the level of the Tekran 2600 autoanalyzer | Less than 0.5 ng/L
pw.MeHg | 0.5 pg (absolute mass as mercury) at the level of the MERX autoanalyzer | Less than 0.5 pg
pw.SO4 | 0.08 ppm or 0.8 µmol/L at the level of the Dionex ion chromatograph analysis | Less than 0.08 ppm, less than 0.8 µmol/L
pw.Cl | 0.07 ppm or 2.0 µmol/L at the level of the Dionex ion chromatograph analysis | 0.11 ppm, 3.1 µmol/L

## 1-3
Table 1–3. Laboratory analytical replicate results for sediment and pore-water samples from the Androscoggin River, Coos County, New Hampshire, collected August 23–27, 2010.
[Parameters are defined in table 2 of this report. dw, dry weight; g/cm3, grams per cubic centimeter; mg/g, milligrams per gram; mg/L, milligrams per liter; mL PW/cm3, milliliters pore water per cubic centimeter; mV, millivolts; µm, micrometer; µmol/g, micromoles per gram; µmol/L, micromoles per liter; n, number of samples; n.d., no data; ng/g, nanograms per gram; ng/L, nanograms per liter; %, percent]
Parameter | Units | Mean percent DEV1 | N2
THg | ng/g dw | 25.5 ±20.0 | 6
MeHg | ng/g dw | 6.3 ±3.6 | 2
Hg(II)R | ng/g dw | 16.8 ±11.4 | 8
Fe(II)AE | mg/g dw | 1.6 | 1
Fe(III)a | mg/g dw | n.d.3 | 1
Fe(III)c | mg/g dw | 47.3 4 | 1
TRS | µmol/g dw | 19.5 ±3.7 | 2
Eh | mV | n.d. | 0
pH | pH units | n.d. | 0
Dry weight | % ww | 0.9 ±0.8 | 6
Percent LOI | % dw | 5.1 ±3.2 | 6
Bulk density | g/cm3 | 0.7 ±0.8 | 6
Porosity | mL PW/cm3 | 1.2 ±1.6 | 6
Percent fines | % less than 64 µm | 2.9 ±3.3 | 9
TC | % | 15 ±10 | 6
TN | % | 5.1 ±4.6 | 6
pw.DOC | mg/L | 6.6 ±5.2 | 15
pw.Fe(ll) | mg/L | 1.5 ±1.4 | 15
pw.SO4 | µmol/L | 9.8 ±14.3 | 14
pw.Cl | µmol/L | 9.4 ±7.8 | 14
pw.MeHg | ng/L | 0.1 | 1
pw.THg | ng/L | 2.2 ±2.1 | 2
1The deviation (DEV) between n=2 analytical duplicates is calculated as DEV = ABS(X1 – X2)/2, where X1 and X2 represent analytical duplicates. The percent DEV is then calculated as DEV/mean×100. The mean percent DEV is listed along with the error if multiple analytical duplicates were assayed (as DEV for n equal to two pairs and as standard deviation (STDEV) for n greater than or equal to three pairs).
2Number of analytical duplicates analyzed for a listed parameter.
3The percent DEV could not be calculated because both replicates were below our analytical reporting limit of 0.1 mg/g for amorphous ferric iron (Fe(III)a).
4The percent DEV for this analyte pair was high because the crystalline ferric iron (Fe(III)c) concentration was very low (0.54 ±0.26 mg/g) and just above our analytical reporting limit of 0.1 mg/g.

## 1-4
Table 1–4. Matrix spike results for sediment and pore-water samples collected from the Androscoggin River, Coos County, New Hampshire, August 23–27, 2010.
[Parameters are defined in table 2 of this report. dw, dry weight; mg/g, milligrams per gram; mg/L, milligrams per liter; ng/g, nanograms per gram; ng/L, nanograms per liter; ww, wet weight]
Parameter | Units | Recovery, in percent | N1
THg | ng/g dw | 103 ±8 | 5
MeHg | ng/g ww | 95 ±3 | 4
Fe(II)AEa | mg/g dw | 96 | 1
Fe(III)c b | mg/g dw | 108 | 1
pw.DOC | mg/L | 106 ±6 | 3
pw.Fe(ll) | mg/L | 118 | 1
pw.SO4 | mg/L | 131 | 1
pw.Cl | mg/L | 111 | 1
pw.THg | ng/L | 110 ±1 | 2
1Number of analytical duplicates analyzed for a listed parameter.
2Spike consisted of ferrous sulfate solution.
3Spike consisted of commercial solid-phase powdered magnetite.

## 1-5
Table 1–5. Certified reference material recovery results for the study of the Androscoggin River, Coos County, New Hampshire.
[Parameters are defined in table 2 of this report. dw, dry weight; µg/g, micrograms per gram; ng/g, nanograms per gram]
Parameter | Units | CRM Used | Recovery, in percent | N1
Total mercury | µg/g dw | PACS-2 marine sediment | 92 ± 3 | 3
Methylmercury | ng/g dw | IAEA 405 estuarine sediment | 105 ± 1 | 2
1Number of analytical duplicates analyzed for a listed parameter.