Appendix 2. Statistics for concentrations, measurement values, loads, and flow-weighted measurements at water-quality sampling sites, 1999–2007.

[Data for 2003–2007; Fourmile Creek watershed was burned in the 2002 Hayman fire; SD, standard deviation; n, number of samples; nlt, number of less thans; %, percentile; 
ft3/s, cubic feet per second; NTU, nephelometric turbidity units; S/cm at 25 °C, microsiemens per centimeter at 25 degrees Celsius; mg/L, milligrams per liter;

CaCO3, calcium carbonate; N, nitrogen; P, phosphorus; C, carbon; g/L, micrograms per liter; mm, millimeters; NTU-ft3/s, nephelometric turbidity units cubic feet per second; 
S-ft3/cm-s at 25 °C, microsiemens cubic feet per centimeter seconds at 25 degrees Celsius; lb/d, pounds per day]

|  | 391344105133601 Fourmile Creek above YMCA Camp, near Deckers, Colo. |
| --- | --- |
|  | Concentrations and measured values 2003–2007, multiple detection limit log-probability statistics |
| Constituent concentration or measured value | Minimum | Mean | SD | 10% | 25% | Median 50% | 75% | 90% | Maximum | n | nlt | Censoring level |
| Streamflow, ft3/s | 0.20 | 7.08 | 25.3 | 0.26 | 0.70 | 1.89 | 3.17 | 11.1 | 170 | 46 | 0 |  |
| Turbidity, NTU | 1.1 | 1,020 | 3,400 | 4.2 | 7.3 | 62.0 | 326 | 2,610 | 19,900 | 43 | 0 |  |
| pH, standard units | 6.9 | 7.6 | 0.3 | 7.2 | 7.5 | 7.7 | 7.9 | 8.0 | 8.1 | 45 | 0 |  |
| Specific conductance, S/cm at 25 °C | 113 | 171 | 57 | 125 | 138 | 147 | 178 | 244 | 357 | 45 | 0 |  |
| Water temperature, in degrees Celsius | 3.6 | 14.4 | 4.3 | 9.0 | 11.1 | 15.0 | 17.4 | 20.0 | 22.0 | 40 | 0 |  |
| Calcium, mg/L | 13.3 | 22.4 | 8.16 | 15.1 | 16.6 | 20.3 | 25.7 | 34.3 | 50 | 41 | 0 |  |
| Magnesium, mg/L | 1.66 | 2.63 | 0.80 | 1.97 | 2.08 | 2.32 | 3.05 | 3.76 | 5.5 | 41 | 0 |  |
| Potassium, mg/L | 2.06 | 3.59 | 1.69 | 2.27 | 2.52 | 3.04 | 4.18 | 7.01 | 9.2 | 38 | 0 |  |
| Sodium, mg/L | 4.36 | 5.71 | 0.74 | 4.57 | 5.32 | 5.65 | 6.11 | 6.83 | 7.17 | 38 | 0 |  |
| Acid-neutralizing capacity, mg/L as CaCO3 | 22 | 58 | 38 | 28 | 37 | 43 | 75 | 97 | 233 | 38 | 0 |  |
| Chloride, mg/L | 1.83 | 2.51 | 0.45 | 1.92 | 2.10 | 2.42 | 2.93 | 3.10 | 3.48 | 39 | 0 |  |
| Silica, mg/L | 9.7 | 19.9 | 3.0 | 15.9 | 18.7 | 20.9 | 21.9 | 22.3 | 22.9 | 38 | 0 |  |
| Sulfate, mg/L | 7.11 | 15.4 | 3.88 | 9.68 | 13.0 | 15.0 | 18.0 | 20.5 | 24.3 | 41 | 0 |  |
| Nitrogen, dissolved, ammonia plus organic as N, mg/L | 0.09 | 0.23 | 0.27 | 0.10 | 0.13 | 0.18 | 0.20 | 0.26 | 1.6 | 38 | 0 |  |
| Nitrogen, total, ammonia plus organic as N, mg/L | 0.07 | 8.49 | 32.8 | 0.14 | 0.23 | 0.52 | 2.60 | 19.2 | 210 | 43 | 0 |  |
| Nitrogen, dissolved, ammonia as N, mg/L | 0.005 | 0.036 | 0.097 | 0.003 | 0.006 | 0.009 | 0.015 | 0.051 | 0.494 | 43 | 22 | 0.01, 0.015, 0.02 |
| Nitrogen, dissolved, nitrite plus nitrate as N, mg/L | 0.085 | 0.873 | 0.909 | 0.195 | 0.368 | 0.538 | 1.00 | 2.32 | 4.26 | 43 | 0 |  |
| Nitrogen, dissolved, nitrite as N, mg/L | 0.001 | 0.043 | 0.077 | 0.001 | 0.002 | 0.006 | 0.085 | 0.207 | 0.240 | 12 | 0 |  |
| Phosphorus, dissolved, ortho as P, mg/L | 0.005 | 0.019 | 0.027 | 0.006 | 0.008 | 0.012 | 0.017 | 0.031 | 0.160 | 43 | 1 | 0.006 |
| Phosphorus, dissolved as P, mg/L | 0.006 | 0.032 | 0.044 | 0.008 | 0.012 | 0.016 | 0.030 | 0.084 | 0.209 | 41 | 0 |  |
| Phosphorus, total as P, mg/L | 0.012 | 2.14 | 8.52 | 0.02 | 0.04 | 0.15 | 0.63 | 5.95 | 55.2 | 43 | 0 |  |
| Carbon, dissolved, organic as C, mg/L | 1.3 | 4.7 | 6.1 | 1.4 | 2.1 | 2.7 | 3.3 | 14.4 | 30 | 43 | 0 |  |
| Carbon, total, organic as C, mg/L | 1.5 | 151 | 649 | 2.4 | 3.0 | 7.1 | 28 | 290 | 4,160 | 42 | 0 |  |
| Ultraviolet absorption at 254 nanometers, filtered | 0.039 | 0.270 | 0.254 | 0.045 | 0.072 | 0.158 | 0.531 | 0.715 | 0.743 | 13 | 0 |  |
| Arsenic, dissolved, g/L | 0.14 | 0.88 | 0.71 | 0.17 | 0.32 | 0.57 | 1.60 | 2.07 | 2.08 | 12 | 0 |  |
| Arsenic, total recoverable, g/L | 0.3 | 5.4 | 12.4 | 0.4 | 0.5 | 1.6 | 4.0 | 16.4 | 75 | 40 | 10 | 0.6, 2 |
| Aluminum, dissolved, g/L | 6.8 | 12.7 | 4.9 | 7.1 | 8.3 | 11.7 | 16.2 | 21.0 | 21.2 | 12 | 0 |  |
| Aluminum, total recoverable, g/L | 242 | 49,800 | 103,000 | 273 | 762 | 8,100 | 66,000 | 277,000 | 364,000 | 12 | 0 |  |
| Cadmium, dissolved, g/L | 0.02 | 0.03 | 0.02 | 0.02 | 0.02 | 0.03 | 0.04 | 0.07 | 0.115 | 41 | 26 | 0.037, 0.04 |
| Cadmium, total recoverable, g/L | 0.01 | 4.3 | 19.3 | 0.02 | 0.06 | 0.27 | 0.99 | 7.4 | 123 | 41 | 1 | 0.01 |
| Copper, dissolved, g/L | 0.20 | 0.56 | 0.44 | 0.23 | 0.28 | 0.42 | 0.60 | 1.48 | 1.86 | 40 | 1 | 0.4 |
| Copper, total recoverable, g/L | 0.55 | 12.0 | 27.18 | 0.58 | 1.03 | 2.80 | 9.21 | 45.28 | 156 | 41 | 6 | 0.6, 1.2 |
| Iron, dissolved, g/L | 5 | 27 | 22 | 9 | 12 | 21 | 34 | 64 | 106 | 41 | 1 | 6 |
| Iron, total recoverable, g/L | 192 | 30,500 | 86,300 | 401 | 1,180 | 8,100 | 24,400 | 85,000 | 542,000 | 41 | 0 |  |
| Lead, dissolved, g/L | 0.04 | 0.07 | 0.05 | 0.03 | 0.04 | 0.06 | 0.08 | 0.14 | 0.27 | 41 | 24 | 0.08, 0.12 |
| Lead, total recoverable, g/L | 0.26 | 212 | 895 | 1 | 2 | 16 | 63 | 406 | 5,680 | 41 | 0 |  |
| Manganese, dissolved, g/L | 0.1 | 47 | 96 | 0.20 | 0.30 | 0.90 | 24 | 172 | 414 | 41 | 0 |  |
| Manganese, total recoverable, g/L | 14.2 | 4,670 | 19,900 | 34 | 74 | 505 | 1,460 | 7,940 | 127,000 | 41 | 0 |  |
| Mercury, dissolved, g/L | - | - | - | - | - | - | - | - | - | - | - |  |
| Mercury, total recoverable, g/L | 0.01 | 0.03 | 0.07 | 0.00 | 0.00 | 0.01 | 0.03 | 0.13 | 0.381 | 40 | 19 | 0.01, 0.018, 0.02, 0.045 |
| Zinc, dissolved, g/L | 0.05 | 0.98 | 0.82 | 0.40 | 0.53 | 0.72 | 1.0 | 2.1 | 4.4 | 40 | 6 | 1 |
| Zinc, total recoverable, g/L | 1.8 | 463 | 1,810 | 3 | 9 | 69 | 199 | 922 | 11,400 | 40 | 0 |  |
| Sediment, suspended, concentration, mg/L | 4 | 2,790 | 8,550 | 21 | 43 | 604 | 1,840 | 5,080 | 55,000 | 44 | 0 |  |
| Sediment, suspended, percent finer than 0.062 mm | 12 | 61 | 23 | 24 | 47 | 65 | 74 | 95 | 98 | 41 | 0 |  |
| Sediment, suspended, load, tons per day | 0.0162 | 611 | 3,800 | 0.03 | 0.14 | 1.2 | 16 | 117 | 25,245 | 44 | 0 |  |

Appendix 2. Statistics for concentrations, measurement values, loads, and flow-weighted measurements at water-quality sampling sites,  1999–2007.—Continued

[Data for 2003–2007; Fourmile Creek watershed was burned in the 2002 Hayman fire; SD, standard deviation; n, number of samples; nlt, number of less thans; %, percentile; 
ft3/s, cubic feet per second; NTU, nephelometric turbidity units; S/cm at 25 °C, microsiemens per centimeter at 25 degrees Celsius; mg/L, milligrams per liter;

CaCO3, calcium carbonate; N, nitrogen; P, phosphorus; C, carbon; g/L, micrograms per liter; mm, millimeters; NTU-ft3/s, nephelometric turbidity units cubic feet per second; 
S-ft3/cm-s at 25 °C, microsiemens cubic feet per centimeter seconds at 25 degrees Celsius; lb/d, pounds per day]

|  | 391344105133601 Fourmile Creek above YMCA Camp, near Deckers, Colo. |
| --- | --- |
|  | Loads and flow-weighted measurements 2003–2007, multiple detection limit log-probability statistics |
| Constituent load or streamflow-weighted value | Minimum | Mean | SD | 10% | 25% | Median 50% | 75% | 90% | Maximum | N |  |
| Streamflow, ft3/s | - | -- | -- | -- | -- | -- | -- | -- | - | - |  |
| Turbidity, NTU-ft3/s | 0.003 | 846 | 6,090 | 4.2 | 7.3 | 62 | 326 | 2,610 | 9,130 | 43 |  |
| pH, standard units | - | -- | -- | -- | -- | -- | -- | -- | - | - |  |
| Specific conductance, S-ft3/cm-s | 0.101 | 171 | 47.9 | 125 | 138 | 147 | 178 | 244 | 310 | 45 |  |
| Water temperature, in degrees Celsius | - | -- | -- | -- | -- | -- | -- | -- | - | - |  |
| Calcium, lb/d | 25.5 | 471 | 882 | 37.9 | 84.3 | 220 | 333 | 996 | 45,900 | 41 |  |
| Magnesium, lb/d | 3.06 | 57.5 | 110 | 4.36 | 9.84 | 25.4 | 39.4 | 139 | 5,050 | 41 |  |
| Potassium, lb/d | 3.76 | 74.6 | 152 | 5.20 | 11.4 | 30.8 | 48.8 | 149 | 8,450 | 38 |  |
| Sodium, lb/d | 8.45 | 102 | 165 | 9.16 | 19.6 | 57.1 | 90.1 | 183 | 4,200 | 38 |  |
| Acid-neutralizing capacity, lb/d as CaCO3 | 62.7 | 1,020 | 1,900 | 110 | 198 | 454 | 685 | 1,460 | 111,000 | 38 |  |
| Chloride, lb/d | 3.24 | 48.2 | 86.3 | 3.56 | 9.21 | 23.4 | 38.3 | 84.5 | 2,950 | 39 |  |
| Silica, lb/d | 25.2 | 348 | 553 | 30.8 | 73.0 | 193 | 335 | 687 | 8,900 | 38 |  |
| Sulfate, lb/d | 8.45 | 422 | 998 | 20.1 | 47.0 | 171 | 293 | 1,121 | 22,300 | 41 |  |
| Nitrogen, dissolved, ammonia plus organic as N, lb/d | 0.108 | 3.70 | 7.97 | 0.233 | 0.490 | 1.55 | 2.22 | 11.5 | 76.7 | 38 |  |
| Nitrogen, total, ammonia plus organic as N, lb/d | 0.216 | 244 | 2,780 | 0.38 | 1.10 | 4.71 | 36.1 | 314 | 193,000 | 43 |  |
| Nitrogen, dissolved, ammonia as N, lb/d | 0.006 | 0.60 | 2.47 | 0.011 | 0.026 | 0.068 | 0.300 | 2.24 | 29.4 | 43 |  |
| Nitrogen, dissolved, nitrite plus nitrate as N, lb/d | 0.115 | 35.5 | 163 | 0.347 | 1.33 | 4.61 | 14.8 | 65.3 | 2,170 | 43 |  |
| Nitrogen, dissolved, nitrite as N, lb/d | 0.001 | 3.16 | 19.0 | 0.001 | 0.004 | 0.019 | 0.863 | 155 | 220 | 12 |  |
| Phosphorus, dissolved, ortho as P, lb/d | 0.012 | 0.279 | 0.541 | 0.021 | 0.040 | 0.117 | 0.242 | 0.749 | 4.59 | 43 |  |
| Phosphorus, dissolved as P, lb/d | 0.013 | 0.76 | 2.46 | 0.022 | 0.060 | 0.140 | 0.321 | 1.67 | 138 | 41 |  |
| Phosphorus, total as P, lb/d | 0.047 | 70 | 937 | 0.069 | 0.189 | 1.22 | 7.82 | 102 | 50,700 | 43 |  |
| Carbon, dissolved, organic as C, lb/d | 1.90 | 134 | 444 | 3.17 | 9.61 | 31.8 | 52.9 | 264 | 27,500 | 43 |  |
| Carbon, total, organic as C, lb/d | 3.19 | 3,490 | 37,700 | 6.24 | 24.2 | 63.2 | 447 | 4,960 | 3,820,000 | 42 |  |
| Ultraviolet absorption at 254 nanometers, filtered | 0.008 | 3.73 | 15.3 | 0.010 | 0.048 | 0.157 | 1.45 | 77.2 | 126 | 13 |  |
| Arsenic, dissolved, lb/d | 0.0005 | 0.055 | 0.176 | 0.0005 | 0.002 | 0.002 | 0.030 | 1.50 | 0.051 | 11 |  |
| Arsenic, total recoverable, lb/d | 0.0007 | 0.221 | 1.40 | 0.001 | 0.004 | 0.013 | 0.068 | 0.385 | 0.635 | 40 |  |
| Aluminum, dissolved, lb/d | 0.008 | 0.64 | 1.70 | 0.009 | 0.024 | 0.150 | 0.242 | 10.51 | 0.785 | 11 |  |
| Aluminum, total recoverable, lb/d | 0.503 | 8,450 | 52,300 | 0.82 | 4.05 | 34.0 | 1,080 | 268,000 | 2,220 | 11 |  |
| Cadmium, dissolved, lb/d | 0.00003 | 0.0007 | 0.002 | 0.00004 | 0.0001 | 0.0002 | 0.0004 | 0.001 | 0.003 | 41 |  |
| Cadmium, total recoverable, lb/d | 0.0001 | 0.114 | 1.53 | 0.00009 | 0.0003 | 0.002 | 0.014 | 0.102 | 0.327 | 41 |  |
| Copper, dissolved, lb/d | 0.0003 | 0.015 | 0.039 | 0.00055 | 0.002 | 0.005 | 0.009 | 0.026 | 0.055 | 40 |  |
| Copper, total recoverable, lb/d | 0.0007 | 0.51 | 3.84 | 0.002 | 0.008 | 0.021 | 0.134 | 0.884 | 1.94 | 41 |  |
| Iron, dissolved, lb/d | 0.007 | 0.648 | 1.69 | 0.029 | 0.084 | 0.192 | 0.542 | 1.21 | 2.84 | 41 |  |
| Iron, total recoverable, lb/d | 1.13 | 1,690 | 18,800 | 2 | 6 | 52 | 327 | 2,090 | 3,570 | 41 |  |
| Lead, dissolved, lb/d | 0.0001 | 0.003 | 0.005 | 0.0001 | 0.0001 | 0.0005 | 0.001 | 0.004 | 0.073 | 41 |  |
| Lead, total recoverable, lb/d | 0.002 | 8.31 | 141 | 0.003 | 0.010 | 0.097 | 0.807 | 5.84 | 5,210 | 41 |  |
| Manganese, dissolved, lb/d | 0.0001 | 1.07 | 13.2 | 0.001 | 0.003 | 0.015 | 0.178 | 1.24 | 380 | 41 |  |
| Manganese, total recoverable, lb/d | 0.102 | 134 | 1,530 | 0.194 | 0.627 | 3.28 | 21.9 | 145 | 117,000 | 41 |  |
| Mercury, dissolved, lb/d | 0.0002 | 0.009 | 0.055 | 0.00001 | 0.00005 | 0.00009 | 0.0005 | 0.003 | 0.0003 | 40 |  |
| Mercury, total recoverable, lb/d | 0.00001 | 0.001 | 0.006 | 0.001 | 0.002 | 0.009 | 0.023 | 0.053 | 0.350 | 40 |  |
| Zinc, dissolved, lb/d | 0.0004 | 0.029 | 0.088 | 0.00066 | 0.002 | 0.009 | 0.023 | 0.053 | 2.57 | 40 |  |
| Zinc, total recoverable, lb/d | 0.009 | 265 | 1,650 | 0.015 | 0.055 | 0.407 | 3.03 | 17.5 | 10,500 | 40 |  |
| Sediment, suspended, concentration, tons per day | - | -- | -- | -- | -- | -- | -- | -- | - | - |  |
| Sediment, suspended, percent finer than 0.062 mm | - | -- | -- | -- | -- | -- | -- | -- | - | - |  |
| Sediment, suspended, load, tons per day | 0.016 | 146 | 2,840 | 0.035 | 0.143 | 1.16 | 15.8 | 117 | 25,200 | 44 |  |

Appendix 2. Statistics for concentrations, measurement values, loads, and flow-weighted measurements at water-quality sampling sites, 1999–2007.—Continued

[Data for 2003–2007; Pine Creek watershed was not burned by any known historic wildfire; SD, standard deviation; n, number of samples; nlt, number of less thans; %, percentile; 
ft3/s, cubic feet per second; NTU, nephelometric turbidity units; S/cm at 25 °C, microsiemens per centimeter at 25 degrees Celsius; mg/L, milligrams per liter;

CaCO3, calcium carbonate; N, nitrogen; P, phosphorus; C, carbon; g/L, micrograms per liter; mm, millimeters; NTU-ft3/s, nephelometric turbidity units cubic feet per second; 
S-ft3/cm-s at 25 °C, microsiemens cubic feet per centimeter seconds at 25 degrees Celsius; lb/d, pounds per day]

|  | 392023105070601 Pine Creek near Sprucewood, Colo. |
| --- | --- |
|  | Concentrations and measured values 2003–2007, multiple detection limit log-probability statistics |
| Constituent concentration or measured value | Minimum | Mean | SD | 10% | 25% | Median 50% | 75% | 90% | Maximum | N | NLT | Censoring level |
| Streamflow, ft3/s | 0.071 | 2.11 | 3.57 | 0.07 | 0.16 | 0.56 | 2.0 | 7.02 | 15.1 | 41 | 4 | 0.1 |
| Turbidity, NTU | 0.6 | 4.2 | 7.1 | 0.7 | 0.9 | 1.8 | 3.8 | 9.8 | 35 | 39 | 4 | 2 |
| pH, standard units | 7.3 | 7.7 | 0.24 | 7.4 | 7.6 | 7.8 | 7.9 | 8.1 | 8.3 | 38 | 0 |  |
| Specific conductance, S/cm at 25 °C | 57 | 116 | 35 | 78 | 94 | 115 | 130 | 152 | 239 | 40 | 0 |  |
| Water temperature, in degrees Celsius | 2 | 9.0 | 4.2 | 3.0 | 5.4 | 9.1 | 12.7 | 15.1 | 15.5 | 34 | 0 |  |
| Calcium, mg/L | 9.39 | 14.8 | 4.09 | 9.99 | 11.9 | 14.9 | 16.7 | 19.9 | 28.4 | 36 | 0 |  |
| Magnesium, mg/L | 1.31 | 2.2 | 0.72 | 1.49 | 1.71 | 2.12 | 2.46 | 3.100 | 4.69 | 36 | 0 |  |
| Potassium, mg/L | 1.32 | 1.83 | 0.32 | 1.35 | 1.48 | 1.88 | 2.08 | 2.23 | 2.4 | 26 | 0 |  |
| Sodium, mg/L | 3.2 | 5.11 | 1.94 | 3.63 | 3.96 | 4.81 | 5.22 | 7.17 | 12.4 | 26 | 0 |  |
| Acid-neutralizing capacity, mg/L as CaCO3 | 23 | 43.9 | 15.9 | 24.0 | 32.0 | 43.0 | 52.3 | 68.3 | 89 | 26 | 0 |  |
| Chloride, mg/L | 0.87 | 2.25 | 2.84 | 1.06 | 1.14 | 1.37 | 1.90 | 3.27 | 14.9 | 29 | 0 |  |
| Silica, mg/L | 15.6 | 18.1 | 1.61 | 16.0 | 16.5 | 18.0 | 19.1 | 20.2 | 21.5 | 26 | 0 |  |
| Sulfate, mg/L | 6.5 | 9.20 | 1.35 | 7.47 | 8.33 | 9.00 | 10.0 | 11.2 | 12.5 | 36 | 0 |  |
| Nitrogen, dissolved, ammonia plus organic as N, mg/L | 0.06 | 0.50 | 1.56 | 0.07 | 0.10 | 0.16 | 0.28 | 0.66 | 9.4 | 36 | 1 | 0.1 |
| Nitrogen, total, ammonia plus organic as N, mg/L | 0.07 | 0.18 | 0.11 | 0.10 | 0.10 | 0.15 | 0.20 | 0.31 | 0.63 | 38 | 0 |  |
| Nitrogen, dissolved, ammonia as N, mg/L | 0.005 | 0.012 | 0.018 | 0.003 | 0.005 | 0.008 | 0.012 | 0.017 | 0.113 | 38 | 29 | 0.01, 0.015, 0.02 |
| Nitrogen, dissolved, nitrite plus nitrate as N, mg/L | 0.015 | 0.124 | 0.124 | 0.021 | 0.052 | 0.097 | 0.157 | 0.271 | 0.703 | 38 | 1 | 0.022 |
| Nitrogen, dissolved, nitrite as N, mg/L | 0.001 | - | - | - | - | - | - | - | 0.0023 | - | - |  |
| Phosphorus, dissolved, ortho as P, mg/L | 0.003 | 0.005 | 0.002 | 0.003 | 0.004 | 0.004 | 0.006 | 0.008 | 0.012 | 38 | 14 | 0.006, 0.007 |
| Phosphorus, dissolved as P, mg/L | 0.002 | 0.006 | 0.003 | 0.003 | 0.004 | 0.006 | 0.007 | 0.009 | 0.013 | 37 | 3 | 0.004, 0.006 |
| Phosphorus, total as P, mg/L | 0.004 | 0.019 | 0.020 | 0.005 | 0.008 | 0.013 | 0.018 | 0.055 | 0.1 | 38 | 0 |  |
| Carbon, dissolved, organic as C, mg/L | 1.5 | 3.61 | 1.69 | 1.94 | 2.25 | 3.20 | 4.60 | 6.52 | 7.8 | 37 | 0 |  |
| Carbon, total, organic as C, mg/L | 1.2 | 3.8 | 2.3 | 2.2 | 2.3 | 3.1 | 4.3 | 8.2 | 11.7 | 30 | 0 |  |
| Ultraviolet absorption at 254 nanometers, filtered | 0.034 | 0.070 | 0.030 | 0.034 | 0.047 | 0.063 | 0.089 | 0.132 | 0.132 | 9 | 0 |  |
| Arsenic, dissolved, g/L | 0.14 | 0.15 | 0.01 | 0.13 | 0.14 | 0.15 | 0.16 | 0.17 | 0.26 | 9 | 6 | 0.2, 0.26 |
| Arsenic, total recoverable, g/L | 0.09 | 0.27 | 0.20 | 0.10 | 0.13 | 0.21 | 0.30 | 0.65 | 2 | 36 | 20 | 0.6, 2 |
| Aluminum, dissolved, g/L | 1.3 | 5.1 | 3.5 | 1.3 | 2.4 | 4.2 | 8.0 | 11.2 | 11.2 | 9 | 0 |  |
| Aluminum, total recoverable, g/L | 23 | 221 | 267 | 23 | 31 | 91 | 440 | 772 | 772 | 9 | 0 |  |
| Cadmium, dissolved, g/L | 0.02 | 0.02 | 0.01 | 0.02 | 0.02 | 0.02 | 0.03 | 0.03 | 0.04 | 36 | 33 | 0.037, 0.04 |
| Cadmium, total recoverable, g/L | 0.01 | 0.02 | 0.01 | 0.01 | 0.01 | 0.02 | 0.03 | 0.03 | 0.06 | 36 | 23 | 0.01, 0.02, 0.035, 0.04 |
| Copper, dissolved, g/L | 0.22 | 0.52 | 0.19 | 0.31 | 0.39 | 0.48 | 0.60 | 0.80 | 1.1 | 35 | 1 | 1 |
| Copper, total recoverable, g/L | 0.4 | 1.13 | 1.30 | 0.43 | 0.50 | 0.70 | 1.25 | 2.07 | 7.33 | 36 | 8 | 0.6, 1.2 |
| Iron, dissolved, g/L | 5 | 16 | 20 | 5.0 | 6.1 | 8.5 | 17 | 36 | 116 | 36 | 2 | 6 |
| Iron, total recoverable, g/L | 23 | 415 | 645 | 51 | 75 | 182 | 344 | 1,430 | 3,050 | 36 | 0 |  |
| Lead, dissolved, g/L | 0.04 | 0.06 | 0.03 | 0.03 | 0.04 | 0.05 | 0.07 | 0.09 | 0.17 | 36 | 28 | 0.08, 0.12 |
| Lead, total recoverable, g/L | 0.03 | 0.39 | 0.61 | 0.05 | 0.08 | 0.15 | 0.31 | 1.47 | 2.84 | 36 | 1 | 0.06 |
| Manganese, dissolved, g/L | 0.1 | 3.6 | 8.8 | 0.2 | 0.3 | 0.9 | 2.1 | 10 | 41.7 | 36 | 0 |  |
| Manganese, total recoverable, g/L | 1.4 | 16 | 22 | 2.5 | 4 | 7.9 | 15 | 58 | 84.3 | 36 | 0 |  |
| Mercury, dissolved, g/L | - | - | - | - | - | - | - | - | - | - | - |  |
| Mercury, total recoverable, g/L | - | 0.005 | 0.003 | 0.002 | 0.002 | 0.004 | 0.006 | 0.009 | - | 36 | 31 | 0.01, 0.018, 0.02 |
| Zinc, dissolved, g/L | 0.5 | 1.1 | 0.5 | 0.6 | 0.7 | 1 | 1.3 | 2 | 2.7 | 35 | 1 | 1 |
| Zinc, total recoverable, g/L | 1 | 3.2 | 3.2 | 1.0 | 1.5 | 2 | 3 | 9 | 15 | 35 | 3 | 2 |
| Sediment, suspended, concentration, mg/L | <1 | 12 | 16 | 1 | 2 | 8 | 14 | 30 | 83 | 38 | 2 | 1 |
| Sediment, suspended, percent finer than 0.062 mm | 71 | 78 | 6 | 57 | 72 | 79 | 84 | 69 | 86 | 7 | 0 |  |
| Sediment, suspended, load, tons per day | 0.00038 | 0.161 | 0.571 | 0.00054 | 0.00172 | 0.00670 | 0.0568 | 0.364 | 3.38 | 38 | 0 |  |

Appendix 2. Statistics for concentrations, measurement values, loads, and flow-weighted measurements at water-quality sampling sites, 1999–2007.—Continued

[Data for 2003–2007; Fourmile Creek watershed was burned in the 2002 Hayman fire; SD, standard deviation; n, number of samples; nlt, number of less thans; %, percentile; 
ft3/s, cubic feet per second; NTU, nephelometric turbidity units; S/cm at 25 °C, microsiemens per centimeter at 25 degrees Celsius; mg/L, milligrams per liter;

CaCO3, calcium carbonate; N, nitrogen; P, phosphorus; C, carbon; g/L, micrograms per liter; mm, millimeters; NTU-ft3/s, nephelometric turbidity units cubic feet per second; 
S-ft3/cm-s at 25 °C, microsiemens cubic feet per centimeter seconds at 25 degrees Celsius; lb/d, pounds per day]

|  | 392023105070601 Pine Creek near Sprucewood, Colo. |
| --- | --- |
|  | Loads and flow-weighted measurements 2003–2007, multiple detection limit log-probability statistics |
|  | Minimum | Mean | SD | 10% | 25% | Median 50% | 75% | 90% | Maximum | N |  |
| Streamflow, ft3/s | - | - | - | - | - | - | - | - | - | - |
| Turbidity, NTU-ft3/s | 0.080 |  |  |  |  |  |  |  | 529 |  |
| pH, standard units | - | - | - | - | - | - | - | - | - | - |
| Specific conductance, S-ft3/cm-s | 8.73 | 183 | 278 | 18.5 | 22.0 | 62.9 | 222 | 653 | 1,160 | 40 |
| Water temperature, in degrees Celsius |  | - | - | - | - | - | - | - |  | - |
| Calcium, lb/d | 6.56 | 136 | 195 | 11.1 | 14.7 | 45.6 | 164 | 484 | 766 | 36 |
| Magnesium, lb/d | 0.88 | 20.3 | 29.2 | 1.78 | 2.27 | 6.91 | 24.4 | 72.7 | 111 | 36 |
| Potassium, lb/d | 0.80 | 16.7 | 27.7 | 1.04 | 1.52 | 4.90 | 17.1 | 65.2 | 112 | 26 |
| Sodium, lb/d | 1.92 | 43.3 | 69.8 | 2.91 | 4.48 | 13.2 | 44.9 | 72.9 | 261 | 26 |
| Acid-neutralizing capacity, lb/d as CaCO3 | 16.9 | 318 | 483 | 30.3 | 39.6 | 108 | 365 | 1,080 | 1,960 | 26 |
| Chloride, lb/d | 0.41 | 15.7 | 24.7 | 0.90 | 1.1 | 4.28 | 13.4 | 68.1 | 91.3 | 27 |
| Silica, lb/d | 7.28 | 195 | 331 | 9.59 | 13.3 | 50.0 | 201 | 750 | 1,270 | 26 |
| Sulfate, lb/d | 3.65 | 110 | 173 | 4.46 | 8.63 | 33.0 | 119 | 473 | 599 | 36 |
| Nitrogen, dissolved, ammonia plus organic as N, lb/d | 0.0307 | 5.90 | 13.8 | 0.0543 | 0.118 | 0.649 | 2.185 | 26.0 | 66.5 | 36 |
| Nitrogen, total, ammonia plus organic as N, lb/d | 0.0540 | 3.93 | 9.64 | 0.0756 | 0.0996 | 0.428 | 1.91 | 15.5 | 51.4 | 38 |
| Nitrogen, dissolved, ammonia as N, lb/d | 0.00340 | 0.202 | 0.363 | 0.0074 | 0.0095 | 0.0430 | 0.171 | 0.707 | 1.63 | 38 |
| Nitrogen, dissolved, nitrite plus nitrate as N, lb/d | 0.00864 | 2.84 | 6.16 | 0.0176 | 0.0518 | 0.349 | 0.903 | 16.0 | 27.8 | 38 |
| Nitrogen, dissolved, nitrite as N, lb/d | 0.00088 | 0.0171 | 0.0316 | 0.0009 | 0.0012 | 0.0016 | 0.0277 | 0.0908 | 0.0908 | 9 |
| Phosphorus, dissolved, ortho as P, lb/d | 0.00153 | 0.0723 | 0.144 | 0.0032 | 0.0045 | 0.0205 | 0.0535 | 0.174 | 0.719 | 38 |
| Phosphorus, dissolved as P, lb/d | 0.00108 | 0.0957 | 0.183 | 0.0023 | 0.0053 | 0.0165 | 0.0801 | 0.389 | 0.779 | 37 |
| Phosphorus, total as P, lb/d | 0.00405 | 0.576 | 1.563 | 0.0048 | 0.0089 | 0.0298 | 0.172 | 2.20 | 8.15 | 38 |
| Carbon, dissolved, organic as C, lb/d | 1.00 | 61.9 | 120 | 1.61 | 2.48 | 8.18 | 53.9 | 242 | 530 | 37 |
| Carbon, total, organic as C, lb/d | 1.13 | 94.5 | 209 | 1.19 | 1.69 | 8.96 | 61.3 | 453 | 954 | 30 |
| Ultraviolet absorption at 254 nanometers, filtered | - | - | - | - | - | - | - | - | - | - |
| Arsenic, dissolved, lb/d | 0.000092 | 0.0020 | 0.0036 | 0.000092 | 0.000107 | 0.000216 | 0.0031 | 0.010 | 0.0103 | 9 |
| Arsenic, total recoverable, lb/d | 0.000068 | 0.0162 | 0.0293 | 0.00011 | 0.00041 | 0.00383 | 0.016 | 0.058 | 0.14 | 36 |
| Aluminum, dissolved, lb/d | 0.000702 | 0.0776 | 0.154 | 0.00070 | 0.00120 | 0.00616 | 0.117 | 0.442 | 0.442 | 9 |
| Aluminum, total recoverable, lb/d | 0.0186 | 4.59 | 10.3 | 0.0186 | 0.0267 | 0.118 | 5.19 | 30.5 | 30.5 | 9 |
| Cadmium, dissolved, lb/d | 0.000011 | 0.00049 | 0.00081 | 0.000020 | 0.000031 | 0.00014 | 0.00050 | 0.00174 | 0.00326 | 36 |
| Cadmium, total recoverable, lb/d | 0.000012 | 0.00040 | 0.00072 | 0.000016 | 0.000029 | 0.00011 | 0.00042 | 0.00183 | 0.00326 | 36 |
| Copper, dissolved, lb/d | 0.000119 | 0.0073 | 0.0122 | 0.00020 | 0.00039 | 0.0018 | 0.0089 | 0.0248 | 0.0557 | 35 |
| Copper, total recoverable, lb/d | 0.000194 | 0.0184 | 0.0390 | 0.00032 | 0.00050 | 0.0036 | 0.0134 | 0.0539 | 0.188 | 36 |
| Iron, dissolved, lb/d | 0.00270 | 0.236 | 0.500 | 0.00415 | 0.0120 | 0.0312 | 0.245 | 0.921 | 2.10 | 36 |
| Iron, total recoverable, lb/d | 0.0248 | 16.5 | 47.3 | 0.0424 | 0.116 | 0.397 | 3.50 | 66.8 | 249 | 36 |
| Lead, dissolved, lb/d | 0.000030 | 0.00117 | 0.00210 | 0.000043 | 0.000080 | 0.000259 | 0.00114 | 0.00358 | 0.00978 | 36 |
| Lead, total recoverable, lb/d | 0.000032 | 0.0158 | 0.0447 | 0.000054 | 0.000099 | 0.000320 | 0.00402 | 0.0676 | 0.232 | 36 |
| Manganese, dissolved, lb/d | 0.000194 | 0.0170 | 0.0369 | 0.000318 | 0.00111 | 0.00391 | 0.0140 | 0.0527 | 0.160 | 36 |
| Manganese, total recoverable, lb/d | 0.0011 | 0.473 | 1.33 | 0.0022 | 0.0047 | 0.021 | 0.126 | 1.86 | 6.79 | 36 |
| Mercury, dissolved, lb/d | - | - | - | - | - | - | - | - | - | - |
| Mercury, total recoverable, lb/d | 0.0000049 | 0.000157 | 0.000270 | 0.0000054 | 0.0000109 | 0.0000526 | 0.000156 | 0.000587 | 0.00130 | 36 |
| Zinc, dissolved, lb/d | 0.00032 | 0.0123 | 0.0189 | 0.00048 | 0.00091 | 0.00499 | 0.0160 | 0.0416 | 0.0906 | 35 |
| Zinc, total recoverable, lb/d | 0.00081 | 0.0977 | 0.246 | 0.00097 | 0.00151 | 0.00691 | 0.0276 | 0.451 | 1.21 | 35 |
| Sediment, suspended, concentration, tons per day |  | - | - | - | - | - | - | - |  | - |
| Sediment, suspended, percent finer than 0.062 mm |  | - | - | - | - | - | - | - |  | - |
| Sediment, suspended, load, tons per day | 0.000383 | 0.177 | 0.575 | 0.000540 | 0.00172 | 0.00670 | 0.0585 | 0.610 | 3.38 | 38 |

Appendix 2. Statistics for concentrations, measurement values, loads, and flow-weighted measurements at water-quality sampling sites, 1999–2007.—Continued

[Data for period 1999–2000, which was before the Hinman fire burned the Lost Dog Creek watershed in 2002; SD, standard deviation; n, number of samples; nlt, number of less thans; %, percentile; ft3/s, cubic feet per second; NTU, nephelometric turbidity units; S/cm at 25 °C, microsiemens per centimeter at 25 degrees Celsius; mg/L, milligrams per liter; CaCO3, calcium carbonate; N, nitrogen; P, phosphorus; C, carbon; g/L, micrograms per liter; mm, millimeters; NTU-ft3/s, nephelometric turbidity units cubic feet per second; S-ft3/cm-s at 25 °C, microsiemens cubic feet per centimeter seconds at 25 degrees Celsius; lb/d, pounds per day]

|  | 404750106454200 Lost Dog Creek above mouth near Clark, Colo. |
| --- | --- |
|  | Concentrations and measured values 1999–2000, multiple detection limit log-probability statistics |
| Constituent concentration or measured value | Minimum | Mean | SD | 10% | 25% | Median 50% | 75% | 90% | Maximum | N | NLT | Censoring level |
| Streamflow, ft3/s | 2.2 | 13.6 | 13.6 | 2.52 | 4.10 | 9.10 | 20.0 | 40.2 | 41.0 | 11 | 0 |  |
| Turbidity, NTU | 0.26 | 1.35 | 2.25 | 0.27 | 0.33 | 0.60 | 1.50 | 6.70 | 8.0 | 11 | 0 |  |
| pH, standard units | 7.1 | 7.4 | 0.2 | 7.1 | 7.3 | 7.4 | 7.5 | 7.6 | 7.6 | 11 | 0 |  |
| Specific conductance, S/cm at 25 °C | 21 | 32 | 8 | 21 | 22 | 35 | 39 | 43 | 44 | 11 | 0 |  |
| Water temperature, in degrees Celsius | 0.1 | 4.4 | 4.2 | 0.1 | 0.4 | 3.5 | 9.9 | 10.5 | 10.5 | 11 | 0 |  |
| Calcium, mg/L | 2.20 | 3.57 | 0.95 | 2.24 | 2.38 | 3.91 | 4.40 | 4.76 | 4.82 | 11 | 0 |  |
| Magnesium, mg/L | 0.59 | 0.98 | 0.29 | 0.60 | 0.64 | 1.04 | 1.26 | 1.32 | 1.33 | 11 | 0 |  |
| Potassium, mg/L | 0.37 | 0.45 | 0.08 | 0.37 | 0.39 | 0.42 | 0.49 | 0.62 | 0.64 | 11 | 0 |  |
| Sodium, mg/L | 0.97 | 1.62 | 0.43 | 0.99 | 1.18 | 1.74 | 2.02 | 2.11 | 2.11 | 11 | 0 |  |
| Acid-neutralizing capacity, mg/L as CaCO3 | 9 | 16 | 5 | 9 | 10 | 17 | 20 | 22 | 22 | 10 | 0 |  |
| Chloride, mg/L | 0.14 | 0.27 | 0.09 | 0.14 | 0.17 | 0.28 | 0.34 | 0.39 | 0.40 | 11 | 1 | 0.29 |
| Silica, mg/L | 6.6 | 10.2 | 2.6 | 6.7 | 7.3 | 10.8 | 13.0 | 13.6 | 13.6 | 11 | 0 |  |
| Sulfate, mg/L | 0.73 | 1.00 | 0.19 | 0.74 | 0.81 | 1.02 | 1.10 | 1.30 | 1.33 | 11 | 0 |  |
| Nitrogen, dissolved, ammonia plus organic as N, mg/L | 0.060 | 0.152 | 0.060 | 0.064 | 0.100 | 0.140 | 0.200 | 0.250 | 0.260 | 11 | 0 |  |
| Nitrogen, total, ammonia plus organic as N, mg/L | 0.070 | 0.172 | 0.058 | 0.080 | 0.140 | 0.160 | 0.230 | 0.264 | 0.270 | 11 | 0 |  |
| Nitrogen, dissolved, ammonia as N, mg/L | 0.002 | 0.005 | 0.007 | - | - | 0.003 | - | - | 0.026 | 11 | 3 | 0.002 |
| Nitrogen, dissolved, nitrite plus nitrate as N, mg/L | 0.005 | 0.039 | 0.034 | 0.005 | 0.018 | 0.033 | 0.045 | 0.112 | 0.120 | 11 | 1 | 0.005 |
| Nitrogen, dissolved, nitrite as N, mg/L | 0.001 | 0.001 | 0.000 | - | - | 0.001 | - | - | 0.002 | 11 | 6 | 0.001 |
| Phosphorus, dissolved, ortho as P, mg/L | - | - | - | - | - | - | - | - | - | - | - |  |
| Phosphorus, dissolved as P, mg/L | 0.003 | 0.004 | 0.001 | 0.003 | 0.003 | 0.004 | 0.004 | 0.005 | 0.006 | 11 | 4 | 0.004, 0.006 |
| Phosphorus, total as P, mg/L | 0.004 | 0.006 | 0.002 | 0.004 | 0.005 | 0.006 | 0.008 | 0.010 | 0.010 | 11 | 1 | 0.008 |
| Carbon, dissolved, organic as C, mg/L | - | - | - | - | - | - | - | - | - | - | - |  |
| Carbon, total, organic as C, mg/L | - | - | - | - | - | - | - | - | - | - | - |  |
| Ultraviolet absorption at 254 nanometers, filtered | - | - | - | - | - | - | - | - | - | - | - |  |
| Arsenic, dissolved, g/L | - | - | - | - | - | - | - | - | - | - | - | 0.3 |
| Arsenic, total recoverable, g/L | - | - | - | - | - | - | - | - | - | - | - | 2 |
| Aluminum, dissolved, g/L | - | - | - | - | - | - | - | - | - | - | - |  |
| Aluminum, total recoverable, g/L | - | - | - | - | - | - | - | - | - | - | - |  |
| Cadmium, dissolved, g/L | <0.1 | - | - | - | - | - | - | - | <1 | - | - | 1, 0.1 |
| Cadmium, total recoverable, g/L | <0.1 | - | - | - | - | - | - | - | <1 | - | - | 1, 0.1 |
| Copper, dissolved, g/L | 0.9 | 1.7 | 1.6 | - | - | 1.0 | - | - | 4.9 | 6 | 3 | 1, 1.3 |
| Copper, total recoverable, g/L | 1.0 | 1.3 | 1.5 | - | - | 0.8 | - | - | 4.0 | 6 | 3 | 1 |
| Iron, dissolved, g/L | 50 | 85 | 33 | - | - | 78 | - | - | 130 | 6 | 0 | 10 |
| Iron, total recoverable, g/L | 51 | 128 | 54 | - | - | 131 | - | - | 207 | 6 | 0 | 10 |
| Lead, dissolved, g/L | <1 | - | - | - | - | - | - | - | <1 | - | - | 1 |
| Lead, total recoverable, g/L | <1 | - | - | - | - | - | - | - | <1 | - | - | 1 |
| Manganese, dissolved, g/L | 1.5 | 2.0 | 0.5 | - | - | 1.9 | - | - | 3.0 | 6 | 0 | 3 |
| Manganese, total recoverable, g/L | 2.6 | 4.3 | 2.1 | - | - | 3.6 | - | - | 8.3 | 6 | 0 | 3 |
| Mercury, dissolved, g/L | - | - | - | - | - | - | - | - | - | - | - |  |
| Mercury, total recoverable, g/L | - | - | - | - | - | - | - | - | - | - | - |  |
| Zinc, dissolved, g/L | 13 | - | - | - | - | - | - | - | <20 | - | - | 20 |
| Zinc, total recoverable, g/L | <31 | - | - | - | - | - | - | - | <40 | - | - | 40, 31 |
| Sediment, suspended, concentration, mg/L | <1 | 3 | 3 | <1 | 1 | 2 | 4 | 9 | 10 | 11 | 1 | 1 |
| Sediment, suspended, percent finer than 0.062 mm | - | - | - | - | - | - | - | - | - | - | - |  |
| Sediment, suspended, load, tons per day | 0.0100 | 0.136 | 0.146 | 0.0100 | 0.0100 | 0.0600 | 0.230 | 0.396 | 0.420 | 11 | 0 |  |

Appendix 2. Statistics for concentrations, measurement values, loads, and flow-weighted measurements at water-quality sampling sites, 1999–2007.—Continued

[Data for period 1999–2000, which was before the Hinman fire burned the Lost Dog Creek watershed in 2002; SD, standard deviation; n, number of samples; nlt, number of less thans; %, percentile; ft3/s, cubic feet per second; NTU, nephelometric turbidity units; S/cm at 25 °C, microsiemens per centimeter at 25 degrees Celsius; mg/L, milligrams per liter; CaCO3, calcium carbonate; N, nitrogen; P, phosphorus; C, carbon; g/L, micrograms per liter; mm, millimeters; NTU-ft3/s, nephelometric turbidity units cubic feet per second; S-ft3/cm-s at 25 °C, microsiemens cubic feet per centimeter seconds at 25 degrees Celsius; lb/d, pounds per day]

|  | 404750106454200 Lost Dog Creek above mouth near Clark, Colo. |
| --- | --- |
|  | Loads and flow-weighted measurements 1999–2000, multiple detection limit log-probability statistics |
|  | Minimum | Mean | SD | 10% | 25% | Median 50% | 75% | 90% | Maximum | N |  |
| Streamflow, ft3/s | - | - | - | - | - | - | - | - | - | - |
| Turbidity, NTU-ft3/s | 1.07 | 18.2 | 26.4 | 1.16 | 1.63 | 4.00 | 24.6 | 75.1 | 80.0 | 11 |
| pH, standard units | - | - | - | - | - | - | - | - | - | - |
| Specific conductance, S-ft3/cm-s | 83.6 | 359 | 272 | 96.5 | 151 | 294 | 540 | 852 | 861 | 11 |
| Water temperature, in degrees Celsius | - | - | - | - | - | - | - | - | - | - |
| Calcium, lb/d | 52.3 | 210 | 154 | 57.9 | 97.6 | 180 | 312 | 485 | 487 | 11 |
| Magnesium, lb/d | 15.0 | 56.1 | 40.2 | 16.6 | 25.6 | 48.1 | 71.8 | 130 | 130 | 11 |
| Potassium, lb/d | 4.87 | 33.9 | 34.5 | 5.50 | 9.08 | 28.0 | 45.4 | 104 | 108 | 11 |
| Sodium, lb/d | 25.0 | 94.5 | 69.1 | 28.2 | 41.5 | 81.0 | 139 | 217 | 218 | 11 |
| Acid-neutralizing capacity, lb/d as CaCO3 | 238 | 941 | 646 | 253 | 404 | 783 | 1,470 | 2,000 | 2,000 | 10 |
| Chloride, lb/d | 2.02 | 21.6 | 25.2 | 2.24 | 3.97 | 15.1 | 25.7 | 71.3 | 71.9 | 11 |
| Silica, lb/d | 162 | 607 | 457 | 178 | 246 | 551 | 875 | 1,440 | 1,460 | 11 |
| Sulfate, lb/d | 13.1 | 77.5 | 87.6 | 13.7 | 21.4 | 39.3 | 103 | 258 | 266 | 11 |
| Nitrogen, dissolved, ammonia plus organic as N, lb/d | 1.19 | 12.6 | 14.3 | 1.20 | 1.99 | 8.85 | 14.0 | 41.1 | 42.0 | 11 |
| Nitrogen, total, ammonia plus organic as N, lb/d | 1.55 | 13.7 | 13.9 | 1.57 | 2.46 | 11.3 | 18.1 | 39.5 | 40.0 | 11 |
| Nitrogen, dissolved, ammonia as N, lb/d | 0.0205 | 0.408 | 0.807 | 0.0212 | 0.0491 | 0.181 | 0.324 | 2.34 | 2.81 | 11 |
| Nitrogen, dissolved, nitrite plus nitrate as N, lb/d | 0.0621 | 4.09 | 7.70 | 0.0814 | 0.392 | 1.94 | 3.88 | 22.6 | 26.6 | 11 |
| Nitrogen, dissolved, nitrite as N, lb/d | 0.0059 | 0.0559 | 0.0573 | 0.0068 | 0.0124 | 0.0454 | 0.0756 | 0.182 | 0.200 | 11 |
| Phosphorus, dissolved, ortho as P, lb/d | - | - | - | - | - | - | - | - | - | - |
| Phosphorus, dissolved as P, lb/d | 0.0238 | 0.295 | 0.350 | 0.0281 | 0.0497 | 0.197 | 0.324 | 1.04 | 1.11 | 11 |
| Phosphorus, total as P, lb/d | 0.0713 | 0.554 | 0.708 | 0.0747 | 0.0907 | 0.295 | 0.648 | 2.09 | 2.21 | 11 |
| Carbon, dissolved, organic as C, lb/d | - | - | - | - | - | - | - | - | - | - |
| Carbon, total, organic as C, lb/d | - | - | - | - | - | - | - | - | - | - |
| Ultraviolet absorption at 254 nanometers, filtered | - | - | - | - | - | - | - | - | - | - |
| Arsenic, dissolved, lb/d | - | - | - | - | - | - | - | - | - | - |
| Arsenic, total recoverable, lb/d | - | - | - | - | - | - | - | - | - | - |
| Aluminum, dissolved, lb/d | - | - | - | - | - | - | - | - | - | - |
| Aluminum, total recoverable, lb/d | - | - | - | - | - | - | - | - | - | - |
| Cadmium, dissolved, lb/d | 0.0025 | 0.0306 | 0.0365 | - | - | 0.0190 | - | - | 0.183 | 6 |
| Cadmium, total recoverable, lb/d | 0.0025 | 0.0306 | 0.0365 | - | - | 0.0190 | - | - | 0.183 | 6 |
| Copper, dissolved, lb/d | 0.0378 | 0.160 | 0.185 | - | - | 0.104 | - | - | 0.529 | 6 |
| Copper, total recoverable, lb/d | 0.0270 | 0.156 | 0.156 | - | - | 0.0966 | - | - | 0.432 | 6 |
| Iron, dissolved, lb/d | 4.082 | 9.21 | 5.74 | - | - | 6.43 | - | - | 17.7 | 6 |
| Iron, total recoverable, lb/d | 3.86 | 14.7 | 10.5 | - | - | 10.4 | - | - | 30.5532 | 6 |
| Lead, dissolved, lb/d | 0.0246 | 0.0590 | 0.0375 | - | - | 0.0459 | - | - | 0.111 | 6 |
| Lead, total recoverable, lb/d | 0.0246 | 0.0590 | 0.0375 | - | - | 0.0459 | - | - | 0.111 | 6 |
| Manganese, dissolved, lb/d | 0.0885 | 0.239 | 0.164 | - | - | 0.173 | - | - | 0.487 | 6 |
| Manganese, total recoverable, lb/d | 0.133 | 0.495 | 0.360 | - | - | 0.408 | - | - | 1.08 | 6 |
| Mercury, dissolved, lb/d | - | - | - | - | - | - | - | - | - | - |
| Mercury, total recoverable, lb/d | - | - | - | - | - | - | - | - | - | - |
| Zinc, dissolved, lb/d | 0.491 | 1.23 | 0.753 | - | - | 1.08 | - | - | 2.21 | 6 |
| Zinc, total recoverable, lb/d | 0.762 | 2.08 | 1.32 | - | - | 1.59 | - | - | 4.00 | 6 |
| Sediment, suspended, concentration, tons per day | - | - | - | - | - | - | - | - | - | - |
| Sediment, suspended, percent finer than 0.062 mm | - | - | - | - | - | - | - | - | - | - |
| Sediment, suspended, load, tons per day | 0.0113 | 0.136 | 0.146 | - | - | 0.0600 | 0.230 | 0.396 | 0.886 | 11 |

Appendix 2. Statistics for concentrations, measurement values, loads, and flow-weighted measurements at water-quality sampling sites, 1999–2007.—Continued

[Data for period 2003–2006 which was after the Hinman fire burned the North Fork of the Elk River watershed in 2002; note only three samples were collected after 2003, all during snowmelt 2006; SD, standard deviation; n, number of samples; nlt, number of less thans; %, percentile; ft3/s, cubic feet per second; NTU, nephelometric turbidity units; S/cm at 25 °C, microsiemens per centimeter at 25 degrees Celsius; mg/L, milligrams per liter; CaCO3, calcium carbonate; N, nitrogen; P, phosphorus; C, carbon; g/L, micrograms per liter; mm, millimeters; NTU-ft3/s, nephelometric turbidity units cubic feet per second; S-ft3/cm-s at 25 °C, microsiemens cubic feet per centimeter seconds at 
25 degrees Celsius; lb/d, pounds per day]

|  | 404750106454200 Lost Dog Creek above mouth near Clark, Colo. |
| --- | --- |
|  | Concentrations and measured values 2003–2006, multiple detection limit log-probability statistics |
| Constituent concentration or measured value | Minimum | Mean | SD | 10% | 25% | Median 50% | 75% | 90% | Maximum | N | NLT | Censoring level |
| Streamflow, ft3/s | 1.96 | 61.3 | 65.0 | 2.08 | 3.78 | 45.2 | 110 | 173 | 174 | 10 | 0 |  |
| Turbidity, NTU | 0.66 | 15.2 | 31.5 | 0.73 | 1.40 | 2.50 | 3.90 | 90.9 | 103 | 11 | 0 |  |
| pH, standard units | 6.6 | 7.3 | 0.4 | 6.6 | 7.0 | 7.1 | 7.7 | 7.9 | 7.9 | 10 | 0 |  |
| Specific conductance, S/cm at 25 °C | 27 | 49 | 15 | 27 | 31 | 52 | 60 | 70 | 71 | 10 | 0 |  |
| Water temperature, in degrees Celsius | 2.4 | 7.0 | 4.9 | 2.4 | 3.2 | 4.0 | 11.8 | 15.0 | 15 | 9 | 0 |  |
| Calcium, mg/L | 2.70 | 5.32 | 1.77 | 2.73 | 3.36 | 5.61 | 6.87 | 7.71 | 7.80 | 10 | 0 |  |
| Magnesium, mg/L | 0.64 | 1.25 | 0.45 | 0.64 | 0.83 | 1.30 | 1.59 | 1.97 | 2.00 | 10 | 0 |  |
| Potassium, mg/L | 0.45 | 0.83 | 0.33 | 0.46 | 0.51 | 0.68 | 1.20 | 1.29 | 1.30 | 10 | 0 |  |
| Sodium, mg/L | 0.86 | 1.34 | 0.46 | 0.87 | 1.00 | 1.17 | 1.73 | 2.20 | 2.22 | 10 | 0 |  |
| Acid-neutralizing capacity, mg/L as CaCO3 | 12 | 17 | 5 | 12 | 12 | 15 | 23 | 25 | 25 | 10 | 0 |  |
| Chloride, mg/L | 0.14 | 0.49 | 0.41 | 0.14 | 0.17 | 0.30 | 0.75 | 1.26 | 1.28 | 10 | 0 | 0.29 |
| Silica, mg/L | 5.45 | 8.13 | 2.11 | 5.49 | 6.18 | 7.64 | 10.2 | 11.0 | 11.0 | 10 | 0 |  |
| Sulfate, mg/L | 1.31 | 3.85 | 3.04 | 1.33 | 1.57 | 2.39 | 5.93 | 9.77 | 9.98 | 10 | 0 |  |
| Nitrogen, dissolved, ammonia plus organic as N, mg/L | 0.1 | 0.2 | - | - | 0.1 | 0.2 | - | - | 0.4 | 6 | 0 | 0.1 |
| Nitrogen, total, ammonia plus organic as N, mg/L | 0.1 | 0.7 | 0.7 | 0.1 | 0.2 | 0.3 | 1.2 | 2.2 | 2.4 | 12 | 0 | 0.1 |
| Nitrogen, dissolved, ammonia as N, mg/L | 0.008 | 0.039 | 0.044 | 0.004 | 0.008 | 0.011 | 0.090 | 0.110 | 0.114 | 12 | 6 | 0.01, 0.015 |
| Nitrogen, dissolved, nitrite plus nitrate as N, mg/L | 0.016 | 0.394 | 0.316 | 0.040 | 0.136 | 0.289 | 0.672 | 0.925 | 0.946 | 12 | 1 | 0.016 |
| Nitrogen, dissolved, nitrite as N, mg/L | 0.001 | 0.002 | 0.002 | - | - | 0.002 | - | - | 0.006 | 7 | 2 | 0.002, 0.0023 |
| Phosphorus, dissolved, ortho as P, mg/L | 0.003 | 0.024 | 0.020 | 0.003 | 0.007 | 0.019 | 0.036 | 0.061 | 0.065 | 12 | 0 | 0.007 |
| Phosphorus, dissolved as P, mg/L | 0.003 | 0.025 | 0.026 | - | - | 0.022 | - | - | 0.077 | 7 | 0 | 0.004 |
| Phosphorus, total as P, mg/L | 0.013 | 0.164 | 0.253 | 0.014 | 0.024 | 0.039 | 0.294 | 0.695 | 0.762 | 12 | 0 | 0.004 |
| Carbon, dissolved, organic as C, mg/L | 3.2 | 4.4 | 1.2 | 3.2 | 3.6 | 4.2 | 5.0 | 6.8 | 7.2 | 11 | 0 |  |
| Carbon, total, organic as C, mg/L | 2.5 | 10.1 | 10.5 | 2.9 | 4.1 | 5.2 | 14.1 | 32.7 | 35.4 | 12 | 0 |  |
| Ultraviolet absorption at 254 nanometers, filtered | 0.144 | 0.192 | 0.055 | - | - | 0.176 | - | - | 0.307 | 7 | 0 |  |
| Arsenic, dissolved, g/L | 0.14 | 0.27 | 0.08 | - | - | 0.28 | - | - | 0.39 | 7 | 0 | 0.30 |
| Arsenic, total recoverable, g/L | 0.25 | 0.76 | 0.70 | - | - | 0.41 | - | - | 2.00 | 10 | 4 | 2 |
| Aluminum, dissolved, g/L | 12 | 31 | 9 | - | - | 32 | - | - | 39 | 7 | 0 |  |
| Aluminum, total recoverable, g/L | 27 | 2,390 | 2,972 | - | - | 168 | - | - | 6,610 | 7 | 0 |  |
| Cadmium, dissolved, g/L | 0.03 | - | - | - | - | - | - | - | 0.04 | - | - | 0.037, 0.04 |
| Cadmium, total recoverable, g/L | 0.035 | 0.13 | 0.09 | 0.04 | 0.06 | 0.09 | 0.20 | 0.32 | 0.33 | 10 | 7 | 0.035, 0.04 |
| Copper, dissolved, g/L | 0.18 | 0.62 | 0.25 | 0.20 | 0.40 | 0.64 | 0.85 | 0.99 | 1.00 | 10 | 0 | 0.5 |
| Copper, total recoverable, g/L | 0.40 | 2.91 | 4.07 | 0.41 | 0.53 | 0.65 | 5.73 | 11.7 | 12.2 | 10 | 0 | 0.6 |
| Iron, dissolved, g/L | 17 | 63 | 53 | 18 | 26 | 48 | 75 | 186 | 195 | 10 | 0 |  |
| Iron, total recoverable, g/L | 96 | 2,590 | 3,920 | 104 | 245 | 352 | 6,070 | 9,880 | 10,000 | 10 | 0 |  |
| Lead, dissolved, g/L | 0.05 | - | - | - | - | - | - | - | 0.08 | - | - | 0.08 |
| Lead, total recoverable, g/L | 0.05 | 3.16 | 4.88 | 0.06 | 0.25 | 0.34 | 7.70 | 13.0 | 13.4 | 10 | 0 | 0.08 |
| Manganese, dissolved, g/L | 0.30 | 9.9 | 10 | 0.34 | 1.4 | 6.7 | 19 | 30 | 30 | 10 | 0 | 0.3 |
| Manganese, total recoverable, g/L | 7 | 233 | 345 | 8 | 24 | 37 | 533 | 931 | 960 | 10 | 0 | 3 |
| Mercury, dissolved, g/L | - | - | - | - | - | - | - | - | - | - | - |  |
| Mercury, total recoverable, g/L | 0.009 | 0.0124 | 0.0046 | - | - | 0.0111 | - | - | 0.023 | 11 | 7 | 0.01, 0.018 |
| Zinc, dissolved, g/L | 0.60 | 1.21 | 0.94 | - | - | 1.05 | - | - | 3.70 | 10 | 2 | 0.06, 1 |
| Zinc, total recoverable, g/L | 1.7 | 11.9 | 17.6 | - | - | 2.0 | - | - | 48.5 | 10 | 3 | 2 |
| Sediment, suspended, concentration, mg/L | 3 | 151 | 226 | 3 | 9 | 21 | 351 | 565 | 565 | 9 | 0 | 1 |
| Sediment, suspended, percent finer than 0.062 mm | 39 | 53 | 11 | - | - | 54 | - | - | 66 | 5 | 0 |  |
| Sediment, suspended, load, tons per day | 0.0159 | 59.1 | 105 | - | - | 3.952 | - | - | 251 | 9 | 0 |  |

Appendix 2. Statistics for concentrations, measurement values, loads, and flow-weighted measurements at water-quality sampling sites, 1999–2007.—Continued

[Data for period 2003–2006 which was after the Hinman fire burned the North Fork of the Elk River watershed in 2002; note only three samples were collected after 2003, all during snowmelt 2006; SD, standard deviation; n, number of samples; nlt, number of less thans; %, percentile; ft3/s, cubic feet per second; NTU, nephelometric turbidity units; S/cm at 25 °C, microsiemens per centimeter at 25 degrees Celsius; mg/L, milligrams per liter; CaCO3, calcium carbonate; N, nitrogen; P, phosphorus; C, carbon; g/L, micrograms per liter; mm, millimeters; NTU-ft3/s, nephelometric turbidity units cubic feet per second; S-ft3/cm-s at 25 °C, microsiemens cubic feet per centimeter seconds at 
25 degrees Celsius; lb/d, pounds per day]

|  | 404750106454200 Lost Dog Creek above mouth near Clark, Colo. |
| --- | --- |
|  | Loads and flow-weighted measurements 2003–2006, multiple detection limit log-probability statistics |
|  | Minimum | Mean | SD | 10% | 25% | Median 50% | 75% | 90% | Maximum | N |  |
| Streamflow, ft3/s | - | - | - | - | - | - | - | - | - | - |
| Turbidity, NTU-ft3/s | 1.29 | 2,250 | 5,600 | 1.29 | 13.7 | 39.5 | 1,440 | 17,000 | 17,000 | 9 |
| pH, standard units | - | - | - | - | - | - | - | - | - | - |
| Specific conductance, S-ft3/cm-s | 98.0 | 2,820 | 3,360 | 105 | 209 | 1,440 | 5,000 | 9,400 | 9,570 | 10 |
| Water temperature, in degrees Celsius | - | - | - | - | - | - | - | - | - | - |
| Calcium, lb/d | 57.9 | 1,590 | 1,870 | 63.0 | 138 | 835 | 2,890 | 5,080 | 5,120 | 10 |
| Magnesium, lb/d | 14.5 | 356 | 400 | 15.6 | 31.4 | 190 | 671 | 1,080 | 1,090 | 10 |
| Potassium, lb/d | 6.67 | 315 | 410 | 7.12 | 14.2 | 139 | 585 | 1,070 | 1,070 | 10 |
| Sodium, lb/d | 23.5 | 338 | 328 | 24.0 | 39.0 | 297 | 546 | 939 | 958 | 10 |
| Acid-neutralizing capacity, lb/d as CaCO3 | 243 | 4,300 | 4,300 | 261 | 506 | 3,400 | 7,290 | 11,600 | 11,600 | 10 |
| Chloride, lb/d | 3.07 | 174 | 226 | 3.28 | 5.17 | 66.8 | 446 | 555 | 561 | 10 |
| Silica, lb/d | 106 | 2,130 | 2,080 | 114 | 224 | 1,850 | 3,320 | 5,840 | 5,920 | 10 |
| Sulfate, lb/d | 18.0 | 1,400 | 1,800 | 19.1 | 56.7 | 606 | 3,050 | 4,660 | 4,700 | 10 |
| Nitrogen, dissolved, ammonia plus organic as N, lb/d | 1.06 | 36.0 | 36.6 | 0.74 | 1.56 | 32.5 | 69.1 | 269 | 84.5 | 6 |
| Nitrogen, total, ammonia plus organic as N, lb/d | 1.06 | 447 | 754 | 1.64 | 8.16 | 71.3 | 753 | 2,080 | 2,140 | 10 |
| Nitrogen, dissolved, ammonia as N, lb/d | 0.106 | 23.4 | 38.5 | 0.108 | 0.153 | 2.93 | 47.0 | 100 | 102 | 10 |
| Nitrogen, dissolved, nitrite plus nitrate as N, lb/d | 0.540 | 166 | 242 | 0.707 | 3.53 | 45.5 | 362 | 613 | 618 | 10 |
| Nitrogen, dissolved, nitrite as N, lb/d | 0.012 | 0.967 | 1.94 | 0.010 | 0.035 | 0.376 | 0.497 | 63.0 | 5.35 | 7 |
| Phosphorus, dissolved, ortho as P, lb/d | 0.053 | 12.8 | 21.8 | 0.075 | 0.439 | 1.98 | 21.8 | 57.0 | 57.9 | 10 |
| Phosphorus, dissolved as P, lb/d | 0.106 | 10.9 | 25.5 | 0.085 | 0.432 | 1.13 | 3.35 | 57.4 | 68.6 | 7 |
| Phosphorus, total as P, lb/d | 0.138 | 134 | 248 | 0.191 | 0.988 | 5.48 | 221 | 662 | 679 | 10 |
| Carbon, dissolved, organic as C, lb/d | 57.0 | 1,510 | 1,420 | 57.0 | 246 | 1,200 | 2,790 | 3,760 | 3,760 | 9 |
| Carbon, total, organic as C, lb/d | 26.8 | 6,070 | 10,300 | 31.1 | 149 | 1,120 | 10,400 | 29,900 | 31,500 | 10 |
| Ultraviolet absorption at 254 nanometers, filtered | - | - | - | - | - | - | - | - | - | - |
| Arsenic, dissolved, lb/d | 0.001 | 0.099 | 0.131 | 0.001 | 0.004 | 0.015 | 0.263 | 0.300 | 0.303 | 7 |
| Arsenic, total recoverable, lb/d | 0.011 | 0.439 | 0.740 | 0.011 | 0.020 | 0.084 | 0.697 | 1.87 | 1.88 | 10 |
| Aluminum, dissolved, lb/d | 0.129 | 10.7 | 13.4 | 0.103 | 0.460 | 2.65 | 28.6 | 24.0 | 30.0 | 7 |
| Aluminum, total recoverable, lb/d | 0.286 | 1,820 | 2,740 | 0.229 | 2.71 | 11.0 | 5,680 | 4,710 | 5,890 | 7 |
| Cadmium, dissolved, lb/d | 0.000196 | 0.007 | 0.007 | 0.000 | 0.000 | 0.005 | 0.015 | 0.017 | 0.017 | 10 |
| Cadmium, total recoverable, lb/d | 0.000185 | 0.058 | 0.103 | 0.000 | 0.000 | 0.005 | 0.097 | 0.286 | 0.297 | 10 |
| Copper, dissolved, lb/d | 0.002 | 0.222 | 0.241 | 0.002 | 0.015 | 0.144 | 0.511 | 0.613 | 0.620 | 10 |
| Copper, total recoverable, lb/d | 0.004 | 2.04 | 3.790 | 0.005 | 0.011 | 0.177 | 3.05 | 10.5 | 10.9 | 10 |
| Iron, dissolved, lb/d | 0.613 | 13.1 | 15.4 | 0.735 | 3.54 | 6.47 | 21.7 | 43.5 | 44.2 | 10 |
| Iron, total recoverable, lb/d | 1.02 | 1,930 | 3,560 | 1.38 | 7.65 | 87.8 | 3,370 | 8,850 | 8,910 | 10 |
| Lead, dissolved, lb/d | 0.000 | 0.01 | 0.01 | 0.000 | 0.001 | 0.01 | 0.02 | 0.04 | 0.038 | 10 |
| Lead, total recoverable, lb/d | 0.001 | 2.31 | 4.30 | 0.001 | 0.010 | 0.07 | 3.94 | 11.59 | 11.9 | 10 |
| Manganese, dissolved, lb/d | 0.018 | 3.12 | 5.49 | 0.03 | 0.11 | 0.52 | 4.37 | 15.9 | 16.6 | 10 |
| Manganese, total recoverable, lb/d | 0.070 | 167 | 311 | 0.13 | 1.15 | 6.17 | 279 | 832 | 855 | 10 |
| Mercury, dissolved, lb/d | - | - | - | - | - | - | - | - | - | - |
| Mercury, total recoverable, lb/d | 0.000095 | 0.00479 | 0.00713 | 0.000101 | 0.000184 | 0.00162 | 0.00728 | 0.0199 | 0.0205 | 10 |
| Zinc, dissolved, lb/d | 0.005 | 0.316 | 0.363 | 0.007 | 0.054 | 0.148 | 0.759 | 0.926 | 0.940 | 10 |
| Zinc, total recoverable, lb/d | 0.011 | 8.65 | 15.8 | 0.012 | 0.027 | 0.461 | 14.5 | 42.2 | 43.2 | 10 |
| Sediment, suspended, concentration, tons per day | - | - | - | - | - | - | - | - | - | - |
| Sediment, suspended, percent finer than 0.062 mm | - | - | - | - | - | - | - | - | - | - |
| Sediment, suspended, load, tons per day | 0.032 | 118 | 210 | 0.03 | 0.30 | 7.90 | 269 | 503 | 503 | 9 |

Appendix 2. Statistics for concentrations, measurement values, loads, and flow-weighted measurements at water-quality sampling sites, 1999–2007.—Continued

[Data for period 1999–2000, which was before the Hinman fire burned the North Fork of the Elk River watershed in 2002; SD, standard deviation; n, number of samples; nlt, number of less thans; %, percentile; ft3/s, cubic feet per second; NTU, nephelometric turbidity units; S/cm at 25 °C, microsiemens per centimeter at 25 degrees Celsius; mg/L, milligrams per liter; CaCO3, calcium carbonate; N, nitrogen; P, phosphorus; C, carbon; g/L, micrograms per liter; mm, millimeters; NTU-ft3/s, nephelometric turbidity units cubic feet per second; S-ft3/cm-s at 25 °C, microsiemens cubic feet per centimeter seconds at 25 degrees Celsius; lb/d, pounds per day]

|  | 404620106461900 North Fork Elk River above mouth near Clark, Colo. |
| --- | --- |
|  | Concentrations and measured values 1999–2000, multiple detection limit log-probability statistics |
| Constituent concentration or measured value | Minimum | Mean | SD | 10% | 25% | Median 50% | 75% | 90% | Maximum | N | NLT | Censoring level |
| Streamflow, ft3/s | 16 | 145 | 163 | 17 | 23 | 44 | 300 | 418 | 422 | 11 | 0 |  |
| Turbidity, NTU | 0.20 | 1.50 | 2.57 | 0.22 | 0.30 | 0.55 | 2.00 | 7.60 | 9.00 | 11 | 0 |  |
| pH, standard units | 7.1 | 7.5 | 0.3 | 7.1 | 7.3 | 7.5 | 7.7 | 7.9 | 7.9 | 11 | 0 |  |
| Specific conductance, S/cm at 25 °C | 24 | 48 | 18 | 24 | 29 | 54 | 64 | 73 | 74 | 11 | 0 |  |
| Water temperature, in degrees Celsius | 0.0 | - | - | - | - | - | - | - | 15.7 | - | - |  |
| Calcium, mg/L | 3.34 | 6.47 | 2.42 | 3.35 | 3.85 | 7.35 | 8.59 | 9.45 | 9.48 | 11 | 0 |  |
| Magnesium, mg/L | 0.60 | 1.17 | 0.46 | 0.60 | 0.67 | 1.32 | 1.67 | 1.75 | 1.75 | 11 | 0 |  |
| Potassium, mg/L | 0.43 | 0.65 | 0.13 | 0.43 | 0.57 | 0.66 | 0.78 | 0.81 | 0.81 | 11 | 0 |  |
| Sodium, mg/L | 0.75 | 1.47 | 0.55 | 0.77 | 0.89 | 1.56 | 2.06 | 2.21 | 2.22 | 11 | 0 |  |
| Acid-neutralizing capacity, mg/L as CaCO3 | 12 | 22 | 8 | 12 | 14 | 25 | 30 | 33 | 33 | 11 | 0 |  |
| Chloride, mg/L | 0.10 | 0.28 | 0.20 | 0.07 | 0.16 | 0.21 | 0.37 | 0.70 | 0.75 | 11 | 2 | 0.29 |
| Silica, mg/L | 4.8 | 7.1 | 1.8 | 4.9 | 5.2 | 6.9 | 8.9 | 9.8 | 9.9 | 11 | 0 |  |
| Sulfate, mg/L | 1.14 | 2.62 | 1.22 | 1.19 | 1.45 | 2.54 | 3.45 | 4.73 | 4.93 | 11 | 0 |  |
| Nitrogen, dissolved, ammonia plus organic as N, mg/L | 0.060 | 0.112 | 0.044 | 0.060 | 0.080 | 0.110 | 0.160 | 0.180 | 0.180 | 11 | 0 |  |
| Nitrogen, total, ammonia plus organic as N, mg/L | 0.080 | 0.155 | 0.060 | 0.080 | 0.120 | 0.160 | 0.180 | 0.278 | 0.300 | 11 | 0 |  |
| Nitrogen, dissolved, ammonia as N, mg/L | 0.002 | 0.004 | 0.002 | - | - | 0.003 | - | - | 0.007 | 11 | 4 | 0.002 |
| Nitrogen, dissolved, nitrite plus nitrate as N, mg/L | 0.013 | 0.041 | 0.026 | 0.014 | 0.021 | 0.033 | 0.060 | 0.093 | 0.101 | 11 | 0 | 0.005 |
| Nitrogen, dissolved, nitrite as N, mg/L | 0.001 | 0.001 | 0.001 | - | - | 0.001 | - | - | 0.003 | 11 | 6 | 0.001 |
| Phosphorus, dissolved, ortho as P, mg/L | 0.001 | 0.003 | 0.007 | - | - | 0.001 | - | - | 0.023 | 11 | 2 |  |
| Phosphorus, dissolved as P, mg/L | 0.004 | 0.005 | 0.010 | - | - | 0.001 | - | - | 0.036 | 11 | 7 | 0.004, 0.006 |
| Phosphorus, total as P, mg/L | 0.004 | 0.009 | 0.006 | - | - | 0.007 | - | - | 0.021 | 11 | 3 | 0.008 |
| Carbon, dissolved, organic as C, mg/L | - | - | - | - | - | - | - | - | - | - | - |  |
| Carbon, total, organic as C, mg/L | - | - | - | - | - | - | - | - | - | - | - |  |
| Ultraviolet absorption at 254 nanometers, filtered | - | - | - | - | - | - | - | - | - | - | - |  |
| Arsenic, dissolved, g/L | - | - | - | - | - | - | - | - | - | - | - | 0.3 |
| Arsenic, total recoverable, g/L | - | - | - | - | - | - | - | - | - | - | - | 2 |
| Aluminum, dissolved, g/L | - | - | - | - | - | - | - | - | - | - | - |  |
| Aluminum, total recoverable, g/L | - | - | - | - | - | - | - | - | - | - | - |  |
| Cadmium, dissolved, g/L | 0.10 | - | - | - | - | - | - | - | 1.0 | - | - | 1, 0.1 |
| Cadmium, total recoverable, g/L | 0.10 | - | - | - | - | - | - | - | 1.0 | - | - | 1, 0.1 |
| Copper, dissolved, g/L | 1 | - | - | - | - | - | - | - | 1.3 | - | - | 1, 1.3 |
| Copper, total recoverable, g/L | 1 | 1 | 0.21 | - | - | 0.94 | - | - | 1.3 | 6 | 3 | 1 |
| Iron, dissolved, g/L | 30 | 51 | 19 | - | - | 54 | - | - | 79 | 6 | 0 | 10 |
| Iron, total recoverable, g/L | 80 | 181 | 83 | - | - | 184 | - | - | 296 | 6 | 0 | 10 |
| Lead, dissolved, g/L | 1 | - | - | - | - | - | - | - | 1 | - | - | 1 |
| Lead, total recoverable, g/L | 1 | - | - | - | - | - | - | - | 1 | - | - | 1 |
| Manganese, dissolved, g/L | 1.7 | 2.6 | 0.8 | - | - | 2 | - | - | 4 | 6 | 0 | 3 |
| Manganese, total recoverable, g/L | 2.5 | 7.8 | 4.0 | - | - | 8.4 | - | - | 14 | 6 | 0 | 3 |
| Mercury, dissolved, g/L | - | - | - | - | - | - | - | - | - | - | - |  |
| Mercury, total recoverable, g/L | - | - | - | - | - | - | - | - | - | - | - |  |
| Zinc, dissolved, g/L | <20 | - | - | - | - | - | - | - | <20 | - | - | 20 |
| Zinc, total recoverable, g/L | <31 | - | - | - | - | - | - | - | <40 | - | - | 40, 31 |
| Sediment, suspended, concentration, mg/L | <1 | 5 | 6 | <1 | 1 | 2 | 7 | 18 | 21 | 11 | 2 | 1 |
| Sediment, suspended, percent finer than 0.062 mm | - | - | - | - | - | - | - | - | - | - | - |  |
| Sediment, suspended, load, tons per day | 0.0311 | 3.40 | 5.56 | 0.0319 | 0.0432 | 0.103 | 7.60 | 15.4 | 17.0 | 11 | 0 |  |

Appendix 2. Statistics for concentrations, measurement values, loads, and flow-weighted measurements at water-quality sampling sites, 1999–2007.—Continued

[Data for period 1999–2000, which was before the Hinman fire burned the North Fork of the Elk River watershed in 2002; SD, standard deviation; n, number of samples; nlt, number of less thans; %, percentile; ft3/s, cubic feet per second; NTU, nephelometric turbidity units; S/cm at 25 °C, microsiemens per centimeter at 25 degrees Celsius; mg/L, milligrams per liter; CaCO3, calcium carbonate; N, nitrogen; P, phosphorus; C, carbon; g/L, micrograms per liter; mm, millimeters; NTU-ft3/s, nephelometric turbidity units cubic feet per second; S-ft3/cm-s at 25 °C, microsiemens cubic feet per centimeter seconds at 25 degrees Celsius; lb/d, pounds per day]

|  | 404620106461900 North Fork Elk River above mouth near Clark, Colo. |
| --- | --- |
|  | Loads and flow-weighted measurements 1999–2000, multiple detection limit log-probability statistics |
|  | Minimum | Mean | SD | 10% | 25% | Median 50% | 75% | 90% | Maximum | N |  |
| Streamflow, ft3/s | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |
| Turbidity, NTU-ft3/s | 6.90 | 230 | 353 | 7.61 | 10.9 | 15.0 | 675 | 836 | 844 | 11 |
| pH, standard units | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |
| Specific conductance, S-ft3/cm-s | 1,070 | 4,670 | 4,330 | 1,120 | 1,400 | 1,940 | 7,800 | 13,100 | 14,000 | 11 |
| Water temperature, in degrees Celsius | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |
| Calcium, lb/d | 819 | 3,370 | 3,140 | 847 | 1,030 | 1,330 | 5,510 | 9,470 | 10,000 | 11 |
| Magnesium, lb/d | 151 | 598 | 550 | 156 | 179 | 234 | 987 | 1,650 | 1,740 | 11 |
| Potassium, lb/d | 60.5 | 415 | 416 | 65.0 | 89.1 | 162 | 933 | 1,030 | 1,040 | 11 |
| Sodium, lb/d | 192 | 782 | 748 | 198 | 225 | 299 | 1,220 | 2,220 | 2,300 | 11 |
| Acid-neutralizing capacity, lb/d as CaCO3 | 2,760 | 11,800 | 11,000 | 2,890 | 3,480 | 4,750 | 19,440 | 32,600 | 34,200 | 11 |
| Chloride, lb/d | 11.9 | 281 | 478 | 12.3 | 19.9 | 43.2 | 373 | 1,400 | 1,630 | 11 |
| Silica, lb/d | 855 | 4,410 | 4,550 | 856 | 975 | 1,520 | 7,780 | 12,800 | 13,200 | 11 |
| Sulfate, lb/d | 186 | 1,390 | 1,360 | 228 | 402 | 604 | 2,350 | 4,140 | 4,560 | 11 |
| Nitrogen, dissolved, ammonia plus organic as N, lb/d | 5.18 | 98.9 | 128 | 5.77 | 9.94 | 19.0 | 194 | 367 | 410 | 11 |
| Nitrogen, total, ammonia plus organic as N, lb/d | 6.91 | 143 | 182 | 8.81 | 17.4 | 23.0 | 347 | 471 | 486 | 11 |
| Nitrogen, dissolved, ammonia as N, lb/d | 0.103 | 2.51 | 3.58 | 0.109 | 0.248 | 1.29 | 2.28 | 10.3 | 10.9 | 11 |
| Nitrogen, dissolved, nitrite plus nitrate as N, lb/d | 2.11 | 26.4 | 30.6 | 2.28 | 3.09 | 10.4 | 49.9 | 88.2 | 97.2 | 11 |
| Nitrogen, dissolved, nitrite as N, lb/d | 0.0432 | 0.648 | 0.820 | 0.045 | 0.068 | 0.405 | 0.810 | 2.26 | 2.28 | 11 |
| Phosphorus, dissolved, ortho as P, lb/d | 0.0675 | 1.02 | 0.913 | 0.082 | 0.173 | 0.745 | 2.17 | 2.34 | 2.36 | 11 |
| Phosphorus, dissolved as P, lb/d | 0.173 | 2.77 | 3.00 | 0.194 | 0.405 | 0.869 | 4.34 | 8.59 | 9.12 | 11 |
| Phosphorus, total as P, lb/d | 0.173 | 9.20 | 12.3 | 0.194 | 0.475 | 1.49 | 23.9 | 32.2 | 34.2 | 11 |
| Carbon, dissolved, organic as C, lb/d | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |
| Carbon, total, organic as C, lb/d | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |
| Ultraviolet absorption at 254 nanometers, filtered | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |
| Arsenic, dissolved, lb/d | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |
| Arsenic, total recoverable, lb/d | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |
| Aluminum, dissolved, lb/d | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |
| Aluminum, total recoverable, lb/d | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |
| Cadmium, dissolved, lb/d | 0.00513 | 0.430 | 0.533 | 0.00359 | 0.049 | 0.142 | 1.10 | 2.73 | 1.14 | 6 |
| Cadmium, total recoverable, lb/d | 0.00513 | 0.430 | 0.533 | 0.00359 | 0.049 | 0.142 | 1.10 | 2.73 | 1.14 | 6 |
| Copper, dissolved, lb/d | 0.0667 | 0.730 | 0.475 | 0.0467 | 0.169 | 0.944 | 1.10 | 2.73 | 1.14 | 6 |
| Copper, total recoverable, lb/d | 0.123 | 0.878 | 0.523 | 0.0862 | 0.426 | 0.928 | 1.26 | 3.06 | 1.62 | 6 |
| Iron, dissolved, lb/d | 5.23 | 61.7 | 47.3 | 3.66 | 25.3 | 51.8 | 103 | 97.6 | 137 | 6 |
| Iron, total recoverable, lb/d | 10.8 | 242 | 198 | 7.54 | 79.8 | 222 | 400 | 380 | 540 | 6 |
| Lead, dissolved, lb/d | 51.3 | 655 | 450 | 35.9 | 165 | 726 | 1,100 | 800 | 1,140 | 6 |
| Lead, total recoverable, lb/d | 51.3 | 655 | 450 | 35.9 | 165 | 726 | 1,100 | 800 | 1,140 | 6 |
| Manganese, dissolved, lb/d | 256 | 3,140 | 2,220 | 180 | 1,100 | 3,050 | 5,520 | 3,970 | 5,670 | 6 |
| Manganese, total recoverable, lb/d | 256 | 10,700 | 8,230 | 180 | 4,210 | 10,500 | 17,200 | 15,500 | 22,100 | 6 |
| Mercury, dissolved, lb/d | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |
| Mercury, total recoverable, lb/d | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |
| Zinc, dissolved, lb/d | 1,03 | 13,100 | 9,000 | 718 | 3,290 | 14,500 | 22,000 | 16,000 | 22,800 | 6 |
| Zinc, total recoverable, lb/d | 1,590 | 24,000 | 18,000 | 1,110 | 6,470 | 22,500 | 44,000 | 31,900 | 45,600 | 6 |
| Sediment, suspended, concentration, tons per day | 35.1 | -- | -- | -- | -- | -- | -- | -- | 34,000 | -- |
| Sediment, suspended, percent finer than 0.062 mm | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |
| Sediment, suspended, load, tons per day | 0.00123 | 3.09 | 5.12 | 0.00136 | 0.00193 | 0.00526 | 8.25 | 13.1 | 13.8 | 11 |

Appendix 2. Statistics for concentrations, measurement values, loads, and flow-weighted measurements at water-quality sampling sites, 1999–2007.—Continued

[Data for period 2003–2006 which was after the Hinman fire burned the North Fork of the Elk River watershed in 2002; note only three samples were collected after 2003, all during snowmelt 2006; SD, standard deviation; n, number of samples; nlt, number of less thans; %, percentile; ft3/s, cubic feet per second; NTU, nephelometric turbidity units; S/cm at 25 °C, microsiemens per centimeter at 25 degrees Celsius; mg/L, milligrams per liter; CaCO3, calcium carbonate; N, nitrogen; P, phosphorus; C, carbon; g/L, micrograms per liter; mm, millimeters; NTU-ft3/s, nephelometric turbidity units cubic feet per second; S-ft3/cm-s at 25 °C, microsiemens cubic feet per centimeter seconds at 
25 degrees Celsius; lb/d, pounds per day]

|  | 404620106461900 North Fork Elk River above mouth near Clark, Colo. |
| --- | --- |
|  | Concentrations and measured values 2003–2006, multiple detection limit log-probability statistics |
| Constituent concentration or measured value | Minimum | Mean | SD | 10% | 25% | Median 50% | 75% | 90% | Maximum | N | NLT | Censoring level |
| Streamflow, ft3/s | 19 | 467 | 428 | 22 | 43 | 286 | 892 | 1,150 | 1,180 | 11 | 0 |  |
| Turbidity, NTU | 0.51 | 13.3 | 19.4 | 0.51 | 1.03 | 3.00 | 27.9 | 48.5 | 48.5 | 9 | 0 |  |
| pH, standard units | 6.4 | 7.3 | 0.6 | 6.4 | 6.8 | 7.5 | 7.7 | 8.2 | 8.2 | 10 | 0 |  |
| Specific conductance, S/cm at 25 °C | 31 | 55 | 19 | 31 | 36 | 65 | 74 | 77 | 77 | 9 | 0 |  |
| Water temperature, in degrees Celsius | 2.2 | 7.6 | 5.6 | 2.2 | 3.1 | 4.5 | 13.6 | 16.5 | 16.5 | 9 | 0 |  |
| Calcium, mg/L | 3.69 | 6.69 | 2.76 | 3.72 | 4.10 | 6.31 | 9.33 | 10.4 | 10.4 | 10 | 0 |  |
| Magnesium, mg/L | 0.62 | 1.15 | 0.48 | 0.62 | 0.70 | 1.13 | 1.64 | 1.79 | 1.80 | 10 | 0 |  |
| Potassium, mg/L | 0.56 | 1.27 | 1.22 | 0.56 | 0.75 | 1.00 | 1.03 | 4.34 | 4.70 | 10 | 0 |  |
| Sodium, mg/L | 0.92 | 1.35 | 0.45 | 0.92 | 0.94 | 1.24 | 1.70 | 2.05 | 2.06 | 10 | 0 |  |
| Acid-neutralizing capacity, mg/L as CaCO3 | 12 | 20 | 7 | 12 | 14 | 19 | 26 | 30 | 30 | 9 | 0 |  |
| Chloride, mg/L | 0.20 | 0.49 | 0.33 | 0.20 | 0.24 | 0.33 | 0.85 | 1.03 | 1.03 | 9 | 0 | 0.29 |
| Silica, mg/L | 1.7 | 6.0 | 1.8 | 2.1 | 5.4 | 6.1 | 7.4 | 8.1 | 8.1 | 10 | 0 |  |
| Sulfate, mg/L | 1.75 | 4.94 | 2.91 | 1.75 | 2.51 | 4.15 | 8.06 | 9.41 | 9.41 | 9 | 0 |  |
| Nitrogen, dissolved, ammonia plus organic as N, mg/L | 0.09 | 0.14 | 0.05 | - | - | 0.15 | - | - | 0.20 | 5 | 0 | 0.1 |
| Nitrogen, total, ammonia plus organic as N, mg/L | 0.09 | 0.45 | 0.38 | 0.09 | 0.12 | 0.30 | 0.81 | 1.1 | 1.200 | 12 | 0 | 0.1 |
| Nitrogen, dissolved, ammonia as N, mg/L | 0.010 | 0.017 | 0.013 | - | - | 0.012 | - | - | 0.042 | 12 | 7 | 0.01, 0.015 |
| Nitrogen, dissolved, nitrite plus nitrate as N, mg/L | 0.016 | 0.327 | 0.318 | 0.022 | 0.052 | 0.191 | 0.703 | 0.819 | 0.830 | 12 | 2 | 0.016 |
| Nitrogen, dissolved, nitrite as N, mg/L | 0.002 | - | - | - | - | - | - | - | 0.003 | - | - | 0.002, 0.0023 |
| Phosphorus, dissolved, ortho as P, mg/L | 0.003 | 0.010 | 0.009 | - | - | 0.006 | - | - | 0.027 | 12 | 4 | 0.007 |
| Phosphorus, dissolved as P, mg/L | 0.003 | 0.012 | 0.013 | - | - | 0.005 | - | - | 0.036 | 6 | 0 | 0.004 |
| Phosphorus, total as P, mg/L | 0.005 | 0.097 | 0.130 | 0.006 | 0.012 | 0.037 | 0.227 | 0.329 | 0.339 | 12 | 0 | 0.004 |
| Carbon, dissolved, organic as C, mg/L | 1.7 | 3.6 | 0.78 | 1.9 | 3.2 | 3.8 | 4.2 | 4.4 | 4.4 | 11 | 0 |  |
| Carbon, total, organic as C, mg/L | 2.0 | 5.9 | 3.6 | 2.0 | 2.9 | 5.6 | 8.4 | 12.3 | 12.5 | 11 | 0 |  |
| Ultraviolet absorption at 254 nanometers, filtered | 0.067 | 0.141 | 0.041 | - | - | 0.156 | - | - | 0.179 | 7 | 0 |  |
| Arsenic, dissolved, g/L | 0.14 | 0.19 | 0.04 | - | - | 0.18 | - | - | 0.26 | 8 | 1 | 0.26 |
| Arsenic, total recoverable, g/L | 0.22 | 0.58 | 0.46 | - | - | 0.41 | - | - | <2 | 10 | 7 | 2, 0.2 |
| Aluminum, dissolved, g/L | 12 | 31 | 10 | - | - | 31 | 35 | 44 | 48.8 | 8 | 0 |  |
| Aluminum, total recoverable, g/L | 24 | 897 | 1,270 | - | - | 230 | 2,180 | 2,840 | 3,150 | 8 | 0 |  |
| Cadmium, dissolved, g/L | - | - | - | - | - | - | - | - | - | - | - | 0.037, 0.04 |
| Cadmium, total recoverable, g/L | 0.025 | 0.0648 | 0.0581 | - | - | 0.0383 | 0.1125 | 0.1866 | 0.1940 | 10 | 4 | 0.035, 0.04 |
| Copper, dissolved, g/L | 0.26 | 0.75 | 0.28 | 0.29 | 0.62 | 0.73 | 0.85 | 1.3 | 1.3 | 10 | 0 | 0.2 |
| Copper, total recoverable, g/L | 0.45 | 1.95 | 1.54 | 0.46 | 0.67 | 1.5 | 3.4 | 4.6 | 4.7 | 10 | 0 | 0.6 |
| Iron, dissolved, g/L | 12 | 44 | 22 | 13 | 30 | 42 | 53 | 89 | 93.3 | 10 | 0 |  |
| Iron, total recoverable, g/L | 87 | 1,070 | 1,500 | 91 | 131 | 399 | 1,560 | 4,170 | 4,260 | 10 | 0 |  |
| Lead, dissolved, g/L | 0.04 | - | - | - | - | 0.04 | - | - | 0.04 | 10 | 7 | 0.08 |
| Lead, total recoverable, g/L | 0.05 | 0.85 | 1.21 | 0.06 | 0.12 | 0.50 | 1.01 | 3.80 | 4.09 | 10 | 0 | 0.08 |
| Manganese, dissolved, g/L | 0.4 | 4.9 | 4.9 | 0.4 | 1.5 | 3.6 | 6.3 | 16.0 | 16.7 | 10 | 0 | 0.3 |
| Manganese, total recoverable, g/L | 6.4 | 76 | 106 | 6.42 | 7.02 | 29 | 111 | 289 | 293 | 10 | 0 | 3 |
| Mercury, dissolved, g/L | - | - | - | - | - | - | - | - | - | - | - |  |
| Mercury, total recoverable, g/L | 0.010 | - | - | - | - | - | - | - | 0.011 | - | - | 0.01, 0.018 |
| Zinc, dissolved, g/L | 0.5 | 0.8 | 0.4 | 0.5 | 0.6 | 0.7 | 1.1 | 1.7 | 1.7 | 10 | 4 | 0.06, 1 |
| Zinc, total recoverable, g/L | 1.5 | 5.7 | 6.0 | 1.5 | 1.7 | 2.4 | 8.8 | 18.2 | 18.7 | 10 | 1 | 2 |
| Sediment, suspended, concentration, mg/L | 2 | 78 | 111 | 2 | 5 | 22 | 184 | 293 | 305 | 11 | 0 | 1 |
| Sediment, suspended, percent finer than 0.062 mm | 46 | 58 | 12 | - | - | 58 | - | - | 77 | 5 | 0 |  |
| Sediment, suspended, load, tons per day | 0.256 | 210 | 343 | 0.389 | 1.92 | 34.4 | 373 | 943 | 972 | 10 | 0 |  |

Appendix 2. Statistics for concentrations, measurement values, loads, and flow-weighted measurements at water-quality sampling sites, 1999–2007.—Continued

[Data for period 2003–2006 which was after the Hinman fire burned the North Fork of the Elk River watershed in 2002; note only three samples were collected after 2003, all during snowmelt 2006; SD, standard deviation; n, number of samples; nlt, number of less thans; %, percentile; ft3/s, cubic feet per second; NTU, nephelometric turbidity units; S/cm at 25 °C, microsiemens per centimeter at 25 degrees Celsius; mg/L, milligrams per liter; CaCO3, calcium carbonate; N, nitrogen; P, phosphorus; C, carbon; g/L, micrograms per liter; mm, millimeters; NTU-ft3/s, nephelometric turbidity units cubic feet per second; S-ft3/cm-s at 25 °C, microsiemens cubic feet per centimeter seconds at 
25 degrees Celsius; lb/d, pounds per day]

|  | 404620106461900 North Fork Elk River above mouth near Clark, Colo. |
| --- | --- |
|  | Loads and flow-weighted measurements 2003–2006, multiple detection limit log-probability statistics |
|  | Minimum | Mean | SD | 10% | 25% | Median 50% | 75% | 90% | Maximum | N |  |
| Streamflow, ft3/s | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |
| Turbidity, NTU-ft3/s | 9.69 | 9,680 | 18,400 | 8.72 | 105 | 315 | 19,000 | 45,000 | 50,000 | 8 |
| pH, standard units | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |
| Specific conductance, S-ft3/cm-s | 1,350 | 19,200 | 16,200 | 1,220 | 4,160 | 15,000 | 34,100 | 41,400 | 46,000 | 8 |
| Water temperature, in degrees Celsius | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |
| Calcium, lb/d | 898 | 13,000 | 9,950 | 898 | 4,000 | 12,900 | 20,300 | 30,600 | 30,600 | 9 |
| Magnesium, lb/d | 166 | 2,280 | 1,770 | 166 | 652 | 2,310 | 3,550 | 5,430 | 5,430 | 9 |
| Potassium, lb/d | 102 | 1,900 | 1,620 | 102 | 493 | 1,440 | 2,960 | 5,160 | 5,160 | 9 |
| Sodium, lb/d | 211 | 2,680 | 2,030 | 211 | 866 | 2,060 | 4,480 | 5,930 | 5,930 | 9 |
| Acid-neutralizing capacity, lb/d as CaCO3 | 3,080 | 33,700 | 27,600 | 2,770 | 8,350 | 24,300 | 60,800 | 69,400 | 76,500 | 8 |
| Chloride, lb/d | 25.6 | 1,030 | 973 | 23.1 | 144 | 784 | 1,910 | 3,060 | 2,740 | 8 |
| Silica, lb/d | 677 | 12,700 | 11,800 | 677 | 3,920 | 8,340 | 22,300 | 35,700 | 35,700 | 9 |
| Sulfate, lb/d | 486 | 9,020 | 7,920 | 438 | 1,520 | 7,230 | 18,000 | 22,100 | 20,600 | 8 |
| Nitrogen, dissolved, ammonia plus organic as N, lb/d | 10.3 | 299 | 379 | 6.16 | 15.6 | 35.2 | 713 | 5,200 | 723 | 5 |
| Nitrogen, total, ammonia plus organic as N, lb/d | 9.23 | 1,840 | 2,390 | 12.0 | 52.8 | 514 | 2,920 | 6,490 | 6,670 | 11 |
| Nitrogen, dissolved, ammonia as N, lb/d | 0.770 | 59.2 | 83.4 | 0.880 | 1.74 | 16.7 | 117 | 225 | 234 | 11 |
| Nitrogen, dissolved, nitrite plus nitrate as N, lb/d | 1.13 | 950 | 1,100 | 2.95 | 27.3 | 610 | 2,090 | 2,930 | 3,080 | 11 |
| Nitrogen, dissolved, nitrite as N, lb/d | 0.118 | 3.82 | 6.15 | 0.071 | 0.193 | 0.352 | 9.18 | 10.2 | 14.5 | 5 |
| Phosphorus, dissolved, ortho as P, lb/d | 0.359 | 36.6 | 55.2 | 0.450 | 1.76 | 11.7 | 64.3 | 147 | 150 | 11 |
| Phosphorus, dissolved as P, lb/d | 0.410 | 40.2 | 78.9 | 0.287 | 0.973 | 7.71 | 68.1 | 144 | 200 | 6 |
| Phosphorus, total as P, lb/d | 0.513 | 466 | 772 | 0.968 | 9.15 | 58.6 | 830 | 2,070 | 2,160 | 11 |
| Carbon, dissolved, organic as C, lb/d | 395 | 11,000 | 9,460 | 422 | 2,350 | 9,130 | 19,100 | 25,800 | 26,100 | 10 |
| Carbon, total, organic as C, lb/d | 201 | 22,400 | 24,500 | 230 | 709 | 15,300 | 38,400 | 67,900 | 69,500 | 10 |
| Ultraviolet absorption at 254 nanometers, filtered | 2.88 | -- | -- | -- | -- | -- | -- | -- | 211 | -- |
| Arsenic, dissolved, lb/d | 0.014 | 0.380 | 0.496 | 0.011 | 0.046 | 0.201 | 0.643 | 0.666 | 1.40 | 7 |
| Arsenic, total recoverable, lb/d | 0.103 | 1.767 | 1.93 | 0.103 | 0.493 | 1.28 | 2.38 | 6.37 | 6.37 | 9 |
| Aluminum, dissolved, lb/d | 1.23 | 73.3 | 108 | 0.98 | 5.51 | 44.6 | 78.6 | 249 | 311 | 7 |
| Aluminum, total recoverable, lb/d | 2.46 | 4,150 | 7,580 | 1.97 | 60.4 | 145 | 7,890 | 16,100 | 20,100 | 7 |
| Cadmium, dissolved, lb/d | 0.002 | 0.047 | 0.042 | 0.002 | 0.009 | 0.029 | 0.087 | 0.118 | 0.118 | 9 |
| Cadmium, total recoverable, lb/d | 0.002 | 0.233 | 0.300 | 0.002 | 0.009 | 0.069 | 0.548 | 0.765 | 0.765 | 9 |
| Copper, dissolved, lb/d | 0.027 | 1.85 | 1.70 | 0.027 | 0.404 | 1.27 | 3.25 | 5.03 | 5.03 | 9 |
| Copper, total recoverable, lb/d | 0.046 | 7.02 | 9.59 | 0.046 | 0.511 | 4.10 | 10.5 | 29.9 | 29.9 | 9 |
| Iron, dissolved, lb/d | 4.75 | 88.9 | 102 | 4.75 | 30.1 | 48.2 | 119 | 339 | 339 | 9 |
| Iron, total recoverable, lb/d | 8.93 | 4,920 | 8,950 | 8.93 | 111 | 956 | 7,250 | 27,100 | 27,100 | 9 |
| Lead, dissolved, lb/d | 4.10 | 97.9 | 87.7 | 4.10 | 21.5 | 61.8 | 175 | 255 | 255 | 9 |
| Lead, total recoverable, lb/d | 5.13 | 2,630 | 3,970 | 5.13 | 142 | 860 | 4,560 | 12,000 | 12,000 | 9 |
| Manganese, dissolved, lb/d | 191 | 10,800 | 18,900 | 191 | 1,990 | 2,980 | 11,000 | 59,800 | 59,800 | 9 |
| Manganese, total recoverable, lb/d | 739 | 313,000 | 550,000 | 739 | 9,490 | 55,100 | 535,000 | 1,590,000 | 1,590,000 | 9 |
| Mercury, dissolved, lb/d | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |
| Mercury, total recoverable, lb/d | 0.923 | 17.7 | 22.1 | 0.923 | 1.84 | 11.6 | 25.8 | 70.1 | 70.1 | 9 |
| Zinc, dissolved, lb/d | 51.3 | 1,750 | 1,470 | 51.3 | 398 | 1,460 | 3,280 | 3,910 | 3,910 | 9 |
| Zinc, total recoverable, lb/d | 103 | 21,500 | 30,900 | 103 | 1,020 | 7,820 | 41,800 | 88,600 | 88,600 | 9 |
| Sediment, suspended, concentration, tons per day | 513 | -- | -- | -- | -- | -- | -- | -- | -- | -- |
| Sediment, suspended, percent finer than 0.062 mm | 46 | -- | -- | -- | -- | -- | -- | -- | -- | -- |
| Sediment, suspended, load, tons per day | 0.0132 | 574 | 1,060 | 0.0258 | 0.650 | 58.0 | 772 | 2,980 | 3,100 | 10 |