## Notes
U.S. Geological Survey Data Series 705
Mercury Bioaccumulation Studies in the National Water-Quality Assessment Program - Biological Data from New York and South Carolina, 2005-2009
By Karen M. Beaulieu, Daniel T. Button, Barbara C. Scudder Eikenberry, Karen Riva-Murray, Lia C. Chasar, Paul M. Bradley, and Douglas A. Burns
Appendix 9. Quality assurance and quality control results of reference material for the assessment of mercury in macroinvertebrates.
NOTES FOR APPENDIX 9
These data tables are included as part of U.S. Geological Survey (USGS) Data Series 705. The data were collected during a 2005-2009 study of mercury bioaccumulation. Sample analysis completed by the U.S. Geological Survey Wisconsin Mercury Research Laboratory in Middleton, WI. See report text for details about the study, and for information on sources and compilation of ancillary data.
NOTES ON BIOLOGICAL DATA
Units and abbreviations:
ng/g, nanograms per gram; mg/kg, milligrams per kilogram; CL, confidence limit.
Reference material:
NIST 2976, National Institute of Standards and Technology, 2008, Standard reference material 2976; mussel tissue (trace elements and methylmercury): National Institute of Standards and Technology certificate of analysis, 8 p., accessed April 17, 2012, at https://www-s.nist.gov/srmors/certificates/2976.pdf
NRCC TORT-2, National Research Council Canada, 1994, TORT–2—Lobster hepatopancreas reference material for trace metals: National Research Council Canada, 2 p.; http://www.nrc-cnrc.gc.ca/obj/inms-ienm/doc/crm-mrc/eng/TORT-2_e.pdf.
NRCC DOLT-3, National Research Council Canada, 2003, DOLT–3—Dogfish liver certified reference material for trace metals: National Research Council Canada, 4 p.; http://www.nrc-cnrc.gc.ca/obj/inms-ienm/doc/crm-mrc/eng/DOLT-3_e.pdf.

## Appendix 9
|  |  | Total Mercury (THg) |  |  |  |  | 95 % CL of Target Value
Study Sample ID | Reference Material | Reference Source Type | Target Value | Units | Measured Value | Difference | Percent Recovered | 95 % CL - Lower | 95 % CL- Upper | Within 95 % CL | Within 25 % of Target Value
30500 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 55.4 | 5.6 | 90.82 | 57.4 | 64.6 | no | yes
30502 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 53.1 | 7.9 | 87.05 | 57.4 | 64.6 | no | yes
30503 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 53.9 | 7.1 | 88.36 | 57.4 | 64.6 | no | yes
30505 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 68.1 | 7.1 | 111.64 | 57.4 | 64.6 | no | yes
30506 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 53.1 | 7.9 | 87.05 | 57.4 | 64.6 | no | yes
30508 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 51.4 | 9.6 | 84.26 | 57.4 | 64.6 | no | yes
30509 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 53.4 | 7.6 | 87.54 | 57.4 | 64.6 | no | yes
30511 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 57.9 | 3.1 | 94.92 | 57.4 | 64.6 | yes | yes
30512 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 58 | 3 | 95.08 | 57.4 | 64.6 | yes | yes
30513 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 44.4 | 16.6 | 72.79 | 57.4 | 64.6 | no | no
30514 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 62.7 | 1.7 | 102.79 | 57.4 | 64.6 | yes | yes
30515 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 112 | 51 | 183.61 | 57.4 | 64.6 | no | no
30516 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 60 | 1 | 98.36 | 57.4 | 64.6 | yes | yes
30517 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 57.1 | 3.9 | 93.61 | 57.4 | 64.6 | no | yes
30518 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 59.7 | 1.3 | 97.87 | 57.4 | 64.6 | yes | yes
30520 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 50.9 | 10.1 | 83.44 | 57.4 | 64.6 | no | yes
30521 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 65.8 | 4.8 | 107.87 | 57.4 | 64.6 | no | yes
30623 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 58.5 | 2.5 | 95.9 | 57.4 | 64.6 | yes | yes
30624 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 56.2 | 4.8 | 92.13 | 57.4 | 64.6 | no | yes
30625 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 60 | 1 | 98.36 | 57.4 | 64.6 | yes | yes
30626 | NIST 2976 | marine bivalve mollusk tissue | 61 | ng/g | 61.1 | 0.1 | 100.16 | 57.4 | 64.6 | yes | yes
30552 | NRCC DOLT-3 | dogfish liver | 3.37 | mg/kg | 3.09 | 0.28 | 91.69 | 3.23 | 3.51 | no | yes
30554 | NRCC DOLT-3 | dogfish liver | 3.37 | mg/kg | 2.88 | 0.49 | 85.46 | 3.23 | 3.51 | no | yes
30556 | NRCC DOLT-3 | dogfish liver | 3.37 | mg/kg | 3.1 | 0.27 | 91.99 | 3.23 | 3.51 | no | yes
30557 | NRCC DOLT-3 | dogfish liver | 3.37 | mg/kg | 3.58 | 0.21 | 106.23 | 3.23 | 3.51 | no | yes
30560 | NRCC DOLT-3 | dogfish liver | 3.37 | mg/kg | 3.04 | 0.33 | 90.21 | 3.23 | 3.51 | no | yes
30561 | NRCC DOLT-3 | dogfish liver | 3.37 | mg/kg | 2.94 | 0.43 | 87.24 | 3.23 | 3.51 | no | yes
30562 | NRCC DOLT-3 | dogfish liver | 3.37 | mg/kg | 3.16 | 0.21 | 93.77 | 3.23 | 3.51 | no | yes
30617 | NRCC DOLT-3 | dogfish liver | 3.37 | mg/kg | 3.27 | 0.1 | 97.03 | 3.23 | 3.51 | yes | yes
30618 | NRCC DOLT-3 | dogfish liver | 3.37 | mg/kg | 3.29 | 0.08 | 97.63 | 3.23 | 3.51 | yes | yes
30540 | NRCC TORT-2 | lobster hepatopancreas | 0.27 | mg/kg | 0.27 | 0 | 100 | 0.21 | 0.33 | yes | yes
30542 | NRCC TORT-2 | lobster hepatopancreas | 0.27 | mg/kg | 0.27 | 0 | 100 | 0.21 | 0.33 | yes | yes
30543 | NRCC TORT-2 | lobster hepatopancreas | 0.27 | mg/kg | 0.27 | 0 | 100 | 0.21 | 0.33 | yes | yes
30545 | NRCC TORT-2 | lobster hepatopancreas | 0.27 | mg/kg | 0.27 | 0 | 100 | 0.21 | 0.33 | yes | yes
30546 | NRCC TORT-2 | lobster hepatopancreas | 0.27 | mg/kg | 0.28 | 0.01 | 103.7 | 0.21 | 0.33 | yes | yes
30548 | NRCC TORT-2 | lobster hepatopancreas | 0.27 | mg/kg | 0.36 | 0.09 | 133.33 | 0.21 | 0.33 | no | yes
30549 | NRCC TORT-2 | lobster hepatopancreas | 0.27 | mg/kg | 0.27 | 0 | 100 | 0.21 | 0.33 | yes | yes
30615 | NRCC TORT-2 | lobster hepatopancreas | 0.27 | mg/kg | 0.26 | 0.01 | 96.3 | 0.21 | 0.33 | yes | yes
30616 | NRCC TORT-2 | lobster hepatopancreas | 0.27 | mg/kg | 0.26 | 0.01 | 96.3 | 0.21 | 0.33 | yes | yes
30627 | NRCC TORT-2 | lobster hepatopancreas | 0.27 | mg/kg | 0.28 | 0.01 | 103.7 | 0.21 | 0.33 | yes | yes
30628 | NRCC TORT-2 | lobster hepatopancreas | 0.27 | mg/kg | 0.28 | 0.01 | 103.7 | 0.21 | 0.33 | yes | yes