## Notes
U.S. Geological Survey Data Series 705
Mercury Bioaccumulation Studies in the National Water-Quality Assessment Program - Biological Data from New York and South Carolina, 2005-2009
By Karen M. Beaulieu, Daniel T. Button, Barbara C. Scudder Eikenberry, Karen Riva-Murray, Lia C. Chasar, Paul M. Bradley, and Douglas A. Burns
Appendix 12. Quality assurance and quality control results of reference material for the assessment of stable isotopes in tissue.
NOTES FOR APPENDIX 12
These data tables are included as part of U.S. Geological Survey (USGS) Data Series 705. The data were collected during a 2005-2009 study of mercury bioaccumulation. Sample analysis completed by the U.S. Geological Survey Wisconsin Mercury Research Laboratory in Middleton, WI. See report text for details about the study, and for information on sources and compilation of ancillary data.
NOTES ON BIOLOGICAL DATA
Units and abbreviations:
‰, part per mil; δ13C, ratio of stable isotopes of carbon 12 and carbon 13; δ15N, ratio of stable isotopes of nitrogen 14 and nitrogen 15.
Reference material:
USGS40, National Institute of Standards and Technology, 2007, Reference material 8573; L-glutamic acid USGS40; carbon and nitrogen isotopes: National Institute of Standards and Technology report of investigation, 5 p., accessed April 17, 2012, at https://www-s.nist.gov/srmors/reports/8573.pdf

## Appendix 12
| Carbon Isotope Ratio δ13C | [5 empty] | Nitrogen Isotope Ratio δ15N
Reference Material | Target value ‰ | Measured ‰ | Difference ‰ | Percent Recovery | Within Reference Uncertainty | Within 10 % of target value | Target value ‰ | Measured ‰ | Difference ‰ | Percent Recovery | Within Reference Uncertainty | Within 10 % of target value
USGS40 (L-glutamic acid) | -26.39 | -26.1503 | 0.24 | 99.09 | no | yes | -4.52 | -4.4919 | 0.028 | 99.38 | yes | yes
USGS40 (L-glutamic acid) | -26.39 | -26.1211 | 0.269 | 98.98 | no | yes | -4.52 | -4.3962 | 0.124 | 97.26 | no | yes
USGS40 (L-glutamic acid) | -26.39 | -26.2932 | 0.097 | 99.63 | no | yes | -4.52 | -4.3335 | 0.187 | 95.87 | no | yes
USGS40 (L-glutamic acid) | -26.39 | -26.3054 | 0.085 | 99.68 | yes | yes | -4.52 | -4.3126 | 0.207 | 95.41 | no | yes
USGS40 (L-glutamic acid) | -26.39 | -26.5829 | 0.193 | 100.73 | no | yes | -4.52 | -4.1004 | 0.42 | 90.72 | no | no
USGS40 (L-glutamic acid) | -26.39 | -26.5281 | 0.138 | 100.52 | no | yes | -4.52 | -4.3759 | 0.144 | 96.81 | no | yes
USGS40 (L-glutamic acid) | -26.39 | -26.6924 | 0.302 | 101.15 | no | yes | -4.52 | -4.3024 | 0.218 | 95.19 | no | yes
USGS40 (L-glutamic acid) | -26.39 | -26.581 | 0.191 | 100.72 | no | yes | -4.52 | -4.4916 | 0.028 | 99.37 | yes | yes
USGS40 (L-glutamic acid) | -26.39 | -26.5742 | 0.184 | 100.7 | no | yes | -4.52 | -4.6385 | 0.119 | 102.62 | yes | yes
USGS40 (L-glutamic acid) | -26.39 | -26.4358 | 0.046 | 100.17 | yes | yes | -4.52 | -4.9929 | 0.473 | 110.46 | no | no
USGS40 (L-glutamic acid) | -26.39 | -26.6525 | 0.262 | 100.99 | no | yes | -4.52 | -5.2095 | 0.69 | 115.25 | no | no
USGS40 (L-glutamic acid) | -26.39 | -26.0023 | 0.388 | 98.53 | no | yes | -4.52 | -4.748 | 0.228 | 105.04 | no | no
USGS40 (L-glutamic acid) | -26.39 | -25.9326 | 0.457 | 98.27 | no | yes | -4.52 | -5.0778 | 0.558 | 112.34 | no | no
USGS40 (L-glutamic acid) | -26.39 | -25.9191 | 0.471 | 98.22 | no | yes | -4.52 | -4.9276 | 0.408 | 109.02 | no | no
USGS40 (L-glutamic acid) | -26.39 | -26.5132 | 0.123 | 100.47 | no | yes | -4.52 | -5.1355 | 0.616 | 113.62 | no | no
USGS40 (L-glutamic acid) | -26.39 | -26.3013 | 0.089 | 99.66 | yes | yes | -4.52 | -4.8699 | 0.35 | 107.74 | no | no
USGS40 (L-glutamic acid) | -26.39 | -26.2713 | 0.119 | 99.55 | no | yes | -4.52 | -4.8198 | 0.3 | 106.63 | no | no
USGS40 (L-glutamic acid) | -26.39 | -26.2142 | 0.176 | 99.33 | no | yes | -4.52 | -4.711 | 0.191 | 104.23 | no | yes
USGS40 (L-glutamic acid) | -26.39 | -26.2396 | 0.15 | 99.43 | no | yes | -4.52 | -4.471 | 0.049 | 98.92 | yes | yes
USGS40 (L-glutamic acid) | -26.39 | -26.2415 | 0.149 | 99.44 | no | yes | -4.52 | -4.4545 | 0.065 | 98.55 | yes | yes