## h1.qwdata
Table 4. Physical properties, concentrations, and loads for all samples collected from H-1 Storm Drain during the period from July 1, 2008, to June 30, 2009, Oahu, Hawaii | [13 empty] | Table 4. Physical properties, concentrations, and loads for all samples collected from H-1 Storm Drain during the period from July 1, 2008, to June 30, 2009, Oahu, Hawaii--Continued | [14 empty] | Table 4. Physical properties, concentrations, and loads for all samples collected from H-1 Storm Drain during the period from July 1, 2008, to June 30, 2009, Oahu, Hawaii--Continued
[hh:mm, hours and minutes; Avg., value of average discharge for time-composite samples; Conc., concentration; Load, computed from concentration value and discharge value for each sample, loads associated with grab samples are instantaneous loads, | [13 empty] | [hh:mm, hours and minutes; Avg., value of average discharge for time-composite samples; Conc., concentration; Load, computed from concentration value and discharge value for each sample, loads associated with grab samples are instantaneous loads, | [14 empty] | [hh:mm, hours and minutes; Avg., value of average discharge for time-composite samples; Conc., concentration; Load, computed from concentration value and discharge value for each sample, loads associated with grab samples are instantaneous loads,
loads associated with composite samples are average loads; <, actual value is less than the value shown; ≤, actual value is less than or equal to the value shown; N, nitrogen; #, discharge value from streamflow rating, all others are measured; e, value is estimated; | [13 empty] | loads associated with composite samples are average loads; <, actual value is less than the value shown; ≤, actual value is less than or equal to the value shown; N, nitrogen; #, discharge value from streamflow rating, all others are measured; e, value is estimated; | [14 empty] | loads associated with composite samples are average loads; <, actual value is less than the value shown; ≤, actual value is less than or equal to the value shown; N, nitrogen; #, discharge value from streamflow rating, all others are measured; e, value is estimated;
--, not analyzed or measured; µS/cm, microsiemens per centimeter; ºC, degrees Celsius; ft3/s, cubic feet per second; mg/L,milligrams per liter; lbs/day, pounds per day; µg/L,micrograms per liter] | [13 empty] | --, not analyzed or measured; µS/cm, microsiemens per centimeter; ºC, degrees Celsius; ft3/s, cubic feet per second; mg/L,milligrams per liter; lbs/day, pounds per day; µg/L,micrograms per liter] | [14 empty] | --, not analyzed or measured; µS/cm, microsiemens per centimeter; ºC, degrees Celsius; ft3/s, cubic feet per second; mg/L,milligrams per liter; lbs/day, pounds per day; µg/L,micrograms per liter]
Date | Time | Sample type | Discharge | pH, lab (Std. Units) | Specific conductance (µS/cm at 25ºC) reporting to nearest whole number | Total suspended solids |  | Total nitrogena |  | Organic nitrogenb |  | Ammonia dissolved |  | Date | Time | Sample type | Nitrogen, total organic + ammonia |  | Nitrogen, nitrite + nitrate dissolved |  | Phosphorus dissolved |  | Total phosphorus |  | Total cadmium |  | Total chromium |  | Date | Time | Sample type | Total copper |  | Total lead |  | Total nickel |  | Total zinc |  | Oil and grease |  | Total petroleum hydrocarbons
|  |  | Avg. (ft3/s) |  |  | Conc. (mg/L) | Load (lbs/day) | Conc. (mg/L as N) | Load (lbs/day) | Conc. (mg/L as N) | Load (lbs/day) | Conc. (mg/L as N) | Load (lbs/day) |  |  |  | Conc. (mg/L as N) | Load (lbs/day) | Conc. (mg/L as N) | Load (lbs/day) | Conc. (mg/L) | Load (lbs/day) | Conc. (mg/L) | Load (lbs/day) | Conc. (µg/L) | Load (lbs/day) | Conc. (µg/L) | Load (lbs/day) |  |  |  | Conc. (µg/L) | Load (lbs/day) | Conc. (µg/L) | Load (lbs/day) | Conc. (µg/L) | Load (lbs/day) | Conc. (µg/L) | Load (lbs/day) | Conc. (mg/L) | Load (lbs/day) | Conc. (mg/L) | Load (lbs/day)
Storm of November 15, 2008 | [13 empty] | Storm of November 15, 2008 | [14 empty] | Storm of November 15, 2008
November 15, 2008 | 0518 | Grab | # 4.9 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | November 15, 2008 | 0518 | Grab | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | November 15, 2008 | 0518 | Grab | -- | -- | -- | -- | -- | -- | -- | -- | 12 | 320 | e22 | e580
November 15, 2008 | 0530 | Composite | # 5.1 | 7.1 | 76 | 69 | 1,900 | 0.98 | 27 | 0.79 | 22 | 0.050 | 1.4 | November 15, 2008 | 0530 | Composite | 0.84 | 23 | 0.14 | 3.9 | 0.09 | 2 | 0.26 | 7.2 | 0.22 | 0.0061 | 9 | 0.2 | November 15, 2008 | 0530 | Composite | 44.9 | 1.2 | 33.8 | 0.93 | 9.8 | 0.27 | 160 | 4.4 | -- | -- | -- | --
Storm of January 11, 2009 | [13 empty] | Storm of January 11, 2009 | [14 empty] | Storm of January 11, 2009
January 11, 2009 | 0102 | Composite | # 10 | 7.2 | 90 | 186 | 10,000 | 2.4 | 130 | ≤ 2.10 | ≤ 110 | <0.020 | <1.1 | January 11, 2009 | 0102 | Composite | 2.1 | 110 | 0.28 | 15 | 0.15 | 8.1 | 0.73 | 39 | 0.55 | 0.030 | 25 | 1.3 | January 11, 2009 | 0102 | Composite | 197 | 11 | 95.9 | 5.2 | 34.3 | 1.9 | 405 | 22 | -- | -- | -- | --
January 11, 2009 | 0357 | Composite | # 18 | 7.3 | 50 | 79 | 7,700 | 0.88 | 85 | 0.71 | 69 | 0.051 | 5.0 | January 11, 2009 | 0357 | Composite | 0.76 | 74 | 0.12 | 12 | 0.09 | 9 | 0.31 | 30 | 0.23 | 0.022 | 10 | 0.97 | January 11, 2009 | 0357 | Composite | 60.9 | 5.9 | 44.1 | 4.3 | 13.1 | 1.3 | 139 | 13 | -- | -- | -- | --
a Total nitrogen is calculated by adding nitrogen, total organic + ammonia (Kjeldahl), to nitrogen, nitrite + nitrate, dissolved.
b Organic nitrogen is calculated by subtracting nitrogen ammonia, dissolved, from total organic + ammonia (Kjeldahl). If the concentration value of nitrogen ammonia, dissolved is below
the minimum reporting level, the concentration value for organic nitrogen is reported as less than or equal to the value of total organic + ammonia (Kjeldahl), which
represents the maximum possible value for organic nitrogen.