## Appendix3
Appendix 3: Absolute gravity measurements. Reported values are at the instrument height (A10, 71.7 cm; FG5, 131 cm). [Latitude and Longitude, North American Datum 1983; Elevation, North American Vertical Datum 1988 using GEOID03]
Station Name	Latitude	Longitude	Elevation / (m)	Setup Height (cm)	Gradient (μGal/cm)	Date	Gravity (μGal)	Set Scatter (μGal)	Precision (μGal)	Uncertainty (μGal)	Sets Collected	Sets processed
A10 - Sierra Vista Subwatershed
ASA988	31.529949	-110.054419	1365.7	6.15	-3	07/10/2005	979027406.4	2.81	0.89	5.32	10	10
ASA988	"	"	"	0	-3	07/02/2009	979027377.7	1.64	0.58	5.32	8	8
ASA988	"	"	"	0	-3	12/08/2010	979027372.2	1.92	0.61	5.32	10	10
ASA1570	31.558525	-110.429676	1615.9	0	-3.256	04/15/2008	978973942.5	0.04	0.02	5.31	10	4
ASA1570	"	"	"	5.7	-3.256	11/20/2008	978973909.5	1.55	0.49	5.32	10	10
ASA1570	"	"	"	0	-3.256	01/13/2009	978973927.5	1.89	0.55	5.32	20	12
ASA1570	"	"	"	0	-3.256	06/16/2009	978973902.8	2.98	0.94	5.32	10	10
ASA1570	"	"	"	0	-3.256	12/03/2009	978973932.2	3.35	1.06	5.33	10	10
ASA1570	"	"	"	0	-3.256	05/21/2010	978973927.9	1.49	0.47	5.31	10	10
ASA1570	"	"	"	0	-3.256	12/10/2010	978973937.3	1.72	0.61	5.32	8	8
BUSBY	31.546948	-110.290933	1411.0	8.1	-3	07/07/2005	979005841.3	2.78	0.88	5.32	10	10
BUSBY	"	"	"	0	-3	06/18/2009	979005838.7	1.35	0.48	5.31	8	8
BUSBY	"	"	"	0	-3	12/02/2009	979005815.3	4.25	1.34	5.34	10	10
BUSBY	"	"	"	0	-3	05/21/2010	979005845.6	1.7	0.54	5.32	10	10
BUSBY	"	"	"	0	-3	12/10/2010	979005826.3	1.49	0.61	5.32	8	6
EOP	31.566111	-110.189969	1292.3	0	-3	06/18/2009	979031536.7	1.06	0.37	5.31	8	8
EOP	"	"	"	0	-3	12/02/2009	979031524.9	2.4	0.85	5.32	8	8
EOP	"	"	"	0	-3	12/08/2010	979031521.7	1.09	0.38	5.31	8	8
HUBBARD	31.6459	-110.2798	1310	0	-3	01/14/2009	979039474.6	0.75	0.31	5.31	16	6
HUBBARD	"	"	"	0	-3	06/18/2009	979039344.5	3.34	1.18	5.33	10	8
HUBBARD	"	"	"	0	-3	12/03/2009	979039446.9	1.09	0.45	5.32	9	6
HUBBARD	"	"	"	0	-3	05/20/2010	979039437.0	0.99	0.31	5.31	10	10
HUBBARD	"	"	"	0	-3	12/07/2010	979039395.6	2.1	0.74	5.32	10	8
MW3	31.5840	-110.2490	1330	7.5	-3	07/08/2005	979027309.3	2.79	0.88	5.32	10	10
MW3	"	"	"	0	-3	05/08/2008	979027340.0	2.12	0.71	5.32	9	9
MW3	"	"	"	0	-3	01/13/2009	979027336.6	1.72	0.7	5.32	10	6
MW3	"	"	"	0	-3	06/17/2009	979027340.1	2.41	0.76	5.32	10	10
MW3	"	"	"	0	-3	12/03/2009	979027354.7	1.79	0.63	5.32	10	8
MW3	"	"	"	0	-3	05/20/2010	979027352.1	2.6	0.82	5.32	10	10
MW3	"	"	"	0	-3	12/07/2010	979027361.0	1.2	0.42	5.31	8	8
MW4	31.5916	-110.2323	1320	7.5	-3	07/08/2005	979035517.8	1.13	0.36	5.31	10	10
MW4	"	"	"	0	-3	05/08/2008	979035570.0	2.8	0.99	5.33	10	8
MW4	"	"	"	0	-3	01/13/2009	979035559.7	0.41	0.14	5.31	8	8
MW4	"	"	"	0	-3	06/17/2009	979035561.7	3.02	0.96	5.32	10	10
MW4	"	"	"	0	-3	12/03/2009	979035577.5	1.41	0.5	5.31	8	8
MW4	"	"	"	0	-3	05/20/2010	979035582.8	2.11	0.67	5.32	10	10
MW4	"	"	"	0	-3	12/07/2010	979035571.7	1.11	0.39	5.31	8	8
MW5	31.6091	-110.2069	1280	7.4	-3	07/08/2005	979050435.8	2.75	0.87	5.32	10	10
MW5	"	"	"	0	-3	05/08/2008	979050434.9	2.51	0.79	5.32	10	10
MW5	"	"	"	0	-3	01/14/2009	979050441.3	2.32	0.95	5.32	10	6
MW5	"	"	"	0	-3	06/17/2009	979050437.1	1.36	0.48	5.31	8	8
MW5	"	"	"	0	-3	12/03/2009	979050440.0	1.59	0.56	5.32	8	8
MW5	"	"	"	0	-3	05/20/2010	979050460.3	2.06	0.69	5.32	9	9
MW5	"	"	"	0	-3	12/07/2010	979050459.4	1.85	0.59	5.32	10	10
MW6	32.6027	-110.2754	1350	0	-3	01/14/2009	979028332.7	1.81	0.64	5.32	10	8
MW6	"	"	"	0	-3	06/17/2009	979028343.4	3.22	1.02	5.33	10	10
MW6	"	"	"	0	-3	12/03/2009	979028340.9	1.04	0.37	5.31	8	8
MW6	"	"	"	0	-3	05/20/2010	979028351.5	3.23	1.02	5.33	10	10
MW6	"	"	"	0	-3	12/07/2010	979028358.8	1.63	0.47	5.32	16	12
PALOMINAS AA	31.38844	-110.12208	1294.3	0	-3.102	10/29/2007	979004704.3	2.15	0.57	5.32	24	14
PALOMINAS AA	"	"	"	0	-3.102	10/29/2007	979004708.6	1.82	0.57	5.32	12	10
PALOMINAS AA	"	"	"	0	-3.102	04/15/2008	979004713.6	4.94	1.56	5.34	10	10
PALOMINAS AA	"	"	"	0	-3.102	11/20/2008	979004714.3	3.03	0.96	5.32	10	10
PALOMINAS AA	"	"	"	0	-3.102	06/16/2009	979004712.0	1.73	0.61	5.32	8	8
PALOMINAS AA	"	"	"	0	-3.102	12/02/2009	979004706.2	1.29	0.46	5.31	8	8
PALOMINAS AA	"	"	"	0	-3.102	05/21/2010	979004710.5	1.81	0.64	5.32	8	8
PALOMINAS AA	"	"	"	0	-3.102	12/08/2010	979004706.4	1.72	0.54	5.32	10	10
R2	31.467087	-110.257738	1447.3	8.2	-3	07/08/2005	978999665.8	2.01	0.64	5.32	10	10
R2	"	"	"	0	-3	06/18/2009	978999649.7	1.45	0.51	5.31	8	8
R2	"	"	"	0	-3	12/02/2009	978999634.5	1.01	0.36	5.31	8	8
R2	"	"	"	0	-3	05/21/2010	978999654.6	1.8	0.57	5.32	10	10
R2	"	"	"	0	-3	12/08/2010	978999646.4	7.57	2.39	5.39	10	10
R6	31.467178	-110.182450	1338.5	7.85	-3	07/12/2005	979004221.9	1.52	0.48	5.32	10	10
R6	"	"	"	0	-3	07/02/2009	979004220.5	1.19	0.42	5.31	8	8
R6	"	"	"	0	-3	12/02/2009	979004214.9	1.64	0.58	5.32	8	8
R6	"	"	"	0	-3	12/08/2010	979004216.2	2.47	0.78	5.32	10	10
RAMSEY	31.465792	-110.293007	1551.2	8.4	-3	07/12/2005	978979466.0	2.32	0.73	5.32	10	10
RAMSEY	"	"	"	4.8	-3	07/02/2009	978979495.5	1.47	0.6	5.32	6	6
TOMBSTONE AA	31.70592	-110.05719	1409.01	0	-3.208	10/26/2007	979037632.3	1.76	0.36	5.31	24	24
TOMBSTONE AA	"	"	"	0	-3.208	04/16/2008	979037632.8	4.12	1.46	5.34	10	8
TOMBSTONE AA	"	"	"	0	-3.208	01/14/2009	979037633.7	0.05	0.02	5.31	10	4
TOMBSTONE AA	"	"	"	0	-3.208	06/16/2009	979037644.0	1.41	0.5	5.31	8	8
TOMBSTONE AA	"	"	"	0	-3.208	12/04/2009	979037636.6	0.35	0.14	5.31	7	6
TOMBSTONE AA	"	"	"	0	-3.208	05/21/2010	979037650.9	1.57	0.64	5.32	10	6
TOMBSTONE AA	"	"	"	0	-3.208	12/06/2010	979037637.0	0.97	0.34	5.31	8	8
TOMBSTONE DA	31.70622	-110.05713	1407.59	0	-3.242	10/28/2007	979037853.3	2.55	0.74	5.32	12	12
TOMBSTONE DA	"	"	"	0	-3.242	04/16/2008	979037802.5	0.5	0.25	5.31	10	4
TOMBSTONE DA	"	"	"	0	-3.242	11/20/2008	979037868.2	1.19	0.42	5.31	10	8
TOMBSTONE DA	"	"	"	0	-3.242	01/14/2009	979037854.5	2.96	1.05	5.33	10	8
TOMBSTONE DA	"	"	"	0	-3.242	12/04/2009	979037857.8	1.8	0.64	5.32	10	8
TOMBSTONE DA	"	"	"	0	-3.242	05/21/2010	979037859.4	1.53	0.62	5.32	9	6
TOMBSTONE DA	"	"	"	0	-3.242	12/06/2010	979037860.1	1.12	0.35	5.31	10	10
TW9	31.6059	-110.2388	1340	6	-3	06/18/2008	979038405.3	3.44	1.4	5.34	8	6
TW9	"	"	"	5.9	-3	01/13/2009	979038396.1	1.09	0.34	5.31	10	10
TW9	"	"	"	5.8	-3	06/17/2009	979038407.7	2.51	0.89	5.32	8	8
TW9	"	"	"	0	-3	12/03/2009	979038390.7	3.81	1.2	5.33	10	10
TW9	"	"	"	0	-3	05/20/2010	979038404.0	1.85	0.58	5.32	10	10
TW9	"	"	"	0	-3	12/07/2010	979038386.0	1.51	0.48	5.31	10	10
UPS	31.554352	-110.2142012	1328.2	4	-3	12/02/2009	979023470.5	5.04	1.6	5.35	10	10
UPS	"	"	"	0	-3	12/08/2010	979023456.3	2.27	0.72	5.32	10	10
A10 - Benson Subwatershed
CANARY	31.87225	-110.34158	1400.1	0	-3	04/15/2008	979056527.7	3.36	1.06	6.09	10	10
CANARY	"	"	"	4.6	-3	12/01/2009	979056533.5	2.96	0.94	10.57	10	10
CANARY	"	"	"	4.4	-3	03/10/2010	979056544.8	0.91	0.37	10.54	20	6
CANARY	"	"	"	0	-3	07/16/2010	979056542.4	0.69	0.28	10.54	10	6
CANARY	"	"	"	4.5	-3	12/06/2010	979056534.1	1.84	0.65	10.55	8	8
CANARY	"	"	"	4.5	-3	04/07/2011	979056533.1	2.92	0.92	6.05	10	10
JUAN	31.87022	-110.28295	1221.8	4.55	-3	04/15/2008	979085158.4	1.43	0.64	6.02	9	5
JUAN	"	"	"	4.3	-3	12/01/2009	979085157.5	3.7	1.17	10.59	10	10
JUAN	"	"	"	4.3	-3	03/11/2010	979085161.4	3.49	0.93	10.57	20	14
JUAN	"	"	"	4.3	-3	07/16/2010	979085155.2	2.33	0.95	10.57	10	6
JUAN	"	"	"	4.3	-3	12/10/2010	979085156.8	5.05	1.79	10.68	10	8
JUAN	"	"	"	4.3	-3	04/07/2011	979085150.8	4.87	1.54	6.18	10	10
BENSON CA	31.83787	-110.34968	1404	0	-3	03/20/2008	979050419.6	2.27	0.72	6.04	10	10
BENSON CA	"	"	"	0	-3	12/02/2009	979050418.1	0.78	0.27	10.55	8	8
BENSON CA	"	"	"	0	-3	08/12/2010	979050415.5	2.81	0.99	10.58	10	8
BENSON CA	"	"	"	0	-3	12/22/2010	979050419.6	2.98	0.94	10.59	10	10
POST	31.88822	-110.34957	1400	0	-3	04/15/2008	979060244.0	1.75	0.62	6.03	10	8
POST	"	"	"	0	-3	12/01/2009	979060244.6	8.46	2.68	10.87	10	10
POST	"	"	"	0	-3	03/10/2010	979060249.3	4.46	1.58	10.65	10	8
POST	"	"	"	0	-3	07/16/2010	979060242.2	0.75	0.24	10.54	10	10
POST	"	"	"	0	-3	12/10/2010	979060247.7	1.25	0.51	10.55	10	6
POST	"	"	"	0	-3	04/07/2011	979060231.1	1.69	0.6	6.03	8	8
STDAVID	31.92548	-110.22888	1153	3	-3	04/16/2008	979102826.9	2.56	1.28	6.12	10	4
STDAVID	"	"	"	3	-3	06/16/2009	979102814.5	4.4	1.39	10.62	10	10
STDAVID	"	"	"	3	-3	12/04/2009	979102811.7	2.21	0.7	10.56	10	10
STDAVID	"	"	"	2.95	-3	03/11/2010	979102804.4	2.32	0.82	10.56	16	8
STDAVID	"	"	"	3	-3	07/16/2010	979102800.2	1.38	0.49	10.54	8	8
STDAVID	"	"	"	3	-3	12/06/2010	979102803.1	1.88	0.63	10.55	9	9
STDAVID	"	"	"	3	-3	04/07/2011	979102800.8	4.2	1.33	6.13	10	10
TANK	31.77616	-110.35058	1383.8	4.65	-3	03/20/2008	979045388.0	1.57	0.5	6	10	10
TANK	"	"	"	4.5	-3	04/16/2008	979045386.1	3.14	0.99	6.06	10	10
TANK	"	"	"	4.5	-3	12/01/2009	979045392.3	1.24	0.44	10.53	8	8
TANK	"	"	"	4.2	-3	03/10/2010	979045391.6	3.06	0.97	10.57	10	10
TANK	"	"	"	4.4	-3	07/16/2010	979045390.3	0.64	0.22	10.53	8	8
TANK	"	"	"	4.45	-3	12/06/2010	979045386.8	0.73	0.26	10.53	8	8
TANK	"	"	"	4.4	-3	04/07/2011	979045368.0	2.15	0.68	6.02	10	10
TWO	31.94716	-110.34165	1268.6	4.1	-3	04/16/2008	979081941.9	2.49	0.79	6.03	10	10
TWO	"	"	"	4	-3	12/01/2009	979081945.3	3.51	1.11	10.59	10	10
TWO	"	"	"	3.8	-3	03/10/2010	979081953.2	5.79	2.05	10.72	16	8
TWO	"	"	"	4	-3	07/16/2010	979081917.2	15.94	5.04	11.67	10	10
TWO	"	"	"	4.1	-3	12/10/2010	979081948.3	2.96	0.94	10.57	10	10
TWO	"	"	"	4.2	-3	04/07/2011	979081940.7	1.76	0.62	6.02	8	8
FG5
BENSON AA	31.83779	-110.35068	1412.62	13.31	-2.45	11/09/2005	979049099.3	2.6	0.52	1.88	25	25
BENSON AA	"	"	"	13.17	-2.45	03/28/2006	979049098.1	1.25	0.25	1.82	25	24
BENSON AA	"	"	"	13.15	-2.45	11/14/2006	979049098.3	2.99	0.61	1.91	24	24
BENSON AA	"	"	"	13.32	-2.45	05/31/2007	979049095.9	2.04	0.68	1.94	9	9
FT. HUACHUCA AA	31.55791	-110.42938	1617.54	14.44	-3.003	03/23/2000	978973207.6	1.52	0.31	1.89	24	24
FT. HUACHUCA AA	"	"	"	14.88	-3.003	10/17/2000	978973209.3	0.83	0.17	1.88	24	24
FT. HUACHUCA AA	"	"	"	14.67	-3.003	04/18/2001	978973207.5	1.9	0.39	1.91	24	24
FT. HUACHUCA AA	"	"	"	14.88	-3.003	10/23/2001	978973207.4	0.85	0.17	1.88	24	24
FT. HUACHUCA AA	"	"	"	14.96	-3.003	04/26/2002	978973205.9	1.3	0.26	1.83	24	24
FT. HUACHUCA AA	"	"	"	14.69	-3.003	11/13/2002	978973208.3	1.14	0.24	1.88	23	23
FT. HUACHUCA AA	"	"	"	14.33	-3.003	04/24/2003	978973207.9	1.07	0.26	1.89	24	17
FT. HUACHUCA AA	"	"	"	13.07	-3.003	11/05/2003	978973211.1	1.28	0.31	1.89	30	17
FT. HUACHUCA AA	"	"	"	13.37	-3.003	06/02/2004	978973213.0	1.19	0.24	1.89	24	24
FT. HUACHUCA AA	"	"	"	13.26	-3.003	12/14/2004	978973210.1	1.93	0.38	1.92	26	26
FT. HUACHUCA AA	"	"	"	13.29	-3.003	04/05/2005	978973188.9	2.54	0.51	1.93	25	25
FT. HUACHUCA AA	"	"	"	13.41	-3.003	05/17/2005	978973208.6	1.19	0.23	1.88	28	28
FT. HUACHUCA AA	"	"	"	13.44	-3.003	11/08/2005	978973209.4	0.98	0.2	1.88	24	24
FT. HUACHUCA AA	"	"	"	14.15	-3.003	03/23/2006	978973211.9	1.2	0.28	1.89	25	18
FT. HUACHUCA AA	"	"	"	13.53	-3.003	11/07/2006	978973210.6	0.92	0.19	1.83	24	24
FT. HUACHUCA AA	"	"	"	13.31	-3.003	10/25/2007	978973209.9	1.24	0.25	1.83	25	25
PALOMINAS AA	31.38844	-110.12208	1294.3	14.66	-3.051	04/20/2001	979004535.4	1.36	0.19	1.87	49	49
PALOMINAS AA	"	"	"	14.64	-3.051	10/24/2001	979004529.7	1.47	0.23	1.88	44	40
PALOMINAS AA	"	"	"	14.88	-3.051	04/28/2002	979004529.3	1.39	0.32	1.9	24	19
PALOMINAS AA	"	"	"	14.81	-3.051	11/16/2002	979004519.1	4.48	0.92	2.08	24	24
PALOMINAS AA	"	"	"	14.81	-3.051	11/15/2002	979004525.0	0.9	0.37	1.84	24	6
PALOMINAS AA	"	"	"	14.69	-3.051	04/29/2003	979004543.5	0.92	0.21	1.88	19	19
PALOMINAS AA	"	"	"	14.69	-3.051	04/29/2003	979004531.2	0.92	0.21	1.82	19	19
PALOMINAS AA	"	"	"	13.25	-3.051	10/30/2003	979004524.8	1.65	0.33	1.9	28	25
PALOMINAS AA	"	"	"	13.38	-3.051	06/01/2004	979004544.0	1.38	0.28	1.89	24	24
PALOMINAS AA	"	"	"	13.38	-3.051	06/01/2004	979004528.9	1.38	0.28	1.84	24	24
PALOMINAS AA	"	"	"	13.3	-3.051	12/13/2004	979004526.8	3.75	0.76	2.03	24	24
PALOMINAS AA	"	"	"	13.42	-3.051	05/13/2005	979004529.0	1.32	0.27	1.89	24	24
PALOMINAS AA	"	"	"	13.46	-3.051	11/05/2005	979004527.2	1.3	0.26	1.9	24	24
PALOMINAS AA	"	"	"	13.36	-3.051	03/25/2006	979004528.2	1.47	0.23	1.88	41	41
PALOMINAS AA	"	"	"	13.57	-3.051	11/08/2006	979004532.9	1.32	0.26	1.84	25	25
PALOMINAS AA	"	"	"	13.35	-3.051	10/27/2007	979004529.0	2.6	0.52	1.89	42	25
TOMBSTONE AA	31.70592	-110.05719	1409.01	14.48	-3.209	03/24/2000	979037439.1	0.98	0.15	1.81	44	44
TOMBSTONE AA	"	"	"	14.81	-3.209	10/14/2000	979037438.8	0.93	0.13	1.87	50	50
TOMBSTONE AA	"	"	"	14.81	-3.209	04/22/2001	979037443.2	1.03	0.16	1.82	39	39
TOMBSTONE AA	"	"	"	14.68	-3.209	10/26/2001	979037442.5	0.72	0.15	1.81	24	24
TOMBSTONE AA	"	"	"	14.9	-3.209	04/27/2002	979037440.1	1.01	0.2	1.82	25	25
TOMBSTONE AA	"	"	"	14.78	-3.209	11/15/2002	979037445.5	0.66	0.16	1.81	24	16
TOMBSTONE AA	"	"	"	13.19	-3.209	11/01/2003	979037446.9	1.53	0.31	1.84	25	25
TOMBSTONE AA	"	"	"	13.3	-3.209	05/28/2004	979037448.2	1.01	0.19	1.82	28	28
TOMBSTONE AA	"	"	"	13.44	-3.209	12/15/2004	979037448.2	1.11	0.23	1.83	25	23
TOMBSTONE AA	"	"	"	13.41	-3.209	05/11/2005	979037445.7	0.98	0.2	1.83	25	25
TOMBSTONE AA	"	"	"	13.75	-3.209	11/04/2005	979037444.4	0.86	0.17	1.83	25	25
TOMBSTONE AA	"	"	"	13.34	-3.209	03/29/2006	979037440.2	0.65	0.13	1.81	24	24
TOMBSTONE AA	"	"	"	13.33	-3.225	05/09/2006	979037439.3	0.58	0.14	1.81	18	18
TOMBSTONE AA	"	"	"	13.67	-3.209	11/10/2006	979037446.8	0.96	0.19	1.83	25	25
TOMBSTONE AA	"	"	"	13.41	-3.209	10/30/2007	979037446.6	1.01	0.21	1.83	24	24