## Table 10
Table 10.—Concentrations of halogenated organic compounds analyzed by USGS National Water Quality Laboratory custom method 8093 in solids and sediments from selected wastewater treatment plants in the lower Stillaguamish River Basin, Washington, 2009–11. [<, less than; E, estimated; U, unable to analyze because of matrix interference. Samples from Arlington in 2009 are in mass only (in micrograms). All other samples are concentrations in micrograms per kilogram. National Water Information System (NWIS) codes in parentheses.]
Station number | Station name | Begin date | End date | Begin time | End time | 4,4'-Dibromooctafluorobipheny, internal standard, solids, percent recovery | p,p'-DDT-d8, internal standard, solids, percent recovery | PCB 202-13C12, internal standard, solids, percent recovery | α-Endosulfan, recoverable, dry weight, micrograms per kilogram | Benfluralin, solids, recoverable, dry weight, micrograms per kilogram | β-Endosulfan, solids, recoverable, dry weight, micrograms per kilogram | Chlorpyrifos, solids, recoverable, dry weight, micrograms per kilogram | cis-Chlordane, solids, recoverable, dry weight, micrograms per kilogram | cis-Nonachlor, solids, recoverable, dry weight, micrograms per kilogram | Cyfluthrin, solids, recoverable, dry weight, micrograms per kilogram | DCPA, solids, recoverable, dry weight, micrograms per kilogram | Desulfinylfipronil, solids, recoverable, dry weight, micrograms per kilogram | Dieldrin, solids, recoverable, dry weight, micrograms per kilogram | Endosulfan sulfate, solids, recoverable, dry weight, micrograms per kilogram | Fipronil sulfide, solids, recoverable, dry weight, micrograms per kilogram | Hexachlorobenzene, solids, recoverable, dry weight, micrograms per kilogram | λ-Cyhalothrin, solids, recoverable, dry weight, micrograms per kilogram | Oxychlordane, solids, recoverable, dry weight, micrograms per kilogram | Oxyfluorfen, solids, recoverable, dry weight, micrograms per kilogram | p,p'-DDD, solids, recoverable, dry weight, micrograms per kilogram | p,p'-DDE, solids, recoverable, dry weight, micrograms per kilogram | p,p'-DDT, solids, recoverable, dry weight, micrograms per kilogram | Pendimethalin, solids, recoverable, dry weight, micrograms per kilogram | Pentachloroanisole, solids, recoverable, dry weight, micrograms per kilogram | Pentachloronitrobenzene, solids, recoverable, dry weight, micrograms per kilogram | Tefluthrin, solids, recoverable, dry weight, micrograms per kilogram | Tetradifon, solids, recoverable, dry weight, micrograms per kilogram | trans-Chlordane, solids, recoverable, dry weight, micrograms per kilogram | trans-Nonachlor, solids, recoverable, dry weight, micrograms per kilogram | Trifluralin, solids, recoverable, dry weight, micrograms per kilogram | PCB congener 101, solids, recoverable, dry weight, micrograms per kilogram | PCB congener 110, solids, recoverable, dry weight, micrograms per kilogram | PCB congener 118, solids, recoverable, dry weight, micrograms per kilogram | PCB congener 138, solids, recoverable, dry weight, micrograms per kilogram | PCB congener 146, solids, recoverable, dry weight, micrograms per kilogram | PCB congener 149, solids, recoverable, dry weight, micrograms per kilogram | PCB congener 151, solids, recoverable, dry weight, micrograms per kilogram | PCB congener 170, solids, recoverable, dry weight, micrograms per kilogram | PCB congener 174, solids, recoverable, dry weight, micrograms per kilogram | PCB congener 177, solids, recoverable, dry weight, micrograms per kilogram | PCB congener 180, solids, recoverable, dry weight, micrograms per kilogram | PCB congener 183, solids, recoverable, dry weight, micrograms per kilogram | PCB congener 187, solids, recoverable, dry weight, micrograms per kilogram | PCB congener 194, solids, recoverable, dry weight, micrograms per kilogram | PCB congener 206, solids, recoverable, dry weight, micrograms per kilogram | PCB congener 49, solids, recoverable, dry weight, micrograms per kilogram | PCB congener 52, solids, recoverable, dry weight, micrograms per kilogram | PCB congener 70, solids, recoverable, dry weight, micrograms per kilogram | 1,2-Bis(2,4,6-tribromophenoxy)-ethane, solids, recoverable, dry weight, micrograms per kilogram | BDE congener 100, solids, recoverable, dry weight, micrograms per kilogram | BDE congener 138, solids, recoverable, dry weight, micrograms per kilogram | BDE congener 153, solids, recoverable, dry weight, micrograms per kilogram | BDE congener 154, solids, recoverable, dry weight, micrograms per kilogram | BDE congener 183, solids, recoverable, dry weight, micrograms per kilogram | BDE congener 47, solids, recoverable, dry weight, micrograms per kilogram | BDE congener 66, solids, recoverable, dry weight, micrograms per kilogram | BDE congener 71, solids, recoverable, dry weight, micrograms per kilogram | BDE congener 85, solids, recoverable, dry weight, micrograms per kilogram | BDE congener 99, solids, recoverable, dry weight, micrograms per kilogram | Bis(hexachlorocyclopentadieno)-cyclooctane, solids, recoverable, dry weight, micrograms per kilogram | Methyl triclosan, solids, recoverable, dry weight, micrograms per kilogram | Octachlorostyrene, solids, recoverable, dry weight, micrograms per kilogram | Pentabromotoluene, solids, recoverable, dry weight, micrograms per kilogram | Triclosan, solids, recoverable, dry weight, micrograms per kilogram
[6 empty] | (91785) | (91828) | (90802) | (63259) | (63265) | (63260) | (63273) | (63271) | (63338) | (63279) | (63282) | (63316) | (63289) | (63298) | (63314) | (63631) | (63280) | (64866) | (63341) | (63346) | (63347) | (63345) | (63353) | (64119) | (63650) | (63377) | (63665) | (63272) | (63339) | (63390) | (64729) | (64730) | (64731) | (64732) | (64733) | (64734) | (64735) | (64736) | (64737) | (64738) | (64739) | (64740) | (64741) | (64742) | (64743) | (64725) | (64726) | (64727) | (64868) | (64856) | (64857) | (64858) | (64859) | (64860) | (63166) | (64852) | (64853) | (64854) | (64855) | (65220) | (63639) | (65217) | (64867) | (63232)
481201122074200 | Wastewater Treatment Plant influent Arlington, Washington | August 13, 2009 | August 14, 2009 | 0905 | 0840 | 18.98 | 22.27 | 6.5509 | 0.108 | <0.2 | <0.2 | 4.1 | 0.373 | <0.1 | <0.7 | <0.2 | 0.156 | <1.0 | U | 1.19 | <0.2 | <0.77 | <1.0 | <4.0 | <20.9 | <1.0 | <4.0 | <1.0 | <0.41 | <0.1 | <0.50 | <0.20 | 0.189 | 0.132 | <0.52 | <1.0 | <1.0 | <0.10 | <0.10 | < 0.22 | <1.0 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <2.0 | <1.0 | <2.0 | 3.84 | 17.9 | 0.992 | 6.99 | 5.72 | <0.549 | E119 | 1.8 | <0.10 | 4.05 | 55.1 | 5.31 | 12.2 | <1.0 | <1.0 | 2740
481206122074400 | Wastewater Treatment Plant effluent Arlington, Washington | August 13, 2009 | August 14, 2009 | 0850 | 0830 | 25.29 | 29.6729 | 12.1496 | <0.2 | <0.2 | <0.2 | 1.8 | 0.4 | 0.0439 | <0.5 | <0.2 | 0.343 | <1.2 | <0.4 | 0.299 | <0.2 | <0.20 | <1.0 | <4.0 | <2.0 | <1.0 | <4.0 | <1.0 | <7.56 | <0.1 | <0.50 | <0.20 | 0.17 | 0.124 | <0.20 | <1.0 | <1.0 | <0.10 | <0.10 | < 0.22 | <1.0 | <0.10 | <0.10 | <0.10 | <0.10 | E0.06 | <0.10 | <0.10 | <0.10 | <0.10 | <2.0 | <1.0 | <2.0 | 0.582 | 10 | 0.386 | 2.98 | 2.87 | <0.303 | 54.8 | 2.24 | <0.10 | 2.04 | 39.2 | 3.14 | 56.5 | <1.0 | <1.0 | U
481201122074200 | Wastewater Treatment Plant influent Arlington, Washington | September 7, 2011 | September 8, 2011 | 0845 | 0915 | 77.8684 | 85.0578 | 58.2436 | 0.12418 | <0.2 | <0.2 | <0.2 | 0.33956 | 0.073077 | 3.033 | <0.20 | 0.32198 | <0.1 | <0.40 | 1.4615 | E4.2 | 0.97802 | <1.0 | <4.0 | <2.0 | <1.0 | <4.0 | <1.0 | 4.8022 | <0.10 | <0.50 | <0.20 | 0.31978 | 0.23791 | 0.13736 | <1.0 | <1.0 | <0.10 | <0.10 | <0.10 | <1.0 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <2.0 | <1.0 | <2.0 | 0.78022 | E10.2 | 0.45604 | 2.7527 | 2.6758 | <0.10 | E71 | 1.1154 | <0.10 | 1.9066 | E44.1 | 7.3626 | 26.978 | <1.0 | <1.0 | <4.0
481119122210000 | Wastewater Treatment Plant influent Warm Beach, Washington | September 15, 2010 | September 16, 2010 | 0840 | 0740 | 28.8747 | 5.5705 | 18.4436 | <0.2 | <0.2 | <0.2 | <0.2 | <0.20 | <0.1 | <0.20 | <0.20 | <0.1 | 0.2818 | <0.40 | <0.9 | <1.0 | < .20 | <1.0 | <4.0 | <2.0 | <1.0 | <4.0 | <1.0 | 5.3725 | <0.10 | <0.50 | <0.20 | <0.20 | <0.10 | <0.20 | <1.0 | <1.0 | <0.10 | <0.10 | <0.10 | <1.0 | <0.10 | <0.10 | <0.10 | <0.10 | E0.09 | <0.10 | <0.10 | E0.08 | E0.04 | <2.0 | <1.0 | <2.0 | 0.24785 | 1.3533 | <0.10 | 0.51191 | 0.45514 | <0.10 | 8.1 | <0.10 | <0.10 | <0.10 | 6.0821 | <0.10 | 510 | <1.0 | <1.0 | 319.8175
481252122111000 | Wastewater Treatment Plant influent Angel of the Winds Casino, Washington | September 15, 2010 | September 16, 2010 | 1000 | 0840 | 49.2263 | 35.7252 | 42.3248 | <0.2 | <0.2 | <0.2 | 2.5581 | 2.9767 | <0.1 | <0.20 | <0.20 | 0.14791 | <0.1 | <0.40 | <0.1 | <7.6 | 2.014 | <1.0 | <4.0 | <2.0 | <1.0 | <4.0 | <1.0 | <0.41 | <0.10 | <0.50 | <0.20 | 0.99535 | 0.47442 | <0.20 | <1.0 | <1.0 | <0.10 | <0.10 | <0.10 | <1.0 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <2.0 | <1.0 | <2.0 | 4.9302 | E270 | 19.7907 | 101.6279 | 81.8605 | 9.7209 | E1100 | 23.093 | <0.10 | 77.907 | E1330 | <0.10 | <0.10 | <1.0 | <1.0 | E10,000
481252122111000 | Wastewater Treatment Plant influent Angel of the Winds Casino, Washington | September 14, 2011 | September 15, 2011 | 1000 | 0820 | 46.1873 | 40.1608 | 46.4145 | <0.2 | <0.2 | E0.11 | <0.20 | <0.20 | <0.1 | E3.0 | <0.20 | 0.35287 | <0.1 | 0.4 | 0.8535 | <0.1 | 1.4522 | <1.0 | <4.0 | <2.0 | <1.0 | <4.0 | <1.0 | <0.10 | <0.10 | <0.50 | <0.20 | <0.20 | <0.10 | <0.20 | <1.0 | <1.0 | <0.10 | <0.10 | <0.10 | <1.0 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <0.10 | <2.0 | <1.0 | <2.0 | <0.10 | E3.43 | <0.10 | 1.2803 | 1.1656 | <0.10 | 22.4 | <0.10 | <0.10 | <0.10 | 16.1783 | 0.75159 | 435.0318 | <1.0 | <1.0 | E640
Note - results for shaded cells are in mass (in micrograms) only