## Table B4
Table B4.—Laboratory matrix spike recoveries in quality-control samples analyzed by USGS National Water Quality Laboratory schedule 2080 and custom schedule 2434 in samples from the Stillaguamish River Basin, Washington, 2009–11. [NWIS, USGS National Water Information System; NWQL, National Water Quality Laboratory; wf, water filtered; E, estimated; all concentrations in micrograms per unit, except for custom schedule 2434, which is in nanograms per liter; wf, water filtered; IDS, isotope dilution standard; sur, surrogate; --, no data or not applicable. Spike recoveries are in percent. Background refers to the environmental background sample that accompanies a sample. Recovery is reported as a range (lowest possible recovery to highest possible recovery) for matrix spikes in which the constituent concentration in the background sample is censored (background remark is "<" ).]
Laboratory matrix spikes —NWQL schedule 2080 | [7 empty] | Laboratory matrix spikes —NWQL schedule 2080 (continued) | [7 empty] | Laboratory matrix spikes —NWQL schedule 2080 (continued) | [7 empty] | Laboratory matrix spikes —NWQL schedule 2080 (continued)
12169990 Church Creek at Jensen Road near Stanwood, WA | [7 empty] | 481252122111100 Wastewater Treatment Plant effluent Angel of the Winds Casino, WA | [7 empty] | 481206122074400 Wastewater Treatment Plant effluent Arlington, WA | [7 empty] | 481252122111100 Wastewater Treatment Plant effluent Angel of the Winds Casino, WA
2008-09-24 | [7 empty] | 2010-09-15 | [7 empty] | 2009-08-14 | [7 empty] | 2011-09-14
NWIS parameter code | NWIS parameter name | Spike remark | Spike concen-tration | Back-ground remark | Back-ground concen-tration | Expected spike concen-tration | Spike recovery | NWIS parameter code | NWIS parameter name | Spike remark | Spike concen-tration | Back-ground remark | Back-ground concen-tration | Expected spike concen-tration | Spike recovery | NWIS parameter code | NWIS parameter name | Spike remark | Spike concen-tration | Back-ground remark | Back-ground concen-tration | Expected spike concen-tration | Spike recovery | NWIS parameter code | NWIS parameter name | Spike remark | Spike concen-tration | Back-ground remark | Back-ground concen-tration | Expected spike concen-tration | Spike recovery
50305 | Caffeine, wf |  | 0.2305 | < | 0.1 | 0.26015 | 50.2 to 88.6 | 50305 | Caffeine, wf |  | 0.1272 |  | 0.094 | 0.26134 | 12.7 | 50305 | Caffeine, wf | E | 0.1313 |  | 0.1 | 0.26096 | 12.0 | 50305 | Caffeine, wf |  | 0.0262 |  | 0.2 | 0.25342 | -68.6
62000 | Acetaminophen, wf |  | 0.227 | < | 0.08 | 0.26015 | 56.5 to 87.3 | 62000 | Acetaminophen, wf | E | 0.0338 | < | 0.12 | 0.26134 | -33.0 to 12.9 | 62000 | Acetaminophen, wf | E | 0.0219 | < | 0.08 | 0.26096 | -22.3 to 8.4 | 62000 | Acetaminophen, wf | E | 0.0126 | < | 0.12 | 0.25342 | -42.4 to 5.0
62003 | Codeine, wf |  | 0.2855 | < | 0.04 | 0.26015 | 94.4 to 109.7 | 62003 | Codeine, wf |  | 0.1003 | < | 0.046 | 0.26134 | 20.8 to 38.4 | 62003 | Codeine, wf | E | 0.1166 | < | 0.04 | 0.26096 | 29.4 to 44.7 | 62003 | Codeine, wf |  | 0.0299 | < | 0.046 | 0.25342 | -6.4 to 11.8
62004 | Dehydronifedipine, wf |  | 0.2142 | < | 0.06 | 0.26015 | 59.3 to 82.3 | 62004 | Dehydronifedipine, wf |  | 0.1755 | E | 0.0048 | 0.26134 | 65.3 | 62004 | Dehydronifedipine, wf |  | 0.1319 | < | 0.08 | 0.26096 | 19.9 to 50.5 | 62004 | Dehydronifedipine, wf |  | 0.211 | < | 0.08 | 0.25342 | 51.7 to 83.3
62005 | Cotinine, wf |  | 0.2095 | < | 0.026 | 0.26015 | 70.5 to 80.5 | 62005 | Cotinine, wf |  | 0.0795 | < | 0.038 | 0.26134 | 15.9 to 30.4 | 62005 | Cotinine, wf |  | 0.0703 | < | 0.026 | 0.26096 | 17.0 to 26.9 | 62005 | Cotinine, wf |  | 0.0861 | < | 0.038 | 0.25342 | 19.3 to 34.0
62008 | Diltiazem, wf | E | 0.0655 | < | 0.04 | 0.26015 | 9.8 to 25.2 | 62008 | Diltiazem, wf | E | 0.1521 | < | 0.06 | 0.26134 | 35.2 to 58.2 | 62008 | Diltiazem, wf | E | 0.0792 | < | 0.08 | 0.26096 | -0.3 to 30.3 | 62008 | Diltiazem, wf | E | 0.1895 | < | 0.02 | 0.25342 | 66.9 to 74.8
62020 | Albuterol, wf |  | 0.1859 | < | 0.04 | 0.26015 | 56.1 to 71.5 | 62020 | Albuterol, wf |  | 0.0945 | < | 0.08 | 0.26134 | 5.5 to 36.2 | 62020 | Albuterol, wf | E | 0.0406 | < | 0.06 | 0.26096 | -7.4 to 15.6 | 62020 | Albuterol, wf |  | 0.0568 | < | 0.08 | 0.25342 | -9.2 to 22.4
62021 | Sulfamethoxazole, wf | E | 0.0527 | < | 0.1 | 0.26015 | -18.2 to 20.3 | 62021 | Sulfamethoxazole, wf | E | 0.5282 | E | 0.4053 | 0.26134 | 47.0 | 62021 | Sulfamethoxazole, wf | E | 0.1108 | < | 0.16 | 0.26096 | -18.9 to 42.5 | 62021 | Sulfamethoxazole, wf | E | 0.1393 | < | 0.091 | 0.25342 | 19.1 to 55.0
62023 | Trimethoprim, wf |  | 0.1419 | < | 0.04 | 0.26015 | 39.2 to 54.5 | 62023 | Trimethoprim, wf |  | 0.0541 | < | 0.034 | 0.26134 | 7.7 to 20.7 | 62023 | Trimethoprim, wf |  | 0.2506 |  | 0.1588 | 0.26096 | 35.2 | 62023 | Trimethoprim, wf |  | 0.1034 | < | 0.034 | 0.25342 | 27.4 to 40.8
62024 | Warfarin, wf | E | 0.1641 | < | 0.06 | 0.26015 | 40.0 to 63.1 | 62024 | Warfarin, wf | E | 0.0766 | < | 0.08 | 0.26134 | -1.3 to 29.3 | 62024 | Warfarin, wf | E | 0.0337 | < | 0.1 | 0.26096 | -25.4 to 12.9 | 62024 | Warfarin, wf | E | 0.0923 | < | 0.08 | 0.25342 | 4.9 to 36.4
62030 | 1,7-Dimethylxanthine, wf |  | 0.1948 | < | 0.1 | 0.26015 | 36.4 to 74.9 | 62030 | 1,7-Dimethylxanthine, wf | E | 0.0887 | < | 0.1 | 0.26134 | -4.3 to 33.9 | 62030 | 1,7-Dimethylxanthine, wf | < | 0.12 | < | 0.12 | 0.26096 | -46.0 to 46.0 | 62030 | 1,7-Dimethylxanthine, wf | < | 0.1 | < | 0.1 | 0.25342 | -39.5 to 39.5
62793 | Carbamazepine, wf |  | 0.2006 | < | 0.04 | 0.26015 | 61.7 to 77.1 | 62793 | Carbamazepine, wf |  | 0.1527 |  | 0.0871 | 0.26134 | 25.1 | 62793 | Carbamazepine, wf |  | 0.134 |  | 0.0912 | 0.26096 | 16.4 | 62793 | Carbamazepine, wf |  | 0.1384 |  | 0.0631 | 0.25342 | 29.7
62796 | Diphenhydramine, wf |  | 0.0887 | < | 0.05 | 0.26015 | 14.9 to 34.1 | 62796 | Diphenhydramine, wf |  | 0.0949 | E | 0.0159 | 0.26134 | 30.2 | 62796 | Diphenhydramine, wf |  | 0.159 |  | 0.0962 | 0.26096 | 24.1 | 62796 | Diphenhydramine, wf |  | 0.1073 |  | 0.0176 | 0.25342 | 35.4
62801 | Thiabendazole, wf | E | 0.0153 | < | 0.1 | 0.26015 | -32.6 to 5.9 | 62801 | Thiabendazole, wf | E | 0.0143 | < | 0.06 | 0.26134 | -17.5 to 5.5 | 62801 | Thiabendazole, wf | < | 0.06 | < | 0.06 | 0.26096 | -23.0 to 23.0 | 62801 | Thiabendazole, wf |  | 0.0172 | < | 0.06 | 0.25342 | -16.9 to 6.8
Surrogate recoveries (in percent) | [7 empty] | Surrogate recoveries (in percent) | [7 empty] | Surrogate recoveries (in percent) | [7 empty] | Surrogate recoveries (in percent)
90797 | Carbamazepine-d10 |  | 83.7 |  | -- | 94 | -- | 90797 | Carbamazepine-d10 |  | 23.9 |  | 21.1 | -- | -- | 90797 | Carbamazepine-d10 |  | 18.4 |  | 18.1 | -- | -- | 90797 | Carbamazepine-d10 |  | 25.4 |  | 26.2 | -- | --
99571 | Ethyl nicotinate-d4 |  | 82.9 |  | -- | 80.9 | -- | 99571 | Ethyl nicotinate-d4 |  | 59.6 |  | 57.8 | -- | -- | 99571 | Ethyl nicotinate-d4 |  | 50.9 |  | 53.5 | -- | -- | 99571 | Ethyl nicotinate-d4 |  | 59.7 |  | 61.2 | -- | --
Laboratory matrix spikes —NWQL custom schedule 2434 | [7 empty] | Laboratory matrix spikes —NWQL custom schedule 2434 (continued)
481252122111100 Wastewater Treatment Plant effluent Angel of the Winds Casino, WA | [7 empty] | 481252122111100 Wastewater Treatment Plant effluent Angel of the Winds Casino, WA
2010-09-15 | [7 empty] | 2010-09-15
NWIS parameter code | NWIS parameter name | Spike remark | Spike concen-tration | Back-ground remark | Back-ground concen-tration | Expected spike concen-tration | Spike recovery | NWIS parameter code | NWIS parameter name | Spike remark | Spike concen-tration | Back-ground remark | Back-ground concen-tration | Expected spike concen-tration | Spike recovery
64507 | 11-Ketotestosterone, wf |  | 26.92 | < | 2 | 27.3703 | 91.0 to 98.4 | 64507 | 11-Ketotestosterone, wf |  | 26.92 | < | 2 | 27.3703 | 87.6 to 94.9
64508 | 17-α-Estradiol, wf |  | 29.723 | < | 0.8 | 27.3703 | 105.7 to 108.6 | 64508 | 17-α-Estradiol, wf |  | 29.723 | < | 0.8 | 27.3703 | 104.6 to 107.5
64509 | 17-α-Ethynylestradiol, wf |  | 27.15 | < | 0.8 | 27.3703 | 96.3 to 99.2 | 64509 | 17-α-Ethynylestradiol, wf |  | 27.15 | < | 0.8 | 27.3703 | 98.2 to 101.1
64510 | 17-β-Estradiol, wf |  | 28.329 | < | 0.8 | 27.3703 | 100.6 to 103.5 | 64510 | 17-β-Estradiol, wf |  | 28.329 | < | 0.8 | 27.3703 | 101.6 to 104.5
64511 | Norethindrone, wf |  | 25.575 | < | 0.8 | 27.3703 | 90.5 to 93.4 | 64511 | Norethindrone, wf |  | 25.575 | < | 0.8 | 27.3703 | 93.1 to 96.0
64512 | 3-β-Coprostanol, wf |  | 2457.622 | < | 200 | 2737.0265 | 82.5 to 89.8 | 64512 | 3-β-Coprostanol, wf |  | 2457.622 | < | 200 | 2737.0265 | 81.5 to 88.8
64513 | 4-Androstene-3,17-dione, wf |  | 28.061 | < | 0.8 | 27.3703 | 99.6 to 102.5 | 64513 | 4-Androstene-3,17-dione, wf |  | 28.061 | < | 0.8 | 27.3703 | 103.4 to 106.3
64514 | Cholesterol, wf |  | 2498.903 | < | 200 | 2737.0265 | 84.0 to 91.3 | 64514 | Cholesterol, wf |  | 2498.903 | < | 200 | 2737.0265 | 82.5 to 89.8
64515 | cis-Androsterone, wf |  | 28.068 | < | 0.8 | 27.3703 | 99.6 to 102.5 | 64515 | cis-Androsterone, wf |  | 28.068 | < | 0.8 | 27.3703 | 94.5 to 97.4
64516 | trans-Diethylstilbestrol, wf |  | 27.274 | < | 0.8 | 27.3703 | 96.7 to 99.6 | 64516 | trans-Diethylstilbestrol, wf |  | 27.274 | < | 0.8 | 27.3703 | 97.5 to 100.4
64517 | Epitestosterone, wf |  | 28.146 | < | 4 | 27.3703 | 88.2 to 102.8 | 64517 | Epitestosterone, wf |  | 28.146 | < | 4 | 27.3703 | 84.4 to 99.0
64518 | Equilenin, wf |  | 23.025 | < | 2 | 27.3703 | 76.8 to 84.1 | 64518 | Equilenin, wf |  | 23.025 | < | 2 | 27.3703 | 68.3 to 75.6
64519 | Equilin, wf | E | 32.415 | < | 4 | 27.3703 | 103.8 to 118.4 | 64519 | Equilin, wf | E | 32.415 | < | 4 | 27.3703 | 124.9 to 139.6
64520 | Estriol, wf |  | 28.639 | < | 2 | 27.3703 | 97.3 to 104.6 | 64520 | Estriol, wf |  | 28.639 | < | 2 | 27.3703 | 92.0 to 99.3
64521 | Estrone, wf |  | 29.508 | < | 0.8 | 27.3703 | 104.9 to 107.8 | 64521 | Estrone, wf |  | 29.508 | < | 0.8 | 27.3703 | 98.9 to 101.8
64522 | Mestranol, wf |  | 28.732 | < | 0.8 | 27.3703 | 102.1 to 105.0 | 64522 | Mestranol, wf |  | 28.732 | < | 0.8 | 27.3703 | 97.5 to 100.5
64523 | Progesterone, wf | E | 23.36 | < | 8 | 27.3703 | 56.1 to 85.3 | 64523 | Progesterone, wf | E | 23.36 | < | 8 | 27.3703 | 56.4 to 85.7
64524 | Dihydrotestosterone, wf |  | 25.463 | < | 4 | 27.3703 | 78.4 to 93.0 | 64524 | Dihydrotestosterone, wf |  | 25.463 | < | 4 | 27.3703 | 82.2 to 96.8
64525 | Testosterone, wf |  | 27.325 | < | 0.8 | 27.3703 | 96.9 to 99.8 | 64525 | Testosterone, wf |  | 27.325 | < | 0.8 | 27.3703 | 99.4 to 102.4
67304 | Bisphenol A, wf |  | 245.266 | < | 200 | 273.7027 | 16.5 to 89.6 | 67304 | Bisphenol A, wf |  | 245.266 | < | 200 | 273.7027 | 15.2 to 88.3
Surrogate and isotope dilution standard recoveries (in percent) | [7 empty] | Surrogate and isotope dilution standard recoveries (in percent)
67308 | Bisphenol A-d16, IDS, wf |  | 87.5 |  | 82.65 | -- | -- | 67308 | Bisphenol A-d16, IDS, wf |  | 83.91 |  | 82.65 | -- | --
90778 | Cholesterol-d7, IDS |  | 78.54 |  | 69.7 | -- | -- | 90778 | Cholesterol-d7, IDS |  | 82.13 |  | 69.7 | -- | --
90813 | Ethynylestradiol-d4, IDS |  | 65.76 |  | 70.6 | -- | -- | 90813 | Ethynylestradiol-d4, IDS |  | 72.55 |  | 70.6 | -- | --
90817 | trans-Diethyl-1,1,1',1'-d4-stilbesterol-3,3',5,5'-d4 |  | 69.7 |  | 68.31 | -- | -- | 90817 | trans-Diethyl-1,1,1',1'-d4-stilbesterol-3,3',5,5'-d4 |  | 64.44 |  | 68.31 | -- | --
90821 | Mestranol-d4, IDS |  | 64.4 |  | 69.76 | -- | -- | 90821 | Mestranol-d4, IDS |  | 72.5 |  | 69.76 | -- | --
91676 | 16-Epiestriol-d2, IDS/sur, wf |  | 60.02 |  | 66.22 | -- | -- | 91676 | 16-Epiestriol-d2, IDS/sur, wf |  | 70.47 |  | 66.22 | -- | --
91678 | Medroxyprogesterone-d3, IDS,wf |  | 70.76 |  | 74.91 | -- | -- | 91678 | Medroxyprogesterone-d3, IDS,wf |  | 78.39 |  | 74.91 | -- | --
91679 | Nandrolone-d3, IDS, wf |  | 77.09 |  | 82.48 | -- | -- | 91679 | Nandrolone-d3, IDS, wf |  | 84.93 |  | 82.48 | -- | --
91753 | 17β-Estradiol-13,14,15,16,17,18-13C6, |  | 69.89 |  | 73.93 | -- | -- | 91753 | 17β-Estradiol-13,14,15,16,17,18-13C6, |  | 76.25 |  | 73.93 | -- | --
91754 | Estrone-13C6, IDS, wf |  | 70.59 |  | 74.17 | -- | -- | 91754 | Estrone-13C6, IDS, wf |  | 79.57 |  | 74.17 | -- | --