## Table B5
Table B5.—Parameter code, parameter name, and field matrix spike recoveries that are outside the acceptance criteria for quality-control samples of wastewater indicator compounds in samples from the Stillaguamish River Basin, 2008–11. [NWQL, National Water Quality Laboratory; NWIS, USGS National Water Information System; wf, water filtered; recoveries are in percent. Recovery is reported as a range (lowest possible recovery to highest possible recovery) for matrix spikes in which the constituent concentration in the background sample is censored (background remark is "<" )]
Field matrix spike recoveries — NWQL schedule 1433
| Station number | 12170050 | 12169990 | 4812060122074400 | 4812060122074400 | 481252122111100
| Station name | Stillaguamish River near Thomle Road near Stanwood, WA | Church Creek at Jensen Road near Stanwood, WA | Wastewater Treatment Plant effluent Arlington, WA | Wastewater Treatment Plant effluent Arlington, WA | Wastewater Treatment Plant effluent Angel of the Winds Casino, WA
| Date | September 24, 2008 | September 24, 2008 | August 14, 2009 | September 8, 2011 | 2010-09-16
NWIS parameter code | NWIS parameter name | Spike recovery | Spike recovery | Spike recovery | Spike recovery | Spike recovery
34476 | Tetrachloroethene, wf | 11.0 to 20.9 | 13.3 to 22.9 | 5.8 to 19.6 | 14.4 to 21.9 | 4.8 to 12.0
62073 | D-Limonene, wf | 41.7 to 46.6 | 48.3 to 53.1 | 25.3 to 41.4 | 42.5 to 47.5 | 34.8 to 39.6
62059 | 3-tert-Butyl-4-hydroxyanisole (BHA),wf | -69.5 to 4.2 | -38.6 to 33.8 | -47.1 to 21.9 | -5.0 to 32.5 | -469.1 to 11.4
62055 | 2,6-Dimethylnaphthalene, wf | 54.0 to 68.7 | 35.0 to 49.5 | 36.8 to 50.6 | 45.0 to 59.9 | 31.2 to 45.6
39572 | Diazinon, wf | 43.0 to 52.8 | 42.2 to 51.9 | 23.2 | 95.7 to 104.1 | 57.1 to 65.1
62061 | 4-n-Octylphenol, wf | 31.9 to 51.6 | 54.3 to 73.6 | 37.9 to 56.4 | 50.0 to 79.9 | 9.6 to 86.5
62076 | Indole, wf | 43.0 to 60.1 | 48.3 to 65.1 | 4.6 to 13.8 | 29.1 to 62.4 | -6.0 to 26.0
34248 | Benzo[a]pyrene, wf | 73.6 to 88.4 | 70.0 to 84.4 | 25.3 to 34.5 | 80.9 to 89.9 | 48.0 to 72.1
34288 | Tribromomethane, wf | 63.8 to 73.6 | 63.9 to 73.6 | 55.2 to 66.7 | 68.7 to 74.9 | 47.4 to 53.5
34572 | 1,4-Dichlorobenzene, wf | 58.9 to 68.7 | 66.3 to 76.0 | 59.8 | 78.7 | 51.7 to 56.5
61705 | 4-tert-Octylphenol diethoxylate | -98.2 to 77.2 | -101.7 to 70.7 | 180.7 | -149.8 to 99.9 | -132.1 to 108.1
61706 | 4-tert-Octylphenol-monoethoxylate | 12.3 to 73.7 | 18.1 to 78.4 | 120.8 to 178.3 | 8.3 to 91.6 | 16.0 to 96.1
62054 | 1-Methylnaphthalene, wf | 63.8 to 76.1 | 65.1 to 77.2 | 51.8 to 56.4 | 71.9 to 77.4 | 57.2 to 62.5
62056 | 2-Methylnaphthalene, wf | 61.4 to 71.2 | 59.1 to 68.8 | 44.9 to 49.5 | 65.9 | 51.4 to 60.1
62057 | 3-β-Coprostanol, wf | 82.9 to 113.5 | 66.3 to 96.5 | 40.2 to 97.8 | 37.5 to 93.7 | 0.0 to 54.1
62068 | β-Sitosterol, wf | 43.0 to 92.1 | 33.2 to 81.4 | -20.1 to 94.9 | 29.9 to 81.9 | -10.0 to 40.0
62072 | Cholesterol, wf | 58.3 to 101.3 | 48.3 to 90.5 | 80.8 | 31.2 to 93.7 | -6.0 to 54.1
62078 | Isopropylbenzene, wf | 60.1 to 72.4 | 61.5 to 73.6 | 39.1 to 62.1 | -2.5 to 72.4 | -14.4 to 57.7
62084 | p-Cresol, wf | 36.8 to 58.9 | 96.7 | 97.5 | 102.1 | 39.6 to 87.7
62086 | β-Stigmastanol, wf | 55.2 to 92.1 | 42.2 to 78.4 | 34.5 to 92.0 | 25.0 to 154.8 | -86.5 to 38.4