## Appendix_A
Appendix 2. Raw Electron Microprobe Geochemical Analyses of Glass from Augustine
2005-2006 Tephra

Table 6 contains the data used to derive table 2 and figure 7 after analyses were filtered to eliminate the inclusion of mineral data
and other bad data points. Raw data from table 6 were rejected if they met any of the following criteria: (1) Analyses totaling < 97
wt. percent and >102 wt. percent , (2) Analyses with MgO >15 wt. percent (mafic mineral), (3) Analyses with Al2O3 >20 wt.
percent (feldspar), (4) Analyses with FeO >15 wt. percent (mafic mineral).

Table 6. Electron microprobe analyses of glass from Augustine 2005-2006 tephra.
[All glass analyses were done on the Cameca SX-50 four-spectrometer electron microprobe at the University of Alaska Fairbanks. Glasses were
analyzed using a 15 KeV, 10 nA, 10 micron-wide defocused beam. Glass standard, KN-18, was routinely analyzed during glass analyses to
monitor instrument drift. Sample locations are shown on Figure 1 for place names off the island, and Figure 3 for proximal on-island samples.
Indented numbers beneath sample numbers (AT-) represent individual points of analysis of that sample. nd, no data.]
Sample no.	SiO2	TiO2	Al2O3	FeO	MgO	CaO	Na2O	K2O	MnO	Cl	Total	Collection location or station no.	Eruption Date	Material
Late Presurcory Phase- December 2005
AT-703A					TP001	Dec-05	glass separate
203	77.80	0.42	13.94	2.44	0.23	1.31	2.29	1.52	nd	0.05	98.34			clear glass
250	77.42	0.06	13.20	0.71	0.15	1.50	5.00	1.94	nd	0.02	99.15			clear glass
223	77.39	0.94	12.04	2.40	0.76	1.63	2.09	2.57	nd	0.19	96.44			clear glass
210	77.02	0.03	13.20	1.08	0.10	1.93	3.77	2.85	nd	0.02	97.53			clear glass
204	76.62	0.10	12.48	1.86	0.30	2.48	5.19	0.51	nd	0.46	98.37			clear glass
252	76.34	0.22	13.50	1.12	0.19	3.24	4.52	0.83	nd	0.04	98.70			clear glass
222	76.11	0.05	14.75	0.63	0.22	2.38	4.06	1.77	nd	0.04	98.09			clear glass

AT-703B					TP001
232	74.64	1.76	12.42	1.32	0.38	1.39	2.58	5.12	nd	0.39	98.16			brown glass
235	74.41	0.43	13.60	2.40	0.24	2.62	5.18	0.87	nd	0.26	97.64			brown glass
236	74.19	0.35	13.04	2.34	1.09	2.66	3.95	2.22	nd	0.16	96.84			brown glass
237	72.49	1.88	13.47	2.20	0.26	2.07	4.31	3.04	nd	0.28	98.12			brown glass

Explosive Phase - January 11 (Events 1 and 2)
AT-746					Pedro Bay	1/11/2006	glass separate
	78.94	0.11	12.62	0.96	0.16	2.53	4.18	0.48	nd	0.02	99.38			clear glass
750	77.16	0.12	11.74	1.40	0.12	0.93	4.39	3.84	nd	0.30	99.32			clear glass
722	76.93	0.50	12.15	1.71	0.36	1.76	4.40	2.06	nd	0.12	99.12			clear glass
758	76.84	0.26	12.28	1.70	0.22	1.69	4.57	2.22	nd	0.21	100.11			clear glass
751	76.75	0.12	12.87	1.42	0.10	1.13	4.08	3.45	nd	0.07	99.34			clear glass
746	76.66	0.31	11.91	2.16	0.24	1.67	4.65	2.12	nd	0.28	99.44			clear glass
739	76.13	0.24	12.68	1.90	0.39	3.16	5.12	0.37	nd	0.02	100.26			clear glass
737	65.74	1.16	15.94	4.50	2.39	4.04	4.25	1.85	nd	0.13	99.14			brown glass
753	65.50	0.49	16.31	4.30	2.11	5.51	4.46	1.29	nd	0.03	97.10			brown glass
AT-769					Pedro Bay	1/11/2006	glass separate
72	78.06	0.46	12.55	1.15	0.16	1.91	4.43	1.27	nd	0.00	100.38			clear glass
69	66.65	0.76	16.34	3.59	0.88	4.94	5.10	1.67	nd	0.06	98.84			brown glass
AT-753					Pedro Bay	1/11/2006	glass separate
539	65.73	1.10	17.23	3.83	1.76	4.06	4.77	1.35	nd	0.16	99.18			brown glass
AT-761					Pedro Bay	1/11/2006	glass separate
470	76.36	0.00	12.63	1.73	0.24	1.76	4.79	2.31	nd	0.18	98.28			clear glass
474	64.18	1.28	16.37	4.89	1.26	5.37	4.83	1.55	nd	0.28	99.31			brown glass
Explosive Phase - January 13-14, 2006 (Events 3-8)
AT-957B					KW026	1/13–1/14/06	dense low-silica andesite
134	66.38	0.73	16.30	4.06	0.93	5.16	4.56	1.63	0.00	0.24	100.22
136	67.01	0.94	15.28	3.66	1.15	5.28	4.64	1.73	0.05	0.26	99.36
141	67.23	0.77	15.89	3.35	0.86	4.40	5.22	1.81	0.17	0.30	100.50
143	67.24	0.74	13.99	5.59	1.30	4.03	5.05	1.55	0.09	0.41	100.46
142	67.73	1.42	14.67	4.13	1.08	4.49	4.47	1.73	0.04	0.23	100.00
135	67.84	1.26	14.16	4.30	1.07	4.27	4.95	1.86	0.05	0.24	100.84
132	68.56	0.91	14.79	4.07	0.56	4.16	4.75	1.76	0.04	0.40	99.92
145	69.31	1.00	14.25	3.85	0.74	3.80	4.91	1.84	0.07	0.23	98.43

AT-920A					KW034	1/13–1/14/06	dense low-silica andesite
531	67.07	0.98	16.06	4.08	1.00	4.54	4.63	1.48	0.00	0.16	97.60

AT-967D					KW040	1/13–1/14/06	dense low-silica andesite
817	70.66	0.18	16.55	0.60	0.06	2.63	6.03	3.29	0.00	0.00	98.69
815	70.70	0.26	15.98	1.40	0.07	2.34	5.88	3.29	0.05	0.03	101.88

AT-960A					KW034	1/13–1/14/06	low-silica andesite scoria
1006	66.66	1.20	15.32	3.84	1.27	4.80	4.85	1.70	0.08	0.28	98.75

AT-920B					KW034	1/13- 1/14/06	low-silica andesite scoria
594	66.04	1.34	14.08	5.56	1.94	4.58	4.44	1.58	0.15	0.31	99.64
AT-967A					KW039	1/13–1/14/06	low-silica andesite scoria
1023	65.29	1.16	14.81	6.30	1.45	4.52	4.13	1.63	0.09	0.60	99.49
1028	66.78	1.23	13.92	4.95	1.46	4.11	5.13	1.84	0.20	0.38	96.49
1027	68.04	0.90	14.39	4.00	1.77	3.93	4.81	1.63	0.11	0.43	98.01

AT-912D					KW026	1/13–1/14/06	high-silica andesite
521	74.28	0.32	11.96	3.49	0.41	2.05	5.11	2.08	0.11	0.19	98.14
509	74.66	0.18	12.88	2.73	0.43	2.00	4.57	1.98	0.04	0.53	101.38
518	74.72	0.43	11.93	2.48	0.49	2.06	5.41	2.02	0.08	0.37	96.98
514	74.92	0.08	12.91	1.72	0.43	2.02	5.21	2.12	0.11	0.48	101.70
511	74.99	0.38	12.41	2.11	0.51	2.30	4.80	2.12	0.10	0.28	96.27
515	75.70	0.16	12.45	1.76	0.43	2.19	4.75	2.10	0.11	0.36	98.34
512	75.71	0.19	13.03	1.47	0.43	2.09	4.64	2.14	0.11	0.20	97.31

Explosive Phase - January 17 (Event 9)
AT-924A					KW037	1/17/2006	low-silica andesite scoria
859	65.16	0.98	16.40	4.05	1.29	5.90	4.54	1.36	0.04	0.28	97.81
860	67.66	0.68	15.75	4.94	1.38	2.45	4.97	1.69	0.25	0.22	97.94
AT-934A					KW081	1/17/2006	low-silica andesite scoria
643	65.82	1.10	14.18	4.96	1.65	4.61	5.19	1.88	0.03	0.58	98.84
641	66.76	1.10	14.02	5.00	1.47	4.14	5.33	1.74	0.08	0.37	98.94
AT-905B					KW082	1/17/2006	low-silica andesite scoria
439	68.62	0.68	14.17	3.85	1.34	3.76	4.15	2.96	0.26	0.21	99.21
442	68.66	1.21	14.64	3.67	1.00	3.63	5.03	1.68	0.14	0.35	98.39

AT-943A					KW037	1/17/2006	low-silica andesite scoria
898	68.46	1.14	13.09	5.36	1.22	3.49	4.73	1.87	0.22	0.43	97.37
AT-949A					KW082	1/17/2006	low-silica andesite scoria
977	64.79	0.99	15.64	4.27	1.68	5.56	5.15	1.46	0.06	0.39	96.44

AT-940B					KW037	1/17/2006	dense low-silica andesite
153	64.88	0.87	16.40	4.77	1.20	5.71	4.45	1.37	0.21	0.13	100.77
147	67.05	0.69	15.54	3.72	1.06	5.04	4.74	1.66	0.32	0.19	98.32

AT-923A					KW037	1/17/2006	dense low-silica andesite
164	65.57	1.11	16.44	4.55	0.93	4.96	4.56	1.49	0.15	0.24	100.62
203	66.34	0.91	14.66	5.38	1.33	4.32	5.04	1.84	0.08	0.11	101.97
202	67.95	1.04	14.21	5.47	0.74	4.48	4.49	1.38	0.14	0.10	99.05

AT-961C					KW037	1/17/2006	high-silica andesite
1058	74.38	0.64	11.78	3.51	0.41	1.92	4.80	2.29	0.00	0.27	101.63
1063	74.89	0.59	11.76	2.06	0.46	2.16	5.01	2.21	0.13	0.72	100.53

AT-924C					KW037	1/17/2006	high-silica andesite
172	73.08	0.24	13.95	1.57	0.19	2.28	5.61	2.83	0.15	0.11	98.98

AT-925C					KW037	1/17/2006	high-silica andesite
227	74.54	0.36	12.06	2.83	0.45	2.20	5.31	2.02	0.00	0.23	100.34
232	74.94	0.33	12.94	2.01	0.45	2.00	4.94	2.01	0.04	0.34	101.51

AT-934B					KW050	1/17/2006	high-silica andesite
682	74.71	0.63	11.56	2.15	0.54	2.03	5.73	2.17	0.12	0.35	99.30

AT-757					Lake Iliamna Region	1/17/2006	glass separate
367	70.59	0.06	16.83	1.34	0.09	3.34	4.78	2.87	nd	0.10	98.60			brown glass
364	70.71	1.00	14.97	2.64	0.38	3.34	4.76	2.04	nd	0.17	98.51			brown glass
394	76.93	0.27	11.49	1.99	0.46	0.74	3.62	4.29	nd	0.22	98.41			clear glass
398	77.67	1.05	11.01	1.58	0.07	0.23	2.78	5.44	nd	0.17	98.42			clear glass

AT-759					Lake Iliamna Region	1/17/2006	glass separate
424	72.07	0.52	15.56	1.60	0.23	2.15	5.58	2.15	nd	0.15	100.90			brown glass
407	72.13	0.10	14.49	2.53	0.50	3.07	5.07	1.99	nd	0.12	99.64			brown glass
418	72.43	0.22	16.55	1.21	0.21	4.64	3.90	0.84	nd	0.00	97.88			brown glass
440	76.41	0.00	12.54	1.64	0.36	0.89	3.41	4.74	nd	0.01	98.43			clear glass

AT-751					Lake Iliamna Region	1/17/2006	glass separate
491	70.70	0.97	13.69	3.18	0.60	3.32	5.01	1.99	nd	0.55	98.54			brown glass
532	72.63	0.28	14.56	2.53	0.43	2.84	4.79	1.70	nd	0.26	99.38			brown glass
516	72.84	2.37	11.64	3.35	0.74	1.77	4.57	2.44	nd	0.28	99.83			brown glass
507	76.41	0.47	12.51	1.74	0.35	1.90	4.24	2.07	nd	0.30	99.99			clear glass

AT-744					Lake Iliamna Region	1/17/2006	glass separate
604	76.10	0.44	12.15	2.03	0.30	1.78	4.66	2.16	nd	0.38	100.10			clear glass
590	75.42	0.62	12.65	2.29	0.40	2.04	4.35	1.97	nd	0.25	99.53			clear glass
614	74.40	1.40	12.72	1.83	0.27	2.18	4.64	2.51	nd	0.04	101.11			clear glass
593	70.74	0.10	17.21	1.42	0.29	3.80	4.84	1.55	nd	0.06	98.34			brown glass

AT-748					Lake Iliamna Region	1/17/2006	glass separate
642	75.77	0.30	12.37	2.13	0.47	1.60	4.75	2.53	nd	0.07	99.56			clear glass
639	71.64	0.57	16.78	0.84	0.03	1.58	5.40	3.14	nd	0.01	100.73			brown glass

AT-767					Lake Iliamna Region	1/17/2006	glass separate
97	72.03	0.21	14.84	1.78	0.62	3.96	4.48	1.87	nd	0.21	97.26			brown glass
95	76.54	0.17	13.40	1.11	0.13	2.57	4.19	1.66	nd	0.23	99.07			clear glass

AT-764					Lake Iliamna Region	1/17/2006	glass separate
125	77.84	0.14	11.52	1.80	0.27	1.08	4.66	2.61	nd	0.08	101.56			clear glass
166	76.12	0.37	12.72	2.02	0.35	1.43	4.16	2.64	nd	0.19	99.38			clear glass

AT-762					Lake Iliamna Region	1/17/2006	glass separate
170	76.09	0.50	13.42	1.97	0.85	2.11	3.61	1.43	nd	0.03	101.03			clear glass
171	75.55	0.35	12.16	2.46	0.06	0.26	3.33	5.82	nd	0.02	99.67			clear glass
208	72.27	0.62	16.23	1.44	0.24	4.20	4.28	0.72	nd	0.00	99.56			brown glass
190	71.58	0.35	16.32	1.24	0.07	2.65	4.71	3.09	nd	0.00	99.42			brown glass

Exlposive Phase - January 27-28 (Events 10-13)
AT-928A					KW032	1/27–1/28/06	high-silica andesite
678	75.96	0.29	12.14	1.27	0.15	2.00	5.37	2.55	0.07	0.20	98.29
664	76.24	0.31	13.08	0.68	0.16	2.13	4.87	2.27	0.20	0.05	99.98

AT-932A					KW035	1/27–1/28/06	dense low-silica andesite
469	66.05	1.48	13.77	5.42	1.46	4.49	5.06	1.70	0.19	0.36	97.45

AT-917A					KW032	1/27/06	dense low-silica andesite
492	71.71	0.54	14.92	1.73	0.21	3.68	5.14	1.96	0.00	0.11	100.47

AT-916					KW031	1/27–1/28/06	glass separate
344	75.51	0.18	12.81	1.80	0.43	2.01	4.93	2.12	0.00	0.21	99.66			clear glass

AT-719					NE Homer	1/28/2006	glass separate
300	74.71	0.00	14.40	0.60	0.21	1.52	5.15	3.41	nd	0.00	100.46			clear glass

AT-733					S-SE-Kodiak	1/27–1/28/06	glass separate
413	69.28	0.60	15.88	2.79	0.85	4.09	4.52	1.72	0.03	0.24	98.80			brown glass

Continous Phase - January 28- February 10, 2006
AT-770					W-Pope Vanoy	1/28–2/10/6	glass separate
661	78.04	0.84	11.73	1.34	0.28	1.49	4.06	1.99	nd	0.22	99.76			clear glass
695	77.40	0.08	11.85	1.30	0.53	1.63	4.73	2.41	nd	0.07	98.85			clear glass
675	76.95	0.51	12.38	1.52	0.12	1.13	4.84	2.37	nd	0.18	101.90			clear glass
683	76.20	0.94	12.15	1.75	0.30	1.21	4.29	2.88	nd	0.28	98.76			clear glass
657	76.02	0.91	12.65	1.26	0.25	1.37	4.29	3.01	nd	0.23	99.63			clear glass
694	75.97	1.03	12.60	1.59	0.26	1.54	4.48	2.21	nd	0.32	101.34			clear glass
687	75.21	0.18	13.03	2.29	0.38	1.26	4.77	2.68	nd	0.21	99.83			clear glass
693	75.15	0.95	12.87	1.80	0.16	1.65	4.78	2.36	nd	0.28	100.32			clear glass
690	68.86	0.31	17.39	1.69	0.84	3.81	5.50	1.53	nd	0.07	99.84			brown glass
685	68.44	0.00	18.76	1.23	0.28	6.41	3.51	1.31	nd	0.05	98.71			brown glass

AT-913					KW032	1/28–2/10/6	glass separate
394	76.44	0.23	11.81	2.16	0.35	1.75	4.69	2.24	0.12	0.22	100.92			clear glass
395	75.67	0.42	12.25	1.46	0.37	2.03	5.33	2.20	0.10	0.17	99.82			clear glass
393	75.16	0.37	12.71	1.79	0.39	2.15	4.86	2.08	0.25	0.23	97.83			clear glass
386	75.14	0.54	12.80	1.88	0.42	2.03	4.75	2.13	0.18	0.13	100.63			clear glass

AT-909					KW035	1/28–2/10/6	glass separate
280	77.12	0.26	12.12	1.00	0.36	1.89	4.28	2.57	0.17	0.24	98.76			clear glass
271	75.88	0.29	12.39	1.56	0.49	2.05	4.73	2.17	0.26	0.17	99.10			clear glass
269	75.79	0.65	12.82	1.38	0.25	1.58	4.51	2.75	0.08	0.21	100.76			clear glass
267	75.52	0.47	12.51	2.00	0.18	2.01	4.58	2.45	0.15	0.13	100.10			clear glass
273	75.42	0.29	13.31	1.61	0.41	2.12	4.55	2.11	0.05	0.14	99.33			clear glass
282	64.76	0.48	18.03	3.37	1.40	6.19	4.26	1.30	0.17	0.04	97.40			brown glass

AT-953					KW030	1/28–2/10/6	glass separate
240	76.81	0.53	12.70	1.47	0.13	1.91	3.86	2.26	0.14	0.20	98.74			clear glass
243	76.10	0.29	12.64	1.40	0.38	1.82	4.85	2.24	0.04	0.24	99.50			clear glass
242	75.59	0.21	13.15	1.64	0.36	2.33	4.47	1.97	0.00	0.29	99.02			clear glass
245	75.23	0.45	12.37	2.00	0.43	2.08	4.97	2.19	0.00	0.30	98.32			clear glass
257	68.85	0.21	15.27	2.86	1.12	4.45	3.76	3.23	0.14	0.10	97.01			brown glass
261	67.79	0.95	15.65	3.16	0.98	4.23	4.88	1.80	0.12	0.44	98.76			brown glass

Effusive Phase - March 3-March 16
AT-915					KW049	3/3–3/16/06	glass separate
374	75.02	0.38	12.72	1.96	0.42	1.95	4.98	2.10	0.17	0.29	101.95			clear glass
368	74.39	0.28	12.61	2.08	0.30	2.25	5.48	2.06	0.13	0.41	101.15			clear glass
380	74.34	0.46	12.50	2.34	0.43	2.13	5.19	2.27	0.11	0.24	102.45			clear glass
376	66.16	0.64	15.93	3.83	1.00	4.63	5.72	1.65	0.20	0.24	100.59			brown glass
377	64.29	0.62	15.92	4.57	2.50	5.43	4.74	1.34	0.38	0.21	100.42

AT-919					KW034	3/3–3/16/06	glass separate
300	74.94	0.40	12.64	1.93	0.44	2.04	5.11	2.20	0.06	0.24	97.45			clear glass
286	65.33	0.70	15.78	3.61	1.19	5.44	5.59	1.67	0.19	0.50	99.57			brown glass