## Sheet1
Appendix 3. The types of bias or variability associated with the dissolved organic wastewater compound analyses (Schedule 1433) and information on corrective actions taken by the U.S. Geological Survey's National Water Quality Laboratory, Denver, Colorado, during the combined sewer overflow study in Omaha, Nebraska.
[Data source: U.S. Geological Survey, Branch of Quality Systems, Organic Blind Sample Project, accessed December 12, 2008, at http://bqs.usgs.gov/OBSP/cumulative_ts_charts_March08.html; OBSP, Organic Blind Sample Project; %, percent; NWQL, National Water Quality Laboratory; ~, approximately; LID, laboratory identification number; E, estimated; compounds not listed had no observed bias/variability during the sample collection period]
Organic Wastewater Compounds--Bias/Variability Report - August 2006 through October 2007
Lab schedule 1433 analyte name | Date (month/year) | Organic Blind Sample Project notes
3-Methyl-1(H)-indole (Skatol) | 2/2005 to 10/2006 | OBSP recoveries from April 2005 to January 2006 were an average of 140%. NWQL noted the skatole standard exhibited a low bias in the old standard solution, which caused detections to have a high bias. After this period, new analytical standards were prepared and recoveries for both the OBSP samples and the set spike samples showed recoveries in the 85% average range.
3-tert-Butyl-4-hydroxy anisole (BHA) | 4/2007 | Possible shift down in recoveries starting 11/2006. All recoveries (~25%) are below the typical range of the method (~75-100%). NWQL will qualify this compound when recoveries are outside of acceptance criteria based upon the performance of the compound in the laboratory reagent spikes.
| 3/2005 to 10/2006 | Wide range of variability
Anthracene | 10/2006 | This analyte is part of a group of analytes that have two low recoveries which are being discussed in the January 2007 quarterly report.
Anthraquinone | 1/2005 to 10/2006 | A slight increase in recovery over time starting January 2005.
| 3/2003 to 10/2006 | 25% false positives (21 out 84 samples submitted without this analyte).
beta-Stigmastanol | 3/2003 to 10/2006 | 33% false negatives (13 out of 39 submitted with this analyte).
| 4/2005 | Increase in recoveries starting April 2005.
Bisphenol A | 4/2007-10/2007 | Continued low recoveries and multiple deletes. NWQL will continue to qualify this compound when recoveries are outside of acceptance criteria for the surrogate bisphenol A-d3.
| 2/2005 to 10/2006 | Average recovery is 43%.
| 2/2005 to 10/2006 | Wide range of variability and 22% deleted values.
Camphor | 04/2007 | In sample LID 20070240005 there were low level hits in the set blank including Camphor. Reported values for these were reported as less than the reporting level or the report level is raised based upon an aggregate of the concentrations detected in the laboratory blank.
| 1/2004 to 10/2006 | A shift in recoveries starting April 2006 from 50% to 80% recovery currently. NWQL mentioned in the July 2006 quarterly report that Camphor had a high bias in the old standard solution which caused detections to have a low bias, new analytical standards have been prepared and NWQL will continue to monitor their solutions.
Carbaryl | 3/2004 to 10/2006 | Average recovery is 30%.
Cholesterol | 11/2001 to 10/2006 | Wide range of variability.
Cotinine | 4/2007-10/2007 | Three OBSP high recoveries mentioned in the April 2007 Quarterly report are now considered as a high bias in the OBSP spike mix. Four more high recoveries are seen at the time of this report.Cotinine is reported in this method automatically with the 'estimated value' (E) remark code.
| 3/2006 to 10/2006 | Gradual decrease in recoveries since March 2006.
Dichlorvos | 10/2001 to 5/2006 | The performance of this analyte was discussed in July 2005 quarterly report. NWQL comments were: This compound was included in the method for informational purposes. The compound has low and variable recovery. NWQL will consider removing the compound from the method.
d-Limonene | 3/2006 to current | Gradual decrease in recoveries since March 2006.
Fluoranthene | 10/2006 | This analyte is part of a group of analytes that have two low recoveries which are being discussed in the January 2007 quarterly report.
Isophorone | 10/2006 | This analyte is part of a group of analytes that have two low recoveries which are being discussed in the January 2007 quarterly report.
Isopropylbenzene (Cumene) | 3/2006 to current | Gradual decrease in recoveries since March 2006.
Naphthalene | 10/2006 | This analyte is part of a group of analytes that have two low recoveries which are being discussed in the January 2007 quarterly report.
p-Cresol | 04/2007 | Possible recent shift up in recoveries starting 11/2006. Several new recoveries are higher than the typical range of the OBSP data of approximately 75%.
| 12/2005 to current | An increase in variability starting 12/2005.
Pentachlorophenol | 04/2007-10/2007 | Continued low recoveries and multiple deletes. Several recent recoveries around 25% are lower than the typical range of the data--approximately 80% recovery. NWQL will qualify this compound when recoveries are outside of acceptance criteria based upon the performance of the compound in the laboratory reagent spikes. Pentachlorophenol results are deleted for samples with non-detections associated with laboratory reagent spike failures.
| 3/2005 to 10/2006 | 27% deleted values.
Phenol | 04/2007 | Sporadic false positives for the past 2 years (10 out of 51 samples submitted without this analyte). Reported values for these were reported as less than the reporting level, or the report level was raised based upon an aggregate of the concentrations detected in the laboratory blank.
| 11/2001 to current | 22% false positives (17 out of 76 submitted without this analyte). False positives from seven different OBSP spike mixes from several years are sporadic and show no apparent bias.
Pyrene | 11/2003 to 10/2006 | Decrease in variability since November 2003.
Tri(2-butoxyethyl) phosphate | 10/2004 to 10/2006 | A decrease in variability and recoveries starting October 2004.
Tri(2-chloroethyl) phosphate | 10/2004 to 10/2006 | A decrease in variability and recoveries starting October 2004.