## Sheet1
Appendix 5. Recovery results for reagent spikes prepared during the wastewater compound analyses by the U.S. Geological Survey's National Water Quality Laboratory, Denver, Colorado, during the combined sewer overflow study in Omaha, Nebraska.
[Data source: U.S. Geological Survey, National Water Quality Laboratory, Time Series Quality Control Data (verified at: http://nwqlqc.cr.usgs.gov/)]
Parameter code | Constituent | Number of samples | Range of recovery (in percent) | Median recovery (in percent) | Relative standard deviation (in percent) | 95-percent confidence interval (in percent)
34571 | 1,4-dichlorobenzene | 97 | 7 to 101 | 57 | 41 | 10 to 101
81696 | 1-methylnaphthalene | 96 | 9 to 113 | 71 | 26 | 33 to 105
63147 | 2,2',4,4'-tetrabromodiphenyl ether | 85 | 0 to 138 | 6 | 196 | -48 to 78
62805 | 2,6-dimethylnaphthalene | 96 | 9 to 110 | 66 | 28 | 30 to 103
30194 | 2-methylnaphthalene | 96 | 8 to 110 | 68 | 28 | 30 to 104
63145 | 3,4-dichlorophenyl isocyanate | 92 | 0 to 755 | 88 | 98 | -112 to 347
62806 | 3-beta-coprostanol | 94 | 30 to 176 | 75 | 32 | 28 to 125
62807 | 3-methyl-1h-indole (Skatol) | 96 | 7 to 126 | 78 | 25 | 40 to 117
61702 | 3-tert-butyl-4-hydroxyanisole (BHA) | 96 | 0 to 139 | 42 | 69 | -18 to 110
62808 | 4-cumylphenol | 96 | 16 to 130 | 80 | 23 | 43 to 119
62809 | 4-n-octylphenol | 96 | 17 to 135 | 80 | 25 | 39 to 116
62810 | 4-tert-octylphenol | 96 | 14 to 157 | 87 | 27 | 42 to 141
61944 | 5-methyl-1h-benzotriazole | 96 | 3 to 196 | 74 | 39 | 17 to 140
62813 | 9,10-anthraquinone | 96 | 39 to 136 | 81 | 23 | 44 to 118
62811 | acetophenone | 96 | 7 to 137 | 88 | 24 | 46 to 129
62812 | acetyl-hexamethyl-tetrahydro-naphthalene (AHTN) | 96 | 17 to 136 | 80 | 23 | 45 to 118
34220 | anthracene | 97 | 9 to 123 | 75 | 23 | 41 to 108
39630 | atrazine | 96 | 28 to 158 | 83 | 27 | 39 to 133
34247 | benz[a]pyrene | 97 | 17 to 120 | 71 | 25 | 35 to 106
62814 | benzophenone | 96 | 12 to 142 | 88 | 25 | 43 to 132
62815 | beta-sitosterol | 91 | 0 to 153 | 66 | 40 | 14 to 119
61948 | beta-stigmastanol | 92 | 0 to 173 | 61 | 41 | 11 to 115
39100 | bis-(2-ethylhexyl) phthalate (DEHP) | 97 | 42 to 2208 | 87 | 199 | -459 to 768
62816 | bisphenol a | 96 | 14 to 136 | 88 | 25 | 43 to 130
30234 | bromacil | 96 | 34 to 139 | 83 | 23 | 44 to 119
32104 | bromoform | 96 | 8 to 104 | 65 | 27 | 30 to 99
81436 | caffeine | 96 | 31 to 127 | 77 | 23 | 42 to 113
62817 | camphor | 96 | 9 to 132 | 80 | 23 | 43 to 116
39750 | carbaryl | 96 | 24 to 134 | 77 | 28 | 34 to 117
77571 | carbazole | 97 | 9 to 135 | 79 | 23 | 43 to 116
38932 | chlorpyrifos | 96 | 13 tp 129 | 77 | 24 | 41 to 114
62818 | cholesterol | 94 | 21 to 176 | 68 | 31 | 27 to 114
61945 | cotinine | 96 | 1 to 111 | 49 | 44 | 6 to 90
61947 | n,n-diethyl-meta-toluamide (DEET) | 96 | 47 to 160 | 92 | 26 | 45 to 142
39570 | diazinon | 96 | 13 to 150 | 80 | 26 | 38 to 122
30218 | dichlorvos | 96 | 12 to 132 | 80 | 26 | 39 to 121
61703 | diethoxynonylphenols- total | 96 | 34 to 151 | 82 | 28 | 37 to 135
61705 | diethoxyoctylphenol | 95 | 81 to 868 | 101 | 93 | -100 to 333
34336 | diethyl phthalate | 97 | 16 to 155 | 94 | 25 | 46 to 142
62819 | d-limonene | 96 | 0 to 82 | 32 | 55 | -3 to 71
34376 | fluoranthene | 97 | 37 to 141 | 78 | 22 | 44 to 116
62823 | hexahydrohexamethyl cyclopentabenzopyran (HHCB) | 96 | 26 to 133 | 81 | 22 | 45 to 116
62824 | indole | 96 | 7 to 135 | 79 | 25 | 40 to 121
62825 | isoborneol | 92 | 0 to 140 | 82 | 30 | 33 to 128
34408 | isophorone | 97 | 9 to 127 | 82 | 24 | 42 to 119
77223 | isopropylbenzene (cumene) | 96 | 4 to 93 | 40 | 53 | -3 to 85
62826 | isoquinoline | 96 | 6 to 156 | 78 | 32 | 28 to 126
62827 | menthol | 89 | 0 to 224 | 88 | 37 | 24 to 153
04254 | metalaxyl | 96 | 36 to 136 | 85 | 23 | 46 to 125
62828 | methyl salicylate | 96 | 10 to 144 | 87 | 23 | 46 to 126
82612 | metolachlor | 96 | 35 to 135 | 83 | 21 | 47 to 117
61704 | monoethoxynonylphenols - total | 96 | 41 to 150 | 84 | 23 | 46 to 126
61706 | monoethoxyoctylphenol | 96 | 44 to 138 | 86 | 24 | 46 to 130
34696 | naphthalene | 97 | 8 to 119 | 75 | 237 | 34 to 111
77146 | p-cresol | 96 | 19 to 134 | 82 | 23 | 43 to 118
39032 | pentachlorophenol | 97 | 0 to 127 | 69 | 38 | 16 to 119
34461 | phenanthrene | 97 | 11 to 125 | 78 | 22 | 42 to 110
34694 | phenol | 97 | 35 to 145 | 77 | 25 | 39 to 116
39056 | prometon | 96 | 29 to 137 | 82 | 24 | 42 to 121
34469 | pyrene | 97 | 0 to 134 | 77 | 26 | 37 to 117
34475 | tetrachloroethylene | 96 | 4 to 73 | 27 | 54 | -2 to 58
62832 | tributyl phosphate | 96 | 36 to 173 | 93 | 28 | 40 to 147
61708 | triclosan | 96 | 38 to 141 | 85 | 24 | 45 to 127
62833 | triethyl citrate (ethyl citrate) | 96 | 30 to 138 | 86 | 26 | 41 to 128
62834 | triphenyl phosphate | 96 | 37 to 133 | 78 | 23 | 43 to 114
62830 | tris(2-butoxyethyl) phosphate | 96 | 24 to 151 | 83 | 29 | 36 to 136
62831 | tris(2-chloroethyl) phosphate | 96 | 32 to 139 | 79 | 23 | 44 to 119
61707 | tris(dichloroisopropyl) phosphate | 96 | 37 to 133 | 81 | 23 | 44 to 119