## Sheet1
Appendix 3. Concentrations of nutrients in water samples analyzed at the U.S. Geological Survey National Water Quality Laboratory, St. Croix National Scenic Riverway, Minnesota and Wisconsin, 2007–08.
[USGS, U.S. Geological Survey; mg/L, milligram per liter; <, less than; E, estimated; ENV, environmental sample; BLANK, field blank sample for quality-assurance purposes; REPLICATE, field replicate sample for quality-assurance puposes; WWTP, wastewater-treatment plant].
USGS station number | USGS station name | Date | Time | Sample type | Dissolved ammonia (mg/L as nitrogen) | Dissolved nitrite plus nitrate (mg/L as nitrogen) | Dissolved nitrite (mg/L as nitrogen) | Total ammonia + organic nitrogen (mg/L) | Dissolved orthophosphate (mg/L as phosphorus) | Total phosphorus (mg/L)
05340200 | St. Croix River below Sunrise River near Sunrise, Minn. | 2007-05-25 | 855 | ENV | <0.020 | 0.175 | 0.1 | 0.546 | E0.005 | 0.0416
452403092410601 | Taylors Falls WWTP at Taylors Falls, Minn. | 2007-05-17 | 1230 | ENV | 0.283 | 0.419 | 0.297 | 2.46 | 1.2132 | 1.47
452424092385001 | St. Croix Falls WWTP at St. Croix Falls, Wisc. | 2007-05-17 | 700 | ENV | 2.51 | 18.1 | 0.214 | 7.835 | 3.8445 | 4.465
05340540 | St. Croix River above Rock Island near Franconia, Minn. | 2007-05-17 | 1000 | ENV | <0.020 | 0.12 | 0.004 | 0.653 | 0.00654 | 0.0442
05340540 | St. Croix River above Rock Island near Franconia, Minn. | 2007-05-17 | 730 | BLANK | 0.02346 | <0.060 | <.002 | E0.054 | E0.003 | <0.008
05340200 | St. Croix River below Sunrise River near Sunrise, Minn. | 2007-09-12 | 1351 | ENV | <0.020 | 0.195 | 0.004 | 0.446 | E0.005 | 0.0305
452424092385001 | St. Croix Falls WWTP at St. Croix Falls, Wisc. | 2007-09-17 | 700 | ENV | 8.13 | 22.5 | 0.312 | 11.976 | 6.9301 | 6.871
05340540 | St. Croix River above Rock Island near Franconia, Minn. | 2007-09-12 | 1110 | ENV | <0.020 | 0.071 | 0.003 | 0.641 | E0.005 | 0.0426
05340200 | St. Croix River below Sunrise River near Sunrise, Minn. | 2008-05-15 | 900 | ENV | <0.020 | 0.104 | 0.0034 | 0.829 | 0.0955 | 0.048
452403092410601 | Taylors Falls WWTP at Taylors Falls, Minn. | 2008-05-15 | 650 | ENV | 0.068 | 2.05 | 0.09863 | 1.4 | 3.1532 | 3.045
452424092385001 | St. Croix Falls WWTP at St. Croix Falls, Wisc. | 2008-05-16 | 615 | ENV | 5.53 | 12.7 | 0.54388 | 10.118 | 3.8031 | 4.546
05340540 | St. Croix River above Rock Island near Franconia, Minn. | 2008-05-16 | 830 | ENV | <0.020 | 0.11 | 0.003 | 0.87 | 0.009 | 0.049
05340200 | St. Croix River below Sunrise River near Sunrise, Minn. | 2008-10-09 | 1250 | ENV | E0.013 | 0.095 | 0.00257 | 0.725 | 0.00845 | 0.0702
05340200 | St. Croix River below Sunrise River near Sunrise, Minn. | 2008-10-09 | 1250 | REPLICATE | E0.012 | 0.106 | 0.00285 | 0.795 | E0.008 | 0.0687
452403092410601 | Taylors Falls WWTP at Taylors Falls, Minn. | 2008-10-09 | 707 | ENV | 0.057 | 0.121 | 0.00391 | 1.176 | 2.7471 | 2.624
452424092385001 | St. Croix Falls WWTP at St. Croix Falls, Wisc. | 2008-10-09 | 630 | ENV | 14.8 | 17 | 0.56743 | 20.583 | 6.2695 | 6.725
05340540 | St. Croix River above Rock Island near Franconia, Minn. | 2008-10-09 | 1020 | ENV | 0.034 | 0.174 | 0.00263 | 0.556 | 0.00748 | 0.0374