# Downhole Measurement Lab: Tool Test Report

# General Information

Time:			19:00 GMT (Local Time = GMT+5.5 INDIA)

Date of tests:		27 May 2006

Location:		Downhole Measurement Lab onboard JOIDES Resolution

Medium used:	Ice (Chopped)

Reference:		Thermometer

Tests done by:	Pieter Pretorius

## Notes of interest

The Downhole Measurement Lab pressure core and tools used in this project were non Y2K compliant; thus, dates were set back to 1995. Results should be analyzed with this in mind. The dates were left as is, not to alter the “raw” data.

## Applicable “raw” test-result files

These files are located on the NGHP Project Server called “J:\Sysvol\Data1\Physical Properties\DHML\DHML Reports\0 Deg Ice Tests.”

## Tools tested

Conducted tests on APCT electronics #10 and #16 with shoe #2 and batteries #1 and #2

Conducted tests on APCM electronics #1 and #7 with housing #5 and battery #1

Conducted tests on DVTP tool with Tip #1

Comparison of APCT-3 and APCT #16

Test Results for APCT # 10

Test Results for APCT # 16

Test Results for APCM # 1

Test Results for APCM # 7

Test Results for DVTP # 1

### Comparison of APCT-3 and APCT #16