## description - abbrev
Appendix 4. Physical properties and concentrations of anthropogenic organic compounds in source and finished water.
Row 5 ("Source water components") indicates what source water(s) was used for water supply during the sample collection.
Gray-shaded rows indicate field-measured physical properties.
Blue-shaded rows indicate analytes determined in multiple analytical methods.
Pink-shaded cells denotes analyte from 1/4/2010 sample was filtered, although row label indicates unfiltered sample.
Abbreviation | Term
USGS | U.S. Geological Survey
µS/cm | microsiemens per centimeter at 25 degrees Celsius
mg/L | milligrams per liter
°C | degrees Celsius
µg/L | micrograms per liter
ng/L | nanograms per liter
-- | no data
< | less than
E | estimated
M | presence verified but not quantified
C | Censored due to detection in blank samples

## data
|  |  | Date |  | 2009-06-01 | 2009-06-01 | 2009-06-30 | 2009-06-30 | 2009-08-03 | 2009-08-03 | 2009-08-24 | 2009-08-24 | 2009-11-04 | 2009-11-04 | 2010-01-04 | 2010-01-05 | 2010-01-05 | 2010-02-17 | 2010-02-17 | 2010-03-25 | 2010-03-25 | 2010-03-25 | 2010-06-09 | 2010-06-09 | 2010-06-09 | 2010-07-29 | 2010-07-29 | 2010-08-26 | 2010-08-26 | 2010-08-26
|  |  | Sample start time |  | 1030 | 1145 | 1000 | 1220 | 930 | 1130 | 930 | 1115 | 930 | 1145 | 1335 | 900 | 930 | 900 | 945 | 915 | 1030 | 1100 | 950 | 1040 | 1110 | 925 | 1005 | 1015 | 1120 | 1200
|  |  | Site number |  | 433600096442400 | 433419096434200 | 433600096442400 | 433419096434200 | 433600096442400 | 433419096434200 | 433600096442400 | 433419096434200 | 433421096434401 | 433419096434200 | 433600096442400 | 433421096434401 | 433419096434200 | 433421096434401 | 433419096434200 | 433600096442400 | 433421096434401 | 433419096434200 | 433600096442400 | 433421096434401 | 433419096434200 | 433421096434401 | 433419096434200 | 433600096442400 | 433421096434401 | 433419096434200
|  |  | Site name (from text) |  | Big Sioux River | Finished water | Big Sioux River | Finished water | Big Sioux River | Finished water | Big Sioux River | Finished water | Groundwater | Finished water | Big Sioux River | Groundwater | Finished water | Groundwater | Finished water | Big Sioux River | Groundwater | Finished water | Big Sioux River | Groundwater | Finished water | Groundwater | Finished water | Big Sioux River | Groundwater | Finished water
|  |  | Source water components |  | -- | Big Sioux River and Groundwater | -- | Big Sioux River and Groundwater | -- | Big Sioux River and Groundwater | -- | Big Sioux River and Groundwater | -- | Groundwater | -- | -- | Groundwater | -- | Groundwater | -- | -- | Groundwater | -- | -- | Big Sioux River and Groundwater | -- | Groundwater | -- | -- | Groundwater
Constituent | Filtered or unfiltered | Analytical method | USGS parameter code | Units
Dissolved oxygen | unfiltered | -- | 00300 | mg/L | -- | -- | 8.1 | 3 | 7 | 3.5 | -- | -- | E 5.6 | E 8.5 | -- | -- | -- | 5.7 | 5.2 | 12.6 | 9.4 | 8 | 11.8 | 9 | 11 | 6.6 | 6.2 | E 10.4 | E 8.2 | 7.8
pH | unfiltered | -- | 00400 | standard units | 8.5 | 8.8 | 8.5 | 8.6 | 8.3 | 8.7 | 8.4 | 8.4 | 7.1 | 8 | E 7.8 | 7 | 8.1 | 7 | 8.7 | 7.7 | 7.1 | 8.6 | 8.2 | 7.1 | 8.5 | 6.8 | 8.5 | 8.3 | 6.8 | 8.4
Specific conductance | unfiltered | -- | 00095 | µS/cm | 812 | 586 | 921 | 598 | 867 | 607 | 833 | 612 | 967 | 597 | 1140 | 976 | 633 | 1050 | 649 | 662 | 922 | 606 | 1110 | 1010 | 767 | 1030 | 659 | 1240 | 1070 | 667
Temperature | unfiltered | -- | 00010 | °C | 19.2 | 14.8 | 22 | 16.3 | 22.3 | 17 | 20.8 | 16.6 | 11.6 | 12.1 | E 2.4 | 8.3 | 8.6 | 8 | 8.5 | 5.4 | 7 | 7.4 | 19.2 | 11 | 16 | 13.9 | 14 | 22 | 14.6 | 14.6
1-Naphthol | filtered | 1 | 49295 | µg/L | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | M | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04
2,6-Diethylaniline | filtered | 1 | 82660 | µg/L | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | E 0.004 | < 0.006
2-Chloro-2,6-diethylacetanilide | filtered | 1 | 61618 | µg/L | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010
2-Chloro-4-isopropylamino-6-amino-s-triazine (deethylatrazine) | filtered | 1 | 04040 | µg/L | E 0.030 | E 0.006 | E 0.114 | E 0.015 | E 0.029 | E 0.007 | E 0.024 | < 0.014 | E 0.009 | E 0.008 | E 0.016 | E 0.008 | E 0.008 | E 0.010 | E 0.010 | E 0.060 | E 0.014 | < 0.014 | E 0.014 | E 0.010 | E 0.006 | E 0.064 | E 0.032 | E 0.068 | E 0.032 | E 0.019
2-Ethyl-6-methylaniline | filtered | 1 | 61620 | µg/L | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | E 0.003 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | E 0.004 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | E 0.005 | < 0.010 | < 0.010 | E 0.005 | < 0.010
3,4-Dichloroaniline | filtered | 1 | 61625 | µg/L | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.005 | < 0.004 | < 0.004 | < 0.004 | < 0.004
4-Chloro-2-methylphenol | filtered | 1 | 61633 | µg/L | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.012 | < 0.003 | < 0.003 | < 0.003 | < 0.003 | < 0.003 | < 0.003 | < 0.003 | < 0.003 | < 0.003 | < 0.003 | < 0.003 | < 0.003 | < 0.003 | < 0.003 | < 0.003 | < 0.003 | < 0.003 | < 0.003
Acetochlor | filtered | 1 | 49260 | µg/L | 0.146 | E 0.008 | 0.074 | 0.01 | < 0.010 | < 0.010 | 0.011 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | 0.026 | < 0.010 | < 0.010 | 0.048 | 0.023 | E 0.009 | < 0.010 | E 0.005 | 0.015 | < 0.010 | < 0.010
Alachlor | filtered | 1 | 46342 | µg/L | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.009 | < 0.008 | < 0.008
Atrazine | filtered | 1 | 39632 | µg/L | 0.122 | 0.009 | 0.324 | 0.031 | 0.051 | 0.013 | 0.032 | 0.012 | 0.012 | 0.009 | 0.018 | 0.009 | 0.009 | 0.008 | 0.008 | 0.046 | 0.011 | 0.008 | 0.179 | 0.071 | 0.018 | 0.081 | 0.045 | 0.132 | 0.044 | 0.028
Azinphos-methyl | filtered | 1 | 82686 | µg/L | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120
Azinphos-methyl oxygen analog | filtered | 1 | 61635 | µg/L | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04
Benfluralin | filtered | 1 | 82673 | µg/L | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014
Carbaryl | filtered | 1 | 82680 | µg/L | < 0.200 | < 0.200 | < 0.200 | < 0.200 | < 0.200 | < 0.200 | < 0.200 | < 0.200 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060
Chlorpyrifos | filtered | 1 | 38933 | µg/L | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | E 0.009 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | E 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010
Chlorpyrifos oxygen analog | filtered | 1 | 61636 | µg/L | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | -- | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05
cis-Permethrin | filtered | 1 | 82687 | µg/L | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014
Cyfluthrin | filtered | 1 | 61585 | µg/L | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016
Cypermethrin | filtered | 1 | 61586 | µg/L | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020
Dacthal | filtered | 1 | 82682 | µg/L | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008
Desulfinylfipronil | filtered | 1 | 62170 | µg/L | E 0.004 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | E 0.004 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012
Desulfinylfipronil amide | filtered | 1 | 62169 | µg/L | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029 | < 0.029
Diazinon | filtered | 1 | 39572 | µg/L | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005
Diazoxon | filtered | 1 | 61638 | µg/L | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01
Dichlorvos | filtered | 1 | 38775 | µg/L | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02
Dicrotophos | filtered | 1 | 38454 | µg/L | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08
Dieldrin | filtered | 1 | 39381 | µg/L | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009 | < 0.009
Dimethoate | filtered | 1 | 82662 | µg/L | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006
Ethion | filtered | 1 | 82346 | µg/L | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008
Ethion monoxon | filtered | 1 | 61644 | µg/L | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02
Fenamiphos | filtered | 1 | 61591 | µg/L | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03
Fenamiphos sulfone | filtered | 1 | 61645 | µg/L | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053 | < 0.053
Fenamiphos sulfoxide | filtered | 1 | 61646 | µg/L | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | -- | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08 | < 0.08
Fipronil | filtered | 1 | 62166 | µg/L | < 0.040 | < 0.040 | < 0.040 | < 0.040 | < 0.040 | < 0.040 | < 0.040 | < 0.040 | < 0.018 | < 0.018 | E 0.001 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018
Fipronil sulfide | filtered | 1 | 62167 | µg/L | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013 | < 0.013
Fipronil sulfone | filtered | 1 | 62168 | µg/L | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024 | < 0.024
Fonofos | filtered | 1 | 04095 | µg/L | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004
Hexazinone | filtered | 1 | 04025 | µg/L | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008
Iprodione | filtered | 1 | 61593 | µg/L | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014 | < 0.014
Isofenphos | filtered | 1 | 61594 | µg/L | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006
Malaoxon | filtered | 1 | 61652 | µg/L | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080
Malathion | filtered | 1 | 39532 | µg/L | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016
Metalaxyl | filtered | 1 | 61596 | µg/L | < 0.013 | < 0.007 | < 0.007 | < 0.007 | < 0.007 | < 0.007 | < 0.007 | < 0.016 | < 0.010 | < 0.007 | < 0.007 | < 0.007 | < 0.007 | < 0.007 | < 0.007 | < 0.007 | < 0.007 | < 0.007 | < 0.007 | < 0.007 | < 0.007 | < 0.007 | < 0.007 | < 0.008 | < 0.007 | < 0.007
Methidathion | filtered | 1 | 61598 | µg/L | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006
Methyl paraoxon | filtered | 1 | 61664 | µg/L | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01
Methyl parathion | filtered | 1 | 82667 | µg/L | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008
Metolachlor | filtered | 1 | 39415 | µg/L | E 0.011 | < 0.014 | 0.018 | E 0.006 | E 0.007 | E 0.005 | E 0.007 | E 0.008 | E 0.006 | E 0.007 | E 0.006 | E 0.005 | E 0.005 | E 0.007 | E 0.008 | 0.09 | E 0.009 | E 0.008 | 0.018 | 0.025 | E 0.007 | E 0.012 | E 0.010 | 0.024 | 0.011 | 0.009
Metribuzin | filtered | 1 | 82630 | µg/L | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.016 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012
Myclobutanil | filtered | 1 | 61599 | µg/L | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010
Pendimethalin | filtered | 1 | 82683 | µg/L | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012
Phorate | filtered | 1 | 82664 | µg/L | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020
Phorate oxygen analog | filtered | 1 | 61666 | µg/L | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03
Phosmet | filtered | 1 | 61601 | µg/L | < 0.200 | < 0.200 | < 0.200 | < 0.200 | < 0.200 | < 0.200 | < 0.200 | < 0.200 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034
Phosmet oxygen analog | filtered | 1 | 61668 | µg/L | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05
Prometon | filtered | 1 | 04037 | µg/L | E 0.01 | E 0.01 | 0.01 | E 0.01 | E 0.01 | E 0.01 | 0.02 | E 0.01 | E 0.01 | E 0.01 | E 0.01 | E 0.01 | E 0.01 | E 0.01 | E 0.01 | E 0.01 | 0.02 | E 0.01 | E 0.01 | E 0.01 | M | E 0.01 | E 0.01 | 0.01 | 0.01 | 0.01
Prometryn | filtered | 1 | 04036 | µg/L | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.007 | < 0.006 | < 0.006
Propyzamide | filtered | 1 | 82676 | µg/L | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.005 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004 | < 0.004
Simazine | filtered | 1 | 04035 | µg/L | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.013 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.006 | < 0.011 | < 0.006 | < 0.006
Tebuthiuron | filtered | 1 | 82670 | µg/L | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03 | < 0.03
Terbufos | filtered | 1 | 82675 | µg/L | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02
Terbufos oxygen analog sulfone | filtered | 1 | 61674 | µg/L | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04 | < 0.04
Terbuthylazine | filtered | 1 | 04022 | µg/L | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01
Tribuphos | filtered | 1 | 61610 | µg/L | < 0.035 | < 0.035 | < 0.035 | < 0.035 | < 0.035 | < 0.035 | < 0.035 | < 0.035 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018
Trifluralin | filtered | 1 | 82661 | µg/L | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018 | < 0.018
1,7-Dimethylxanthine | filtered | 2 | 62030 | µg/L | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | -- | < 0.120 | < 0.100 | < 0.100 | -- | < 0.100 | -- | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100
Acetaminophen | filtered | 2 | 62000 | µg/L | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | -- | < 0.080 | < 0.120 | < 0.120 | -- | < 0.120 | -- | < 0.120 | < 0.120 | < 0.120 | E 0.012 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120 | < 0.120
Albuterol | filtered | 2 | 62020 | µg/L | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | -- | < 0.060 | < 0.080 | < 0.080 | -- | < 0.080 | -- | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080
Caffeine | filtered | 2 | 50305 | µg/L | E 0.025 | < 0.200 | < 0.200 | < 0.200 | < 0.200 | < 0.200 | -- | < 0.200 | E 0.002 | < 0.060 | -- | < 0.060 | -- | < 0.060 | < 0.060 | E 0.005 | E 0.024 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060
Carbamazepine | filtered | 2 | 62793 | µg/L | < 0.040 | < 0.040 | E 0.003 | < 0.040 | E 0.004 | < 0.040 | -- | < 0.040 | < 0.060 | < 0.060 | -- | < 0.060 | -- | E 0.002 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | E 0.001 | < 0.060 | < 0.060 | E 0.001 | < 0.060
Codeine | filtered | 2 | 62003 | µg/L | < 0.040 | < 0.040 | < 0.040 | < 0.040 | < 0.040 | < 0.040 | -- | < 0.040 | < 0.046 | < 0.046 | -- | < 0.046 | -- | < 0.046 | < 0.046 | < 0.046 | < 0.046 | < 0.046 | < 0.046 | < 0.046 | < 0.046 | < 0.046 | < 0.046 | < 0.046 | < 0.046 | < 0.046
Cotinine | filtered | 2 | 62005 | µg/L | < 0.026 | < 0.026 | < 0.026 | < 0.026 | < 0.026 | < 0.026 | -- | < 0.026 | < 0.038 | < 0.038 | -- | < 0.038 | -- | < 0.038 | < 0.038 | < 0.038 | < 0.038 | < 0.038 | < 0.038 | < 0.038 | < 0.038 | < 0.038 | < 0.038 | < 0.038 | < 0.038 | < 0.038
Dehydronifedipine | filtered | 2 | 62004 | µg/L | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | -- | < 0.080 | < 0.080 | < 0.080 | -- | < 0.080 | -- | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080
Diltiazem | filtered | 2 | 62008 | µg/L | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | -- | < 0.080 | < 0.060 | < 0.060 | -- | < 0.060 | -- | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060
Diphenhydramine | filtered | 2 | 62796 | µg/L | < 0.040 | < 0.040 | < 0.040 | < 0.040 | < 0.040 | < 0.040 | -- | < 0.040 | < 0.036 | < 0.036 | -- | < 0.036 | -- | < 0.036 | < 0.036 | < 0.036 | < 0.036 | < 0.036 | < 0.036 | < 0.036 | < 0.036 | < 0.036 | < 0.036 | < 0.036 | < 0.036 | < 0.036
Sulfamethoxazole | filtered | 2 | 62021 | µg/L | < 0.160 | < 0.160 | < 0.160 | < 0.160 | < 0.160 | < 0.160 | -- | < 0.160 | < 0.160 | < 0.160 | -- | < 0.160 | -- | < 0.160 | < 0.160 | < 0.160 | < 0.160 | < 0.160 | < 0.160 | < 0.160 | < 0.160 | < 0.160 | < 0.160 | < 0.160 | < 0.160 | < 0.160
Thiabendazole | filtered | 2 | 62801 | µg/L | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | -- | < 0.060 | < 0.060 | < 0.060 | -- | < 0.060 | -- | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060 | < 0.060
Trimethoprim | filtered | 2 | 62023 | µg/L | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | < 0.020 | -- | < 0.020 | < 0.034 | < 0.034 | -- | < 0.034 | -- | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034 | < 0.034
Warfarin | filtered | 2 | 62024 | µg/L | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | -- | < 0.100 | < 0.080 | < 0.080 | -- | < 0.080 | -- | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080 | < 0.080
1,4-Dichlorobenzene | unfiltered | 3 | 34571 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.040 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
1-Methylnaphthalene | unfiltered | 3 | 81696 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.022 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
2,6-Dimethylnaphthalene | unfiltered | 3 | 62805 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.1 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | M | < 0.2 | < 0.2
2-Methylnaphthalene | unfiltered | 3 | 30194 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.036 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
3,4-Dichlorophenyl isocyanate | unfiltered | 3 | 63145 | µg/L | -- | -- | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6 | -- | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6 | -- | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6
3-beta-Coprostanol | unfiltered | 3 | 62806 | µg/L | -- | -- | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | M | < 2 | -- | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2
3-Methyl-1H-indole | unfiltered | 3 | 62807 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.036 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
3-tert-Butyl-4-hydroxyanisole | unfiltered | 3 | 61702 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
4-Cumylphenol | unfiltered | 3 | 62808 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.06 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
4-n-Octylphenol | unfiltered | 3 | 62809 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.16 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
4-Nonylphenol | unfiltered | 3 | 62829 | µg/L | -- | -- | < 2 | C | < 2 | C | < 2 | C | < 2 | C | < 2 | < 2 | C | < 2 | C | < 2 | < 2 | -- | < 2 | < 2 | C | < 2 | C | < 2 | < 2 | C
4-Nonylphenol diethoxylate | unfiltered | 3 | 61703 | µg/L | -- | -- | < 3 | < 3 | < 3 | < 3 | < 3 | < 3 | < 3 | < 3 | < 5 | M | < 3 | < 3 | < 3 | M | M | -- | < 3 | < 3 | < 3 | < 3 | < 3 | < 3 | < 3 | < 3
4-Nonylphenol monoethoxylate | unfiltered | 3 | 61704 | µg/L | -- | -- | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1 | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6 | -- | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6 | < 1.6
4-tert-Octylphenol | unfiltered | 3 | 62810 | µg/L | -- | -- | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | -- | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | -- | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4
4-tert-Octylphenol diethoxylate | unfiltered | 3 | 62486 | µg/L | -- | -- | -- | -- | < 0.5 | < 0.5 | < 0.5 | < 0.5 | < 0.5 | < 0.5 | < 1 | < 0.5 | < 0.5 | < 0.5 | M | < 0.5 | M | -- | < 0.5 | < 0.5 | < 0.5 | < 0.5 | < 0.5 | < 0.5 | < 0.5 | < 0.5
4-tert-Octylphenol monoethoxylate | unfiltered | 3 | 62485 | µg/L | -- | -- | -- | -- | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 0.14 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | -- | < 1 | < 1 | M | < 1 | < 1 | < 1 | < 1 | < 1
5-Methyl-1H-benzotriazole | unfiltered | 3 | 61944 | µg/L | -- | -- | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | M | < 2 | < 1 | < 2 | < 2 | -- | -- | -- | -- | -- | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2
9,10-Anthraquinone | unfiltered | 3 | 62813 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Acetophenone | unfiltered | 3 | 62811 | µg/L | -- | -- | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | E 0.3 | < 0.4 | < 0.4 | < 0.4 | -- | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4
Acetyl hexamethyl tetrahydro naphthalene | unfiltered | 3 | 62812 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.028 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Anthracene | unfiltered | 3 | 34220 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.028 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Atrazine | unfiltered | 3 | 39630 | µg/L | -- | -- | 0.35 | E 0.05 | < 0.20 | < 0.20 | < 0.20 | < 0.20 | E 0.01 | < 0.20 | -- | < 0.20 | < 0.20 | < 0.20 | < 0.20 | E 0.03 | E 0.01 | -- | 0.2 | E 0.04 | E 0.03 | E 0.07 | E 0.04 | E 0.18 | E 0.05 | E 0.03
BDE congener 47 | unfiltered | 3 | 63147 | µg/L | -- | -- | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | -- | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | -- | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3
Benzo[a]pyrene | unfiltered | 3 | 34247 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.1 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Benzophenone | unfiltered | 3 | 62814 | µg/L | -- | -- | < 0.2 | C | < 0.2 | C | < 0.2 | C | < 0.2 | C | < 0.1 | < 0.2 | C | < 0.2 | C | < 0.2 | < 0.2 | -- | M | M | C | M | C | < 0.2 | M | C
beta-Sitosterol | unfiltered | 3 | 62815 | µg/L | -- | -- | < 2 | < 2 | E 1 | < 2 | < 2 | < 2 | < 2 | < 2 | < 4 | < 2 | < 2 | < 2 | < 2 | M | M | -- | M | < 2 | < 2 | < 2 | < 2 | M | < 2 | < 2
beta-Stigmastanol | unfiltered | 3 | 61948 | µg/L | -- | -- | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | -- | -- | < 3 | < 2 | < 2 | < 2 | < 2 | M | < 2 | -- | < 2 | < 2 | < 2 | < 2 | < 2 | M | < 2 | < 2
Bis(2-ethylhexyl) phthalate (DEHP) | unfiltered | 3 | 39100 | µg/L | -- | -- | < 2 | < 2 | M | < 2 | < 2 | < 2 | C | 3 | -- | < 2 | < 2 | M | < 2 | < 2 | M | -- | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2
Bisphenol A | unfiltered | 3 | 62816 | µg/L | -- | -- | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | -- | M | < 0.4 | < 0.4 | < 0.4 | M | M | -- | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | M | < 0.4 | < 0.4
Bromacil | unfiltered | 3 | 30234 | µg/L | -- | -- | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.4 | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.8 | -- | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.8
Bromoform | unfiltered | 3 | 32104 | µg/L | -- | -- | < 0.2 | 0.6 | < 0.2 | 0.7 | < 0.2 | 0.8 | < 0.2 | 0.6 | M | E 0.1 | 0.6 | < 0.2 | 0.6 | < 0.2 | M | -- | < 0.2 | < 0.2 | 0.7 | < 0.2 | 0.6 | < 0.2 | < 0.2 | 0.8
Caffeine | unfiltered | 3 | 81436 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.1 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Camphor | unfiltered | 3 | 62817 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.044 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Carbaryl | unfiltered | 3 | 39750 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.060 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Carbazole | unfiltered | 3 | 77571 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.030 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Chlorpyrifos | unfiltered | 3 | 38932 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.010 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Cholesterol | unfiltered | 3 | 62818 | µg/L | -- | -- | E 1 | < 2 | E 2 | < 2 | M | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | M | M | -- | M | < 2 | M | < 2 | < 2 | M | < 2 | < 2
Cotinine | unfiltered | 3 | 61945 | µg/L | -- | -- | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.600 | < 0.8 | < 0.8 | -- | -- | -- | -- | -- | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.8 | < 0.8
Diazinon | unfiltered | 3 | 39570 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.005 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Dichlorvos | unfiltered | 3 | 30218 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Diethyl phthalate | unfiltered | 3 | 34336 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | E 0.1 | < 0.2 | E 0.1 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | E 0.1 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
D-Limonene | unfiltered | 3 | 62819 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.1 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Fluoranthene | unfiltered | 3 | 34376 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.024 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Hexahydrohexamethyl cyclopentabenzopyran | unfiltered | 3 | 62823 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | M | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Indole | unfiltered | 3 | 62824 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.1 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Isoborneol | unfiltered | 3 | 62825 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Isophorone | unfiltered | 3 | 34408 | µg/L | -- | -- | < 0.2 | C | < 0.2 | C | < 0.2 | C | < 0.2 | C | < 0.1 | < 0.2 | C | < 0.2 | C | < 0.2 | < 0.2 | -- | M | < 0.2 | C | < 0.2 | C | M | < 0.2 | C
Isopropylbenzene | unfiltered | 3 | 77223 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.3 | < 0.2 | < 0.2 | M | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Isoquinoline | unfiltered | 3 | 62826 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.046 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Menthol | unfiltered | 3 | 62827 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.3 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | E 0.1 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Metalaxyl | unfiltered | 3 | 04254 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.1 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Methyl salicylate | unfiltered | 3 | 62828 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.044 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Metolachlor | unfiltered | 3 | 82612 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | E 0.006 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | M | < 0.2 | -- | M | M | < 0.2 | < 0.2 | < 0.2 | M | M | < 0.2
N,N-Diethyl-meta-toluamide (DEET) | unfiltered | 3 | 61947 | µg/L | -- | -- | < 0.2 | < 0.2 | M | E 0.1 | M | M | < 0.2 | < 0.2 | M | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | M | -- | M | < 0.2 | < 0.2 | < 0.2 | < 0.2 | M | M | < 0.2
Naphthalene | unfiltered | 3 | 34696 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.040 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
p-Cresol | unfiltered | 3 | 77146 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.08 | < 0.2 | < 0.2 | M | < 0.2 | M | M | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Pentachlorophenol | unfiltered | 3 | 39032 | µg/L | -- | -- | < 0.8 | < 0.8 | < 2 | < 2 | < 2 | < 2 | < 0.8 | < 0.8 | -- | < 0.8 | < 0.8 | < 0.8 | < 0.8 | M | < 2 | -- | -- | -- | -- | < 0.8 | < 0.8 | < 2 | < 2 | < 2
Phenanthrene | unfiltered | 3 | 34461 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.032 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Phenol | unfiltered | 3 | 34694 | µg/L | -- | -- | < 0.2 | < 0.2 | 0.8 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | E 0.1 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Prometon | unfiltered | 3 | 39056 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | M | < 0.2 | E 0.01 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | M | -- | < 0.2 | M | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Pyrene | unfiltered | 3 | 34469 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.042 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Tetrachloroethene | unfiltered | 3 | 34475 | µg/L | -- | -- | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.1 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | -- | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4 | < 0.4
Tributyl phosphate | unfiltered | 3 | 62832 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | M | M | M | E 0.1 | M | M | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | M | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Triclosan | unfiltered | 3 | 61708 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.20 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Triethyl citrate | unfiltered | 3 | 62833 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | M | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Triphenyl phosphate | unfiltered | 3 | 62834 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.1 | < 0.2 | < 0.2 | M | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Tris(2-butoxyethyl) phosphate | unfiltered | 3 | 62830 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.8 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.3 | < 0.3 | < 0.2 | < 0.2 | < 0.2
Tris(2-chloroethyl) phosphate | unfiltered | 3 | 62831 | µg/L | -- | -- | < 0.2 | < 0.2 | M | < 0.2 | M | < 0.2 | < 0.2 | < 0.2 | < 0.1 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | M | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
Tris(dichloroisopropyl) phosphate | unfiltered | 3 | 61707 | µg/L | -- | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | -- | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
4-Epichlortetracycline hydrochloride | filtered | 4 | 63731 | µg/L | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010
4-Epioxytetracycline | filtered | 4 | 63729 | µg/L | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010
4-Epitetracycline hydrochloride | filtered | 4 | 63727 | µg/L | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010
Anhydroerthromycin | filtered | 4 | 63674 | µg/L | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008
Azithromycin | filtered | 4 | 62792 | µg/L | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005
Carbamazepine | filtered | 4 | 62793 | µg/L | 0.012 | < 0.005 | 0.007 | < 0.005 | 0.008 | < 0.005 | 0.014 | < 0.005 | < 0.005 | < 0.005 | 0.009 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005
Chloramphenicol | filtered | 4 | 65194 | µg/L | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100
Chlortetracycline | filtered | 4 | 61744 | µg/L | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010
Ciprofloxacin | filtered | 4 | 62898 | µg/L | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005
Doxycycline | filtered | 4 | 62694 | µg/L | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010
Enrofloxacin | filtered | 4 | 66495 | µg/L | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005
Erythromycin | filtered | 4 | 62797 | µg/L | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008 | < 0.008
Ibuprofen | filtered | 4 | 62014 | µg/L | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050
Isochlortetracycline | filtered | 4 | 64175 | µg/L | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010
Isoepichlorotetracycline | filtered | 4 | 64047 | µg/L | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010
Lincomycin | filtered | 4 | 62894 | µg/L | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005
Lomefloxacin | filtered | 4 | 62900 | µg/L | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005
Norfloxacin | filtered | 4 | 62757 | µg/L | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005
Ofloxacin | filtered | 4 | 62899 | µg/L | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005
Ormetoprim | filtered | 4 | 62962 | µg/L | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005
Oxytetracycline | filtered | 4 | 61759 | µg/L | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010
Roxithromycin | filtered | 4 | 62895 | µg/L | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005
Sarafloxacin | filtered | 4 | 62771 | µg/L | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005
Sulfachlorpyridazine | filtered | 4 | 62774 | µg/L | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005
Sulfadiazine | filtered | 4 | 62963 | µg/L | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.100 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005
Sulfadimethoxine | filtered | 4 | 62776 | µg/L | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005
Sulfamethazine | filtered | 4 | 61762 | µg/L | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005
Sulfamethoxazole | filtered | 4 | 62775 | µg/L | 0.052 | < 0.005 | 0.022 | < 0.005 | 0.026 | < 0.005 | 0.041 | < 0.005 | < 0.005 | < 0.005 | 0.043 | 0.006 | < 0.005 | 0.011 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | 0.011 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | 0.008 | < 0.005 | < 0.005
Sulfathiazole | filtered | 4 | 62778 | µg/L | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.050 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005
Tetracycline | filtered | 4 | 62781 | µg/L | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010
Trimethoprim | filtered | 4 | 62023 | µg/L | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005
Tylosin | filtered | 4 | 62896 | µg/L | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010 | < 0.010
Virginiamycin | filtered | 4 | 62897 | µg/L | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005 | < 0.005
11-Ketotestosterone | unfiltered | 5 | 64527 | ng/L | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00
17-alpha-Estradiol | unfiltered | 5 | 64528 | ng/L | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80
17-alpha-Ethynyl estradiol | unfiltered | 5 | 64529 | ng/L | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80
17-beta-Estradiol | unfiltered | 5 | 64530 | ng/L | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80
3-beta-Coprostanol | unfiltered | 5 | 64532 | ng/L | < 2,000 | < 2,000 | < 2,000 | < 2,000 | < 2,000 | < 2,000 | < 2,000 | < 2,000 | < 2,000 | < 2,000 | < 200 | < 200 | < 200 | < 200 | < 200 | 326 | < 200 | < 200 | < 200 | < 200 | < 200 | < 200 | < 200 | < 200 | < 200 | < 200
4-Androstene-3,17-dione | unfiltered | 5 | 64533 | ng/L | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | E 0.46 | < 0.80 | E 0.72 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80
Bisphenol A | unfiltered | 5 | 67305 | ng/L | < 100 | < 100 | < 100 | < 100 | < 100 | < 100 | < 100 | < 100 | < 100 | < 100 | < 200 | < 200 | < 200 | < 200 | < 200 | < 200 | < 200 | < 200 | < 200 | < 200 | < 200 | < 200 | < 200 | < 200 | < 200 | < 200
Cholesterol | unfiltered | 5 | 64534 | ng/L | 5140 | < 2,000 | 6020 | < 2,000 | 11500 | < 2,000 | 5870 | < 2,000 | < 2,000 | < 2,000 | 630 | < 200 | < 200 | < 200 | < 200 | 1730 | < 200 | < 200 | 2820 | < 200 | < 200 | < 200 | < 200 | 4160 | < 200 | < 200
cis-Androsterone | unfiltered | 5 | 64535 | ng/L | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80
Dihydrotestosterone | unfiltered | 5 | 64544 | ng/L | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00
Epitestosterone | unfiltered | 5 | 64537 | ng/L | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00
Equilenin | unfiltered | 5 | 64538 | ng/L | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00
Equilin | unfiltered | 5 | 64539 | ng/L | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00 | < 4.00
Estriol | unfiltered | 5 | 64540 | ng/L | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00 | < 2.00
Estrone | unfiltered | 5 | 64541 | ng/L | E 0.40 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | 1.42 | < 0.80 | < 0.80 | E 0.50 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80
Mestranol | unfiltered | 5 | 64542 | ng/L | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80
Norethindrone | unfiltered | 5 | 64531 | ng/L | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80
Progesterone | unfiltered | 5 | 64543 | ng/L | -- | < 8.00 | -- | < 8.00 | < 8.00 | < 8.00 | < 8.00 | < 8.00 | < 8.00 | < 8.00 | < 8.00 | < 8.00 | < 8.00 | < 8.00 | < 8.00 | < 8.00 | < 8.00 | < 8.00 | < 8.00 | < 8.00 | < 8.00 | < 8.00 | < 8.00 | < 8.00 | < 8.00 | < 8.00
Testosterone | unfiltered | 5 | 64545 | ng/L | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 2.35 | < 0.80 | < 0.80 | < 0.80
trans-Diethylstilbestrol | unfiltered | 5 | 64536 | ng/L | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80 | < 0.80