Appendix 5. Statistics for computed relative percent differences among sequential replicates collected during the study.

[n, number of samples; all statistics are in percent; -, no data or insufficient data for statistics; ; NTU, nephelometric turbidity units; μS/cm at 25 °C, microsiemens per centimeter 
at 25 degrees Celsius; mg/L, milligrams per liter; CaCO3, calcium carbonate; N, nitrogen; P, phosphorus; nm, nanometers; cm, centimeter; μg/L, micrograms per liter; mm, millimeters]

| Measurement or constituent, units | n | Minimum | 25th percentile | Median | 75th percentile | 90th percentile | Maximum |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Field and laboratory measurements |
| Turbidity, NTU | 4 | 0.8 | 1.7 | 4 | 11 | 21 | 27 |
| pH, lab, standard units | 5 | 0.0 | 1.2 | 1 | 1 | 1 | 1 |
| Specific conductance, S/cm at 25 C | 4 | 0.0 | 0.6 | 1 | 1 | 3 | 3 |
| Major ions |
| Calcium, dissolved, mg/L | 5 | 0.6 | 1.1 | 2 | 4 | 10 | 14 |
| Magnesium, dissolved, mg/L | 5 | 1.4 | 1.5 | 3 | 4 | 10 | 13 |
| Potassium, dissolved, mg/L | 4 | 0.0 | 0.6 | 1 | 4 | 10 | 14 |
| Sodium, dissolved, mg/L | 4 | 0.7 | 0.7 | 3 | 7 | 11 | 13 |
| Acid neutralizing capacity, mg/L as CaCO3 | 4 | 0.0 | 0.0 | 0 | 1 | 2 | 3 |
| Chloride, dissolved, mg/L | 4 | 0.0 | 0.0 | 0 | 2 | 5 | 6 |
| Silica, dissolved, mg/L | 4 | 0.0 | 0.0 | 1 | 1 | 1 | 1 |
| Sulfate, dissolved, mg/L | 4 | 0.0 | 0.0 | 1 | 12 | 29 | 40 |
| Nutrients and organic carbon |
| Ammonia + org-N, dissolved, mg/L as N | 3 | 0.0 | 3.7 | 7 | 24 | 33 | 40 |
| Ammonia + org-N, total, mg/L as N | 4 | 0.0 | 0.0 | 1 | 10 | 24 | 33 |
| Ammonia, dissolved, mg/L as N | 4 | 0.0 | 2.2 | 3 | 4 | 6 | 8 |
| Nitrite + Nitrate, dissolved, mg/L as N | 2 | 0.0 | 0.0 | 0 | 0 | 0 | 0 |
| Nitrite, dissolved, mg/L as N | 4 | 0.0 | 1.5 | 7 | 22 | 42 | 55 |
| Orthophosphate, dissolved, mg/L as P | 4 | 0.0 | 0.0 | 5 | 21 | 39 | 51 |
| Phosphorus, dissolved, mg/L | 1 | - | - | - | - | - | 11 |
| Phosphorus, total, mg/L | 4 | 0.0 | 4.5 | 7 | 10 | 14 | 17 |
| Organic carbon, dissolved, mg/L | 5 | 0.0 | 2.4 | 3 | 19 | 20 | 21 |
| Organic carbon, total, mg/L | 3 | 1.3 | 9.9 | 19 | 19 | 19 | 19 |
| Ultraviolet absorbance at 254 nm (units/cm) | 1 | - | - | - | - | - | 1 |
| Trace elements |
| Arsenic, dissolved, g/L | 1 | - | - | - | - | - | 7 |
| Arsenic, total recoverable, g/L | 5 | 0.0 | 0.0 | 4 | 18 | 104 | 161 |
| Aluminum, dissolved, g/L | 2 | 2.5 | 8.6 | 15 | 21 | 24 | 27 |
| Aluminum, total recoverable, g/L | 2 | 3.4 | 4.6 | 6 | 7 | 8 | 8 |
| Cadmium, dissolved g/L | 5 | 0.0 | 0.0 | 0 | 22 | 45 | 60 |
| Cadmium, total recoverable, g/L | 5 | 0.0 | 0.6 | 4 | 15 | 46 | 67 |
| Copper, dissolved, g/L | 5 | 0.0 | 9.9 | 29 | 42 | 68 | 86 |
| Copper, total recoverable, g/L | 5 | 2.6 | 4.7 | 11 | 16 | 30 | 40 |
| Iron, dissolved, g/L | 5 | 8.5 | 8.9 | 21 | 50 | 62 | 70 |
| Iron, total recoverable, g/L | 3 | 3.4 | 4.0 | 5 | 7 | 9 | 10 |
| Lead, dissolved, g/L | 5 | 0.0 | 0.0 | 0 | 36 | 91 | 127 |
| Lead, total recoverable, g/L | 5 | 0.0 | 9.6 | 10 | 21 | 31 | 38 |
| Manganese, dissolved, g/L | 5 | 0.0 | 2.4 | 6 | 13 | 29 | 40 |
| Manganese, total recoverable, g/L | 5 | 2.4 | 2.8 | 4 | 10 | 24 | 33 |
| Mercury, dissolved, g/L | 1 | - | - | - | - | - | 0 |
| Mercury, total recoverable, g/L | 3 | 0.0 | 0.0 | 0 | 14 | 22 | 28 |
| Zinc, dissolved, g/L | 5 | 0.0 | 0.0 | 25 | 64 | 90 | 107 |
| Zinc, total recoverable, g/L | 4 | 4.3 | 7.9 | 12 | 28 | 50 | 65 |
| Suspended sediment |
| Suspended sediment, mg/L | 4 | 1.1 | 1.1 | 3 | 4 | 4 | 5 |
| Suspended-sediment discharge, tons per day | 0 | - | - | - | - | - | - |
| Percentage of particles less than 1 mm in diameter | 1 | - | - | - | - | - | 12 |
| Percentage of particles less than 0.5 mm in diameter | 1 | - | - | - | - | - | 33 |
| Percentage of particles less than 0.25 mm in diameter | 1 | - | - | - | - | - | 70 |
| Percentage of particles less than 0.125 mm in diameter | 1 | - | - | - | - | - | 99 |
| Percentage of particles less than 0.062 mm in diameter | 4 | 0.0 | 2.0 | 4 | 16 | 35 | 48 |
| Percentage of particles less than 0.031 mm in diameter | 1 | - | - | - | - | - | 0 |
| Percentage of particles less than 0.016 mm in diameter | 1 | - | - | - | - | - | 0 |
| Percentage of particles less than 0.008 mm in diameter | 1 | - | - | - | - | - | 2 |
| Percentage of particles less than 0.004 mm in diameter | 1 | - | - | - | - | - | 13 |
| Percentage of particles less than 0.002 mm in diameter | 1 | - | - | - | - | - | 4 |