## Sheet1
Appendix 2a. Major-oxide glass geochemistry for historical Pavlof tephra fall deposits.
Analyses completed on a JEOL 8900 electron microprobe equipted with 5 wavelength x-ray spectrometers at the USGS, Menlo Park, CA
Analytical conditions were 15 kV accelerating voltage, 5 nA beam current, and 5 mm beam diameter. Count 30 s peak/10 s bkgrd except Na 10/5 and Cl 10/5
Standards: Si - RLS-132; Fe, Mg, Ca - VG2 (basaltic glass); K, Al - Or1; Na - TibAlbite; Cl - sodalite; P - Wilburforce apatite; Ti - TiO2; Mn - Mn2O3
SAMPLE ID | Latitude | Longitude | SiO2 | TiO2 | Al2O3 | FeO | MnO | MgO | CaO | Na2O | K2O | P2O5 | Cl | Total | n | Analyzed Total
|  |  | wt. % | wt. % | wt. % | wt. % | wt. % | wt. % | wt. % | wt. % | wt. % | wt. % | wt. % | wt. %
AT-3358 (2014 Pavlof eruption - 14CFW26-3) | 55.4478 | -161.9422
Average |  |  | 57.4797 | 2.1953 | 13.5129 | 11.3433 | 0.28243 | 3.0757 | 6.5098 | 3.5885 | 1.3694 | 0.55446 | 0.088651 | 100 | 35 | 99.7772
Standard Deviation |  |  | 0.52671 | 0.084191 | 0.44727 | 0.50325 | 0.058384 | 0.40473 | 0.27197 | 0.54119 | 0.12278 | 0.06321 | 0.029329
AT-3359 (2014 Pavlof eruption - 14CFW31-1) | 55.4238 | -161.9742
Average |  |  | 57.0106 | 2.1223 | 13.7899 | 11.1922 | 0.26901 | 3.1434 | 6.7325 | 3.829 | 1.2904 | 0.52114 | 0.099642 | 100 | 39 | 99.5322
Standard Deviation |  |  | 0.4368 | 0.063802 | 0.30353 | 0.45977 | 0.06316 | 0.15736 | 0.22025 | 0.19317 | 0.060401 | 0.054191 | 0.025445
AT-2821 (May 18-19, 2013, Sand Point, Alaska) | unknown | unknown
Average |  |  | 57.5397 | 1.8496 | 13.9855 | 11.1808 | 0.25714 | 2.9878 | 6.4329 | 3.9208 | 1.2531 | 0.51188 | 0.10397 | 100 | 44 | 98.42
Standard Deviation |  |  | 0.58321 | 0.081299 | 0.18347 | 0.36251 | 0.031433 | 0.21467 | 0.18016 | 0.41104 | 0.075674 | 0.066762 | 0.025713
2824 (2007, near flank of volcano) | unknown | unknown
Average |  |  | 58.191 | 2.0002 | 13.1864 | 11.6035 | 0.27113 | 2.7695 | 6.1775 | 3.7795 | 1.385 | 0.56796 | 0.088217 | 100 | 45 | 98.09
Standard Deviation |  |  | 0.53599 | 0.085744 | 0.25932 | 0.56704 | 0.036862 | 0.18219 | 0.52165 | 0.35913 | 0.20842 | 0.068332 | 0.028828
2823 (1996, Sand Point, Alaska) | unknown | unknown
Average |  |  | 58.077 | 1.9047 | 13.5557 | 11.3455 | 0.27754 | 2.9431 | 6.0806 | 3.9026 | 1.3105 | 0.53192 | 0.091331 | 100 | 45 | 98.06
Standard Deviation |  |  | 0.58136 | 0.087959 | 0.29186 | 0.34922 | 0.030928 | 0.29539 | 0.34211 | 0.37471 | 0.093164 | 0.076761 | 0.022694
2822 (1986, Cold Bay, Alaska) | unknown | unknown
Average |  |  | 58.4771 | 2.0045 | 13.5423 | 11.5386 | 0.25379 | 2.8952 | 5.8865 | 3.5055 | 1.2876 | 0.5325 | 0.098629 | 100 | 20 | 97.3
Standard Deviation |  |  | 0.88138 | 0.11222 | 0.45461 | 0.54968 | 0.040606 | 0.251 | 0.47425 | 0.44807 | 0.2193 | 0.12001 | 0.02192