## Table 20
Table 20. Summary of selected rating stability metrics for streamgages in Virginia, water years 1991-2013.
[Σ, sum; ¦x¦, absolute value of x; /, divided by; Q, flow in cubic feet per second; RMSE, root mean square error; >, greater than; Qprev, the flow value from the shifted rating table in effect at the time of the previous flow measurement that corresponds to the gage height of each day’s daily flow value; -, minus; Qsame, the flow value from the shifted rating table used to compute the daily flow value at the time of the most recent flow measurement that corresponds to the gage height of each day’s daily flow value; GAM, generalized additive model; s(x), smoothing function of x; GH, gage height. Colors represent stability of the stage-flow relation, with darkest shades of green representing greatest stability, deepest shades of red representing least stability, and intermediate shades representing intermediate values; entries that are uncolored contain metrics determined to be unrelated to stage-flow relation or control stability; VA, Virginia; R2, coefficient of determination]
Streamgage number | Streamgage name | Stability class | Proportion of flow measurements that deviated from ratings by more than guidelines allow | Proportion of daily values that were estimated | Proportion of daily values in winter that were estimated | Proportion of days when Qprev = Qsame | Σ¦Error¦/ ΣQ | RMSE (log units) | Average length base ratings were in effect, in days | Daily percent error, averaged | ΣError/ ΣQ | Proportion of days when ¦Qprev-Qsame¦ > Qprev | Proportion of days when ¦Qprev-Qsame¦ > Qsame | R2 of GAM models of GH as a function of Q | R2 of GAM models of Q as a function of GH
01613900 | Hogue Creek near Hayfield, VA | Good | 0.011765 | 0.067793 | 0.19492 | 0.42788 | 0.089929 | 0.19322 | 2656.1094 | -0.17695 | 0.000517 | 0.025659 | 0.046926 | 0.78811 | 0.79486
01615000 | Opequon Creek near Berryville, VA | Good | 0.027586 | 0.057251 | 0.15058 | 0.382 | 0.055851 | 0.11122 | 732.6667 | -0.017215 | -0.0018945 | 0.013455 | 0.0052583 | 0.32656 | 0.8446
01616100 | Dry Marsh Run near Berryville, VA | Good | 0.036585 | 0.1055 | 0.10474 | 0.28066 | 0.17754 | 0.17471 | 4061.0417 | -0.050386 | 0.051289 | 0.06182 | 0.025964 | 0.90796 | 0.90093
01620500 | North River near Stokesville, VA | Good | 0.042105 | 0.057143 | 0.096359 | 0.58959 | 0.15165 | 0.24692 | 956.8264 | -0.12819 | 0.026427 | 0.065054 | 0.076467 | 0.28529 | 0.28751
01621050 | Muddy Creek at Mount Clinton, VA | Good | 0.04878 | 0.048224 | 0.11539 | 0.3509 | 0.14795 | 0.29354 | 1644.0078 | -0.19617 | 0.033944 | 0.095074 | 0.075369 | 0.96217 | 0.875
01622000 | North River near Burketown, VA | Good | 0.025316 | 0.016884 | 0.019133 | 0.44325 | 0.036723 | 0.069269 | 5845.0208 | -0.0070947 | -0.0060717 | 0 | 0 | 0.98863 | 0.97598
01625000 | Middle River near Grottoes, VA | Good | 0.00625 | 0.036786 | 0.1031 | 0.50624 | 0.02258 | 0.031369 | 2800.6667 | -0.006736 | 0.00031651 | 0 | 0 | 0.89481 | 0.84219
01626000 | South River near Waynesboro, VA | Good | 0.0060241 | 0.02131 | 0.044325 | 0.64344 | 0.018626 | 0.031453 | 4201 | -0.007286 | 0.0035754 | 0 | 0 | 0.99428 | 0.98191
01626850 | South River near Dooms, VA | Good | 0 | 0.017314 | 0.03003 | 0.63613 | 0.038582 | 0.11902 | 876.1667 | 0.022467 | -0.0084702 | 0.040321 | 0.0043061 | 0.96692 | 0.93896
01627500 | South River at Harriston, VA | Good | 0 | 0.011322 | 0.032854 | 0.6224 | 0.028121 | 0.040248 | 2872.6771 | 9.7102e-05 | -0.0085176 | 0 | 0 | 0.8581 | 0.81735
01628500 | South Fork Shenandoah River near Lynnwood, VA | Excellent | 0.0064516 | 0.0125 | 0.047698 | 0.48585 | 0.03426 | 0.057736 | 4201 | -0.0097926 | -0.0023859 | 0 | 0 | 0.99381 | 0.98619
01629500 | South Fork Shenandoah River near Luray, VA | Good | 0 | 0.037812 | 0.027327 | 0.59881 | 0.029096 | 0.058296 | 1278.7552 | -0.00055184 | -0.0053996 | 0 | 0 | 0.9607 | 0.94356
01631000 | South Fork Shenandoah River at Front Royal, VA | Good | 0.010753 | 0.035908 | 0.083172 | 0.32998 | 0.052028 | 0.075453 | 2800.6667 | -0.032715 | -0.0062723 | 0.00045673 | 0.00068509 | 0.97851 | 0.96966
01632000 | North Fork Shenandoah River at Cootes Store, VA | Good | 0.016807 | 0.092458 | 0.11179 | 0.4677 | 0.056324 | 0.21664 | 890.625 | -0.4082 | -0.0027718 | 0.027806 | 0.058608 | 0.95783 | 0.86005
01632082 | Linville Creek at Broadway, VA | Good | 0.015789 | 0.055959 | 0.10842 | 0.42652 | 0.090886 | 0.11297 | 2100.5 | -0.029153 | 0.010207 | 0.021338 | 0.00959 | 0.98416 | 0.96313
01632900 | Smith Creek near New Market, VA | Good | 0 | 0.058817 | 0.13636 | 0.41213 | 0.08649 | 0.16319 | 1400.3333 | -0.02633 | -0.017442 | 0.035483 | 0.012467 | 0.9359 | 0.85886
01633000 | North Fork Shenandoah River at Mount Jackson, VA | Good | 0.034091 | 0.014857 | 0.047748 | 0.59364 | 0.019725 | 0.075765 | 5311.7083 | -0.019789 | 0.0012996 | 0.0079505 | 0.011042 | 0.99645 | 0.98954
01634000 | North Fork Shenandoah River near Strasburg, VA | Good | 0.021898 | 0.039794 | 0.11476 | 0.48476 | 0.04056 | 0.055718 | 2100.5 | -0.012763 | -0.00019184 | 0 | 0 | 0.99158 | 0.98224
01634500 | Cedar Creek near Winchester, VA | Good | 0.016854 | 0.081983 | 0.19821 | 0.52733 | 0.024161 | 0.056226 | 2800.6667 | -0.028816 | 0.0031876 | 0 | 0.0032366 | 0.98948 | 0.96961
01635500 | Passage Creek near Buckton, VA | Good | 0.025806 | 0.064482 | 0.23588 | 0.65871 | 0.016938 | 0.031234 | 4201 | -0.0065028 | -8.7658e-05 | 0 | 0 | 0.98954 | 0.98439
01636316 | Spout Run at Rt 621 near Millwood, VA | Excellent | 0.012195 | 0.082839 | 0.099076 | 0.30117 | 0.12212 | 0.1012 | 2029.2917 | -0.042298 | 0.021088 | 0.0049988 | 0 | 0.9267 | 0.86191
01636690 | Piney Run near Lovettsville, VA | Fair | 0.081395 | 0.048306 | 0.14639 | 0.31422 | 0.14307 | 0.21607 | 1111.2552 | -0.17859 | 0.00125 | 0.031445 | 0.087861 | 0.92042 | 0.86764
01638350 | South Fork Catoctin Creek at Rt 698 near Waterford, VA | Fair | 0.01087 | 0.042989 | 0.13026 | 0.36162 | 0.08044 | 0.11561 | 1119.9062 | -0.027902 | -0.018702 | 0.0045372 | 0.023367 | 0.94332 | 0.89374
01638420 | North Fork Catoctin Creek at Rt 681 near Waterford, VA | Good | 0.034091 | 0.040063 | 0.12752 | 0.40222 | 0.068354 | 0.15947 | 1114.3594 | -0.1148 | -0.015457 | 0.016561 | 0.052405 | 0.98369 | 0.94727
01638480 | Catoctin Creek at Taylorstown, VA | Poor | 0.050505 | 0.074395 | 0.16717 | 0.52507 | 0.058606 | 0.1084 | 2903.5625 | -0.065337 | 0.012303 | 0.0071297 | 0.027369 | 0.96583 | 0.85289
01643590 | Limestone Branch near Leesburg, VA | Good | 0.032258 | 0.011116 | 0.031216 | 0.31618 | 0.10673 | 0.13663 | 1106 | -0.068855 | -0.015043 | 0.023674 | 0.017528 | 0.9889 | 0.9761
01643700 | Goose Creek near Middleburg, VA | Good | 0.044944 | 0.05448 | 0.1558 | 0.42799 | 0.065464 | 0.16711 | 827.0391 | -0.36987 | -0.0067811 | 0.021127 | 0.046797 | 0.98731 | 0.94073
01643805 | North Fork Goose Creek at Rt 729 near Lincoln, VA | Fair | 0.010753 | 0.14406 | 0.2176 | 0.34354 | 0.082344 | 0.196 | 743.0764 | -0.086898 | 0.010868 | 0.024229 | 0.032686 | 0.97173 | 0.89517
01643880 | Beaverdam Creek at Rt 734 near Mountville, VA | Good | 0.044944 | 0.036012 | 0.10384 | 0.34165 | 0.10166 | 0.36545 | 495.5093 | -0.82916 | -0.0069559 | 0.097323 | 0.075998 | 0.9495 | 0.83394
01644000 | Goose Creek near Leesburg, VA | Fair | 0.010204 | 0.058481 | 0.12838 | 0.4335 | 0.039682 | 0.16638 | 2836.7188 | -0.070265 | -0.0039259 | 0.038218 | 0.03385 | 0.97805 | 0.94801
01644280 | Broad Run near Leesburg, VA | Good | 0.048193 | 0.044811 | 0.089723 | 0.54342 | 0.054309 | 0.10798 | 735.5972 | -0.044669 | -0.0077044 | 0.0064408 | 0.035305 | 0.92954 | 0.94212
01645704 | Difficult Run above Fox Lake near Fairfax, VA | Fair | 0.016393 | 0.032787 | 0.0018429 | 0.4631 | 0.12545 | 0.19722 | 550.8672 | 0.043402 | -0.038074 | 0.073801 | 0.040129 | 0.98434 | 0.95302
01645762 | South Fork Little Difficult Run above Mouth near Vienna, VA | Poor | 0.033333 | 0.041894 | 0.023958 | 0.30166 | 0.34095 | 0.33916 | 440.8833 | -0.56394 | 0.091475 | 0.10793 | 0.17943 | 0.97706 | 0.99323
01646000 | Difficult Run near Great Falls, VA | Good | 0.033149 | 0.063744 | 0.14659 | 0.57754 | 0.029197 | 0.072177 | 1400.3333 | -0.0085465 | -0.00092723 | 0.0056328 | 0.0049137 | 0.98395 | 0.97287
01646305 | Dead Run at Whann Avenue near Mclean, VA | Poor | 0.053571 | 0.010732 | 0.009871 | 0.17109 | 0.29574 | 0.36751 | 697.441 | -0.47789 | 0.10033 | 0.12684 | 0.19518 | 0.9232 | 0.87109
01652500 | Fourmile Run at Alexandria, VA | Fair | 0.025 | 0.058469 | 0.11462 | 0.27123 | 0.095465 | 0.18854 | 2100.5 | -0.036478 | -0.0032756 | 0.040996 | 0.036237 | 0.32232 | 0.81807
01653000 | Cameron Run at Alexandria, VA | Fair | 0.088235 | 0.044459 | 0.065843 | 0.29431 | 0.145 | 0.22726 | 1388.2062 | -0.10472 | 0.011529 | 0.057884 | 0.047774 | 0.63106 | 0.66641
0165389205 | Accotink Creek near Ranger Road at Fairfax, VA | Good | 0.05 | 0.012839 | 0.0057733 | 0.14667 | 0.067671 | 0.1161 | 357.1458 | -4.7436e-05 | -0.01859 | 0 | 0 | 0.99602 | 0.99244
01654000 | Accotink Creek near Annandale, VA | Poor | 0.052632 | 0.10404 | 0.20129 | 0.40513 | 0.065256 | 0.14749 | 1455.2083 | -0.16598 | 0.0070195 | 0.017333 | 0.019413 | 0.83131 | 0.60263
01656000 | Cedar Run near Catlett, VA | Good | 0.017544 | 0.059812 | 0.1707 | 0.5655 | 0.027538 | 0.11771 | 1680.4 | -0.038308 | -0.0072062 | 0.020856 | 0.019417 | 0.98869 | 0.9374
01656903 | Flatlick Branch above Frog Branch at Chantilly, VA | Fair | 0.047619 | 0.043716 | 0.0055288 | 0.37022 | 0.083827 | 0.2316 | 440.7312 | -0.16713 | 0.0081887 | 0.06178 | 0.077455 | 0.99636 | 0.98721
01658500 | South Fork Quantico Creek near Independent Hill, VA | Fair | 0.056962 | 0.034299 | 0.039286 | 0.35148 | 0.16925 | 0.43881 | 1644.0102 | -0.44206 | 0.029842 | 0.11976 | 0.12545 | 0.93715 | 0.84861
01660400 | Aquia Creek near Garrisonville, VA | Good | 0.057377 | 0.11622 | 0.19165 | 0.35891 | 0.089706 | 0.21119 | 1428.9688 | -0.20775 | -0.0022034 | 0.020184 | 0.042366 | 0.55822 | 0.49694
01662800 | Battle Run near Laurel Mills, VA | Fair | 0.042945 | 0.070016 | 0.15315 | 0.52708 | 0.056165 | 0.14723 | 1084 | -0.03767 | 0.0086111 | 0.01523 | 0.014832 | 0.58508 | 0.67077
01663500 | Hazel River at Rixeyville, VA | Good | 0.010526 | 0.051317 | 0.10941 | 0.58686 | 0.024003 | 0.15236 | 733.6736 | -0.032618 | 0.0024607 | 0.009421 | 0.0034467 | 0.97861 | 0.918
01664000 | Rappahannock River at Remington, VA | Good | 0.022222 | 0.029902 | 0.051732 | 0.56572 | 0.025766 | 0.16633 | 1914.9861 | -0.05921 | -0.0029568 | 0.01057 | 0.011259 | 0.99054 | 0.96256
01665500 | Rapidan River near Ruckersville, VA | Good | 0.016129 | 0.055088 | 0.16739 | 0.50795 | 0.062692 | 0.07047 | 1370.724 | -0.027727 | 0.001749 | 0.0025878 | 0.0012939 | 0.98365 | 0.95494
01666500 | Robinson River near Locust Dale, VA | Fair | 0.0050505 | 0.054775 | 0.13253 | 0.52999 | 0.12227 | 0.17863 | 4201 | -0.030706 | 0.032949 | 0.015739 | 0.015739 | 0.95511 | 0.94698
01667500 | Rapidan River near Culpeper, VA | Good | 0.021277 | 0.041892 | 0.0804 | 0.45071 | 0.038157 | 0.064473 | 5314.0938 | -0.0094833 | -0.0012565 | 0.0032787 | 0.0037158 | 0.98188 | 0.98636
01668000 | Rappahannock River near Fredericksburg, VA | Good | 0.049383 | 0.034921 | 0.10193 | 0.40471 | 0.058624 | 0.087692 | 1680.4 | -0.017475 | 0.0066896 | 0.010493 | 0.0012848 | 0.97607 | 0.9568
01669000 | Piscataway Creek near Tappahannock, VA | Poor | 0.022989 | 0.056415 | 0.10587 | 0.34117 | 0.16037 | 0.18596 | 2267.8438 | -0.18356 | -0.021584 | 0.04199 | 0.05089 | 0.7694 | 0.72922
01669520 | Dragon Swamp at Mascot, VA | Poor | 0 | 0.030688 | 0.076293 | 0.48276 | 0.1027 | 0.15729 | 2859.1458 | -0.20455 | 0.015867 | 0.010456 | 0.048276 | 0.91331 | 0.88945
01670400 | North Anna River near Partlow, VA | Good | 0.03125 | 0.020962 | 0 | 0.40289 | 0.053379 | 0.11805 | 841.2 | -0.022425 | -0.014952 | 0.033253 | 0.0096386 | 0.93869 | 0.89256
01671020 | North Anna River at Hart Corner near Doswell, VA | Fair | 0.043796 | 0.058515 | 0.10452 | 0.56288 | 0.028819 | 0.038528 | 1680.4 | -0.015992 | 0.01016 | 0 | 0 | 0.98971 | 0.98287
01671025 | North Anna River above Little River near Doswell, VA | Fair | 0.10667 | 0.036375 | 0.026651 | 0.4436 | 0.1261 | 0.07602 | 1690.7448 | -0.013037 | 0.034757 | 0 | 0 | 0.97264 | 0.97669
01671100 | Little River near Doswell, VA | Fair | 0.011905 | 0.028179 | 0.05109 | 0.47146 | 0.053676 | 0.16021 | 5359.0625 | -0.067364 | -0.00020639 | 0.034342 | 0.018422 | 0.9821 | 0.96774
01672500 | South Anna River near Ashland, VA | Good | 0.022727 | 0.037113 | 0.066756 | 0.63691 | 0.014608 | 0.038985 | 1576.25 | -0.002138 | -0.0034569 | 0 | 0 | 0.98908 | 0.98324
01673000 | Pamunkey River near Hanover, VA | Good | 0.022388 | 0.023762 | 0.044077 | 0.58204 | 0.034831 | 0.049987 | 1207.9236 | -0.006918 | 0.013256 | 0 | 0.0033383 | 0.98026 | 0.97527
01673550 | Totopotomoy Creek near Studley, VA | Fair | 0.061538 | 0.073333 | 0.10166 | 0.49323 | 0.066417 | 0.08433 | 1050.25 | -0.01681 | -0.018659 | 0.0061114 | 0.012463 | 0.94734 | 0.86903
01673800 | Po River near Spotsylvania, VA | Fair | 0.047337 | 0.07268 | 0.076187 | 0.52169 | 0.046546 | 0.31724 | 1680.4 | -0.079077 | 0.0018708 | 0.030081 | 0.022291 | 0.94496 | 0.89168
01674000 | Mattaponi River near Bowling Green, VA | Good | 0.11656 | 0.062083 | 0.093558 | 0.4538 | 0.10917 | 0.35796 | 2100.5 | -0.25004 | 0.02943 | 0.087478 | 0.074655 | 0.98021 | 0.90635
01674500 | Mattaponi River near Beulahville, VA | Good | 0.021583 | 0.02359 | 0.053855 | 0.52739 | 0.028563 | 0.063147 | 2100.5 | -0.024383 | -0.00038359 | 0.0021302 | 0.0039562 | 0.98992 | 0.98857
02011400 | Jackson River near Bacova, VA | Excellent | 0.027027 | 0.030849 | 0.12018 | 0.7256 | 0.011159 | 0.029949 | 4018.5205 | -0.0084605 | 0.0014927 | 0 | 0 | 0.96531 | 0.95953
02011460 | Back Creek near Sunrise, VA | Excellent | 0.020619 | 0.02262 | 0.088828 | 0.58565 | 0.021643 | 0.046324 | 957.6146 | 0.0036494 | -0.01101 | 0.00045137 | 0 | 0.98473 | 0.98392
02011470 | Back Creek at Sunrise, VA | Excellent | 0.068182 | 0.001874 | 0.00058341 | 0.74039 | 0.048615 | 0.06396 | 1050.25 | -0.01915 | 0.01831 | 0.0068165 | 0.0094271 | 0.94074 | 0.96979
02011490 | Little Back Creek near Sunrise, VA | Excellent | 0.12903 | 0.017924 | 0.061457 | 0.88901 | 0.018145 | 0.024433 | 2100.5 | -0.0071269 | 0.0093175 | 0 | 0 | 0.98577 | 0.98743
02011500 | Back Creek near Mountain Grove, VA | Excellent | 0.031056 | 0.012974 | 0.045506 | 0.63785 | 0.020081 | 0.050749 | 2435.347 | -0.028255 | 0.0046374 | 0 | 0 | 0.95239 | 0.9344
02011800 | Jackson River below Gathright Dam near Hot Spgs, VA | Excellent | 0.078049 | 0.0027393 | 0 | 0.89048 | 0.004936 | 0.011316 | 1796.3646 | 0.00073006 | -0.00088523 | 0 | 0 | 0.99379 | 0.98711
02013000 | Dunlap Creek near Covington, VA | Good | 0.019355 | 0.02346 | 0.06983 | 0.54238 | 0.020957 | 0.17665 | 2100.5 | -0.025465 | 0.00095551 | 0.0063917 | 0.001674 | 0.95564 | 0.94471
02013100 | Jackson River below Dunlap Creek at Covington, VA | Good | 0.039735 | 0.0055464 | 0.015167 | 0.59725 | 0.015991 | 0.027996 | 2100.5 | -0.00066768 | 0.00063551 | 0 | 0 | 0.99416 | 0.97833
02014000 | Potts Creek near Covington, VA | Good | 0.033113 | 0.016025 | 0.062473 | 0.52673 | 0.038762 | 0.066515 | 1810.1406 | -0.013942 | 0.0067371 | 0.0082926 | 0 | 0.95875 | 0.94302
02015700 | Bullpasture River at Williamsville, VA | Good | 0.019802 | 0.05707 | 0.17359 | 0.62232 | 0.019355 | 0.035431 | 3232.8333 | -0.0058891 | -0.00029473 | 0 | 0 | 0.98889 | 0.98611
02016000 | Cowpasture River near Clifton Forge, VA | Excellent | 0.018519 | 0.015394 | 0.059105 | 0.82449 | 0.0057602 | 0.01069 | 1534.2082 | 0.002905 | -0.0031643 | 0 | 0 | 0.96591 | 0.96161
02016500 | James River at Lick Run, VA | Excellent | 0.024194 | 0.0072323 | 0.023559 | 0.72449 | 0.0078164 | 0.015343 | 3835.5205 | -0.0011902 | 0.0011267 | 0 | 0 | 0.99474 | 0.99371
02017500 | Johns Creek at New Castle, VA | Good | 0.012195 | 0.034003 | 0.095128 | 0.65918 | 0.022997 | 0.052996 | 7240.6458 | -0.024355 | 0.00034257 | 0.0013892 | 0 | 0.98663 | 0.98005
02018000 | Craig Creek at Parr, VA | Good | 0 | 0.013689 | 0.034164 | 0.55773 | 0.020098 | 0.042508 | 2413.3331 | -0.013883 | 0.0027678 | 0 | 0 | 0.99258 | 0.98778
02018500 | Catawba Creek near Catawba, VA | Good | 0.024096 | 0.026244 | 0.059109 | 0.44223 | 0.079734 | 0.13651 | 2852.9323 | -0.023932 | 0.010361 | 0.040056 | 0.0050938 | 0.95851 | 0.90501
02019500 | James River at Buchanan, VA | Excellent | 0 | 0.0080057 | 0.018 | 0.80439 | 0.006869 | 0.013768 | 3288.0156 | 0.00037608 | -0.00057516 | 0 | 0 | 0.98997 | 0.98946
02020500 | Calfpasture River above Mill Creek at Goshen, VA | Good | 0 | 0.078317 | 0.22068 | 0.63648 | 0.022354 | 0.045716 | 1370.0102 | -0.015672 | 0.0010862 | 0 | 0 | 0.99704 | 0.99543
02021500 | Maury River at Rockbridge Baths, VA | Good | 0.054054 | 0.037791 | 0.11537 | 0.68739 | 0.017172 | 0.022424 | 2800.6667 | -0.008522 | 0.00074459 | 0 | 0 | 0.99456 | 0.99359
02022500 | Kerrs Creek near Lexington, VA | Good | 0.065217 | 0.021887 | 0.061118 | 0.59531 | 0.035492 | 0.11991 | 4942.6562 | -0.013469 | -0.0057491 | 0.013047 | 0.0077399 | 0.93983 | 0.89227
02024000 | Maury River near Buena Vista, VA | Good | 0.010989 | 0.037581 | 0.085552 | 0.71615 | 0.010046 | 0.026955 | 2557.0069 | -0.00099815 | -0.00033618 | 0 | 0 | 0.9813 | 0.97388
02024752 | James River at Blue Ridge Pkwy near Big Island, VA | Fair | 0.02381 | 0.011746 | 0.033277 | 0.6502 | 0.014658 | 0.030313 | 1012.6806 | 0.0046639 | 0.00052296 | 0 | 0 | 0.99711 | 0.99276
02024915 | Pedlar River at Forest Road near Buena Vista, VA | Good | 0.013514 | 0.046289 | 0.13439 | 0.64609 | 0.025682 | 0.039089 | 796.7 | -0.0084253 | 0.00086779 | 0.00025407 | 0 | 0.99462 | 0.98967
02025500 | James River at Holcomb Rock, VA | Good | 0.072289 | 0.035408 | 0.049024 | 0.77826 | 0.0053979 | 0.012297 | 2100.5 | -0.0036102 | 0.00039286 | 0 | 0 | 0.99489 | 0.99187
02026000 | James River at Bent Creek, VA | Good | 0.017544 | 0.01351 | 0.0027802 | 0.61528 | 0.020942 | 0.042403 | 1680.4 | -0.0045116 | -0.0025244 | 0 | 0 | 0.99245 | 0.9883
02027000 | Tye River near Lovingston, VA | Good | 0.037736 | 0.089995 | 0.16286 | 0.66753 | 0.015071 | 0.039534 | 1149.1917 | -0.008385 | -0.002849 | 0.00074006 | 0.0024052 | 0.99725 | 0.99152
02027500 | Piney River at Piney River, VA | Good | 0.034884 | 0.032173 | 0.070862 | 0.51482 | 0.040427 | 0.061668 | 1756.5486 | -0.012996 | -0.0019312 | 0.00066342 | 0.0057497 | 0.96242 | 0.92053
02028500 | Rockfish River near Greenfield, VA | Good | 0.027523 | 0.048882 | 0.10585 | 0.64079 | 0.029002 | 0.11469 | 2413.5833 | -0.0075575 | -0.0029486 | 0.013997 | 0.0078168 | 0.9886 | 0.97645
02029000 | James River at Scottsville, VA | Good | 0 | 0.0143 | 0.011837 | 0.61386 | 0.015112 | 0.037818 | 2800.6667 | -0.0071872 | -3.2226e-05 | 0 | 0 | 0.99019 | 0.98869
02030000 | Hardware River below Briery Run near Scottsville, VA | Fair | 0.055118 | 0.042451 | 0.115 | 0.51687 | 0.041914 | 0.16295 | 2681.6667 | 0.0041625 | 0.0033878 | 0.025826 | 0.010331 | 0.99278 | 0.98116
02030500 | Slate River near Arvonia, VA | Good | 0.0084034 | 0.021928 | 0.061117 | 0.50168 | 0.0282 | 0.040452 | 2431.5 | -0.017153 | 0.010985 | 0 | 0 | 0.99495 | 0.99346
02031000 | Mechums River near White Hall, VA | Good | 0.020619 | 0.047608 | 0.10375 | 0.56935 | 0.032436 | 0.10911 | 3580.1875 | -0.032781 | -0.0061142 | 0.015464 | 0.007732 | 0.98344 | 0.9498
02032250 | Moormans River near Free Union, VA | Good | 0.041096 | 0.12334 | 0.15742 | 0.60625 | 0.030378 | 0.090068 | 1113 | -0.053407 | 0.0049213 | 0.015298 | 0.017958 | 0.98328 | 0.95691
02032640 | North Fork Rivanna River near Earlysville, VA | Good | 0.077381 | 0.073131 | 0.13579 | 0.4756 | 0.050843 | 0.10214 | 1826.5102 | -0.0099457 | -0.0053581 | 0.0078784 | 0.0017968 | 0.95425 | 0.92843
02034000 | Rivanna River at Palmyra, VA | Good | 0.044444 | 0.017253 | 0.034017 | 0.49073 | 0.038382 | 0.057828 | 2682.2292 | 0.0094987 | -0.0053421 | 0 | 0 | 0.99608 | 0.99487
02035000 | James River at Cartersville, VA | Excellent | 0.12921 | 0.034639 | 0.025621 | 0.70271 | 0.01481 | 0.04411 | 4201 | -0.0099569 | -0.00045167 | 0 | 0.00011988 | 0.98319 | 0.98702
02036500 | Fine Creek at Fine Creek Mills, VA | Good | 0.054545 | 0.058739 | 0.072812 | 0.30751 | 0.099924 | 0.17469 | 1680.4 | -0.083817 | -0.0042667 | 0.048813 | 0.036939 | 0.98734 | 0.93244
02037000 | James River And Kanawha Canal near Richmond, VA | Fair | 0.008547 | 0.0013132 | 0 | 0.22519 | 0.76767 | 0.69327 | 2435.347 |  | 0.29465 | 0.1652 | 0.21504 | 0.469 | 0.47281
02037500 | James River near Richmond, VA | Excellent | 0.0090909 | 0.013755 | 0.012525 | 0.76788 | 0.0099886 | 0.022775 | 1550.4583 | 0.0008953 | -0.0011238 | 0 | 0 | 0.99296 | 0.99234
02038850 | Holiday Creek near Andersonville, VA | Good | 0.031915 | 0.084133 | 0.16528 | 0.3062 | 0.11025 | 0.14143 | 1705.0104 | -0.079082 | 0.013624 | 0.036753 | 0.02345 | 0.96438 | 0.94132
02039000 | Buffalo Creek near Hampden Sydney, VA | Fair | 0.012195 | 0.041915 | 0.076142 | 0.38472 | 0.079306 | 0.073974 | 2100.5 | -0.040174 | 0.0099783 | 0.0015595 | 0.0023992 | 0.88119 | 0.82586
02039500 | Appomattox River at Farmville, VA | Good | 0.022472 | 0.025355 | 0.05573 | 0.44988 | 0.0364 | 0.047487 | 4384.0417 | -0.0082978 | 0.004365 | 0.0011064 | 0 | 0.98642 | 0.95203
02040000 | Appomattox River at Mattoax, VA | Fair | 0.025 | 0.099964 | 0.1625 | 0.55433 | 0.027844 | 0.044524 | 2100.5 | -0.021925 | 0.0077797 | 0 | 0.00095946 | 0.97985 | 0.96043
02040892 | Appomattox River at Route 602 near Mannboro, VA | Good | 0 | 0 | 0 | 0.74286 | 0.0084005 | 0.015806 | 416.5208 | 0.010641 | -0.0063211 | 0 | 0 | 0.99847 | 0.99838
02041000 | Deep Creek near Mannboro, VA | Fair | 0.035294 | 0.026331 | 0.062204 | 0.51349 | 0.035329 | 0.09323 | 1400.3333 | -0.041377 | -0.00087845 | 0.0047979 | 0.0092359 | 0.9579 | 0.91027
02041650 | Appomattox River at Matoaca, VA | Good | 0.031579 | 0.011558 | 0.027565 | 0.6084 | 0.02377 | 0.055253 | 2414.1875 | -0.009348 | -0.0034682 | 0.00083143 | 0.0089379 | 0.99389 | 0.9926
02042500 | Chickahominy River near Providence Forge, VA | Good | 0.048276 | 0.012471 | 0.039183 | 0.71421 | 0.016348 | 0.11392 | 913.2551 | -0.041641 | -0.0017649 | 0.012411 | 0.0052954 | 0.97984 | 0.92159
02044500 | Nottoway River near Rawlings, VA | Good | 0.010638 | 0.020768 | 0.026209 | 0.47769 | 0.037669 | 0.10739 | 4914.7708 | -0.03666 | 0.0020749 | 0.018251 | 0.01014 | 0.9955 | 0.98423
02045500 | Nottoway River near Stony Creek, VA | Good | 0.028571 | 0.052669 | 0.057871 | 0.43637 | 0.041432 | 0.073958 | 1081.2292 | -0.017004 | -0.00060238 | 0.011035 | 0.00023989 | 0.96765 | 0.95522
02046000 | Stony Creek near Dinwiddie, VA | Good | 0.045455 | 0.036808 | 0.03516 | 0.45083 | 0.057736 | 0.27672 | 2288.2708 | -0.15685 | -0.010439 | 0.059137 | 0.061224 | 0.96609 | 0.911
02047000 | Nottoway River near Sebrell, VA | Good | 0.021277 | 0.01862 | 0.0059944 | 0.72581 | 0.016352 | 0.027439 | 952.3194 | 2.1731e-05 | -0.0019747 | 0 | 0 | 0.99395 | 0.99041
02047500 | Blackwater River near Dendron, VA | Poor | 0.03012 | 0.015004 | 0.036625 | 0.5124 | 0.10125 | 0.21518 | 1400.3333 | -0.086289 | 0.0077807 | 0.044461 | 0.060828 | 0.95181 | 0.92391
02049500 | Blackwater River near Franklin, VA | Poor | 0.022059 | 0.013186 | 0.0013511 | 0.63925 | 0.050748 | 0.11914 | 933.5556 | -0.067413 | -0.012914 | 0.011919 | 0.011247 | 0.9629 | 0.90613
02051000 | North Meherrin River near Lunenburg, VA | Good | 0.065574 | 0.041448 | 0.075025 | 0.56813 | 0.020736 | 0.11456 | 1906.1944 | -0.030527 | -0.00068864 | 0.014886 | 0.016287 | 0.94009 | 0.91734
02051500 | Meherrin River near Lawrenceville, VA | Good | 0.03876 | 0.058473 | 0.10952 | 0.59557 | 0.02261 | 0.052404 | 2800.6667 | -0.010341 | 0.0050001 | 0.00049562 | 0.0036346 | 0.9931 | 0.9888
02052000 | Meherrin River at Emporia, VA | Fair | 0.034091 | 0.015185 | 0.021691 | 0.57999 | 0.051478 | 0.088632 | 1912.5764 | -0.024385 | 0.001608 | 0.0063091 | 0.0083371 | 0.97717 | 0.94719
02053800 | South Fork Roanoke River near Shawsville, VA | Good | 0.029586 | 0.02869 | 0.09395 | 0.53348 | 0.09167 | 0.10058 | 1200.2857 | -0.020759 | 0.01271 | 0.013128 | 0.0089509 | 0.87827 | 0.90207
02054500 | Roanoke River at Lafayette, VA | Good | 0.044944 | 0.014674 | 0.053274 | 0.52381 | 0.045275 | 0.050462 | 2457.4792 | -0.012692 | -0.0011872 | 0 | 0 | 0.92209 | 0.89657
02054530 | Roanoke River at Glenvar, VA | Good | 0.0375 | 0.022248 | 0.061389 | 0.63807 | 0.023479 | 0.030508 | 3982.7083 | -0.003504 | 0.0037342 | 0 | 0 | 0.99798 | 0.99761
02055000 | Roanoke River at Roanoke, VA | Good | 0.058252 | 0.010535 | 0.029846 | 0.62963 | 0.015758 | 0.030412 | 2375.6664 | 7.9327e-05 | -0.0005567 | 0 | 0 | 0.97338 | 0.97866
02055100 | Tinker Creek near Daleville, VA | Good | 0.051852 | 0.022445 | 0.025486 | 0.35971 | 0.076475 | 0.10787 | 3653.0205 | -0.071199 | 0.013262 | 0.00016218 | 0.026273 | 0.92407 | 0.84963
02056000 | Roanoke River at Niagara, VA | Good | 0.022472 | 0.0045524 | 0.0017546 | 0.81896 | 0.0067542 | 0.016802 | 3835.5205 | 0.0017677 | -0.0018364 | 0 | 0 | 0.98579 | 0.98679
02056650 | Back Creek near Dundee, VA | Good | 0.045455 | 0.030123 | 0.09051 | 0.60792 | 0.031102 | 0.11805 | 1705.0137 | -0.037341 | 0.0023238 | 0.014036 | 0.015877 | 0.9881 | 0.97176
02056900 | Blackwater River near Rocky Mount, VA | Good | 0.024096 | 0.03114 | 0.092954 | 0.5914 | 0.023632 | 0.042845 | 3417.3229 | -0.011039 | 0.0040551 | 0 | 0 | 0.99161 | 0.97923
02058400 | Pigg River near Sandy Level, VA | Fair | 0.026316 | 0.025527 | 0.074189 | 0.51231 | 0.036532 | 0.041811 | 2100.5 | -0.0047917 | 0.0023793 | 0 | 0 | 0.9939 | 0.98575
02059485 | Goose Creek at Rt 747 near Bunker Hill, VA | Good | 0.021277 | 0.069693 | 0.096492 | 0.62699 | 0.041302 | 0.07369 | 639.7604 | -0.036978 | 0.0020828 | 0 | 0 | 0.98621 | 0.97906
02059500 | Goose Creek near Huddleston, VA | Good | 0.011364 | 0.045833 | 0.11429 | 0.51642 | 0.042727 | 0.062622 | 3288.0208 | 0.0022382 | 0.00069317 | 0.0056285 | 0.0021107 | 0.92649 | 0.94704
02060500 | Roanoke River at Altavista, VA | Good | 0.04375 | 0.0053635 | 0.003859 | 0.67197 | 0.015635 | 0.028536 | 2800.6667 | -0.010276 | 0.0032533 | 0 | 0 | 0.99118 | 0.98919
02061000 | Big Otter River near Bedford, VA | Fair | 0.098039 | 0.049151 | 0.070526 | 0.47159 | 0.03618 | 0.23571 | 829.3333 | 0.012493 | -0.0095538 | 0.021082 | 0 | 0.97196 | 0.91522
02061500 | Big Otter River near Evington, VA | Good | 0.010526 | 0.0466 | 0.094748 | 0.553 | 0.036553 | 0.048727 | 3620.2396 | 0.0048521 | 0.0015789 | 0.00090029 | 0.00090029 | 0.99055 | 0.98395
02062500 | Roanoke (Staunton) River at Brookneal, VA | Good | 0.014925 | 0.055074 | 0.076964 | 0.565 | 0.034592 | 0.080766 | 1917.7578 | 0.0053319 | -0.0026495 | 0.012236 | 0 | 0.9721 | 0.9542
02064000 | Falling River near Naruna, VA | Good | 0.012422 | 0.056792 | 0.10986 | 0.39007 | 0.064201 | 0.068674 | 1680.4 | -0.0054167 | -0.0015407 | 0.0020379 | 0 | 0.99243 | 0.97515
02065500 | Cub Creek at Phenix, VA | Fair | 0.027273 | 0.046898 | 0.088922 | 0.32332 | 0.10505 | 0.12538 | 7247.2917 | -0.03711 | -0.023671 | 0.0063433 | 0.011194 | 0.9761 | 0.94545
02066000 | Roanoke (Staunton) River at Randolph, VA | Good | 0.050725 | 0.0097642 | 0.01763 | 0.67459 | 0.018507 | 0.0314 | 4201 | 0.00075354 | -0.0021846 | 0 | 0 | 0.98745 | 0.9813
02069700 | South Mayo River near Nettleridge, VA | Fair | 0.035714 | 0.046537 | 0.084001 | 0.63038 | 0.020822 | 0.022865 | 4943.0417 | -0.0051309 | 0.0020673 | 0 | 0 | 0.99296 | 0.98597
02070000 | North Mayo River near Spencer, VA | Good | 0.038462 | 0.020772 | 0.072055 | 0.66443 | 0.017082 | 0.02873 | 7240.5833 | 0.0017895 | -0.001241 | 0 | 0 | 0.99603 | 0.99468
02071530 | Smith River at Smith Riv Church near Woolwine, VA | Fair | 0.076923 | 0.023587 | 0.052881 | 0.57417 | 0.043414 | 0.048763 | 1153.592 | -0.0064577 | -0.00063925 | 0.00068517 | 0 | 0.97034 | 0.97116
02072000 | Smith River near Philpott, VA | Good | 0.034483 | 0.0080507 | 0.0069323 | 0.75563 | 0.0053875 | 0.018622 | 2100.5 | -0.002055 | 0.00093781 | 0 | 0 | 0.99652 | 0.99176
02072500 | Smith River at Bassett, VA | Good | 0.014286 | 0.016009 | 0.0080214 | 0.788 | 0.0087141 | 0.021814 | 1400.3333 | 0.0025532 | -0.002202 | 0 | 0 | 0.99 | 0.98573
02073000 | Smith River at Martinsville, VA | Fair | 0.014085 | 0.0028156 | 0 | 0.44125 | 0.051329 | 0.051446 | 3563.8698 | -0.013012 | 0.0068402 | 0 | 0 | 0.99126 | 0.98701
02074500 | Sandy River near Danville, VA | Good | 0.0063291 | 0.045839 | 0.088179 | 0.39787 | 0.046339 | 0.05649 | 4201 | -0.012637 | 0.0032331 | 0 | 0 | 0.98925 | 0.98488
02075045 | Dan River at Stp near Danville, VA | Good | 0.0081967 | 0.023107 | 0.0451 | 0.65069 | 0.022889 | 0.027344 | 1461.2062 | 0.00069935 | -0.0022757 | 0 | 0 | 0.99533 | 0.99165
02075500 | Dan River at Paces, VA | Fair | 0.022727 | 0.0083676 | 0.0061571 | 0.6189 | 0.014606 | 0.016493 | 2876.3611 | -0.00080221 | -0.00099762 | 0 | 0 | 0.98863 | 0.98838
02077000 | Banister River at Halifax, VA | Good | 0.098039 | 0.091522 | 0.080346 | 0.742 | 0.021764 | 0.071723 | 1658 | -0.0029564 | -0.010531 | 0 | 0 | 0.99731 | 0.99351
02077500 | Hyco River near Denniston, VA | Fair | 0 | 0.02338 | 0.043721 | 0.51735 | 0.040288 | 0.074431 | 1167.9104 | -0.039831 | 0.0014958 | 0 | 0.0011353 | 0.98167 | 0.97053
02079640 | Allen Creek near Boydton, VA | Fair | 0.03268 | 0.11739 | 0.092575 | 0.28657 | 0.16079 | 0.37816 | 1392 | -1.0456 | 0.04297 | 0.11015 | 0.13912 | 0.83819 | 0.6796
03164000 | New River near Galax, VA | Good | 0.013986 | 0.049178 | 0.14358 | 0.54367 | 0.024301 | 0.029362 | 2009.2602 | -0.0073227 | 0.0023748 | 0 | 0 | 0.98558 | 0.9847
03165000 | Chestnut Creek at Galax, VA | Excellent | 0.037313 | 0.030118 | 0.10233 | 0.4676 | 0.042097 | 0.041851 | 2800.6667 | -0.0017992 | -0.0014256 | 0 | 0 | 0.39889 | 0.96603
03165500 | New River at Ivanhoe, VA | Good | 0.04065 | 0.025051 | 0.024999 | 0.52801 | 0.023664 | 0.031134 | 1229.5854 | -0.0020467 | -0.00011395 | 0 | 0 | 0.98901 | 0.98821
03167000 | Reed Creek at Grahams Forge, VA | Good | 0 | 0.015541 | 0.038436 | 0.61612 | 0.022684 | 0.028911 | 3894.2812 | -0.0030086 | -0.0030737 | 0 | 0 | 0.99094 | 0.99257
03168000 | New River at Allisonia, VA | Excellent | 0.037313 | 0.014125 | 0.037333 | 0.81047 | 0.0064397 | 0.013177 | 3808.4997 | -0.0025973 | 0.0011836 | 0 | 0 | 0.98891 | 0.9899
03170000 | Little River at Graysontown, VA | Good | 0.0090909 | 0.021075 | 0.081027 | 0.49107 | 0.041186 | 0.041229 | 2009.2602 | -0.0014687 | -0.0023978 | 0 | 0 | 0.97985 | 0.97694
03171000 | New River at Radford, VA | Good | 0.015625 | 0.0027421 | 0.0052567 | 0.6764 | 0.018003 | 0.026922 | 4201 | -0.0047926 | 0.00325 | 0 | 0 | 0.99525 | 0.99317
03173000 | Walker Creek at Bane, VA | Good | 0.03871 | 0.014706 | 0.054848 | 0.66217 | 0.011356 | 0.023755 | 1249.3332 | -0.0019832 | 0.00050963 | 0 | 0 | 0.99707 | 0.99659
03175500 | Wolf Creek near Narrows, VA | Good | 0.020548 | 0.015982 | 0.044352 | 0.50971 | 0.027635 | 0.085872 | 2678.3333 | -0.037554 | 2.3578e-05 | 0.0027752 | 0.0053962 | 0.96481 | 0.94288
03176500 | New River at Glen Lyn, VA | Good | 0.0067114 | 0.0041811 | 0.0035009 | 0.69147 | 0.012843 | 0.024291 | 1873.9998 | -0.0017287 | 0.00072508 | 0 | 0 | 0.94048 | 0.93607
03177710 | Bluestone River at Falls Mills, VA | Good | 0.17829 | 0.013802 | 0.03753 | 0.54737 | 0.039947 | 0.06787 | 958.3667 | -0.0051157 | 0.0046474 | 0.0046481 | 0 | 0.97864 | 0.94405
03207800 | Levisa Fork at Big Rock, VA | Good | 0.019868 | 0.024214 | 0.046082 | 0.60383 | 0.015119 | 0.03434 | 1400.3333 | 0.0012395 | -0.00094352 | 0 | 0 | 0.97273 | 0.96736
03208500 | Russell Fork at Haysi, VA | Good | 0.0066225 | 0.021623 | 0.070592 | 0.59202 | 0.018668 | 0.038159 | 2100.5 | -0.015491 | 0.002174 | 0 | 0 | 0.98502 | 0.97706
03208950 | Cranes Nest River near Clintwood, VA | Fair | 0.069892 | 0.036429 | 0.069379 | 0.52437 | 0.039735 | 0.10817 | 1680.4 | -0.045263 | 0.0044995 | 0.011136 | 0.012813 | 0.85776 | 0.85114
03209000 | Pound River below Flannagan Dam, near Haysi, VA | Good | 0.021429 | 0.0023065 | 0 | 0.61102 | 0.01157 | 0.036045 | 2100.5 | -0.0021772 | -0.0017251 | 0 | 0 | 0.9968 | 0.99402
03471500 | South Fork Holston River at Riverside, near Chilhowie, VA | Good | 0.021127 | 0.0067709 | 0.025445 | 0.57815 | 0.018316 | 0.024946 | 2528.9998 | -0.0051097 | -0.0019072 | 0 | 0 | 0.98374 | 0.98267
03473000 | South Fork Holston River near Damascus, VA | Good | 0.031746 | 0.012897 | 0.043714 | 0.67392 | 0.015028 | 0.02221 | 1434.525 | -0.0048106 | 0.00080289 | 0 | 0 | 0.98859 | 0.98647
03474000 | Middle Fork Holston River at Seven Mile Ford, VA | Excellent | 0.022222 | 0.0050105 | 0.017007 | 0.57378 | 0.021459 | 0.028483 | 8402 | -0.0058325 | 0.003265 | 0 | 0 | 0.996 | 0.99543
03475000 | Middle Fork Holston River near Meadowview, VA | Good | 0.021429 | 0.016121 | 0.0535 | 0.61159 | 0.018447 | 0.026259 | 3970.75 | 0.004086 | -0.00017944 | 0 | 0 | 0.9919 | 0.98818
03478400 | Beaver Creek at Bristol, VA | Good | 0.07362 | 0.0025794 | 0.0084817 | 0.53658 | 0.039791 | 0.056606 | 1607.4082 | -0.0093823 | 0.0069332 | 0.0019465 | 0.0014599 | 0.99768 | 0.98549
03488000 | North Fork Holston River near Saltville, VA | Good | 0 | 0.016589 | 0.058011 | 0.49385 | 0.018548 | 0.035672 | 2800.6667 | -0.024616 | 0.0031321 | 0 | 0 | 0.97725 | 0.97812
03490000 | North Fork Holston River near Gate City, VA | Fair | 0 | 0 | 0 | 0.83268 | 0.0028695 | 0.010107 | 549.0417 | -0.008886 | 0.0028695 | 0 | 0 | 0.99336 | 0.99122
03524000 | Clinch River at Cleveland, VA | Good | 0.013423 | 0.019775 | 0.051097 | 0.66733 | 0.011306 | 0.023194 | 2528.9375 | -0.0037821 | -0.00053196 | 0 | 0 | 0.99092 | 0.98922
03524500 | Guest River at Coeburn, VA | Good | 0 | 0 | 0 | 0.83099 | 0.030665 | 0.018021 | 213.5 | 0.014396 | -0.030665 | 0 | 0 | 0.98611 | 0.96505
03527000 | Clinch River at Speers Ferry, VA | Good | 0.019802 | 0.012782 | 0.016628 | 0.83801 | 0.0075826 | 0.022804 | 730.6753 | -0.010775 | 0.004964 | 0 | 0 | 0.98916 | 0.98736
03529500 | Powell River at Big Stone Gap, VA | Fair | 0.027523 | 0.0057065 | 0.012933 | 0.45756 | 0.036953 | 0.052975 | 1461.3507 | -0.015605 | 0.0055666 | 0 | 0.00069013 | 0.75196 | 0.79254
03531500 | Powell River near Jonesville, VA | Good | 0.0072464 | 0.0065429 | 0.020322 | 0.63091 | 0.010753 | 0.032436 | 2313.6803 | 0.00031666 | 0.00088571 | 0 | 0 | 0.9904 | 0.98797