## Title
Nutrient Loads in the Lost River and Klamath River Basins, South-Central Oregon and Northern California, March 2012–March 2015
USGS Scientific Investigations Report 2018-xxxx
Table 5. Quality-control data for U.S. Geological Survey water-quality samples, Klamath River and Lost River drainages, south-central Oregon and northern California.
(a) blank samples, March 2012–March 2015; (b), split samples, March 2012–March 2015; (c), replicate samples, March 2013–March 2014; (d) spikes, March 2013–March 2014
(b) Split Samples
Notes:
Relative percent differences were calculated as the absolute difference divided by their arithmetic mean, expressed as a percent
Abbreviations:
DOC | Dissolved organic carbon
TPC | Total particulate carbon
TPN | Total particulate nitrogen
< | The analyte was not detected. The final result is shown as less than the reporting level (a conservative approach), but it actually means that it is below the detection limit.
mg | milligrams
mL | milliliters
mg/L | milligram per liter
µg/L | microgram per liter
N | nitrogen
P | phosphorus
C | carbon
% | percent
- | not applicable
ND | no data

## Summary
Routine split samples
| Number of samples |  |  | Difference between split samples
Analyte | Splits | Total | Split samples as percentage of total | Mean (mg/L) | Mean relative percent difference
Total Phosphorus |  |  | #DIV/0! | 0.00992 | 4.9332
Total Nitrogen |  |  | #DIV/0! | 0.0852 | 5.4523
Orthophosphate |  |  | #DIV/0! | 0.00456 | 3.3181
Ammonia |  |  | #DIV/0! | 0.005244 | 9.462
Nitrite plus Nitrate |  |  | #DIV/0! | 0.0038 | 0.91999
Total Particulate Carbon |  |  |  | 0.16267 | 9.4749
Total Particulate Nitrogen |  |  |  | 0.031 | 10.4615
Chlorophyll a |  |  | #DIV/0! | 0.002452 | 11.0567
BOD5 |  |  |  | 0.50707 | 11.1768
CBOD5 |  |  |  | 0.64561 | 15.1054
Dissolved Organic Carbon |  |  |  | 0.165 | 2.9107

## Total, Dissolved Nutrients
Date | Time | Site | Station ID | Sample Type | Total phosphorus (mg/L as P) | Dissolved orthophosphate (mg/L as P) |  | Dissolved ammonia (mg/L as N) |  | Dissolved nitrite + nitrate (mg/L as N) | Total nitrogen (mg/L as N) |  | ENTER "1" FOR EACH TP AND TN SPLIT | ENTER "1" FOR EACH DISS. NUTRIENTS SPLIT |  | Total phosphorus DIFFERENCE | Dissolved orthophosphate DIFFERENCE | Dissolved ammonia DIFFERENCE | Dissolved nitrite + nitrate DIFFERENCE | Total nitrogen DIFFERENCE |  | Total phosphorus RPD | Dissolved orthophosphate RPD | Dissolved ammonia RPD | Dissolved nitrite + nitrate RPD | Total nitrogen RPD
2013-03-11 | 9:30 | LREW | 11488495 | Primary | 0.776 | - |  | - |  | - | 3.09 |  |  |  |  | 0 | - | - | - | 0.03 |  | 0 |  |  |  | 0.96618
2013-03-11 | 9:31 | LREW | 11488495 | Split | 0.776 | - |  | - |  | - | 3.12 |  | 1 |  |  |  | - | - | -
2013-03-11 | 9:30 | LREW | 11488495 | Primary | - | 0.338 |  | 0.0201 | < | 0.01 | - |  |  |  |  | - | 0.003 | 0.0053 | 0 | - |  |  | 0.89153 | 30.3725 | 0
2013-03-11 | 9:31 | LREW | 11488495 | Split | - | 0.335 |  | 0.0148 | < | 0.01 | - |  |  | 1
2013-05-07 | 9:10 | LREW | 11488495 | Primary | 0.268 | - |  | - |  | - | 1.01 |  |  |  |  | 0.002 | - | - | - | 0.03 |  | 0.74349 |  |  |  | 2.9268
2013-05-07 | 9:11 | LREW | 11488495 | Split | 0.27 | - |  | - |  | - | 1.04 |  | 1 |  |  | - | - | - | -
2013-05-07 | 9:10 | LREW | 11488495 | Primary | - | 0.202 |  | 0.096 |  | 0.161 | - |  |  |  |  | - | 0.013 | 0.009 | 0.003 | - |  |  | 6.235 | 8.9552 | 1.8462
2013-05-07 | 9:11 | LREW | 11488495 | Split | - | 0.215 |  | 0.105 |  | 0.164 | - |  |  | 1
2013-06-04 | 8:50 | LREW | 11488495 | Primary | 0.279 | - |  | - |  | - | 0.969 |  |  |  |  | 0.012 | - | - | - | 0.231 |  | 4.3956 |  |  |  | 21.3001
2013-06-04 | 8:51 | LREW | 11488495 | Split | 0.267 | - |  | - |  | - | 1.2 |  | 1 |  |  |  | - | - | -
2013-06-04 | 8:50 | LREW | 11488495 | Primary | - | 0.213 |  | 0.0458 | < | 0.1 | - |  |  |  |  | - | 0.007 | 0.0008 | 0 | - |  |  | 3.2333 | 1.7621 | 0
2013-06-04 | 8:51 | LREW | 11488495 | Split | - | 0.22 |  | 0.045 | < | 0.1 | - |  |  | 1
2013-07-02 | 10:33 | LREW | 11488495 | Primary | 0.521 | - |  | - |  | - | 1.9 |  |  |  |  | 0.005 | - | - | - | 0.06 |  | 0.96432 |  |  |  | 3.2086
2013-07-02 | 10:34 | LREW | 11488495 | Split | 0.516 | - |  | - |  | - | 1.84 |  | 1 |  |  |  | - | - | -
2013-07-02 | 10:33 | LREW | 11488495 | Primary | - | 0.456 |  | 0.683 |  | 0.014 | - |  |  |  |  | - | 0 | 0.004 | 0 | - |  |  | 0 | 0.58737 | 0
2013-07-02 | 10:34 | LREW | 11488495 | Split | - | 0.456 |  | 0.679 |  | 0.014 | - |  |  | 1
2013-07-30 | 9:07 | LREW | 11488495 | Primary | 0.28 | - |  | - |  | - | 1.66 |  |  |  |  | 0.001 | - | - | - | 0.03 |  | 0.35778 |  |  |  | 1.791
2013-07-30 | 9:08 | LREW | 11488495 | Split | 0.279 | - |  | - |  | - | 1.69 |  | 1 |  |  |  | - | - | -
2013-07-30 | 9:07 | LREW | 11488495 | Primary | - | 0.214 |  | 0.122 |  | 0.31 | - |  |  |  |  | - | 0 | 0.001 | 0.001 | - |  |  | 0 | 0.82305 | 0.3231
2013-07-30 | 9:08 | LREW | 11488495 | Split | - | 0.214 |  | 0.121 |  | 0.309 | - |  |  | 1
2013-08-27 | 9:10 | LREW | 11488495 | Primary | 0.209 | - |  | - |  | - | 0.875 |  |  |  |  | 0.001 | - | - | - | 0.029 |  | 0.47733 |  |  |  | 3.2603
2013-08-27 | 9:11 | LREW | 11488495 | Split | 0.21 | - |  | - |  | - | 0.904 |  | 1 |  |  |  | - | - | -
2013-08-27 | 9:10 | LREW | 11488495 | Primary | - | 0.173 |  | 0.0319 |  | 0.157 | [5 empty] | - | 0.001 | 0.0013 | 0 | - |  |  | 0.57971 | 3.9939 | 0
2013-08-27 | 9:11 | LREW | 11488495 | Split | - | 0.172 |  | 0.0332 |  | 0.157 |  |  |  | 1
2013-09-24 | 9:30 | LREW | 11488495 | Primary | 0.335 | - |  | - |  | - | 2.16 |  |  |  |  | 0.017 | - | - | - | 0.2 |  | 5.2067 |  |  |  | 9.7087
2013-09-24 | 9:31 | LREW | 11488495 | Split | 0.318 | - |  | - |  | - | 1.96 |  | 1 |  |  |  | - | - | -
2013-09-24 | 9:30 | LREW | 11488495 | Primary | - | 0.242 |  | 0.395 |  | 0.286 | - |  |  |  |  | - | 0.005 | 0.013 | 0.001 | - |  |  | 2.0877 | 3.3462 | 0.35026
2013-09-24 | 9:31 | LREW | 11488495 | Split | - | 0.237 |  | 0.382 |  | 0.285 | - |  |  | 1
2013-10-22 | 9:53 | LREW | 11488495 | Primary | 0.207 | - |  | - |  | - | 1.54 |  |  |  |  | 0.008 | - | - | - | 0.07 |  | 3.9409 |  |  |  | 4.6512
2013-10-22 | 9:54 | LREW | 11488495 | Split | 0.199 | - |  | - |  | - | 1.47 |  | 1 |  |  |  | - | - | -
2013-10-22 | 9:53 | LREW | 11488495 | Primary | - | 0.163 |  | 0.287 |  | 0.315 | - |  |  |  |  | - | 0.001 | 0.004 | 0.003 | - |  |  | 0.61162 | 1.3841 | 0.94787
2013-10-22 | 9:54 | LREW | 11488495 | Split | - | 0.164 |  | 0.291 |  | 0.318 | - |  |  | 1
2013-11-19 | 9:03 | LREW | 11488495 | Primary | 0.291 | - |  | - |  | - | 1.54 |  |  |  |  | 0.013 | - | - | - | 0.03 |  | 4.5694 |  |  |  | 1.9672
2013-11-19 | 9:04 | LREW | 11488495 | Split | 0.278 | - |  | - |  | - | 1.51 |  | 1 |  |  |  | - | - | -
2013-11-19 | 9:03 | LREW | 11488495 | Primary | - | 0.217 |  | 0.126 |  | 0.677 | - |  |  |  |  | - | 0.001 | 0.009 | 0.01 | - |  |  | 0.46189 | 6.8966 | 1.4663
2013-11-19 | 9:04 | LREW | 11488495 | Split | - | 0.216 |  | 0.135 |  | 0.687 | - |  |  | 1
2014-01-06 | 13:45 | LRBH | 421010121271200 | Primary | 0.159 | - |  | - |  | - | 0.999 |  |  |  |  | 0.001 | - | - | - | 0.02 |  | 0.62696 |  |  |  | 2.0222
2014-01-06 | 13:46 | LRBH | 421010121271200 | Split | 0.16 | - |  | - |  | - | 0.979 |  | 1 |  |  |  | - | - | -
2014-01-06 | 13:45 | LRBH | 421010121271200 | Primary | - | 0.0619 |  | 0.0416 |  | 0.339 | - |  |  |  |  | - | 0.0003 | 0.0189 | 0 | - |  |  | 0.48348 | 37.0225 | 0
2014-01-06 | 13:46 | LRBH | 421010121271200 | Split | - | 0.0622 |  | 0.0605 |  | 0.339 | - |  |  | 1
2014-01-28 | 11:37 | ADC97 | 11509200 | Primary | 0.09 | - |  | - |  | - | 1.09 |  |  |  |  | 0.001 | - | - | - | 0.01 |  | 1.105 |  |  |  | 0.92166
2014-01-28 | 11:38 | ADC97 | 11509200 | Split | 0.091 | - |  | - |  | - | 1.08 |  | 1 |  |  |  | - | - | -
2014-01-28 | 11:37 | ADC97 | 11509200 | Primary | - | 0.0238 |  | 0.0173 |  | 0.373 | [5 empty] | - | 0.0011 | 0.0046 | 0.001 | - |  |  | 4.5175 | 23.4694 | 0.26774
2014-01-28 | 11:38 | ADC97 | 11509200 | Split | - | 0.0249 |  | 0.0219 |  | 0.374 |  |  |  | 1
2014-02-25 | 11:38 | ADC97 | 11509200 | Primary | 0.211 | - |  | - |  | - | 1.5 |  |  |  |  | 0.051 | - | - | - | 0.32 |  | 27.4933 |  |  |  | 23.8806
2014-02-25 | 11:39 | ADC97 | 11509200 | Split | 0.16 | - |  | - |  | - | 1.18 |  | 1 |  |  |  | - | - | -
2014-02-25 | 11:38 | ADC97 | 11509200 | Primary | - | 0.0488 |  | 0.0168 | < | 0.01 | - |  |  |  |  | - | 0.0002 | 0.0013 | 0 | - |  |  | 0.41068 | 8.0495 | 0
2014-02-25 | 11:39 | ADC97 | 11509200 | Split | - | 0.0486 |  | 0.0155 | < | 0.01 | - |  |  | 1
2014-03-25 | 11:24 | ADC97 | 11509200 | Primary | 0.229 | - |  | - |  | - | 1.73 |  |  |  |  | 0.002 | - | - | - | 0.01 |  | 0.87719 |  |  |  | 0.57637
2014-03-25 | 11:25 | ADC97 | 11509200 | Split | 0.227 | - |  | - |  | - | 1.74 |  | 1 |  |  |  | - | - | -
2014-03-25 | 11:24 | ADC97 | 11509200 | Primary | - | 0.0969 |  | 0.15 |  | 0.087 | - |  |  |  |  | - | 0.0005 | 0.002 | 0.003 | - |  |  | 0.51467 | 1.3245 | 3.3898
2014-03-25 | 11:25 | ADC97 | 11509200 | Split | - | 0.0974 |  | 0.152 |  | 0.09 | - |  |  | 1
2014-04-22 | 12:01 | ADC97 | 11509200 | Primary | 0.151 | [5 empty] | 1.16 |  |  |  |  | 0.009 | - | - | - | 0.04 |  | 5.7878 |  |  |  | 3.3898
2014-04-22 | 12:02 | ADC97 | 11509200 | Split | 0.16 | [5 empty] | 1.2 |  | 1 |  |  |  | - | - | -
2014-04-22 | 12:01 | ADC97 | 11509200 | Primary |  | 0.0814 |  | 0.0932 |  | 0.123 | [5 empty] | - | 0.0005 | 0.004 | 0.001 | - |  |  | 0.61237 | 4.2017 | 0.80972
2014-04-22 | 12:02 | ADC97 | 11509200 | Split |  | 0.0819 |  | 0.0972 |  | 0.124 |  |  |  | 1
2014-05-20 | 11:54 | ADC97 | 11509200 | Primary | 0.197 | [5 empty] | 0.901 |  |  |  |  | 0.002 | - | - | - | 0.008 |  | 1.0101 |  |  |  | 0.88398
2014-05-20 | 11:55 | ADC97 | 11509200 | Split | 0.199 | [5 empty] | 0.909 |  | 1 |  |  |  | - | - | -
2014-05-20 | 11:54 | ADC97 | 11509200 | Primary |  | 0.191 | < | 0.01 | < | 0.01 | [5 empty] | - | 0.065 | 0 | 0 | - |  |  | 41.0095 | 0 | 0
2014-05-20 | 11:55 | ADC97 | 11509200 | Split |  | 0.126 | < | 0.01 | < | 0.01 |  |  |  | 1
2014-06-17 | 13:01 | ADC97 | 11509200 | Primary | 0.259 | [5 empty] | 2.49 |  |  |  |  | 0.054 | - | - | - | 0.68 |  | 23.2759 |  |  |  | 31.6279
2014-06-17 | 13:02 | ADC97 | 11509200 | Split | 0.205 | [5 empty] | 1.81 |  | 1 |  |  |  | - | - | -
2014-06-17 | 13:01 | ADC97 | 11509200 | Primary |  | 0.0817 |  | 0.0244 | < | 0.01 | [5 empty] | - | 0.0018 | 0.003 | 0 | - |  |  | 2.1792 | 13.1004 | 0
2014-06-17 | 13:02 | ADC97 | 11509200 | Split |  | 0.0835 |  | 0.0214 |  | 0.01 |  |  |  | 1
2014-08-12 | 13:46 | LRDC | 11486990 | Primary | 0.375 | [5 empty] | 3.15 |  |  |  |  | 0.005 | - | - | - | 0 |  | 1.3245 |  |  |  | 0
2014-08-12 | 13:47 | LRDC | 11486990 | Split | 0.38 | [5 empty] | 3.15 |  | 1 |  |  |  | - | - | -
2014-08-12 | 13:46 | LRDC | 11486990 | Primary |  | 0.122 |  | 0.817 | < | 0.01 | [5 empty] | - | 0 | 0.018 | 0 | - |  |  | 0 | 2.2277 | 0
2014-08-12 | 13:47 | LRDC | 11486990 | Split |  | 0.122 |  | 0.799 | < | 0.01 |  |  |  | 1
2014-09-09 | 13:43 | LRDC | 11486990 | Primary | 0.108 | [5 empty] | 1.19 |  |  |  |  | 0.002 | - | - | - | 0 |  | 1.8349 |  |  |  | 0
2014-09-09 | 13:44 | LRDC | 11486990 | Split | 0.11 | [5 empty] | 1.19 |  | 1 |  |  |  | - | - | -
2014-09-09 | 13:43 | LRDC | 11486990 | Primary |  | 0.0304 |  | 0.0338 |  | 0.061 | [5 empty] | - | 0.0017 | 0.0044 | 0 | - |  |  | 5.44 | 12.2222 | 0
2014-09-09 | 13:44 | LRDC | 11486990 | Split |  | 0.0321 |  | 0.0382 |  | 0.061 |  |  |  | 1
2014-10-08 | 13:45 | LRDC | 11486990 | Primary | 0.124 | [5 empty] | 1.19 |  |  |  |  | 0.013 | - | - | - | 0.07 |  | 11.0638 |  |  |  | 6.0606
2014-10-08 | 13:46 | LRDC | 11486990 | Split | 0.111 | [5 empty] | 1.12 |  | 1 |  |  |  | - | - | -
2014-10-08 | 13:45 | LRDC | 11486990 | Primary |  | 0.0365 |  | 0.0289 |  | 0.017 | [5 empty] | - | 0.0015 | 0.0066 | 0.001 | - |  |  | 4.1958 | 25.7812 | 5.7143
2014-10-08 | 13:46 | LRDC | 11486990 | Split |  | 0.035 |  | 0.0223 |  | 0.018 |  |  |  | 1
2014-11-03 | 10:41 | LRDC | 11486990 | Primary | 0.176 | [5 empty] | 0.9 |  |  |  |  | 0.003 | - | - | - | 0.019 |  | 1.7192 |  |  |  | 2.1336
2014-11-03 | 10:42 | LRDC | 11486990 | Split | 0.173 | [5 empty] | 0.881 |  | 1 |  |  |  | - | - | -
2014-11-03 | 10:41 | LRDC | 11486990 | Primary |  | 0.121 |  | 0.0201 | < | 0.01 | [5 empty] | - | 0.002 | 0.0068 | 0 | - |  |  | 1.6393 | 40.7186 | 0
2014-11-03 | 10:42 | LRDC | 11486990 | Split |  | 0.123 |  | 0.0133 | < | 0.01 |  |  |  | 1
2014-12-01 | 10:43 | LRDC | 11486990 | Primary | 0.124 | [5 empty] | 1.5 |  |  |  |  | 0.002 | - | - | - | 0.02 |  | 1.626 |  |  |  | 1.3423
2014-12-01 | 10:44 | LRDC | 11486990 | Split | 0.122 | [5 empty] | 1.48 |  | 1 |  |  |  | - | - | -
2014-12-01 | 10:43 | LRDC | 11486990 | Primary |  | 0.0654 |  | 0.16 |  | 0.415 | [5 empty] | - | 0.0001 | 0.001 | 0 | - |  |  | 0.15302 | 0.62696 | 0
2014-12-01 | 10:44 | LRDC | 11486990 | Split |  | 0.0653 |  | 0.159 |  | 0.415 |  |  |  | 1
2014-12-30 | 13:52 | LRDC | 11486990 | Primary | 0.194 | [5 empty] | 1.88 |  |  |  |  | 0.017 | - | - | - | 0.01 |  | 8.3951 |  |  |  | 0.53333
2014-12-30 | 13:53 | LRDC | 11486990 | Split | 0.211 | [5 empty] | 1.87 |  | 1 |  |  |  | - | - | -
2014-12-30 | 13:52 | LRDC | 11486990 | Primary |  | 0.18 |  | 0.174 |  | 0.925 | [5 empty] | - | 0.005 | 0.008 | 0.058 | - |  |  | 2.8169 | 4.7059 | 6.4732
2014-12-30 | 13:53 | LRDC | 11486990 | Split |  | 0.175 |  | 0.166 |  | 0.867 |  |  |  | 1
2015-01-27 | 13:51 | LRDC | 11486990 | Primary | 0.171 | [5 empty] | 1.76 |  |  |  |  | 0.005 | - | - | - | 0.04 |  | 2.8818 |  |  |  | 2.2472
2015-01-27 | 13:52 | LRDC | 11486990 | Split | 0.176 | [5 empty] | 1.8 |  | 1 |  |  |  | - | - | -
2015-01-27 | 13:51 | LRDC | 11486990 | Primary |  | 0.135 |  | 0.128 |  | 1.05 | [5 empty] | - | 0.001 | 0.005 | 0.01 | - |  |  | 0.74349 | 3.9841 | 0.94787
2015-01-27 | 13:52 | LRDC | 11486990 | Split |  | 0.134 |  | 0.123 |  | 1.06 |  |  |  | 1
2015-02-24 | 15:59 | LRDC | 11486990 | Primary | 0.202 | [5 empty] | 1.96 |  |  |  |  | 0.016 | - | - | - | 0.15 |  | 8.2474 |  |  |  | 7.9576
2015-02-24 | 16:00 | LRDC | 11486990 | Split | 0.186 | [5 empty] | 1.81 |  | 1 |  |  |  | - | - | -
2015-02-24 | 15:59 | LRDC | 11486990 | Primary |  | 0.071 |  | 0.0101 |  | 0.646 | [5 empty] | - | 0.0019 | 0.0001 | 0.003 | - |  |  | 2.7123 | 0.99502 | 0.46332
2015-02-24 | 16:00 | LRDC | 11486990 | Split |  | 0.0691 | < | 0.01 |  | 0.649 |  |  |  | 1
2015-03-24 | 13:11 | LRDC | 11486990 | Primary | 0.108 | [5 empty] | 0.768 |  |  |  |  | 0.006 | - | - | - | 0.023 |  | 5.4054 |  |  |  | 2.9506
2015-03-24 | 13:12 | LRDC | 11486990 | Split | 0.114 | [5 empty] | 0.791 |  | 1 |  |  |  | - | - | -
2015-03-24 | 13:11 | LRDC | 11486990 | Primary |  | 0.0279 | < | 0.01 | < | 0.01 | [5 empty] | - | 0.0004 | 0 | 0 | - |  |  | 1.4235 | 0 | 0
2015-03-24 | 13:12 | LRDC | 11486990 | Split |  | 0.0283 | < | 0.01 | < | 0.01 |  |  |  | 1
[12 empty] | sum | 25 | 25 | mean | 0.00992 | 0.00456 | 0.005244 | 0.0038 | 0.0852 | mean | 4.9332 | 3.3181 | 9.462 | 0.91999 | 5.4523

## Chlorophyll
Date | Time | Site | Station ID | Sample Type |  | Chlorophyll a (µg/L) |  | ENTER "1" FOR EACH PHAEO SPLIT | ENTER "1" FOR EACH CHLA SPLIT |  | Chlorophyll a DIFFERENCE |  | Chlorophyll a RPD
2013-03-11 | 8:30 | LREW | 11488495 | Primary |  | 128 |  |  |  |  | 23 |  | 16.4875
2013-03-11 | 8:31 | LREW | 11488495 | Split |  | 151 |  | 1 | 1
2013-04-23 | 9:15 | N. Canal | 11509105 | Primary |  | 9.3 |  |  |  |  | 0 |  | 0
2013-04-23 | 9:16 | N. Canal | 11509105 | Split |  | 9.3 |  | 1 | 1
2013-05-07 | 9:10 | LREW | 11488495 | Primary |  | 8.7 |  |  |  |  | 0.6 |  | 6.6667
2013-05-07 | 9:11 | LREW | 11488495 | Split |  | 9.3 |  | 1 | 1
2013-06-04 | 8:50 | LREW | 11488495 | Primary |  | 14 |  |  |  |  | 9.5 |  | 102.7027
2013-06-04 | 8:51 | LREW | 11488495 | Split | < | 4.5 |  | 1 | 1
2013-07-02 | 10:33 | LREW | 11488495 | Primary |  | 10.4 |  |  |  |  | 2.6 |  | 22.2222
2013-07-02 | 10:34 | LREW | 11488495 | Split |  | 13 |  | 1 | 1
2013-07-30 | 9:07 | LREW | 11488495 | Primary |  | 27.5 |  |  |  |  | 1.1 |  | 4.0816
2013-07-30 | 9:08 | LREW | 11488495 | Split |  | 26.4 |  | 1 | 1
2013-08-27 | 9:10 | LREW | 11488495 | Primary | < | 4.5 |  |  |  |  | 0 |  | 0
2013-08-27 | 9:11 | LREW | 11488495 | Split | < | 4.5 |  | 1 | 1
2013-09-24 | 9:30 | LREW | 11488495 | Primary | < | 4.6 |  |  |  |  | 0 |  | 0
2013-09-24 | 9:31 | LREW | 11488495 | Split | < | 4.6 |  | 1 | 1
2013-10-22 | 9:53 | LREW | 11488495 | Primary |  | 9.3 |  |  |  |  | 0.8 |  | 8.2474
2013-10-22 | 9:54 | LREW | 11488495 | Split |  | 10.1 |  | 1 | 1
2013-11-19 | 9:03 | LREW | 11488495 | Primary |  | 18.3 |  |  |  |  | 1.6 |  | 9.1429
2013-11-19 | 9:04 | LREW | 11488495 | Split |  | 16.7 |  | 1 | 1
2014-01-06 | 13:45 | LRBH | 421010121271200 | Primary |  | 10.7 |  |  |  |  | 0.1 |  | 0.93023
2014-01-06 | 13:46 | LRBH | 421010121271200 | Split |  | 10.8 |  | 1 | 1
2014-01-28 | 11:37 | ADC97 | 11509200 | Primary |  | 11.1 |  |  |  |  | 0 |  | 0
2014-01-28 | 11:38 | ADC97 | 11509200 | Split |  | 11.1 |  | 1 | 1
2014-02-25 | 11:38 | ADC97 | 11509200 | Primary |  | 42.7 |  |  |  |  | 2.1 |  | 5.042
2014-02-25 | 11:39 | ADC97 | 11509200 | Split |  | 40.6 |  | 1 | 1
2014-03-25 | 11:24 | ADC97 | 11509200 | Primary |  | 22 |  |  |  |  | 0.7 |  | 3.132
2014-03-25 | 11:25 | ADC97 | 11509200 | Split |  | 22.7 |  | 1 | 1
2014-04-22 | 12:01 | ADC97 | 11509200 | Primary |  | 18.8 |  |  |  |  | 2.1 |  | 11.831
2014-04-22 | 12:02 | ADC97 | 11509200 | Split |  | 16.7 |  | 1 | 1
2014-05-20 | 11:54 | ADC97 | 11509200 | Primary |  | 14.7 |  |  |  |  | 2.9 |  | 17.9567
2014-05-20 | 11:55 | ADC97 | 11509200 | Split |  | 17.6 |  | 1 | 1
2014-08-12 | 13:46 | LRDC | 11486990 | Primary |  | 120 |  |  |  |  | 2 |  | 1.6529
2014-08-12 | 13:47 | LRDC | 11486990 | Split |  | 122 |  | 1 | 1
2014-09-09 | 13:43 | LRDC | 11486990 | Primary |  | 30.6 |  |  |  |  | 0.1 |  | 0.32733
2014-09-09 | 13:44 | LRDC | 11486990 | Split |  | 30.5 |  | 1 | 1
2014-10-08 | 13:45 | LRDC | 11486990 | Primary |  | 25.3 |  |  |  |  | 2.9 |  | 12.1593
2014-10-08 | 13:46 | LRDC | 11486990 | Split |  | 22.4 |  | 1 | 1
2014-11-03 | 10:41 | LRDC | 11486990 | Primary |  | 17.7 |  |  |  |  | 3.8 |  | 24.0506
2014-11-03 | 10:42 | LRDC | 11486990 | Split |  | 13.9 |  | 1 | 1
2014-12-01 | 10:43 | LRDC | 11486990 | Primary |  | 14.3 |  |  |  |  | 0.4 |  | 2.7586
2014-12-01 | 10:44 | LRDC | 11486990 | Split |  | 14.7 |  | 1 | 1
2014-12-30 | 13:52 | LRDC | 11486990 | Primary | < | 4.3 |  |  |  |  | 0 |  | 0
2014-12-30 | 13:53 | LRDC | 11486990 | Split | < | 4.3 |  | 1 | 1
2015-01-27 | 13:51 | LRDC | 11486990 | Primary |  | 13.7 |  |  |  |  | 2.5 |  | 20.0803
2015-01-27 | 13:52 | LRDC | 11486990 | Split |  | 11.2 |  | 1 | 1
2015-02-24 | 15:59 | LRDC | 11486990 | Primary |  | 98.5 |  |  |  |  | 1.5 |  | 1.5113
2015-02-24 | 16:00 | LRDC | 11486990 | Split |  | 100 |  | 1 | 1
2015-03-24 | 13:11 | LRDC | 11486990 | Primary |  | 18.9 |  |  |  |  | 1 |  | 5.4348
2015-03-24 | 13:12 | LRDC | 11486990 | Split |  | 17.9 |  | 1 | 1
[7 empty] | sum | 25 | 25 | mean | 2.452 | mean | 11.0567

## BOD
Date | Time | Site | Station ID | Sample Type | BOD-5 (mg/L) | CBOD-5 (mg/L) |  | ENTER "1" FOR EACH BOD-5 SPLIT | ENTER "1" FOR EACH CBOD-5 SPLIT |  | BOD-5 DIFFERENCE | CBOD-5 DIFFERENCE |  | BOD-5 RPD | CBOD-5 RPD
2013-04-09 10:18 | 10:18 | PPD | 11488510 | Primary | 40 | 21.9 |  |  |  |  | 0 | 0.6 |  | 0 | 2.7778
2013-04-09 10:19 | 10:19 | PPD | 11488510 | Split | 40 | 21.3 |  | 1 | 1
2013-04-23 09:15 | 9:15 | NC97 | 11509105 | Primary | 3.2 | 2.4 |  |  |  |  | 0.9 | 0.5 |  | 32.7273 | 18.8679
2013-04-23 09:16 | 9:16 | NC97 | 11509105 | Split | 2.3 | 2.9 |  | 1 | 1
2013-05-07 | 9:10 | LREW | 11488495 | Primary | 4 | 3.3 |  |  |  |  | 0.6 | 0.3 |  | 13.9535 | 9.5238
2013-05-07 | 9:11 | LREW | 11488495 | Split | 4.6 | 3 |  | 1 | 1
2013-06-04 08:50 | 8:50 | LREW | 11488495 | Primary | 4.4 | 3.7 |  |  |  |  | 0 | 0.2 |  | 0 | 5.5556
2013-06-04 08:51 | 8:51 | LREW | 11488495 | Split | 4.4 | 3.5 |  | 1 | 1
2013-07-02 10:33 | 10:33 | LREW | 11488495 | Primary | 4.5 | 3 |  |  |  |  | 0.3 | 0 |  | 6.4516 | 0
2013-07-02 10:34 | 10:34 | LREW | 11488495 | Split | 4.8 | 3 |  | 1 | 1
2013-07-03 08:04 | 8:04 | Blw Harpold | 421010121271200 | Primary | 2.6 | 1.8 |  |  |  |  | 0.1 | 0.3 |  | 3.7736 | 15.3846
2013-07-03 08:05 | 8:05 | Blw Harpold | 421010121271200 | Split | 2.7 | 2.1 |  | 1 | 1
2013-07-03 09:54 | 9:54 | Blw Malone | 420025121132800 | Primary | 3 | 2.1 |  |  |  |  | 0.1 | 0.3 |  | 3.2787 | 13.3333
2013-07-03 09:55 | 9:55 | Blw Malone | 420025121132800 | Split | 3.1 | 2.4 |  | 1 | 1
2013-07-30 09:07 | 9:07 | LREW | 11488495 | Primary | 4.86 | 6.94 |  |  |  |  | 0.05 | 0.1 |  | 1.0235 | 1.4514
2013-07-30 09:08 | 9:08 | LREW | 11488495 | Split | 4.91 | 6.84 |  | 1 | 1
2013-08-13 10:48 | 10:48 | PPD | 11488510 | Primary | 14.3 | 10.9 |  |  |  |  | 5.5 | 9.5 |  | 32.2581 | 60.7029
2013-08-13 10:49 | 10:49 | PPD | 11488510 | Split | 19.8 | 20.4 |  | 1 | 1
2013-08-13 12:45 | 12:45 | ADC97 | 11509200 | Primary | 10.6 | 7.77 |  |  |  |  | 3.58 | 1.25 |  | 40.6356 | 17.4948
2013-08-13 12:46 | 12:46 | ADC97 | 11509200 | Split | 7.02 | 6.52 |  | 1 | 1
2013-08-14 10:42 | 10:42 | Blw Malone | 420025121132800 | Primary | 2.07 | 2.19 |  |  |  |  | 0.69 | 2.04 |  | 28.5714 | 63.5514
2013-08-14 10:43 | 10:43 | Blw Malone | 420025121132800 | Split | 2.76 | 4.23 |  | 1 | 1
2013-08-14 11:45 | 11:45 | Blw Harpold | 421010121271200 | Primary | 2.66 | 2.55 |  |  |  |  | 0 | 2.6 |  | 0 | 67.5325
2013-08-14 11:46 | 11:46 | Blw Harpold | 421010121271200 | Split | 2.66 | 5.15 |  | 1 | 1
2013-08-27 09:10 | 9:10 | LREW | 11488495 | Primary | 1.82 | 1.61 |  |  |  |  | 0.13 | 0.31 |  | 7.4074 | 21.3058
2013-08-27 09:11 | 9:11 | LREW | 11488495 | Split | 1.69 | 1.3 |  | 1 | 1
2013-09-24 09:30 | 9:30 | LREW | 11488495 | Primary | 3.25 | 3.08 |  |  |  |  | 0.21 | 0.07 |  | 6.2593 | 2.2989
2013-09-24 09:31 | 9:31 | LREW | 11488495 | Split | 3.46 | 3.01 |  | 1 | 1
2013-10-22 09:53 | 9:53 | LREW | 11488495 | Primary | 3.76 | 3.69 |  |  |  |  | 0.13 | 0.01 |  | 3.3987 | 0.27137
2013-10-22 09:54 | 9:54 | LREW | 11488495 | Split | 3.89 | 3.68 |  | 1 | 1
2013-11-19 | 9:03 | LREW | 11488495 | Primary | 3.17 | 2.78 |  |  |  |  | 0.13 | 0.08 |  | 4.1868 | 2.9197
2013-11-19 | 9:04 | LREW | 11488495 | Split | 3.04 | 2.7 |  | 1 | 1
2014-01-06 08:04 | 13:45 | Blw Harpold | 421010121271200 | Primary | 1.72 | 1.57 |  |  |  |  | 0.18 | 0.44 |  | 9.9448 | 24.581
2014-01-06 08:04 | 13:46 | Blw Harpold | 421010121271200 | Split | 1.9 | 2.01 |  | 1 | 1
2014-01-28 | 1137 | ADC97 | 11509200 | Primary | 3.46 | 3.18 |  |  |  |  | 0.08 | 0.16 |  | 2.2857 | 5.1613
2014-01-28 | 1138 | ADC97 | 11509200 | Split | 3.54 | 3.02 |  | 1 | 1
2014-02-25 | 11:38 | ADC97 | 11509200 | Primary | 7.59 | 5.89 |  |  |  |  | 0.97 | 0.22 |  | 13.6524 | 3.6667
2014-02-25 | 11:39 | ADC97 | 11509200 | Split | 6.62 | 6.11 |  | 1 | 1
2014-03-25 | 11:24 | ADC97 | 11509200 | Primary | 4.41 | 3.68 |  |  |  |  | 0.22 | 0.31 |  | 5.1163 | 8.0834
2014-03-25 | 11:25 | ADC97 | 11509200 | Split | 4.19 | 3.99 |  | 1 | 1
2014-04-22 | 12:01 | ADC97 | 11509200 | Primary | 2.57 | 1.99 |  |  |  |  | 0.31 | 0.03 |  | 11.3761 | 1.519
2014-04-22 | 12:02 | ADC97 | 11509200 | Split | 2.88 | 1.96 |  | 1 | 1
2014-05-19 | 9:32 | NC97 | 11509105 | Primary | 2.36 | 1.8 |  |  |  |  | 0.46 | 0.2 |  | 17.7606 | 10.5263
2014-05-19 | 9:33 | NC97 | 11509105 | Split | 2.82 | 2 |  | 1 | 1
2014-05-20 | 11:54 | ADC97 | 11509200 | Primary | 3.27 | 2.74 |  |  |  |  | 0.01 | 0.04 |  | 0.30628 | 1.4493
2014-05-20 | 11:55 | ADC97 | 11509200 | Split | 3.26 | 2.78 |  | 1 | 1
2014-05-20 | 9:42 | LREW | 11488495 | Primary | 5.76 | 4.78 |  |  |  |  | 0.07 | 0.72 |  | 1.2079 | 14.0078
2014-05-20 | 9:43 | LREW | 11488495 | Split | 5.83 | 5.5 |  | 1 | 1
2014-05-21 | 9:20 | MCRV | 421114121080100 | Primary | 1.33 | 0.97 |  |  |  |  | 0.09 | 0.01 |  | 7.0039 | 1.0363
2014-05-21 | 9:21 | MCRV | 421114121080100 | Split | 1.24 | 0.96 |  | 1 | 1
2014-06-17 | 13:01 | ADC97 | 11509200 | Primary | 11.1 | 7.44 |  |  |  |  | 2.31 | 3.16 |  | 23.2278 | 35.0333
2014-06-17 | 13:02 | ADC97 | 11509200 | Split | 8.79 | 10.6 |  | 1 | 1
2014-08-12 | 13:46 | LRDC | 11486990 | Primary | 9.27 | 7.86 |  |  |  |  | 1.13 | 0.03 |  | 11.4896 | 0.38095
2014-08-12 | 13:47 | LRDC | 11486990 | Split | 10.4 | 7.89 |  | 1 | 1
2014-09-09 | 13:43 | LRDC | 11486990 | Primary | 3.02 | 2.3 |  |  |  |  | 0.12 | 0.14 |  | 3.8961 | 5.9072
2014-09-09 | 13:44 | LRDC | 11486990 | Split | 3.14 | 2.44 |  | 1 | 1
2014-10-08 | 13:45 | LRDC | 11486990 | Primary | 4.57 | 3.98 |  |  |  |  | 0.08 | 0.12 |  | 1.766 | 2.9703
2014-10-08 | 13:46 | LRDC | 11486990 | Split | 4.49 | 4.1 |  | 1 | 1
2014-11-03 | 10:41 | LRDC | 11486990 | Primary | 2.75 | 2.54 |  |  |  |  | 0.08 | 0.16 |  | 2.952 | 6.5041
2014-11-03 | 10:42 | LRDC | 11486990 | Split | 2.67 | 2.38 |  | 1 | 1
2014-12-01 | 10:43 | LRDC | 11486990 | Primary | 2.67 | 2.04 |  |  |  |  | 0.34 | 0.12 |  | 13.6 | 5.7143
2014-12-01 | 10:44 | LRDC | 11486990 | Split | 2.33 | 2.16 |  | 1 | 1
2014-12-15 | 9:21 | MCRV | 421114121080100 | Primary | 2.27 | 2.06 |  |  |  |  | 0.24 | 0.17 |  | 11.1628 | 8.6076
2014-12-15 | 9:22 | MCRV | 421114121080100 | Split | 2.03 | 1.89 |  | 1 | 1
2014-12-17 | 9:14 | MCRV | 421114121080100 | Primary | 0.7 | 0.69 |  |  |  |  | 0.44 | 0.51 |  | 47.8261 | 53.9683
2014-12-17 | 9:15 | MCRV | 421114121080100 | Split | 1.14 | 1.2 |  | 1 | 1
2014-12-30 | 13:52 | LRDC | 11486990 | Primary | 1.56 | 1.28 |  |  |  |  | 0.02 | 0.07 |  | 1.2903 | 5.6225
2014-12-30 | 13:53 | LRDC | 11486990 | Split | 1.54 | 1.21 |  | 1 | 1
2015-01-14 | 9:02 | MCRV | 421114121080100 | Primary | 0.79 | 0.63 |  |  |  |  | 0.15 | 0.28 |  | 17.341 | 36.3636
2015-01-14 | 9:03 | MCRV | 421114121080100 | Split | 0.94 | 0.91 |  | 1 | 1
2015-01-27 | 13:51 | LRDC | 11486990 | Primary | 1.64 | 1.44 |  |  |  |  | 0.28 | 0.22 |  | 15.7303 | 14.1935
2015-01-27 | 13:52 | LRDC | 11486990 | Split | 1.92 | 1.66 |  | 1 | 1
2015-02-09 | 9:16 | NC97 | 11509105 | Primary | 3.86 | 3.47 |  |  |  |  | 0.06 | 0.09 |  | 1.5424 | 2.6277
2015-02-09 | 9:17 | NC97 | 11509105 | Split | 3.92 | 3.38 |  | 1 | 1
2015-02-11 | 9:02 | MCRV | 421114121080100 | Primary | 1.08 | 0.88 |  |  |  |  | 0.39 | 0.33 |  | 44.0678 | 46.1538
2015-02-11 | 9:03 | MCRV | 421114121080100 | Split | 0.69 | 0.55 |  | 1 | 1
2015-02-24 | 15:59 | LRDC | 11486990 | Primary | 5.76 | 5.03 |  |  |  |  | 0.01 | 0.28 |  | 0.17376 | 5.4159
2015-02-24 | 16:00 | LRDC | 11486990 | Split | 5.75 | 5.31 |  | 1 | 1
2015-03-11 | 9:32 | MCRV | 421114121080100 | Primary | 3.23 | 2.22 |  |  |  |  | 0.18 | 0.19 |  | 5.7325 | 8.2073
2015-03-11 | 9:33 | MCRV | 421114121080100 | Split | 3.05 | 2.41 |  | 1 | 1
2015-03-24 | 13:11 | LRDC | 11486990 | Primary | 3.8 | 3.43 |  |  |  |  | 0.15 | 0.31 |  | 3.871 | 8.6471
2015-03-24 | 13:12 | LRDC | 11486990 | Split | 3.95 | 3.74 |  | 1 | 1
[7 empty] | sum | 41 | 41 | mean | 0.50707 | 0.64561 | mean | 11.1768 | 15.1054

## DOC
Date | Time | Site | Station ID | Sample Type | DOC (mg/L) |  | ENTER "1" FOR EACH DOC SPLIT |  | DOC DIFFERENCE | DOC RPD
2013-04-23 | 9:15 | NC97 | 11509105 | Primary | 5.49 |  |  |  | 0.21 | 3.8997
2013-04-23 | 9:16 | NC97 | 11509105 | Split | 5.28 |  | 1
2013-06-04 | 8:50 | LREW | 11488495 | Primary | 5.62 |  |  |  | 0.04 | 0.71429
2013-06-04 | 8:51 | LREW | 11488495 | Split | 5.58 |  | 1
2013-07-30 | 9:07 | LREW | 11488495 | Primary | 6.32 |  |  |  | 0.22 | 3.5427
2013-07-30 | 9:08 | LREW | 11488495 | Split | 6.1 |  | 1
2013-09-24 | 9:30 | LREW | 11488495 | Primary | 8.49 |  |  |  | 0.22 | 2.6253
2013-09-24 | 9:31 | LREW | 11488495 | Split | 8.27 |  | 1
2013-11-19 | 9:03 | LREW | 11488495 | Primary | 4.78 |  |  |  | 0.16 | 3.2922
2013-11-19 | 9:04 | LREW | 11488495 | Split | 4.94 |  | 1
2014-01-28 | 11:37 | ADC97 | 11509200 | Primary | 4.06 |  |  |  | 0.14 | 3.3898
2014-01-28 | 11:38 | ADC97 | 11509200 | Split | 4.2 |  | 1
[6 empty] | sum | 6 | mean | 0.165 | 2.9107

## TPCN
Date | Time | Site | Station ID | Sample Type | TPC (mg/L) | TPN (mg/L) |  | ENTER "1" FOR EACH TPC SPLIT SAMPLE | ENTER "1" FOR EACH TPN SPLIT SAMPLE |  | TPC DIFFERENCE | TPN DIFFERENCE | TPC RPD | TPN RPD
2013-04-23 | 9:15 | NC97 | 11509105 | Primary | 2.2 | 0.373 |  |  |  |  | 0.29 | 0.081 | 14.1119 | 24.3609
2013-04-23 | 9:16 | NC97 | 11509105 | Split | 1.91 | 0.292 |  | 1 | 1
2013-06-04 | 8:50 | LREW | 11488495 | Primary | 2.2 | 0.383 |  |  |  |  | 0.24 | 0.029 | 11.5385 | 7.8697
2013-06-04 | 8:51 | LREW | 11488495 | Split | 1.96 | 0.354 |  | 1 | 1
2013-07-30 | 9:07 | LREW | 11488495 | Primary | 1.83 | 0.345 |  |  |  |  | 0.12 | 0.047 | 6.7797 | 14.619
2013-07-30 | 9:08 | LREW | 11488495 | Split | 1.71 | 0.298 |  | 1 | 1
2013-09-24 | 9:30 | LREW | 11488495 | Primary | 1.12 | 0.15 |  |  |  |  | 0.156 | 0.016 | 14.9712 | 11.2676
2013-09-24 | 9:31 | LREW | 11488495 | Split | 0.964 | 0.134 |  | 1 | 1
2013-11-19 | 9:03 | LREW | 11488495 | Primary | 1.73 | 0.278 |  |  |  |  | 0.04 | 0.008 | 2.2857 | 2.8369
2013-11-19 | 9:04 | LREW | 11488495 | Split | 1.77 | 0.286 |  | 1 | 1
2014-01-28 | 11:37 | ADC97 | 11509200 | Primary | 1.75 | 0.278 |  |  |  |  | 0.13 | 0.005 | 7.1625 | 1.8149
2014-01-28 | 11:38 | ADC97 | 11509200 | Split | 1.88 | 0.273 |  | 1 | 1
[7 empty] | sum | 6 | 6 | mean | 0.16267 | 0.031 | 9.4749 | 10.4615