## Table 11
Table 11. Summary of results of data-quality assessment for schedule 2437 pesticide compounds based on all quality-control sample types, May 2013 through September 2018.
[This table is based on data from U.S. Geological Survey (2019), the Laboratory Information Management System of the National Water Quality Laboratory, and the Quality Systems Branch database. The data are published in Bexfield and others (2020), with the exception of laboratory reagent spike data for 2013–15, which are published in Shoda and others (2017b), and laboratory reagent spike data for 2016–17, which are published in Wieben (2019). Compounds are sorted by U.S. Geological Survey (USGS) parameter code. Evidence of potential for substantial contamination bias considers laboratory blanks (LBs), field blanks (FBs), third-party blind blank samples (BBSs), and third-party blind spike samples (BSSs, unspiked): for LBs and FBs, evidence is indicated if the upper confidence limit on the 95th percentile of blank concentrations for at least 1 water year is a detection; for BBSs and BSSs, evidence is indicated if the false-positive occurrence at concentrations greater than the maximum detection level exceeds 1 percent. Evidence of potential for substantial recovery bias considers laboratory reagent spikes (LRSs), BSSs, and field matrix spikes (FMSs): for all sample types, evidence for "low" bias is indicated if the median recovery is less than 70 percent, and evidence for "high" bias is indicated if the median recovery is greater than 130 percent. However, it should be noted that BSSs typically are spiked at lower concentrations than LRSs or FMSs. Evidence of substantial low bias based on false-negative occurrence considers BSSs: evidence is indicated if the false-negative occurrence for samples spiked at concentrations greater than the maximum laboratory reporting level exceeds 10 percent. Evidence of potential for high variability considers LRSs and BSSs: for both sample types, evidence is indicated if the F-pseudosigma exceeds 30 percent. Note that, for this study, LBs, LRSs, and BBSs are considered to assess laboratory method performance only, whereas BSSs, FBs, and FMSs have the potential to also be affected by nonlaboratory factors (such as degradation or spiking errors), whether targeted or not. Compounds highlighted in gray were detected in at least one environmental sample. ng/L, nanogram per liter; na, not enough available data to determine; –, not available]
Pesticide compound | USGS parameter code | Analytical use | Human-health benchmark (ng/L) | Evidence of potential for substantial contamination bias | Evidence of potential for substantial recovery bias | Evidence of substantial low bias based on false-negative occurrence | Evidence of potential for high variability
Chlorsulfuron | 61678 | Pesticide | 300000 | None | None | None | None
Flumetsulam | 61679 | Pesticide | 6000000 | None | None | None | None
Halosulfuron-methyl | 61680 | Pesticide | 600000 | None | None | None | BSS4
Imazaquin | 61682 | Pesticide | 1600000 | LB | None | None | None
Imazethapyr | 61683 | Pesticide | 16000000 | LB | None | None | None
Nicosulfuron | 61685 | Pesticide | 8000000 | LB | BSS (Low)2 | None | None
Prosulfuron | 61687 | Pesticide | 340000 | None | None | BSS | None
Alachlor | 65064 | Pesticide | 2000 | None | None | None | None
Atrazine | 65065 | Pesticide | 3000 | LB, BSS | None | None | None
Azinphos-methyl | 65066 | Pesticide | 9600 | None | None | None | None
Bifenthrin | 65067 | Pesticide | 70000 | None | BSS, FMS (Low) | None | None
Butylate | 65068 | Pesticide | 300000 | None | None | None | None
Carbaryl | 65069 | Pesticide | 40000 | LB | None | None | None
Carbofuran | 65070 | Pesticide | 40000 | LB | None | None | None
Chlorpyrifos | 65072 | Pesticide | 2000 | BSS | None | None | None
Diazinon | 65078 | Pesticide | 2000 | LB | None | None | None
EPTC | 65080 | Pesticide | 300000 | None | None | None | None
Fonofos | 65084 | Pesticide | 10000 | None | None | None | None
Hexazinone | 65085 | Pesticide | 300000 | LB | None | None | None
Malathion | 65087 | Pesticide | 60000 | BSS1 | None | None | None
Methidathion | 65088 | Pesticide | 9600 | None | None | None | None
Metolachlor | 65090 | Pesticide | 600000 | LB | None | None | None
Molinate | 65091 | Pesticide | 600 | None | None | None | None
Oxyfluorfen | 65093 | Pesticide | 437 | None | None | None | None
Pendimethalin | 65098 | Pesticide | 2000000 | LB | None | None | None
Piperonyl butoxide | 65102 | Pesticide | 992000 | LB | None | None | None
Prometryn | 65103 | Pesticide | 300000 | LB, BSS | None | None | None
Simazine | 65105 | Pesticide | 4000 | BSS1 | None | None | None
Thiobencarb | 65107 | Pesticide | 60000 | None | None | None | None
Azoxystrobin | 66589 | Pesticide | 1200000 | LB | None | None | None
Cyanazine | 66592 | Pesticide | 30 | None | None | None | BSS4
Dimethoate | 66596 | Pesticide | 14000 | None | None | None | None
Diuron | 66598 | Pesticide | 2000 | LB | None | None | None
Fipronil | 66604 | Pesticide | 1000 | LB | None | None | None
Desulfinylfipronil | 66607 | Degradate | 1000 | LB | None | None | None
Fipronil sulfide | 66610 | Degradate | – | LB | None | None | None
Fipronil sulfone | 66613 | Degradate | – | LB | None | None | None
Metconazole | 66620 | Pesticide | 300000 | LB | None | None | None
Myclobutanil | 66632 | Pesticide | 160000 | LB | None | None | None
Propanil | 66641 | Pesticide | 60000 | None | None | None | None
Propiconazole | 66643 | Pesticide | 600000 | LB | None | None | None
Pyraclostrobin | 66646 | Pesticide | 220000 | LB, BSS | None | None | None
Tebuconazole | 66649 | Pesticide | 190000 | LB | None | None | None
Terbuthylazine | 66651 | Pesticide | 2000 | BSS1 | None | None | None
Tetraconazole | 66654 | Pesticide | 47000 | LB | None | None | None
Trifloxystrobin | 66660 | Pesticide | 240000 | LB | None | None | None
Disulfoton | 67595 | Pesticide | 800 | None | BSS (Low)2 | None | None
Kresoxim-methyl | 67670 | Pesticide | 11000 | None | None | None | None
Norflurazon | 67685 | Pesticide | 96000 | LB | None | None | None
Prometon | 67702 | Pesticide | 300000 | LB, BSS | None | None | None
Pronamide | 67706 | Pesticide | 300000 | None | None | None | None
Azinphos-methyl oxon | 68211 | Degradate | – | None | None | None | None
Chlorpyrifos oxon | 68216 | Degradate | 700 | None | FMS (Low) | None | BSS4
3,4-Dichlorophenylurea | 68226 | Degradate | – | None | None | None | None
N-(3,4-Dichlorophenyl)-N-methylurea | 68231 | Degradate | – | None | None | None | None
Diazinon oxon | 68236 | Degradate | 200 | None | None | None | BSS4
Malaoxon | 68240 | Degradate | 3000 | None | BSS (Low) | None | None
4-Hydroxychlorothalonil | 68336 | Degradate | – | None | None | None | None
Imidacloprid | 68426 | Pesticide | 360000 | None | None | None | None
Metalaxyl | 68437 | Pesticide | 474000 | LB, BSS | None | None | None
1H-1,2,4-Triazole | 68498 | Degradate | 30000 | None | FMS (Low)3 | None | BSS4
2,4-D | 68500 | Pesticide | 70000 | LB | None | None | None
2-Aminobenzimidazole | 68502 | Degradate | – | None | None | None | None
2-Amino-N-isopropylbenzamide | 68503 | Degradate | – | BSS1 | None | None | None
Pyrimidinol | 68505 | Degradate | – | LB, BSS | BSS (Low) | None | None
3-Hydroxycarbofuran | 68508 | Degradate | – | LB | None | None | None
4-(Hydroxymethyl)pendimethalin | 68511 | Degradate | – | None | None | na | None
4-Chlorobenzylmethyl sulfoxide | 68514 | Degradate | – | None | None | na | None
4-Hydroxy molinate | 68515 | Degradate | – | None | None | na | None
4-Hydroxyhexazinone A | 68517 | Degradate | – | None | None | na | None
Acephate | 68519 | Pesticide | 7700 | None | None | None | BSS4
Acetochlor | 68520 | Pesticide | 100000 | BSS1 | None | None | None
2-Chloro-N-(2-ethyl-6-methylphenyl)acetamide | 68521 | Degradate | – | BSS1 | None | None | None
Acetochlor oxanilic acid | 68522 | Degradate | – | None | None | None | BSS4
Acetochlor sulfonic acid | 68523 | Degradate | – | None | None | None | None
Acetochlor sulfynilacetic acid | 68524 | Degradate | – | None | None | na | None
2-Chloro-2,6-diethylacetanilide | 68525 | Degradate | – | None | None | None | None
Alachlor oxanilic acid | 68526 | Degradate | – | None | None | None | None
Alachlor sulfynilacetic acid | 68527 | Degradate | – | None | None | na | None
Aldicarb | 68528 | Pesticide | 2000 | None | None | None | None
Aldicarb sulfone | 68529 | Degradate | 6000 | None | None | None | None
Aldicarb sulfoxide | 68530 | Degradate | 6000 | BSS1 | None | None | BSS4
Ametryn | 68533 | Pesticide | 500000 | LB, BSS | None | None | None
Asulam | 68536 | Pesticide | 230000 | None | FMS (Low)3 | None | None
Bentazon | 68538 | Pesticide | 1000000 | None | None | None | None
Bromacil | 68542 | Pesticide | 100000 | LB | None | None | None
Bromoxynil | 68543 | Pesticide | 311 | None | None | None | None
Butralin | 68545 | Pesticide | – | None | None | None | None
Didealkylatrazine | 68547 | Degradate | 12000 | None | FMS (High)3 | None | None
Carbendazim | 68548 | Degradate | 13400 | None | None | None | BSS4
Carboxy molinate | 68549 | Degradate | – | None | None | na | None
Deisopropylatrazine | 68550 | Degradate | – | None | None | None | None
Chlorosulfonamide acid | 68551 | Degradate | – | None | FMS (Low) | na | None
Deethylatrazine | 68552 | Degradate | – | LB | None | None | None
cis-Cyhalothric acid | 68553 | Degradate | – | None | None | None | None
Chlorthal-monomethyl | 68560 | Degradate | – | None | None | None | None
Dechlorofipronil | 68561 | Degradate | – | None | None | na | None
Dechlorometolachlor | 68562 | Degradate | – | None | BSS (Low) | None | None
Desiodo flubendiamide | 68563 | Degradate | – | None | None | na | None
Deisopropyl prometryn | 68564 | Degradate | – | None | None | na | None
Demethyl hexazinone B | 68566 | Degradate | – | None | None | na | None
Demethyl norflurazon | 68567 | Degradate | – | None | None | None | None
Metribuzin desamino | 68568 | Degradate | – | None | None | None | None
Metribuzin desamino-diketo | 68569 | Degradate | – | None | None | None | None
Desulfinylfipronil amide | 68570 | Degradate | – | None | None | na | None
Dicamba | 68571 | Pesticide | 300000 | None | None | None | None
Dichlorvos | 68572 | Degradate | 3000 | None | None | None | BSS4
Dicrotophos | 68573 | Pesticide | 200 | None | None | None | None
Hexazinone Transformation Product F | 68574 | Degradate | – | None | None | na | None
Tebuthiuron Transformation Product 104 | 68575 | Degradate | – | None | None | na | None
Diflubenzuron | 68576 | Pesticide | 100000 | LB | None | None | None
Diflufenzopyr | 68577 | Pesticide | 1700000 | None | BSS (Low)2 | None | BSS4
Diketonitrile isoxaflutole | 68578 | Degradate | – | None | None | na | None
Dimethenamid | 68580 | Pesticide | 300000 | None | None | None | None
Dimethenamid oxanilic acid | 68581 | Degradate | – | None | None | None | None
Dimethenamid sulfonic acid | 68582 | Degradate | – | None | None | None | None
Dimethenamid sulfynilacetic acid | 68583 | Degradate | – | None | None | na | None
Disulfoton oxon | 68586 | Degradate | – | None | BSS (Low) | BSS | None
Disulfoton oxon sulfoxide | 68587 | Degradate | – | None | None | None | BSS4
Disulfoton oxon sulfone | 68588 | Degradate | – | None | None | None | None
Disulfoton sulfone | 68589 | Degradate | – | None | None | None | None
Disulfoton sulfoxide | 68590 | Degradate | – | BSS1 | None | None | BSS4
Demethyl fluometuron | 68591 | Degradate | – | None | None | None | None
EPTC R248722 | 68594 | Degradate | – | None | None | na | None
2-(2-ethyl-6-methyl-phenyl)amino-1-propanol | 68595 | Degradate | – | None | None | None | None
Ethoprop | 68596 | Pesticide | 1140 | None | None | None | None
O-Ethyl-O-methyl-S-propyl phosphorothioate | 68597 | Degradate | – | BSS1 | None | na | None
Etoxazole | 68598 | Pesticide | 290000 | LB | None | None | None
Fenamiphos | 68599 | Pesticide | 600 | None | None | None | None
Fenamiphos sulfone | 68600 | Degradate | – | BSS1 | None | None | None
Fenamiphos sulfoxide | 68601 | Degradate | – | BSS1 | None | None | None
Fenbutatin oxide | 68602 | Pesticide | 110000 | LB | BSS, FMS (Low)2 | None | LRS
Fentin | 68603 | Pesticide | 20 | None | None | None | None
Fipronil amide | 68604 | Degradate | – | None | None | None | None
Fipronil sulfonate | 68605 | Degradate | – | None | None | na | None
Flubendiamide | 68606 | Pesticide | 150000 | LB | None | None | None
Fluometuron | 68608 | Pesticide | 2000 | LB | None | None | None
2-(1-hydroxyethyl)-6-methylaniline (HEMA) | 68611 | Degradate | – | None | FMS (Low) | na | None
Hexazinone Transformation Product C | 68612 | Degradate | – | None | None | na | None
Hexazinone Transformation Product D | 68613 | Degradate | – | None | None | na | None
Hexazinone Transformation Product E | 68614 | Degradate | – | None | None | na | None
Hydroxyacetochlor | 68615 | Degradate | – | None | None | None | None
Hydroxyalachlor | 68616 | Degradate | – | BSS1 | None | na | None
Hydroxy mono demethyl fluometuron | 68617 | Degradate | – | None | FMS (Low) | na | None
Hydroxydiazinon | 68618 | Degradate | – | None | None | na | None
4-Hydroxy-tert-fluometuron | 68619 | Degradate | – | None | None | na | None
Hydroxyfluometuron | 68620 | Degradate | – | None | FMS (Low) | na | None
Hydroxytebuthiuron | 68621 | Degradate | – | None | None | na | None
Hydroxymetolachlor | 68622 | Degradate | – | LB | None | None | None
Hydroxyphthalazinone | 68623 | Degradate | – | None | None | na | None
Hydroxysimazine | 68624 | Degradate | – | LB | None | None | None
Imazamox | 68625 | Pesticide | – | None | None | None | None
Indoxacarb | 68627 | Pesticide | 100000 | None | FMS (Low) | None | None
Isoxaflutole | 68632 | Pesticide | 2810 | None | None | None | None
Isoxaflutole acid RPA 203328 | 68633 | Degradate | – | None | None | None | None
Lactofen | 68638 | Pesticide | 50000 | LB | BSS, FMS (Low) | None | None
Linuron | 68639 | Pesticide | 49000 | LB, BSS | None | None | None
MCPA | 68641 | Pesticide | 30000 | None | None | None | None
Methamidophos | 68644 | Pesticide | 600 | None | None | None | None
Methomyl | 68645 | Pesticide | 50000 | BSS1 | None | None | BSS4
Methomyl oxime | 68646 | Degradate | – | None | None | None | None
Methoxyfenozide | 68647 | Pesticide | 600000 | LB | None | None | None
Paraoxon-methyl | 68648 | Degradate | – | None | None | None | None
Metolachlor hydroxy morpholinone | 68649 | Degradate | – | None | None | na | None
Metolachlor oxanilic acid | 68650 | Degradate | – | None | None | None | None
Metolachlor sulfonic acid | 68651 | Degradate | – | None | None | None | None
Metribuzin | 68652 | Pesticide | 8000 | None | None | None | None
Metribuzin diketo | 68653 | Degradate | – | None | None | None | BSS4
Naled | 68654 | Pesticide | 10000 | None | BSS, FMS (Low) | BSS | LRS, BSS
Novaluron | 68655 | Pesticide | 70000 | LB | FMS (Low)3 | None | None
2-Hydroxy-6-ethylamino-4-amino-s-triazine | 68656 | Degradate | – | None | FMS (High)3 | None | BSS4
O-Ethyl-S-methyl-S-propyl phosphorodithioate | 68657 | Degradate | – | None | None | na | None
O-Ethyl-S-propyl phosphorothioate | 68658 | Degradate | – | None | None | na | None
2-Hydroxy-4-isopropylamino-6-amino-s-triazine | 68659 | Degradate | – | None | None | None | None
2-Hydroxyatrazine | 68660 | Degradate | 60000 | LB, BSS | None | None | None
Dimethoate oxon | 68661 | Degradate | 5000 | BSS1 | None | None | None
Orthosulfamuron | 68662 | Pesticide | 300000 | None | BSS, FMS (Low)2 | BSS | None
Oryzalin | 68663 | Pesticide | 4110 | None | None | None | None
Oxamyl | 68664 | Pesticide | 200000 | BSS1 | None | None | None
Oxamyl oxime | 68665 | Degradate | – | None | None | BSS | None
Paraoxon | 68666 | Degradate | – | None | None | None | None
Phorate | 68668 | Pesticide | 1100 | None | None | BSS | None
Phorate oxon | 68669 | Degradate | – | None | FMS (Low) | None | None
Phorate oxon sulfone | 68670 | Degradate | – | None | BSS (Low) | None | None
Phorate oxon sulfoxide | 68671 | Degradate | – | None | None | None | BSS4
Phorate sulfone | 68672 | Degradate | – | None | None | None | BSS4
Phorate sulfoxide | 68673 | Degradate | – | None | BSS (High)2 | None | BSS4
Phthalazinone | 68675 | Degradate | – | BSS1 | BSS (High)2 | BSS | BSS4
Profenofos | 68676 | Pesticide | 300 | None | None | None | None
Propargite | 68677 | Pesticide | 167 | LB | None | None | None
Propazine | 68678 | Pesticide | 40000 | LB, BSS | None | None | None
Propoxur | 68679 | Pesticide | 2000 | LB, BBS, BSS | None | None | None
Pyridaben | 68682 | Pesticide | 30000 | LB, BSS | BSS (Low) | None | None
Pyriproxyfen | 68683 | Pesticide | 2200000 | LB | None | None | None
sec-Acetochlor-oxanilic acid | 68684 | Degradate | – | None | None | None | None
sec-Alachlor-oxanilic acid | 68685 | Degradate | – | None | None | na | None
Siduron | 68686 | Pesticide | 960000 | LB | None | None | None
Sulfentrazone | 68687 | Pesticide | 900000 | None | None | None | None
Sulfometuron-methyl | 68688 | Pesticide | 1760000 | LB | None | None | None
Sulfosulfuron | 68689 | Pesticide | 1500000 | LB | None | None | None
Sulfosulfuron ethyl sulfone | 68690 | Degradate | – | None | None | na | None
2,3,3-trichloro-2-propene-1-sulfonic acid (TCPSA) | 68691 | Degradate | – | None | None | na | None
Tebufenozide | 68692 | Pesticide | 120000 | LB | None | None | None
Tebupirimfos | 68693 | Pesticide | 100 | LB | None | None | None
Tebupirimfos oxon | 68694 | Degradate | – | LB | None | na | None
Tebuthiuron | 68695 | Pesticide | 900000 | LB | None | None | None
Tebuthiuron Transformation Product 108 | 68696 | Degradate | – | None | None | None | None
Tebuthiuron Transformation Product 109 (OH) | 68697 | Degradate | – | None | None | na | None
Terbacil | 68698 | Pesticide | 90000 | None | None | None | None
Terbufos | 68699 | Pesticide | 60 | None | BSS, FMS (Low) | None | None
Terbufos oxon | 68700 | Degradate | – | None | BSS, FMS (Low) | BSS | None
Terbufos oxon sulfone | 68701 | Degradate | – | None | None | None | None
Terbufos oxon sulfoxide | 68702 | Degradate | – | None | None | None | BSS4
Terbufos sulfone | 68703 | Degradate | – | None | None | None | None
Terbufos sulfoxide | 68704 | Degradate | – | None | None | None | BSS4
trans-Permethrin | 68708 | Pesticide | 3344 | LB, BSS | BSS, FMS (Low) | None | None
Triallate | 68710 | Pesticide | 446 | None | None | None | None
Tribufos | 68711 | Pesticide | 600 | LB | None | None | None
Triclopyr | 68712 | Pesticide | 300000 | LB | None | None | None
Hexazinone Transformation Product G | 68713 | Degradate | – | None | None | na | None
Tebuthiuron Transformation Product 106 | 68714 | Degradate | – | None | None | na | None
cis-Permethrin | 68769 | Pesticide | 3344 | LB, BSS | BSS, FMS (Low) | None | None
Alachlor sulfonic acid | 68871 | Degradate | – | None | None | None | None
Chlorimuron-ethyl | 68872 | Pesticide | 600000 | None | BSS (Low)2 | None | None
3-Phenoxybenzoic acid | 68873 | Degradate | – | None | None | None | None
1Detection frequency in LBs and FBs is less than 1 percent, which does not provide clear support for the relatively high false-positive occurrence in BSSs. Also, with the exception of fenamiphos sulfoxide, false-positive results are not accompanied by indicators of interference. These observations might imply that spiking issues or post-spiking degradation could be a contributing factor to false-positive results.
2Parent compound with low recovery in BSSs or degradate compound with high recovery in BSSs, but with good recovery (85–110 percent) in LRSs, indicating the potential for degradation to contribute to BSS recovery being outside acceptable limits, although the typically lower and more variable concentrations at which compounds are spiked in BSSs also could be a contributing factor. FMS recovery is also outside acceptable limits where "FMS" is also listed.
3Compound with substantially higher or lower recovery in FMSs than in LRSs and BSSs, indicating the potential for matrix effects to contribute to FMS recovery being outside acceptable limits.
4Compound with substantially higher variability in recovery for BSSs than for LRSs, indicating the potential for degradation and (or) for the typically lower and more variable concentrations at which compounds are spiked in BSSs to contribute to variability in BSS recoveries being outside acceptable limits.